## MRS_InspectionRating_Quality
Lieu (municipalité où se trouve le réseau d'eau potable) | Nom du réseau d'eau potable | Indice d'inspection (%) obtenu pour l'exercice en cours | Indice d'inspection (%) obtenu pour l'exercice précédent | Nombre de résultats d'analyse microbiologique (EC et CT) | Nombre de résultats d'analyse microbiologique (EC et CT) insatisfaisants | Pourcentage de résultats d'analyse microbiologique (EC et CT) conformes aux normes de qualité de l'eau potable de l'Ontario | Nombre de résultats d'analyse chimique et radiologique | Nombre de résultats d'analyse chimique et radiologique insatisfaisants | Pourcentage de résultats d'analyse chimique et radiologique conformes aux normes de qualité de l'eau potable de l'Ontario
Blind River | BLIND RIVER DRINKING WATER SYSTEM | 100 | 92.06 | 430 | 2 | 99.5349 | 109 | 0 | 100
Michipicoten | WAWA DRINKING WATER SYSTEM | 100 | 100 | 520 | 0 | 100 | 77 | 0 | 100
Brant County | MT. PLEASANT DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 20 | 0 | 100
Saugeen Shores | SAUGEEN SHORES DRINKING WATER SYSTEM | 100 | 96.15 | 870 | 0 | 100 | 73 | 0 | 100
Moonbeam | MOONBEAM DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 20 | 0 | 100
Essex Town | ESSEX DRINKING WATER SYSTEM - HARROW-COLCHESTER SOUTH | 100 | 95.77 | 938 | 1 | 99.8934 | 83 | 0 | 100
Amherstburg | AMHERSTBURG DRINKING WATER SYSTEM | 100 | 85.23 | 940 | 0 | 100 | 83 | 0 | 100
Brockton | TOWN OF HANOVER DRINKING WATER SYSTEM | 100 | 97.14 | 532 | 1 | 99.812 | 81 | 0 | 100
Meaford | MEAFORD DRINKING WATER SYSTEM | 100 | 100 | 610 | 1 | 99.8361 | 75 | 0 | 100
Minden Hills | MINDEN DRINKING WATER SYSTEM | 98.19 | 100 | 418 | 1 | 99.7608 | 22 | 0 | 100
Goderich | GODERICH DRINKING WATER SYSTEM | 100 | 100 | 748 | 2 | 99.7326 | 109 | 0 | 100
Ear Falls | EAR FALLS DRINKING WATER SYSTEM | 100 | 92.78 | 336 | 0 | 100 | 87 | 0 | 100
Red Lake | RED LAKE DRINKING WATER SYSTEM | 100 | 91.48 | 426 | 0 | 100 | 92 | 0 | 100
Greenstone | GERALDTON DRINKING WATER SYSTEM | 100 | 100 | 558 | 0 | 100 | 78 | 0 | 100
Temiskaming Shores | HAILEYBURY DRINKING WATER SYSTEM | 84.12 | 89.98 | 448 | 0 | 100 | 77 | 0 | 100
Kawartha Lakes | BOBCAYGEON DRINKING WATER SYSTEM | 100 | 100 | 438 | 0 | 100 | 76 | 0 | 100
Kawartha Lakes | FENELON FALLS DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 77 | 4 | 94.8052
Carleton Place | CARLETON PLACE DRINKING WATER SYSTEM | 96.73 | 95.35 | 838 | 0 | 100 | 74 | 0 | 100
White River | WHITE RIVER DRINKING WATER SYSTEM | 100 | 100 | 292 | 0 | 100 | 77 | 0 | 100
Trent Hills | HASTINGS DRINKING WATER SYSTEM | 100 | 100 | 424 | 0 | 100 | 83 | 0 | 100
Trent Hills | WARKWORTH DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 83 | 0 | 100
Red Lake | BALMERTOWN COCHENOUR MACKENZIE ISLAND DRINKING WATER SYSTEM | 95.39 | 97.71 | 512 | 0 | 100 | 80 | 0 | 100
Mississauga | SOUTH PEEL DRINKING WATER SYSTEM - LAKEVIEW | 93.94 | 100 | 616 | 0 | 100 | 180 | 0 | 100
West Perth | MITCHELL DRINKING WATER SYSTEM | 100 | 96.67 | 706 | 0 | 100 | 88 | 0 | 100
Havelock-Belmont-Methuen | HAVELOCK DRINKING WATER SYSTEM | 100 | 100 | 524 | 1 | 99.8092 | 142 | 0 | 100
Clarence-Rockland | ROCKLAND DRINKING WATER SYSTEM | 97.51 | 100 | 914 | 0 | 100 | 73 | 0 | 100
Emo | EMO DRINKING WATER SYSTEM | 87.07 | 95.63 | 410 | 0 | 100 | 119 | 4 | 96.6387
Laurentian Hills | CHALK RIVER DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 73 | 0 | 100
Bonnechere Valley | EGANVILLE DRINKING WATER SYSTEM | 100 | 100 | 462 | 0 | 100 | 84 | 0 | 100
Bradford-West Gwillimbury | BRADFORD/BONDHEAD DRINKING WATER SYSTEM | 100 | 100 | 1476 | 0 | 100 | 142 | 0 | 100
North Dundas | NORTH DUNDAS DRINKING WATER SYSTEM | 100 | 99.17 | 920 | 0 | 100 | 129 | 0 | 100
Greater Sudbury | VALLEY DRINKING WATER SYSTEM | 100 | 97.09 | 2322 | 3 | 99.8708 | 224 | 0 | 100
Espanola | ESPANOLA DRINKING WATER SYSTEM | 97.11 | 100 | 538 | 1 | 99.8141 | 76 | 0 | 100
Markstay-Warren | WARREN DRINKING WATER SYSTEM | 97.2 | 100 | 312 | 0 | 100 | 74 | 0 | 100
South Huron | LAKE HURON PRIMARY WATER SUPPLY SYSTEM | 100 | 90.71 | 1044 | 0 | 100 | 144 | 0 | 100
Kingsville | UNION AREA WATER SUPPLY SYSTEM | 100 | 90.77 | 104 | 0 | 100 | 106 | 0 | 100
Central Elgin | ELGIN AREA PRIMARY WATER SUPPLY SYSTEM | 100 | 97.17 | 852 | 2 | 99.7653 | 138 | 0 | 100
Sarnia | LAMBTON AREA WATER SUPPLY SYSTEM | 99.35 | 100 | 842 | 0 | 100 | 97 | 0 | 100
Point Edward | VILLAGE OF POINT EDWARD DISTRIBUTION SYSTEM | 100 | 100 | 316 | 0 | 100 | 12 | 0 | 100
Bruce Mines | BRUCE MINES DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 78 | 0 | 100
Madawaska Valley | BARRY'S BAY DRINKING WATER SYSTEM | 100 | 100 | 390 | 0 | 100 | 79 | 0 | 100
West Nipissing | VERNER DRINKING WATER SYSTEM | 100 | 85.14 | 416 | 0 | 100 | 86 | 3 | 96.5116
Latchford | LATCHFORD DRINKING WATER SYSTEM | 95.63 | 99.09 | 318 | 1 | 99.6855 | 70 | 0 | 100
Fauquier-Strickland | FAUQUIER DRINKING WATER SYSTEM | 86.06 | 91.48 | 312 | 0 | 100 | 84 | 0 | 100
Machin | VERMILION BAY DRINKING WATER SYSTEM | 95.74 | 99.43 | 326 | 0 | 100 | 74 | 0 | 100
Westport | WESTPORT DRINKING WATER SYSTEM | 95.31 | 89.67 | 336 | 1 | 99.7024 | 75 | 0 | 100
Assiginack | MANITOWANING DRINKING WATER SYSTEM | 100 | 100 | 314 | 0 | 100 | 86 | 0 | 100
Leeds And The Thousand Islands | LANSDOWNE DRINKING WATER SYSTEM | 100 | 100 | 314 | 0 | 100 | 69 | 0 | 100
Kawartha Lakes | WOODVILLE DRINKING WATER SYSTEM | 96.97 | 100 | 430 | 0 | 100 | 73 | 0 | 100
Renfrew Town | RENFREW DRINKING WATER SYSTEM | 100 | 95.77 | 532 | 0 | 100 | 76 | 1 | 98.6842
Greater Sudbury | SUDBURY DRINKING WATER SYSTEM - WAHNAPITEI | 97.81 | 97.42 | 1572 | 3 | 99.8092 | 102 | 0 | 100
Pickle Lake | PICKLE LAKE DRINKING WATER SYSTEM | 94.41 | 96.29 | 318 | 1 | 99.6855 | 74 | 0 | 100
Casselman | CASSELMAN DRINKING WATER SYSTEM | 100 | 90.65 | 416 | 0 | 100 | 74 | 0 | 100
Greenstone | BEARDMORE DRINKING WATER SYSTEM | 100 | 100 | 304 | 0 | 100 | 80 | 0 | 100
Ramara | BRECHIN & LAGOON CITY DRINKING WATER SYSTEM | 91.14 | 100 | 432 | 0 | 100 | 76 | 0 | 100
Blandford-Blenheim | PLATTSVILLE DRINKING WATER SYSTEM | 100 | 100 | 360 | 0 | 100 | 66 | 0 | 100
Mississauga | SOUTH PEEL DRINKING WATER SYSTEM - LORNE PARK | 100 | 100 | 324 | 2 | 99.3827 | 74 | 0 | 100
Southwold | SOUTHWOLD DISTRIBUTION SYSTEM | 96.61 | 100 | 590 | 1 | 99.8305 | 8 | 0 | 100
Dubreuilville | DUBREUILVILLE DRINKING WATER SYSTEM | 100 | 100 | 318 | 0 | 100 | 78 | 0 | 100
Red Lake | MADSEN DRINKING WATER SYSTEM | 92.88 | 81.74 | 208 | 0 | 100 | 82 | 0 | 100
Smith-Ennismore-Lakefield | WOODLAND ACRES SUBDIVISION DISTRIBUTION SYSTEM | 100 | 100 | 422 | 0 | 100 | 12 | 0 | 100
Haldimand | NANTICOKE DRINKING WATER SYSTEM | 96.9 | 100 | 1152 | 1 | 99.9132 | 111 | 0 | 100
Huron East | VANASTRA DISTRIBUTION SYSTEM | 100 | 88.22 | 318 | 0 | 100 | 12 | 0 | 100
Greater Sudbury | DOWLING DRINKING WATER SYSTEM | 100 | 100 | 516 | 0 | 100 | 134 | 0 | 100
Black River-Matheson | VAL GAGNE DRINKING WATER SYSTEM | 100 | 100 | 60 | 0 | 100 | 14 | 0 | 100
Mattice-Val Cote | MATTICE DRINKING WATER SYSTEM | 100 | 100 | 316 | 0 | 100 | 80 | 0 | 100
Killarney | KILLARNEY DRINKING WATER SYSTEM | 100 | 100 | 314 | 0 | 100 | 75 | 0 | 100
South Glengarry | GLEN WALTER DRINKING WATER SYSTEM | 100 | 98.21 | 428 | 1 | 99.7664 | 77 | 1 | 98.7013
Johnson | DESBARATS DRINKING WATER SYSTEM | 100 | 100 | 52 | 0 | 100 | 19 | 0 | 100
Quinte West | FRANKFORD-BATAWA DRINKING WATER SYSTEM | 100 | 100 | 444 | 0 | 100 | 77 | 0 | 100
Mattawa | MATTAWA DRINKING WATER SYSTEM | 100 | 98.1 | 432 | 0 | 100 | 52 | 0 | 100
Petawawa | PETAWAWA DRINKING WATER SYSTEM | 95.01 | 100 | 794 | 0 | 100 | 136 | 0 | 100
Callander | CALLANDER DRINKING WATER SYSTEM | 96.81 | 89.05 | 420 | 0 | 100 | 73 | 0 | 100
Nairn And Hyman | NAIRN CENTRE DRINKING WATER SYSTEM | 100 | 100 | 314 | 0 | 100 | 74 | 0 | 100
West Grey | NEUSTADT DRINKING WATER SYSTEM | 93.69 | 100 | 312 | 0 | 100 | 74 | 0 | 100
East Garafraxa | MARSVILLE SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 21 | 0 | 100
Kawartha Lakes | MANILLA DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 20 | 0 | 100
Kawartha Lakes | OMEMEE DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 20 | 0 | 100
Ottawa | VARS DRINKING WATER SYSTEM | 100 | 100 | 620 | 0 | 100 | 493 | 0 | 100
Ottawa | CARP DRINKING WATER SYSTEM | 100 | 100 | 632 | 1 | 99.8418 | 393 | 0 | 100
Chatsworth | CHATSWORTH DRINKING WATER SYSTEM | 92.59 | 100 | 328 | 0 | 100 | 139 | 0 | 100
Billings | KAGAWONG DRINKING WATER SYSTEM | 100 | 100 | 356 | 0 | 100 | 74 | 0 | 100
Georgina | GEORGINA DRINKING WATER SYSTEM - KESWICK | 100 | 86.03 | 312 | 0 | 100 | 144 | 0 | 100
Schreiber | SCHREIBER DRINKING WATER SYSTEM | 73.17 | 82.12 | 402 | 0 | 100 | 73 | 0 | 100
North Stormont | FINCH DRINKING WATER SYSTEM | 100 | 100 | 318 | 1 | 99.6855 | 25 | 0 | 100
Erin | ERIN DRINKING WATER SYSTEM | 100 | 100 | 624 | 0 | 100 | 151 | 0 | 100
Minto | CLIFFORD DRINKING WATER SYSTEM | 96.52 | 100 | 624 | 0 | 100 | 56 | 0 | 100
Wellington North | ARTHUR DRINKING WATER SYSTEM | 100 | 100 | 516 | 0 | 100 | 88 | 0 | 100
Minto | PALMERSTON DRINKING WATER SYSTEM | 95.97 | 100 | 834 | 0 | 100 | 56 | 0 | 100
Wellington North | MOUNT FOREST DRINKING WATER SYSTEM | 100 | 100 | 844 | 1 | 99.8815 | 275 | 0 | 100
Minto | HARRISTON DRINKING WATER SYSTEM | 91.88 | 100 | 642 | 0 | 100 | 44 | 0 | 100
Centre Wellington | CENTRE WELLINGTON DRINKING WATER SYSTEM | 95.87 | 94.05 | 2628 | 1 | 99.9619 | 131 | 0 | 100
Guelph | GUELPH DRINKING WATER SYSTEM | 100 | 100 | 4296 | 2 | 99.9534 | 1206 | 0 | 100
Wellesley | LINWOOD DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 17 | 0 | 100
Wilmot | REGION OF WATERLOO DRINKING WATER SYSTEM - NEW HAMBURG-BADEN | 96.43 | 100 | 208 | 0 | 100 | 12 | 0 | 100
Waterloo City | REGION OF WATERLOO DRINKING WATER SYSTEM - WATERLOO | 100 | 100 | 730 | 0 | 100 | 171 | 0 | 100
Cambridge | REGION OF WATERLOO DRINKING WATER SYSTEM - CAMBRIDGE | 100 | 100 | 1816 | 0 | 100 | 407 | 0 | 100
Kawartha Lakes | LINDSAY DRINKING WATER SYSTEM | 100 | 100 | 1522 | 4 | 99.7372 | 136 | 2 | 98.5294
Greenstone | CARAMAT DRINKING WATER SYSTEM | 90.16 | 94.07 | 104 | 0 | 100 | 32 | 0 | 100
Red Rock | RED ROCK DRINKING WATER SYSTEM | 85.65 | 74.2 | 338 | 0 | 100 | 76 | 0 | 100
Greenstone | NAKINA DRINKING WATER SYSTEM | 100 | 100 | 310 | 0 | 100 | 25 | 0 | 100
Manitouwadge | MANITOUWADGE DRINKING WATER SYSTEM | 100 | 100 | 562 | 0 | 100 | 73 | 0 | 100
Nipigon | NIPIGON DRINKING WATER SYSTEM | 84.51 | 88.53 | 384 | 0 | 100 | 101 | 0 | 100
Marathon | MARATHON DRINKING WATER SYSTEM | 100 | 100 | 738 | 0 | 100 | 278 | 0 | 100
Greenstone | LONGLAC DRINKING WATER SYSTEM | 86.19 | 92.72 | 368 | 0 | 100 | 73 | 0 | 100
Thunder Bay City | BARE POINT ROAD DRINKING WATER SYSTEM | 82.44 | 100 | 4244 | 3 | 99.9293 | 705 | 0 | 100
Kirkland Lake | KIRKLAND LAKE DRINKING WATER SYSTEM | 100 | 96.87 | 692 | 1 | 99.8555 | 116 | 0 | 100
Mcgarry | VIRGINIATOWN-KEARNS DRINKING WATER SYSTEM | 100 | 100 | 508 | 0 | 100 | 15 | 0 | 100
Larder Lake | LARDER LAKE DRINKING WATER SYSTEM | 100 | 100 | 324 | 0 | 100 | 68 | 0 | 100
Temiskaming Shores | NEW LISKEARD DRINKING WATER SYSTEM | 96.72 | 91.46 | 530 | 0 | 100 | 23 | 0 | 100
Englehart | ENGLEHART DRINKING WATER SYSTEM | 100 | 100 | 434 | 0 | 100 | 15 | 0 | 100
Cobalt | COBALT DRINKING WATER SYSTEM | 81.54 | 82.57 | 436 | 0 | 100 | 69 | 0 | 100
Norfolk | SIMCOE DRINKING WATER SYSTEM | 100 | 100 | 948 | 0 | 100 | 314 | 0 | 100
Norfolk | PORT DOVER DRINKING WATER SYSTEM | 100 | 100 | 532 | 1 | 99.812 | 76 | 0 | 100
Temagami | TEMAGAMI SOUTH DRINKING WATER SYSTEM | 95.71 | 91.34 | 312 | 0 | 100 | 71 | 0 | 100
Huron-Kinloss | LAKESHORE DRINKING WATER SYSTEM | 98.17 | 100 | 1142 | 0 | 100 | 294 | 0 | 100
Temagami | TEMAGAMI NORTH DRINKING WATER SYSTEM | 100 | 100 | 320 | 0 | 100 | 71 | 0 | 100
West Nipissing | STURGEON FALLS DRINKING WATER SYSTEM | 85.68 | 100 | 746 | 2 | 99.7319 | 74 | 0 | 100
North Bay | NORTH BAY DRINKING WATER SYSTEM | 79.52 | 87.68 | 2172 | 1 | 99.954 | 280 | 0 | 100
Asphodel-Norwood | NORWOOD DRINKING WATER SYSTEM | 100 | 95.15 | 412 | 0 | 100 | 75 | 0 | 100
Smith-Ennismore-Lakefield | LAKEFIELD DRINKING WATER SYSTEM | 100 | 100 | 654 | 0 | 100 | 94 | 0 | 100
Peterborough City | PETERBOROUGH DRINKING WATER SYSTEM | 100 | 100 | 3088 | 1 | 99.9676 | 198 | 0 | 100
Perth East | MILVERTON DRINKING WATER SYSTEM | 100 | 96.42 | 466 | 3 | 99.3562 | 18 | 0 | 100
North Perth | LISTOWEL DRINKING WATER SYSTEM | 100 | 100 | 814 | 4 | 99.5086 | 197 | 0 | 100
St. Marys | ST MARYS DRINKING WATER SYSTEM | 95.54 | 97.45 | 722 | 0 | 100 | 214 | 0 | 100
Stratford | STRATFORD DRINKING WATER SYSTEM | 96.4 | 89.92 | 1696 | 0 | 100 | 460 | 37 | 91.9565
Burk'S Falls | BURK'S FALLS DRINKING WATER SYSTEM | 98.78 | 96.74 | 486 | 0 | 100 | 31 | 0 | 100
Powassan | POWASSAN DRINKING WATER SYSTEM | 96.04 | 100 | 432 | 0 | 100 | 22 | 0 | 100
Parry Sound Town | PARRY SOUND DRINKING WATER SYSTEM | 100 | 98.21 | 508 | 0 | 100 | 77 | 0 | 100
Norwich | OXFORD SOUTH DRINKING WATER SYSTEM | 100 | 100 | 728 | 0 | 100 | 112 | 0 | 100
Zorra | THAMESFORD DRINKING WATER SYSTEM | 100 | 96.89 | 376 | 1 | 99.734 | 75 | 0 | 100
South-West Oxford | MOUNT ELGIN DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 21 | 0 | 100
South-West Oxford | BROWNSVILLE DRINKING WATER SYSTEM | 94.58 | 100 | 320 | 1 | 99.6875 | 69 | 0 | 100
East Zorra-Tavistock | TAVISTOCK DRINKING WATER SYSTEM | 100 | 100 | 386 | 0 | 100 | 66 | 0 | 100
Zorra | EMBRO DRINKING WATER SYSTEM | 100 | 100 | 344 | 1 | 99.7093 | 66 | 0 | 100
South-West Oxford | BEACHVILLE DRINKING WATER SYSTEM | 100 | 100 | 112 | 1 | 99.1071 | 20 | 0 | 100
Tillsonburg | TILLSONBURG DRINKING WATER SYSTEM | 100 | 100 | 1080 | 1 | 99.9074 | 264 | 0 | 100
Ingersoll | INGERSOLL DRINKING WATER SYSTEM | 100 | 100 | 1070 | 3 | 99.7196 | 307 | 0 | 100
Springwater | ELMVALE DRINKING WATER SYSTEM | 100 | 100 | 370 | 0 | 100 | 23 | 0 | 100
Woodstock | WOODSTOCK DRINKING WATER SYSTEM | 100 | 100 | 1854 | 4 | 99.7843 | 366 | 0 | 100
Brock | CANNINGTON DRINKING WATER SYSTEM | 100 | 95.77 | 738 | 0 | 100 | 445 | 0 | 100
Whitby | OSHAWA-WHITBY-AJAX DRINKING WATER SYSTEM - WHITBY | 100 | 91.02 | 2128 | 3 | 99.859 | 261 | 0 | 100
Uxbridge | UXBRIDGE DRINKING WATER SYSTEM | 100 | 100 | 952 | 0 | 100 | 293 | 0 | 100
Oshawa | OSHAWA-WHITBY-AJAX DRINKING WATER SYSTEM - OSHAWA | 100 | 91.09 | 2520 | 11 | 99.5635 | 260 | 0 | 100
Cavan-Millbrook-North Monaghan | MILLBROOK DRINKING WATER SYSTEM | 100 | 100 | 532 | 0 | 100 | 94 | 0 | 100
Cramahe | COLBORNE DRINKING WATER SYSTEM | 97.24 | 100 | 424 | 0 | 100 | 75 | 0 | 100
Brighton | BRIGHTON SPRINGS DRINKING WATER SYSTEM | 100 | 98.21 | 728 | 0 | 100 | 16 | 0 | 100
Cobourg | COBOURG DRINKING WATER SYSTEM | 100 | 100 | 844 | 0 | 100 | 77 | 0 | 100
Trent Hills | CAMPBELLFORD DRINKING WATER SYSTEM | 100 | 100 | 572 | 2 | 99.6503 | 94 | 1 | 98.9362
Clarington | BOWMANVILLE DRINKING WATER SYSTEM | 100 | 100 | 1922 | 1 | 99.948 | 233 | 0 | 100
Norfolk | PORT ROWAN DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 75 | 0 | 100
Norfolk | WATERFORD DRINKING WATER SYSTEM | 100 | 100 | 434 | 0 | 100 | 76 | 0 | 100
Deep River | DEEP RIVER DRINKING WATER SYSTEM | 100 | 100 | 540 | 0 | 100 | 110 | 0 | 100
Arnprior | ARNPRIOR DRINKING WATER SYSTEM | 100 | 94.47 | 730 | 0 | 100 | 91 | 0 | 100
Pembroke | PEMBROKE DRINKING WATER SYSTEM | 100 | 100 | 970 | 0 | 100 | 125 | 5 | 96
Atikokan | ATIKOKAN DRINKING WATER SYSTEM | 91.68 | 98.45 | 454 | 0 | 100 | 81 | 0 | 100
Rainy River Town | RAINY RIVER DRINKING WATER SYSTEM | 100 | 98.23 | 334 | 0 | 100 | 76 | 0 | 100
Fort Frances | FORT FRANCES DRINKING WATER SYSTEM | 99.11 | 100 | 1028 | 1 | 99.9027 | 85 | 0 | 100
Prince Edward County | PICTON DRINKING WATER SYSTEM | 100 | 100 | 696 | 0 | 100 | 93 | 0 | 100
South Dundas | SOUTH DUNDAS REGIONAL DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 122 | 0 | 100
North Glengarry | ALEXANDRIA DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 105 | 0 | 100
Cornwall | CORNWALL DRINKING WATER SYSTEM | 100 | 100 | 1650 | 0 | 100 | 75 | 0 | 100
Tay | TAY AREA DRINKING WATER SYSTEM | 96.07 | 96.05 | 756 | 0 | 100 | 78 | 0 | 100
New Tecumseth | TOTTENHAM DRINKING WATER SYSTEM | 100 | 100 | 732 | 0 | 100 | 111 | 0 | 100
Clearview | CREEMORE DRINKING WATER SYSTEM | 100 | 100 | 456 | 0 | 100 | 18 | 0 | 100
Severn | COLDWATER DRINKING WATER SYSTEM | 100 | 100 | 452 | 1 | 99.7788 | 56 | 0 | 100
Clearview | STAYNER DRINKING WATER SYSTEM | 100 | 100 | 678 | 0 | 100 | 35 | 0 | 100
Penetanguishene | PAYETTE (PENETANGUISHENE) DRINKING WATER SYSTEM | 100 | 100 | 674 | 0 | 100 | 75 | 0 | 100
Midland | MIDLAND DRINKING WATER SYSTEM | 100 | 100 | 1300 | 3 | 99.7692 | 163 | 0 | 100
Collingwood | COLLINGWOOD DRINKING WATER SYSTEM | 100 | 98.69 | 1130 | 0 | 100 | 127 | 0 | 100
New Tecumseth | ALLISTON DRINKING WATER SYSTEM | 100 | 100 | 2332 | 0 | 100 | 422 | 0 | 100
Orillia | ORILLIA DRINKING WATER SYSTEM | 96.35 | 100 | 1362 | 0 | 100 | 102 | 0 | 100
Barrie | BARRIE DRINKING WATER SYSTEM | 96.21 | 97.21 | 4432 | 0 | 100 | 812 | 0 | 100
Whitewater Region | COBDEN DRINKING WATER SYSTEM | 99.2 | 100 | 336 | 0 | 100 | 80 | 0 | 100
Merrickville-Wolford | MERRICKVILLE DRINKING WATER SYSTEM | 100 | 95.33 | 346 | 2 | 99.422 | 72 | 0 | 100
North Grenville | KEMPTVILLE DRINKING WATER SYSTEM | 100 | 96.65 | 978 | 0 | 100 | 88 | 0 | 100
Prescott | PRESCOTT DRINKING WATER SYSTEM | 100 | 100 | 526 | 1 | 99.8099 | 69 | 0 | 100
Gananoque | JAMES W. KING DRINKING WATER SYSTEM | 100 | 100 | 522 | 0 | 100 | 77 | 0 | 100
Brockville | BROCKVILLE DRINKING WATER SYSTEM | 96.16 | 100 | 1210 | 3 | 99.7521 | 69 | 0 | 100
Perth Town | PERTH DRINKING WATER SYSTEM | 96.96 | 99.13 | 522 | 1 | 99.8084 | 82 | 0 | 100
Mississippi Mills | MISSISSIPPI MILLS DRINKING WATER SYSTEM | 96.37 | 100 | 824 | 0 | 100 | 262 | 0 | 100
Smiths Falls | SMITHS FALLS DRINKING WATER SYSTEM | 100 | 97.16 | 796 | 0 | 100 | 165 | 0 | 100
Sioux Lookout | SIOUX LOOKOUT URBAN DRINKING WATER SYSTEM | 100 | 96.05 | 536 | 0 | 100 | 87 | 0 | 100
Kenora City | KENORA AREA DRINKING WATER SYSTEM | 92.94 | 99.11 | 978 | 0 | 100 | 77 | 0 | 100
Dryden | DRYDEN DRINKING WATER SYSTEM | 89.72 | 83.5 | 798 | 0 | 100 | 80 | 0 | 100
Bluewater | ZURICH DRINKING WATER SYSTEM | 100 | 97.27 | 430 | 0 | 100 | 24 | 0 | 100
Huron East | BRUSSELS DRINKING WATER SYSTEM | 100 | 100 | 506 | 0 | 100 | 145 | 2 | 98.6207
North Huron | BLYTH DRINKING WATER SYSTEM | 100 | 100 | 544 | 2 | 99.6324 | 148 | 0 | 100
North Huron | WINGHAM DRINKING WATER SYSTEM | 100 | 100 | 532 | 0 | 100 | 148 | 0 | 100
Huron East | SEAFORTH DRINKING WATER SYSTEM | 100 | 100 | 596 | 0 | 100 | 77 | 0 | 100
Oro-Medonte | SUGAR BUSH DRINKING WATER SYSTEM | 100 | 100 | 560 | 4 | 99.2857 | 120 | 0 | 100
South Huron | SOUTH HURON DISTRIBUTION SYSTEM | 100 | 100 | 1050 | 0 | 100 | 12 | 0 | 100
Central Huron | CLINTON DRINKING WATER SYSTEM | 100 | 98.59 | 534 | 1 | 99.8127 | 78 | 0 | 100
Tweed | TWEED DRINKING WATER SYSTEM | 97.03 | 100 | 374 | 0 | 100 | 85 | 0 | 100
Stirling-Rawdon | STIRLING DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 78 | 0 | 100
Madoc | MADOC DRINKING WATER SYSTEM | 100 | 100 | 348 | 0 | 100 | 77 | 0 | 100
Marmora And Lake | DELORO DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 21 | 0 | 100
Deseronto | DESERONTO DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 69 | 0 | 100
Quinte West | TRENTON DRINKING WATER SYSTEM | 95.81 | 98.86 | 1018 | 4 | 99.6071 | 76 | 0 | 100
Belleville | BELLEVILLE DRINKING WATER SYSTEM | 91.02 | 96.95 | 1828 | 2 | 99.8906 | 90 | 0 | 100
Oakville | SOUTH HALTON DRINKING WATER SYSTEM - OAKVILLE | 100 | 100 | 104 | 0 | 100 | 225 | 0 | 100
Milton | SOUTH HALTON DRINKING WATER SYSTEM - MILTON | 100 | 100 | 1382 | 0 | 100 | 241 | 0 | 100
Halton Hills | GEORGETOWN DRINKING WATER SYSTEM | 100 | 100 | 2094 | 0 | 100 | 420 | 0 | 100
Burlington | SOUTH HALTON DRINKING WATER SYSTEM - BURLINGTON | 100 | 100 | 104 | 0 | 100 | 245 | 0 | 100
Halton Hills | ACTON DRINKING WATER SYSTEM | 100 | 100 | 1342 | 0 | 100 | 346 | 0 | 100
Highlands East | CARDIFF DRINKING WATER SYSTEM | 95.87 | 95.22 | 312 | 0 | 100 | 77 | 0 | 100
Grey Highlands | MARKDALE DRINKING WATER SYSTEM | 97.5 | 100 | 512 | 0 | 100 | 138 | 0 | 100
Southgate | DUNDALK DRINKING WATER SYSTEM | 100 | 97.23 | 670 | 0 | 100 | 47 | 0 | 100
The Blue Mountains | THORNBURY DRINKING WATER SYSTEM | 95.43 | 96.13 | 1184 | 0 | 100 | 124 | 0 | 100
West Grey | DURHAM DRINKING WATER SYSTEM | 100 | 88.54 | 544 | 0 | 100 | 140 | 0 | 100
Owen Sound | OWEN SOUND DRINKING WATER SYSTEM | 96.13 | 95.42 | 1036 | 2 | 99.8069 | 85 | 0 | 100
Kingston | KINGSTON DRINKING WATER SYSTEM - POINT PLEASANT | 100 | 100 | 104 | 0 | 100 | 159 | 0 | 100
Kingston | KINGSTON DRINKING WATER SYSTEM - KING STREET | 100 | 97.94 | 3200 | 4 | 99.875 | 233 | 1 | 99.5708
Muskoka Lakes | BALA (MINTO) DRINKING WATER SYSTEM | 100 | 100 | 448 | 1 | 99.7768 | 85 | 0 | 100
Fort Erie | ROSEHILL DRINKING WATER SYSTEM | 100 | 100 | 526 | 1 | 99.8099 | 343 | 0 | 100
Welland | WELLAND DRINKING WATER SYSTEM | 99.17 | 100 | 414 | 0 | 100 | 341 | 0 | 100
St. Catharines | DECEW FALLS-NIAGARA FALLS DRINKING WATER SYSTEM - DECEW FALLS | 100 | 100 | 948 | 1 | 99.8945 | 341 | 0 | 100
Port Colborne | PORT COLBORNE DRINKING WATER SYSTEM | 100 | 100 | 332 | 2 | 99.3976 | 341 | 0 | 100
Niagara Falls | DECEW FALLS-NIAGARA FALLS DRINKING WATER SYSTEM - NIAGARA FALLS | 100 | 100 | 422 | 1 | 99.763 | 357 | 0 | 100
Huntsville | HUNTSVILLE (FAIRYVIEW) DRINKING WATER SYSTEM | 100 | 100 | 632 | 0 | 100 | 88 | 0 | 100
Gravenhurst | GRAVENHURST (MUSKOKA BEACH) DRINKING WATER SYSTEM | 100 | 100 | 728 | 0 | 100 | 107 | 0 | 100
Muskoka Lakes | PORT CARLING (FERNDALE) DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 85 | 0 | 100
Wasaga Beach | WASAGA BEACH DRINKING WATER SYSTEM | 100 | 100 | 1064 | 0 | 100 | 34 | 0 | 100
Thames Centre | DORCHESTER DRINKING WATER SYSTEM | 100 | 100 | 526 | 0 | 100 | 98 | 0 | 100
Northeast Manitoulin And The Islands | LITTLE CURRENT DRINKING WATER SYSTEM | 97.64 | 100 | 426 | 0 | 100 | 85 | 0 | 100
Gore Bay | GORE BAY DRINKING WATER SYSTEM | 100 | 100 | 338 | 1 | 99.7041 | 75 | 0 | 100
Loyalist | BATH DRINKING WATER SYSTEM | 95.6 | 100 | 448 | 0 | 100 | 80 | 0 | 100
Greater Napanee | A.L. DAFOE DRINKING WATER SYSTEM | 100 | 100 | 690 | 0 | 100 | 72 | 0 | 100
Toronto | CITY OF TORONTO DRINKING WATER SYSTEM - TORONTO ISLAND | 100 | 100 | 2476 | 0 | 100 | 321 | 1 | 99.6885
Toronto | CITY OF TORONTO DRINKING WATER SYSTEM - R.L. CLARK | 100 | 94.93 | 2844 | 0 | 100 | 358 | 1 | 99.7207
Toronto | CITY OF TORONTO DRINKING WATER SYSTEM - R.C.HARRIS | 94.98 | 100 | 2896 | 0 | 100 | 356 | 0 | 100
King | KING CITY DRINKING WATER SYSTEM | 100 | 100 | 208 | 0 | 100 | 60 | 0 | 100
King | NOBLETON DRINKING WATER SYSTEM | 100 | 100 | 510 | 0 | 100 | 261 | 0 | 100
Whitchurch-Stouffville | YORK DRINKING WATER SYSTEM - STOUFFVILLE | 95.77 | 100 | 438 | 0 | 100 | 295 | 0 | 100
Vaughan | KLEINBURG DRINKING WATER SYSTEM | 100 | 100 | 108 | 0 | 100 | 88 | 0 | 100
Newmarket | YORK DRINKING WATER SYSTEM - NEWMARKET | 100 | 94.92 | 576 | 0 | 100 | 391 | 0 | 100
Aurora | YORK DRINKING WATER SYSTEM - AURORA | 100 | 100 | 810 | 0 | 100 | 473 | 0 | 100
Central Elgin | BELMONT DRINKING WATER SYSTEM | 98.4 | 100 | 732 | 2 | 99.7268 | 23 | 0 | 100
Black River-Matheson | RAMORE DRINKING WATER SYSTEM | 100 | 100 | 52 | 0 | 100 | 14 | 0 | 100
Iroquois Falls | IROQUOIS FALLS DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 22 | 0 | 100
Black River-Matheson | HOLTYRE DRINKING WATER SYSTEM | 100 | 100 | 70 | 0 | 100 | 14 | 0 | 100
Black River-Matheson | MATHESON DRINKING WATER SYSTEM | 100 | 100 | 316 | 0 | 100 | 15 | 0 | 100
Kapuskasing | KAPUSKASING DRINKING WATER SYSTEM | 95.46 | 95.38 | 646 | 0 | 100 | 75 | 0 | 100
Hearst | HEARST DRINKING WATER SYSTEM | 99.2 | 95.77 | 566 | 0 | 100 | 70 | 0 | 100
Kincardine | TIVERTON DRINKING WATER SYSTEM | 100 | 95.73 | 502 | 0 | 100 | 108 | 6 | 94.4444
South Bruce | TEESWATER DRINKING WATER SYSTEM | 95.64 | 100 | 416 | 0 | 100 | 21 | 0 | 100
Arran-Elderslie | TARA DRINKING WATER SYSTEM | 100 | 100 | 428 | 0 | 100 | 140 | 0 | 100
Huron-Kinloss | RIPLEY DRINKING WATER SYSTEM | 100 | 100 | 322 | 1 | 99.6894 | 75 | 0 | 100
South Bruce | MILDMAY DRINKING WATER SYSTEM | 96.81 | 100 | 532 | 0 | 100 | 33 | 0 | 100
Huron-Kinloss | LUCKNOW DRINKING WATER SYSTEM | 95.76 | 100 | 528 | 0 | 100 | 141 | 0 | 100
Northern Bruce Peninsula | LION'S HEAD DRINKING WATER SYSTEM | 100 | 98.44 | 312 | 0 | 100 | 79 | 0 | 100
The South Bruce Peninsula | WIARTON DRINKING WATER SYSTEM | 100 | 100 | 420 | 0 | 100 | 135 | 0 | 100
Brockton | WALKERTON DRINKING WATER SYSTEM | 100 | 100 | 470 | 1 | 99.7872 | 157 | 0 | 100
Kincardine | KINCARDINE DRINKING WATER SYSTEM | 100 | 96.17 | 652 | 1 | 99.8466 | 79 | 0 | 100
Arran-Elderslie | ARRAN-ELDERSLIE DRINKING WATER SYSTEM | 100 | 100 | 376 | 0 | 100 | 150 | 0 | 100
Brant County | ST. GEORGE DRINKING WATER SYSTEM | 100 | 100 | 522 | 0 | 100 | 21 | 0 | 100
Brant County | AIRPORT DRINKING WATER SYSTEM | 100 | 100 | 442 | 0 | 100 | 20 | 0 | 100
Brant County | PARIS DRINKING WATER SYSTEM | 100 | 100 | 1078 | 1 | 99.9072 | 214 | 0 | 100
Elliot Lake | ELLIOT LAKE DRINKING WATER SYSTEM | 100 | 100 | 734 | 2 | 99.7275 | 129 | 0 | 100
Hilton Beach | HILTON BEACH DRINKING WATER SYSTEM | 100 | 100 | 102 | 0 | 100 | 21 | 0 | 100
Thessalon | THESSALON DRINKING WATER SYSTEM | 100 | 100 | 412 | 0 | 100 | 75 | 0 | 100
Hawkesbury | HAWKESBURY DRINKING WATER SYSTEM | 100 | 95.84 | 940 | 0 | 100 | 95 | 0 | 100
Alfred And Plantagenet | LEFAIVRE AND PLANTAGENT DRINKING WATER SYSTEM | 98.34 | 100 | 832 | 0 | 100 | 78 | 0 | 100
Petrolia | PETROLIA DRINKING WATER SYSTEM | 100 | 88.02 | 660 | 2 | 99.697 | 76 | 0 | 100
Dutton-Dunwich | DUTTON-DUNWICH DISTRIBUTION SYSTEM | 95.35 | 100 | 416 | 0 | 100 | 8 | 0 | 100
Cochrane Town | COCHRANE DRINKING WATER SYSTEM | 100 | 100 | 646 | 0 | 100 | 75 | 0 | 100
Timmins | TIMMINS DRINKING WATER SYSTEM | 96.13 | 100 | 1760 | 0 | 100 | 221 | 0 | 100
Kitchener | REGION OF WATERLOO DRINKING WATER SYSTEM - KITCHENER | 100 | 100 | 522 | 0 | 100 | 96 | 0 | 100
Hamilton City | HAMILTON DRINKING WATER SYSTEM - WOODWARD | 94.85 | 96.32 | 4954 | 7 | 99.8587 | 320 | 0 | 100
Ottawa | CENTRAL DRINKING WATER SYSTEM - BRITANNIA | 100 | 100 | 11398 | 15 | 99.8684 | 3426 | 0 | 100
Ottawa | CENTRAL DRINKING WATER SYSTEM - LEMIEUX ISLAND | 100 | 100 | 2912 | 0 | 100 | 331 | 0 | 100
Orangeville | ORANGEVILLE DRINKING WATER SYSTEM | 100 | 97.51 | 2674 | 1 | 99.9626 | 1660 | 1 | 99.9398
Chatham-Kent | CHATHAM-KENT DRINKING WATER SYSTEM - WHEATLEY | 100 | 100 | 802 | 2 | 99.7506 | 86 | 0 | 100
Chatham-Kent | CHATHAM-KENT DRINKING WATER SYSTEM - WALLACEBURG | 100 | 100 | 1120 | 2 | 99.8214 | 396 | 0 | 100
Chatham-Kent | RIDGETOWN DRINKING WATER SYSTEM | 100 | 100 | 840 | 0 | 100 | 157 | 4 | 97.4522
Chatham-Kent | CHATHAM-KENT DRINKING WATER SYSTEM - CHATHAM | 100 | 100 | 3636 | 7 | 99.8075 | 97 | 0 | 100
Lakeshore | TOWN OF LAKESHORE DRINKING WATER SYSTEM - STONEY POINT | 100 | 91.34 | 728 | 0 | 100 | 82 | 0 | 100
Kingsville | KINGSVILLE DISTRIBUTION SYSTEM | 100 | 97.52 | 978 | 0 | 100 | 15 | 0 | 100
Windsor | CITY OF WINDSOR DRINKING WATER SYSTEM | 100 | 100 | 7936 | 2 | 99.9748 | 700 | 0 | 100
Whitewater Region | BEACHBURG DRINKING WATER SYSTEM | 95.45 | 100 | 340 | 0 | 100 | 80 | 0 | 100
Greater Sudbury | SUDBURY DRINKING WATER SYSTEM - GARSON | 100 | 100 | 626 | 1 | 99.8403 | 238 | 0 | 100
Chapleau | CHAPLEAU DRINKING WATER SYSTEM | 100 | 100 | 426 | 2 | 99.5305 | 70 | 0 | 100
Sables-Spanish Rivers | MASSEY DRINKING WATER SYSTEM | 100 | 97.11 | 316 | 0 | 100 | 75 | 0 | 100
Greater Sudbury | ONAPING/LEVACK DRINKING WATER SYSTEM | 100 | 100 | 414 | 0 | 100 | 25 | 0 | 100
Greater Sudbury | SUDBURY DRINKING WATER SYSTEM - DAVID ST | 97.81 | 100 | 1476 | 1 | 99.9322 | 101 | 0 | 100
Haldimand | DUNNVILLE DRINKING WATER SYSTEM | 100 | 97.14 | 790 | 1 | 99.8734 | 82 | 0 | 100
Brantford | CITY OF BRANTFORD DRINKING WATER SYSTEM | 100 | 95.81 | 3492 | 27 | 99.2268 | 250 | 0 | 100
Edwardsburgh/Cardinal | CARDINAL DRINKING WATER SYSTEM | 100 | 100 | 454 | 0 | 100 | 161 | 0 | 100
Matachewan | MATACHEWAN DRINKING WATER SYSTEM | 100 | 97.99 | 320 | 1 | 99.6875 | 26 | 0 | 100
Armstrong | EARLTON DRINKING WATER SYSTEM | 100 | 100 | 320 | 0 | 100 | 71 | 0 | 100
Essex Town | ESSEX DRINKING WATER SYSTEM - ESSEX DS | 97.45 | 100 | 664 | 0 | 100 | 15 | 0 | 100
Clearview | NEW LOWELL DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 18 | 0 | 100
Scugog | BLACKSTOCK DRINKING WATER SYSTEM | 99.34 | 100 | 422 | 1 | 99.763 | 105 | 0 | 100
Scugog | GREENBANK DRINKING WATER SYSTEM | 100 | 100 | 424 | 0 | 100 | 106 | 0 | 100
Adjala-Tosorontio | ROSEMONT DRINKING WATER SYSTEM | 100 | 95.5 | 52 | 0 | 100 | 21 | 0 | 100
Greater Napanee | SANDHURST SHORES DRINKING WATER SYSTEM | 100 | 100 | 212 | 0 | 100 | 20 | 0 | 100
Springwater | HILLSDALE DRINKING WATER SYSTEM | 100 | 100 | 422 | 0 | 100 | 23 | 0 | 100
Oro-Medonte | MEDONTE HILLS DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 76 | 0 | 100
Perth South | ST. PAULS DRINKING WATER SYSTEM | 100 | 90.52 | 52 | 0 | 100 | 25 | 0 | 100
North Perth | GOWANSTOWN SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 28 | 0 | 100 | 71 | 1 | 98.5915
Caledon | PALGRAVE-CALEDON EAST DRINKING WATER SYSTEM | 95.34 | 95.9 | 1384 | 0 | 100 | 414 | 0 | 100
Caledon | CALEDON VILLAGE - ALTON DRINKING WATER SYSTEM | 100 | 96.18 | 1110 | 1 | 99.9099 | 362 | 0 | 100
Caledon | INGLEWOOD DRINKING WATER SYSTEM | 100 | 100 | 732 | 0 | 100 | 160 | 0 | 100
East Gwillimbury | YORK DRINKING WATER SYSTEM - HOLLAND LANDING | 100 | 100 | 308 | 0 | 100 | 164 | 0 | 100
Mapleton | DRAYTON DRINKING WATER SYSTEM | 99.33 | 100 | 392 | 0 | 100 | 75 | 0 | 100
Hamilton City | CARLISLE DRINKING WATER SYSTEM | 94.4 | 100 | 826 | 0 | 100 | 384 | 0 | 100
Hamilton City | FREELTON DRINKING WATER SYSTEM | 96.74 | 100 | 608 | 0 | 100 | 237 | 0 | 100
Hamilton City | GREENSVILLE DRINKING WATER SYSTEM | 99.36 | 100 | 312 | 0 | 100 | 137 | 0 | 100
Oro-Medonte | MAPLEWOOD DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 31 | 0 | 100
Markham | MARKHAM DISTRIBUTION SYSTEM | 93.58 | 93.5 | 3718 | 6 | 99.8386 | 136 | 0 | 100
Woolwich | MARYHILL DRINKING WATER SYSTEM - MARYHILL | 100 | 100 | 190 | 0 | 100 | 17 | 0 | 100
Wilmot | NEW DUNDEE DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 12 | 0 | 100
North Dumfries | AYR DRINKING WATER SYSTEM | 100 | 100 | 726 | 0 | 100 | 22 | 0 | 100
Wellesley | WELLESLEY DRINKING WATER SYSTEM | 100 | 100 | 474 | 1 | 99.789 | 17 | 0 | 100
Georgian Bay | MACTIER (BEECH) DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 85 | 0 | 100
Thorold | THOROLD (DECEW) DISTRIBUTION SYSTEM | 100 | 100 | 948 | 1 | 99.8945 | 12 | 1 | 91.6667
Belleville | POINT ANNE HAMLET DRINKING WATER SYSTEM | 100 | 100 | 214 | 1 | 99.5327 | 18 | 0 | 100
Enniskillen | ENNISKILLEN TOWNSHIP DISTRIBUTION SYSTEM | 100 | 100 | 626 | 0 | 100 | 20 | 0 | 100
Lasalle | TOWN OF LASALLE DISTRIBUTION SYSTEM | 91.29 | 100 | 1060 | 0 | 100 | 12 | 0 | 100
Toronto | CITY OF TORONTO DRINKING WATER SYSTEM - F. J. HORGAN | 100 | 100 | 2866 | 0 | 100 | 357 | 1 | 99.7199
Clarington | ORONO DRINKING WATER SYSTEM | 100 | 100 | 536 | 0 | 100 | 194 | 0 | 100
Clarington | NEWCASTLE DRINKING WATER SYSTEM | 100 | 100 | 1050 | 0 | 100 | 275 | 0 | 100
Bancroft | BANCROFT DRINKING WATER SYSTEM | 92.26 | 100 | 546 | 0 | 100 | 118 | 0 | 100
Marmora And Lake | MARMORA DRINKING WATER SYSTEM | 100 | 100 | 420 | 0 | 100 | 76 | 0 | 100
Scugog | PORT PERRY DRINKING WATER SYSTEM | 100 | 100 | 918 | 2 | 99.7821 | 293 | 0 | 100
King | SCHOMBERG DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 77 | 0 | 100
Brock | SUNDERLAND DRINKING WATER SYSTEM | 100 | 96.13 | 430 | 0 | 100 | 159 | 1 | 99.3711
Brock | BEAVERTON DRINKING WATER SYSTEM | 96.1 | 100 | 550 | 0 | 100 | 272 | 0 | 100
Shelburne | SHELBURNE DRINKING WATER SYSTEM | 100 | 100 | 1042 | 0 | 100 | 465 | 2 | 99.5699
Leamington | LEAMINGTON DISTRIBUTION SYSTEM - UNION DS | 100 | 100 | 1084 | 0 | 100 | 15 | 0 | 100
Adjala-Tosorontio | HOCKLEY DRINKING WATER SYSTEM | 95.54 | 100 | 54 | 0 | 100 | 21 | 0 | 100
Adjala-Tosorontio | LORETTO HEIGHTS DRINKING WATER SYSTEM | 95.5 | 100 | 36 | 0 | 100 | 60 | 0 | 100
Innisfil | CHURCHILL DRINKING WATER SYSTEM | 86.51 | 95.73 | 622 | 0 | 100 | 143 | 2 | 98.6014
Innisfil | INNISFIL HEIGHTS DRINKING WATER SYSTEM | 95.3 | 100 | 548 | 0 | 100 | 71 | 0 | 100
Oro-Medonte | WARMINSTER DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 76 | 0 | 100
Severn | BASS LAKE WOODLANDS DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 22 | 0 | 100
Severn | SEVERN ESTATES DRINKING WATER SYSTEM | 100 | 100 | 220 | 0 | 100 | 21 | 0 | 100
Severn | WASHAGO DRINKING WATER SYSTEM | 100 | 100 | 332 | 0 | 100 | 86 | 0 | 100
Oro-Medonte | SHANTY BAY DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 76 | 0 | 100
Tiny | BLUEWATER DRINKING WATER SYSTEM | 94.64 | 100 | 416 | 0 | 100 | 140 | 0 | 100
Tiny | COOK'S LAKE DRINKING WATER SYSTEM | 95.63 | 100 | 208 | 0 | 100 | 73 | 0 | 100
Tiny | GEORGIAN BAY ESTATES DRINKING WATER SYSTEM | 98.06 | 100 | 312 | 0 | 100 | 75 | 0 | 100
Tiny | CASTLE COVE DRINKING WATER SYSTEM | 99.4 | 100 | 480 | 0 | 100 | 204 | 0 | 100
Tiny | LEFAIVE DRINKING WATER SYSTEM | 97.84 | 100 | 208 | 0 | 100 | 73 | 0 | 100
Tiny | PENNORTH DRINKING WATER SYSTEM | 97.92 | 100 | 208 | 0 | 100 | 73 | 0 | 100
Tiny | RAYKO DRINKING WATER SYSTEM | 96.04 | 86.96 | 220 | 2 | 99.0909 | 73 | 0 | 100
Sioux Lookout | HUDSON DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 81 | 0 | 100
Tiny | TEE PEE POINT DRINKING WATER SYSTEM | 91.08 | 100 | 218 | 2 | 99.0826 | 73 | 0 | 100
Tiny | VANIER WOODS DRINKING WATER SYSTEM | 98.02 | 100 | 208 | 0 | 100 | 73 | 0 | 100
Tiny | WYEVALE DRINKING WATER SYSTEM | 100 | 100 | 430 | 3 | 99.3023 | 140 | 0 | 100
Adjala-Tosorontio | LISLE DRINKING WATER SYSTEM | 100 | 100 | 52 | 0 | 100 | 21 | 0 | 100
Springwater | ANTEN MILLS DRINKING WATER SYSTEM | 100 | 100 | 296 | 0 | 100 | 23 | 0 | 100
Springwater | MINESING DRINKING WATER SYSTEM | 100 | 100 | 310 | 0 | 100 | 23 | 0 | 100
Springwater | MIDHURST DRINKING WATER SYSTEM | 100 | 100 | 584 | 0 | 100 | 49 | 0 | 100
Middlesex Centre | BIRR DRINKING WATER SYSTEM | 97.23 | 98.32 | 54 | 0 | 100 | 22 | 0 | 100
Iroquois Falls | PORQUIS JUNCTION DRINKING WATER SYSTEM | 100 | 100 | 106 | 0 | 100 | 18 | 0 | 100
Tiny | PERKINSFIELD DRINKING WATER SYSTEM | 100 | 100 | 434 | 4 | 99.0783 | 140 | 0 | 100
Guelph-Eramosa | ROCKWOOD DRINKING WATER SYSTEM | 97.15 | 100 | 612 | 0 | 100 | 150 | 0 | 100
Huntsville | PORT SYDNEY (CLARKE WELL) DRINKING WATER SYSTEM | 100 | 100 | 216 | 0 | 100 | 84 | 0 | 100
Prince Edward County | AMELIASBURGH HAMLET DRINKING WATER SYSTEM | 100 | 100 | 58 | 0 | 100 | 20 | 0 | 100
Prince Edward County | PEATS POINT SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 52 | 0 | 100 | 20 | 0 | 100
Charlton/Dack | CHARLTON DRINKING WATER SYSTEM | 95.77 | 100 | 312 | 0 | 100 | 72 | 0 | 100
Wellesley | ST. CLEMENTS DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 17 | 0 | 100
The North Shore | SERPENT RIVER DRINKING WATER SYSTEM | 95.55 | 100 | 92 | 0 | 100 | 31 | 0 | 100
Killaloe/Hagarty/Richards | KILLALOE DRINKING WATER SYSTEM | 91.64 | 100 | 320 | 0 | 100 | 80 | 0 | 100
Kingston | CANA DRINKING WATER SYSTEM | 100 | 100 | 114 | 0 | 100 | 93 | 0 | 100
Thames Centre | THORNDALE DRINKING WATER SYSTEM | 95.73 | 97.35 | 422 | 1 | 99.763 | 21 | 0 | 100
East Zorra-Tavistock | HICKSON DRINKING WATER SYSTEM | 100 | 99.38 | 108 | 0 | 100 | 21 | 0 | 100
Innisfil | STROUD DRINKING WATER SYSTEM | 91.3 | 100 | 504 | 1 | 99.8016 | 81 | 2 | 97.5309
Tiny | SAWLOG BAY DRINKING WATER SYSTEM | 99.3 | 100 | 214 | 1 | 99.5327 | 78 | 0 | 100
Tiny | THUNDER BAY DRINKING WATER SYSTEM | 98.3 | 100 | 214 | 1 | 99.5327 | 73 | 0 | 100
Tiny | LAFONTAINE DRINKING WATER SYSTEM | 95.83 | 100 | 680 | 2 | 99.7059 | 453 | 1 | 99.7792
Val Rita-Harty | VAL RITA DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 16 | 0 | 100
Otonabee-South Monaghan | KEENE HEIGHTS SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 74 | 0 | 100
Galway-Cavendish-Harvey | BUCKHORN LAKE ESTATES DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 74 | 0 | 100
Kawartha Lakes | JANETVILLE DRINKING WATER SYSTEM | 100 | 100 | 428 | 1 | 99.7664 | 23 | 0 | 100
Kawartha Lakes | PINEWOOD DRINKING WATER SYSTEM | 100 | 100 | 422 | 1 | 99.763 | 20 | 0 | 100
Kawartha Lakes | CANADIANA SHORES DRINKING WATER SYSTEM | 100 | 100 | 432 | 0 | 100 | 73 | 0 | 100
Kawartha Lakes | PLEASANT POINT DRINKING WATER SYSTEM | 100 | 100 | 430 | 0 | 100 | 73 | 0 | 100
East Gwillimbury | MOUNT ALBERT DRINKING WATER SYSTEM | 94.6 | 95.85 | 312 | 0 | 100 | 167 | 0 | 100
Oro-Medonte | HARBOURWOOD DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 76 | 0 | 100
Penetanguishene | LEPAGE SUBDIVISION (PENETANGUISHENE) DRINKING WATER SYSTEM | 100 | 100 | 310 | 0 | 100 | 75 | 0 | 100
Oro-Medonte | CEDAR BROOK DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 31 | 0 | 100
Essa | THORNTON DRINKING WATER SYSTEM | 100 | 100 | 360 | 0 | 100 | 23 | 0 | 100
Kitchener | REGION OF WATERLOO DRINKING WATER SYSTEM - MANNHEIM | 100 | 100 | 104 | 0 | 100 | 287 | 0 | 100
East Luther Grand Valley | GRAND VALLEY DRINKING WATER SYSTEM | 100 | 100 | 520 | 0 | 100 | 143 | 3 | 97.9021
Spanish | SPANISH DRINKING WATER SYSTEM | 97.13 | 97.24 | 428 | 0 | 100 | 89 | 0 | 100
Chatsworth | WALTER'S FALLS DRINKING WATER SYSTEM | 100 | 100 | 54 | 0 | 100 | 21 | 0 | 100
Kincardine | SCOTT POINT DRINKING WATER SYSTEM | 100 | 100 | 208 | 0 | 100 | 75 | 2 | 97.3333
Kincardine | UNDERWOOD DRINKING WATER SYSTEM | 100 | 100 | 208 | 0 | 100 | 77 | 2 | 97.4026
Grey Highlands | KIMBERLEY-AMIK-TALISMAN DRINKING WATER SYSTEM | 100 | 100 | 310 | 0 | 100 | 73 | 0 | 100
Ramara | PARK LANE SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 22 | 0 | 100
Ramara | DAVY DRIVE SUBDIVISION DRINKING WATER SYSTEM | 95.21 | 100 | 324 | 0 | 100 | 22 | 0 | 100
Grimsby | GRIMSBY DRINKING WATER SYSTEM | 100 | 100 | 624 | 0 | 100 | 341 | 0 | 100
Smooth Rock Falls | SMOOTH ROCK FALLS DRINKING WATER SYSTEM | 100 | 100 | 426 | 0 | 100 | 84 | 0 | 100
Norfolk | DELHI DRINKING WATER SYSTEM | 100 | 100 | 736 | 0 | 100 | 206 | 0 | 100
Opasatika | OPASATIKA DRINKING WATER SYSTEM | 95.73 | 94.65 | 334 | 1 | 99.7006 | 69 | 0 | 100
St. Joseph | RICHARDS LANDING DRINKING WATER SYSTEM | 100 | 100 | 320 | 0 | 100 | 76 | 0 | 100
Bracebridge | BRACEBRIDGE (KIRBY'S BEACH) DRINKING WATER SYSTEM | 100 | 100 | 686 | 0 | 100 | 94 | 0 | 100
Erin | HILLSBURGH DRINKING WATER SYSTEM | 100 | 97.33 | 444 | 0 | 100 | 166 | 0 | 100
North Dumfries | ROSEVILLE DRINKING WATER SYSTEM | 97.5 | 100 | 230 | 3 | 98.6957 | 17 | 0 | 100
Woolwich | HEIDELBERG DRINKING WATER SYSTEM | 100 | 100 | 422 | 1 | 99.763 | 17 | 0 | 100
James | ELK LAKE DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 15 | 0 | 100
Oro-Medonte | CANTERBURY DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 31 | 0 | 100
Innisfil | INNISFIL LAKE SIMCOE DRINKING WATER SYSTEM | 91.72 | 100 | 1500 | 0 | 100 | 98 | 0 | 100
Tiny | WHIPPOORWILL DRINKING WATER SYSTEM | 88.72 | 100 | 208 | 0 | 100 | 73 | 0 | 100
Blandford-Blenheim | DRUMBO DRINKING WATER SYSTEM | 100 | 100 | 346 | 1 | 99.711 | 66 | 0 | 100
Zorra | LAKESIDE DRINKING WATER SYSTEM | 100 | 100 | 328 | 0 | 100 | 64 | 0 | 100
Ashfield-Colborne-Wawanosh | BENMILLER DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 20 | 0 | 100
Huron East | BRUCEFIELD DRINKING WATER SYSTEM | 94.94 | 100 | 104 | 0 | 100 | 19 | 0 | 100
Georgian Bluffs | EAST LINTON DRINKING WATER SYSTEM | 100 | 100 | 338 | 0 | 100 | 75 | 0 | 100
The South Bruce Peninsula | OLIPHANT DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 9 | 0 | 100
The South Bruce Peninsula | FOREMAN DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 21 | 0 | 100
Ashfield-Colborne-Wawanosh | HURON SANDS DRINKING WATER SYSTEM | 100 | 100 | 68 | 0 | 100 | 15 | 0 | 100
The South Bruce Peninsula | HURON WOODS DRINKING WATER SYSTEM | 100 | 100 | 184 | 0 | 100 | 75 | 0 | 100
Central Huron | KELLY DRINKING WATER SYSTEM | 97 | 100 | 206 | 0 | 100 | 74 | 2 | 97.2973
Brockton | LAKE ROSALIND DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 22 | 0 | 100
Central Huron | MCCLINCHEY DRINKING WATER SYSTEM | 100 | 100 | 206 | 0 | 100 | 73 | 0 | 100
The South Bruce Peninsula | AMABEL-SAUBLE DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 73 | 0 | 100
Ottawa | KINGS PARK DRINKING WATER SYSTEM | 100 | 100 | 628 | 1 | 99.8408 | 728 | 0 | 100
Ottawa | MUNSTER HAMLET DRINKING WATER SYSTEM | 99.11 | 100 | 640 | 3 | 99.5312 | 390 | 0 | 100
North Stormont | MOOSE CREEK DRINKING WATER SYSTEM | 92.1 | 100 | 314 | 0 | 100 | 25 | 0 | 100
South Stormont | NEWINGTON DRINKING WATER SYSTEM | 100 | 98.24 | 296 | 0 | 100 | 81 | 0 | 100
Quinte West | BAYSIDE DRINKING WATER SYSTEM | 100 | 100 | 478 | 1 | 99.7908 | 88 | 0 | 100
Hamilton Township | CREIGHTON HEIGHTS DRINKING WATER SYSTEM | 98.56 | 100 | 358 | 0 | 100 | 78 | 0 | 100
Hamilton Township | CAMBORNE DRINKING WATER SYSTEM | 98.79 | 100 | 102 | 0 | 100 | 18 | 0 | 100
Kawartha Lakes | WESTERN TRENT/PALMINA DRINKING WATER SYSTEM | 100 | 100 | 424 | 0 | 100 | 74 | 0 | 100
Chapple | BARWICK DRINKING WATER SYSTEM | 95.02 | 97 | 50 | 0 | 100 | 17 | 0 | 100
Morris-Turnberry | BELGRAVE DRINKING WATER SYSTEM | 100 | 95.59 | 312 | 0 | 100 | 20 | 0 | 100
Central Huron | S.A.M. DRINKING WATER SYSTEM | 100 | 100 | 204 | 0 | 100 | 74 | 2 | 97.2973
Central Huron | VAN DE WETERING DRINKING WATER SYSTEM | 90.23 | 100 | 204 | 0 | 100 | 74 | 2 | 97.2973
Georgian Bluffs | POTTAWATOMI DRINKING WATER SYSTEM | 95.95 | 100 | 112 | 1 | 99.1071 | 22 | 0 | 100
Central Manitoulin | MINDEMOYA DRINKING WATER SYSTEM | 100 | 100 | 316 | 0 | 100 | 74 | 0 | 100
North Glengarry | GLEN ROBERTSON DRINKING WATER SYSTEM | 100 | 97.3 | 324 | 0 | 100 | 85 | 0 | 100
Tehkummah | SOUTH BAYMOUTH DRINKING WATER SYSTEM | 100 | 98.02 | 52 | 0 | 100 | 21 | 0 | 100
Assiginack | SUNSITE ESTATES SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 64 | 1 | 98.4375 | 75 | 0 | 100
Ashfield-Colborne-Wawanosh | CENTURY HEIGHTS SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 210 | 0 | 100 | 20 | 0 | 100
Mono | ISLAND LAKE DRINKING WATER SYSTEM | 100 | 100 | 844 | 5 | 99.4076 | 288 | 2 | 99.3056
Mono | CARDINAL WOODS DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 120 | 0 | 100
North Stormont | CRYSLER DRINKING WATER SYSTEM | 100 | 100 | 318 | 0 | 100 | 78 | 0 | 100
Whitchurch-Stouffville | BALLANTRAE-MUSSELMAN'S DRINKING WATER SYSTEM | 95.93 | 100 | 292 | 0 | 100 | 164 | 0 | 100
Prince Edward County | WELLINGTON DRINKING WATER SYSTEM | 100 | 100 | 368 | 0 | 100 | 73 | 0 | 100
Brockton | CHEPSTOW DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 23 | 2 | 91.3043
Kincardine | ARMOW DRINKING WATER SYSTEM | 99.16 | 100 | 208 | 0 | 100 | 30 | 5 | 83.3333
Arran-Elderslie | BURGOYNE DRINKING WATER SYSTEM | N/A | N/A | 168 | 0 | 100 | 64 | 0 | 100
Huron-Kinloss | WHITECHURCH DRINKING WATER SYSTEM | 100 | 99.19 | 208 | 0 | 100 | 24 | 0 | 100
Ajax | OSHAWA-WHITBY-AJAX DRINKING WATER SYSTEM - AJAX | 100 | 100 | 3198 | 10 | 99.6873 | 262 | 1 | 99.6183
Blandford-Blenheim | BRIGHT DRINKING WATER SYSTEM | 100 | 100 | 320 | 1 | 99.6875 | 65 | 0 | 100
Georgian Bluffs | SHALLOW LAKE DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 74 | 0 | 100
Northeast Manitoulin And The Islands | SHEGUIANDAH DRINKING WATER SYSTEM | 100 | 94.46 | 54 | 0 | 100 | 21 | 0 | 100
Macdonald Meredith & Aberdeen Additional | ECHO BAY DRINKING WATER SYSTEM | 100 | 100 | 306 | 0 | 100 | 127 | 0 | 100
Springwater | DEL TREND SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 300 | 0 | 100 | 22 | 0 | 100
Alnwick/Haldimand | GRAFTON DRINKING WATER SYSTEM | 99.36 | 100 | 416 | 0 | 100 | 75 | 0 | 100
Guelph-Eramosa | HAMILTON DRIVE DRINKING WATER SYSTEM | 94.82 | 96.87 | 510 | 0 | 100 | 142 | 0 | 100
Wilmot | FOXBORO DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 9 | 0 | 100
Loyalist | FAIRFIELD DRINKING WATER SYSTEM | 100 | 100 | 1222 | 1 | 99.9182 | 80 | 0 | 100
Adjala-Tosorontio | COLGAN DRINKING WATER SYSTEM | 100 | 100 | 54 | 0 | 100 | 21 | 0 | 100
Adjala-Tosorontio | WECA DRINKING WATER SYSTEM | 100 | 100 | 462 | 0 | 100 | 151 | 0 | 100
Severn | SANDCASTLE ESTATES DRINKING WATER SYSTEM | 100 | 100 | 208 | 0 | 100 | 21 | 0 | 100
Ramara | SOUTH RAMARA DRINKING WATER SYSTEM | 100 | 95.31 | 312 | 0 | 100 | 75 | 0 | 100
Ramara | VAL HARBOUR SUBDIVISION DRINKING WATER SYSTEM | 95.02 | 100 | 312 | 0 | 100 | 22 | 0 | 100
Oro-Medonte | ROBIN CREST DRINKING WATER SYSTEM | 100 | 100 | 312 | 0 | 100 | 76 | 0 | 100
Galway-Cavendish-Harvey | ALPINE/PIRATES GLEN DRINKING WATER SYSTEM | 100 | 100 | 430 | 1 | 99.7674 | 77 | 0 | 100
Tay | ROPE DRINKING WATER SYSTEM | 95.95 | 95.95 | 312 | 0 | 100 | 99 | 1 | 98.9899
Adjala-Tosorontio | EVERETT DRINKING WATER SYSTEM | 100 | 100 | 454 | 0 | 100 | 34 | 0 | 100
Kawartha Lakes | VICTORIA PLACE DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 20 | 0 | 100
Milton | CAMPBELLVILLE DRINKING WATER SYSTEM | 100 | 100 | 620 | 0 | 100 | 115 | 0 | 100
Kawartha Lakes | WOODFIELD DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 20 | 0 | 100
Kawartha Lakes | SOUTHVIEW ESTATES DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 86 | 0 | 100
Kawartha Lakes | MARIPOSA ESTATES DRINKING WATER SYSTEM | 100 | 95.43 | 104 | 0 | 100 | 46 | 0 | 100
Kawartha Lakes | BIRCHPOINT ESTATES DRINKING WATER SYSTEM | 100 | 100 | 418 | 0 | 100 | 21 | 0 | 100
Ramara | BAYSHORE VILLAGE SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 324 | 0 | 100 | 23 | 0 | 100
Amaranth | WALDEMAR DRINKING WATER SYSTEM | 100 | 100 | 334 | 0 | 100 | 76 | 2 | 97.3684
South River | SOUTH RIVER DRINKING WATER SYSTEM | 100 | 100 | 504 | 0 | 100 | 75 | 0 | 100
Highlands East | DYNO ESTATES DRINKING WATER SYSTEM | 95.5 | 97.08 | 286 | 0 | 100 | 23 | 0 | 100
Markstay-Warren | MARKSTAY DISTRIBUTION SYSTEM | 100 | 100 | 312 | 0 | 100 | 11 | 0 | 100
Iroquois Falls | MONTEITH CORRECTIONAL COMPLEX DRINKING WATER SYSTEM | 100 | 100 | 52 | 0 | 100 | 14 | 0 | 100
Greater Sudbury | FALCONBRIDGE DRINKING WATER SYSTEM | 100 | 100 | 688 | 0 | 100 | 189 | 0 | 100
Greater Sudbury | VERMILION DRINKING WATER SYSTEM | 100 | 100 | 102 | 0 | 100 | 64 | 0 | 100
Whitewater Region | HALEY DRINKING WATER SYSTEM | 100 | 98.66 | 52 | 0 | 100 | 29 | 0 | 100
Oro-Medonte | CRAIGHURST DRINKING WATER SYSTEM | 100 | 100 | 110 | 1 | 99.0909 | 31 | 0 | 100
Oro-Medonte | HORSESHOE HIGHLANDS DRINKING WATER SYSTEM | 100 | 100 | 336 | 0 | 100 | 76 | 0 | 100
Clearview | BUCKINGHAM WOODS DRINKING WATER SYSTEM | 100 | 100 | 118 | 0 | 100 | 17 | 0 | 100
Terrace Bay | TERRACE BAY DRINKING WATER SYSTEM | 96.5 | 96.07 | 342 | 0 | 100 | 83 | 0 | 100
Hamilton City | LYNDEN DRINKING WATER SYSTEM | 100 | 100 | 416 | 1 | 99.7596 | 204 | 0 | 100
Kawartha Lakes | NORLAND DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 20 | 0 | 100
South Glengarry | REDWOOD ESTATES DRINKING WATER SYSTEM | 100 | 98.71 | 104 | 0 | 100 | 14 | 0 | 100
Essa | ANGUS DRINKING WATER SYSTEM | 100 | 99.34 | 800 | 0 | 100 | 51 | 0 | 100
Oliver Paipoonge | ROSSLYN VILLAGE SUBDIVISION DRINKING WATER SYSTEM | 41.35 | 95.37 | 74 | 1 | 98.6486 | 20 | 0 | 100
South Stormont | ST ANDREWS/ROSEDALE TERRACE DISTRIBUTION SYSTEM | 100 | 97.41 | 240 | 0 | 100 | 8 | 0 | 100
Niagara-On-The-Lake | NIAGARA-ON -THE-LAKE DISTRIBUTION SYSTEM | 100 | 100 | 964 | 0 | 100 | 10 | 0 | 100
Kitchener | KITCHENER DISTRIBUTION SYSTEM | 100 | 100 | 4200 | 14 | 99.6667 | 280 | 6 | 97.8571
South-West Oxford | DEREHAM CENTRE DRINKING WATER SYSTEM | 100 | 100 | 108 | 0 | 100 | 245 | 2 | 99.1837
Pelham | PELHAM DISTRIBUTION SYSTEM | 100 | 90.6 | 1072 | 0 | 100 | 28 | 0 | 100
Port Colborne | PORT COLBORNE DISTRIBUTION SYSTEM | 100 | 100 | 1182 | 2 | 99.8308 | 32 | 0 | 100
Georgian Bay | PORT SEVERN (LONE PINE) DRINKING WATER SYSTEM | 100 | 100 | 422 | 0 | 100 | 85 | 0 | 100
East Gwillimbury | HOLLAND LANDING/QUEENSVILLE/SHARON DISTRIBUTION SYSTEM | 100 | 100 | 830 | 1 | 99.8795 | 26 | 0 | 100
Springwater | VESPRA DOWNS SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 128 | 0 | 100 | 22 | 0 | 100
Warwick | TOWNSHIP OF WARWICK DISTRIBUTION SYSTEM | 100 | 100 | 418 | 0 | 100 | 12 | 0 | 100
Grimsby | GRIMSBY DISTRIBUTION SYSTEM | 100 | 100 | 1440 | 3 | 99.7917 | 17 | 0 | 100
Kawartha Lakes | MANORVIEW DRINKING WATER SYSTEM | 100 | 100 | 106 | 0 | 100 | 20 | 0 | 100
Vaughan | YORK DRINKING WATER SYSTEM - YORK DS | 100 | 100 | 1264 | 0 | 100 | 108 | 0 | 100
East Gwillimbury | YORK DRINKING WATER SYSTEM - QUEENSVILLE | 100 | 100 | 312 | 0 | 100 | 164 | 0 | 100
Richmond Hill | RICHMOND HILL DISTRIBUTION SYSTEM | 98.42 | 98.28 | 4558 | 42 | 99.0785 | 64 | 0 | 100
Woolwich | CONESTOGO GOLF DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 9 | 0 | 100
Aylmer | AYLMER DISTRIBUTION SYSTEM | 100 | 97.14 | 518 | 0 | 100 | 29 | 0 | 100
St. Thomas | CITY OF ST. THOMAS DISTRIBUTION SYSTEM | 94.56 | 93.62 | 1230 | 1 | 99.9187 | 32 | 0 | 100
King | ANSNORVELDT DRINKING WATER SYSTEM | 100 | 100 | 108 | 0 | 100 | 76 | 0 | 100
East Gwillimbury | MOUNT ALBERT DISTRIBUTION SYSTEM | 100 | 100 | 402 | 2 | 99.5025 | 14 | 0 | 100
Niagara Falls | CITY OF NIAGARA FALLS DISTRIBUTION SYSTEM | 100 | 94.83 | 2576 | 0 | 100 | 21 | 0 | 100
Perth East | SHAKESPEARE DRINKING WATER SYSTEM | 100 | 100 | 364 | 1 | 99.7253 | 18 | 0 | 100
Tiny | WOODLAND BEACH DRINKING WATER SYSTEM | 100 | 100 | 208 | 0 | 100 | 74 | 0 | 100
Champlain | VANKLEEK HILL DISTRIBUTION SYSTEM | 100 | 100 | 314 | 0 | 100 | 10 | 0 | 100
Cambridge | CAMBRIDGE DISTRIBUTION SYSTEM | 100 | 100 | 3404 | 2 | 99.9412 | 36 | 0 | 100
Waterloo City | CITY OF WATERLOO DISTRIBUTION SYSTEM | 100 | 100 | 3314 | 18 | 99.4568 | 341 | 4 | 98.827
Woolwich | CONESTOGO PLAINS DISTRIBUTION SYSTEM | 91.81 | 100 | 240 | 0 | 100 | 12 | 0 | 100
Woolwich | CONESTOGO GOLF DISTRIBUTION SYSTEM | 100 | 100 | 234 | 0 | 100 | 12 | 0 | 100
North Dumfries | BRANCHTON DRINKING WATER SYSTEM | 100 | 100 | 208 | 0 | 100 | 17 | 0 | 100
Chatham-Kent | BOTHWELL DISTRIBUTION SYSTEM | 98.84 | 100 | 640 | 0 | 100 | 13 | 0 | 100
King | NOBLETON DISTRIBUTION SYSTEM | 100 | 100 | 428 | 2 | 99.5327 | 11 | 0 | 100
Caledon | CHELTENHAM DRINKING WATER SYSTEM | 100 | 100 | 734 | 1 | 99.8638 | 163 | 0 | 100
Brant County | CAINSVILLE DISTRIBUTION SYSTEM | 100 | 100 | 116 | 0 | 100 | 8 | 0 | 100
Wilmot | NEW HAMBURG-BADEN DISTRIBUTION SYSTEM | 100 | 100 | 634 | 0 | 100 | 19 | 0 | 100
Wilmot | REGION OF WATERLOO DRINKING WATER SYSTEM - MANNHEIM VILLAGE | 95.21 | 100 | 266 | 0 | 100 | 80 | 0 | 100
Wilmot | NEW DUNDEE DISTRIBUTION SYSTEM | 100 | 100 | 266 | 1 | 99.6241 | 11 | 0 | 100
Wilmot | REGION OF WATERLOO DRINKING WATER SYSTEM -SHINGLETOWN | 100 | 100 | 196 | 0 | 100 | 124 | 0 | 100
North Dumfries | REGION OF WATERLOO DRINKING WATER SYSTEM - LLOYD BROWN DS | 100 | 100 | 104 | 0 | 100 | 8 | 0 | 100
Woolwich | CONESTOGO PLAINS DRINKING WATER SYSTEM | 100 | 100 | 210 | 0 | 100 | 12 | 0 | 100
Woolwich | ELMIRA-ST. JACOBS-BRESLAU DISTRIBUTION SYSTEM - ELMIRA-ST. JACOBS DS | 90.28 | 100 | 562 | 3 | 99.4662 | 42 | 0 | 100
Woolwich | HEIDELBERG DISTRIBUTION SYSTEM | 100 | 90.41 | 242 | 1 | 99.5868 | 13 | 0 | 100
Woolwich | MARYHILL ISLEY DISTRIBUTION SYSTEM | 100 | 98.31 | 400 | 1 | 99.75 | 22 | 0 | 100
Woolwich | WEST MONTROSE DISTRIBUTION SYSTEM | 100 | 100 | 134 | 1 | 99.2537 | 12 | 0 | 100
West Lincoln | SMITHVILLE DISTRIBUTION SYSTEM | 100 | 100 | 438 | 0 | 100 | 7 | 0 | 100
Middlesex Centre | MELROSE DRINKING WATER SYSTEM | 98.3 | 100 | 52 | 0 | 100 | 18 | 0 | 100
Kawartha Lakes | KING'S BAY DRINKING WATER SYSTEM | 100 | 100 | 428 | 2 | 99.5327 | 97 | 0 | 100
Lucan Biddulph | LUCAN BIDDULPH DISTRIBUTION SYSTEM | 91.13 | 97.04 | 618 | 0 | 100 | 19 | 0 | 100
Perth South | SEBRINGVILLE DRINKING WATER SYSTEM | 100 | 91.12 | 52 | 0 | 100 | 25 | 0 | 100
Vaughan | VAUGHAN DISTRIBUTION SYSTEM | 100 | 100 | 4596 | 21 | 99.5431 | 30 | 0 | 100
Ashfield-Colborne-Wawanosh | SOUTH LUCKNOW DISTRIBUTION SYSTEM | 100 | 100 | 0 | 0 | No Results | 1 | 0 | 100
Sarnia | SARNIA DISTRIBUTION SYSTEM | 96.87 | 100 | 2144 | 2 | 99.9067 | 24 | 0 | 100
Welland | WELLAND DISTRIBUTION SYSTEM | 93.5 | 93.97 | 3158 | 1 | 99.9683 | 15 | 0 | 100
Whitchurch-Stouffville | STOUFFVILLE DISTRIBUTION SYSTEM | 87.86 | 100 | 1366 | 0 | 100 | 34 | 0 | 100
Newmarket | NEWMARKET DISTRIBUTION SYSTEM | 90.95 | 100 | 2903 | 26 | 99.1044 | 52 | 0 | 100
Aurora | TOWN OF AURORA DISTRIBUTION SYSTEM | 100 | 100 | 1942 | 12 | 99.3821 | 24 | 0 | 100
St. Catharines | ST. CATHARINES DISTRIBUTION SYSTEM | 90.28 | 100 | 3450 | 2 | 99.942 | 39 | 0 | 100
Middlesex Centre | MIDDLESEX CENTRE DISTRIBUTION SYSTEM - MIDDLESEX CENTRE DS | 85.11 | 96.71 | 502 | 2 | 99.6016 | 18 | 0 | 100
Georgian Bluffs | OXENDEN DISTRIBUTION SYSTEM | 100 | 100 | 208 | 0 | 100 | 9 | 0 | 100
Alfred And Plantagenet | WENDOVER DRINKING WATER SYSTEM | 98.17 | 100 | 416 | 0 | 100 | 70 | 0 | 100
Lincoln | JORDAN-VINELAND DISTRIBUTION SYSTEM | 100 | 100 | 572 | 2 | 99.6503 | 15 | 0 | 100
Lincoln | BEAMSVILLE DISTRIBUTION SYSTEM | 100 | 100 | 792 | 3 | 99.6212 | 16 | 0 | 100
Haldimand | CALEDONIA AND CAYUGA DISTRIBUTION SYSTEM | 100 | 100 | 730 | 0 | 100 | 21 | 0 | 100
Aylmer | AYLMER AREA SECONDARY WATER SUPPLY SYSTEM | 100 | 100 | 418 | 0 | 100 | 17 | 0 | 100
Malahide | PORT BURWELL AREA SECONDARY WATER SUPPLY SYSTEM | 100 | 100 | 316 | 0 | 100 | 8 | 0 | 100
Bayham | MUNICIPALITY OF BAYHAM DISTRIBUTION SYSTEM | 100 | 100 | 316 | 0 | 100 | 16 | 0 | 100
Central Elgin | CENTRAL ELGIN DISTRIBUTION SYSTEM | 100 | 100 | 1226 | 0 | 100 | 8 | 0 | 100
Malahide | MALAHIDE DISTRIBUTION SYSTEM | 100 | 100 | 312 | 0 | 100 | 8 | 0 | 100
Fort Erie | FORT ERIE DISTRIBUTION SYSTEM | 100 | 100 | 1084 | 4 | 99.631 | 24 | 0 | 100
London | CITY OF LONDON DISTRIBUTION SYSTEM | 100 | 84.06 | 5274 | 10 | 99.8104 | 199 | 0 | 100
Tecumseh | TECUMSEH DISTRIBUTION SYSTEM | 100 | 100 | 1060 | 0 | 100 | 25 | 0 | 100
Lakeshore | TOWN OF LAKESHORE DRINKING WATER SYSTEM - TECUMSEH DS | 100 | 100 | 228 | 2 | 99.1228 | 10 | 0 | 100
Lakeshore | TOWN OF LAKESHORE DRINKING WATER SYSTEM - UNION DS | 97.25 | 100 | 456 | 0 | 100 | 15 | 0 | 100
Prince Edward County | FENWOOD GARDENS/ROSSMORE DISTRIBUTION SYSTEM | 100 | 100 | 314 | 0 | 100 | 8 | 0 | 100
Prince Edward County | CONSECON/CARRYING PLACE DISTRIBUTION SYSTEM | 95.29 | 100 | 264 | 0 | 100 | 48 | 0 | 100
Edwardsburgh/Cardinal | EDWARDSBURGH INDUSTRIAL PARK DISTRIBUTION SYSTEM | 100 | 100 | 104 | 0 | 100 | 10 | 0 | 100
King | KING CITY DISTRIBUTION SYSTEM | 100 | 100 | 588 | 1 | 99.8299 | 11 | 0 | 100
King | SCHOMBERG DISTRIBUTION SYSTEM | 100 | 100 | 338 | 2 | 99.4083 | 10 | 0 | 100
Central Huron | AUBURN DRINKING WATER SYSTEM | 95.86 | 100 | 204 | 0 | 100 | 73 | 0 | 100
Clearview | COLLING-WOODLANDS DRINKING WATER SYSTEM | 100 | 100 | 118 | 0 | 100 | 17 | 0 | 100
Clearview | NOTTAWA DRINKING WATER SYSTEM | 100 | 100 | 322 | 0 | 100 | 17 | 0 | 100
Newbury | NEWBURY (WEST ELGIN AWS) DISTRIBUTION SYSTEM | 100 | 97.04 | 292 | 0 | 100 | 10 | 0 | 100
Southwest Middlesex | SOUTHWEST MIDDLESEX DISTRIBUTION SYSTEM | 100 | 100 | 660 | 0 | 100 | 16 | 0 | 100
Iroquois Falls | MONTEITH DISTRIBUTION SYSTEM | 100 | 100 | 106 | 0 | 100 | 10 | 0 | 100
Ashfield-Colborne-Wawanosh | COURTNEY SUBDIVISION DISTRIBUTION SYSTEM | 100 | 100 | 0 | 0 | No Results | No Results | No Results | No Results
St. Clair | ST. CLAIR DISTRIBUTION SYSTEM | 100 | 94.3 | 846 | 0 | 100 | 16 | 0 | 100
Kawartha Lakes | SONYA VILLAGE SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 73 | 0 | 100
North Middlesex | NORTH MIDDLESEX DISTRIBUTION SYSTEM | 100 | 100 | 496 | 2 | 99.5968 | 13 | 0 | 100
Bluewater | BLUEWATER LAKESHORE DISTRIBUTION SYSTEM | 98.06 | 100 | 330 | 0 | 100 | 14 | 0 | 100
Lambton Shores | EAST LAMBTON SHORES DISTRIBUTION SYSTEM | 100 | 93.93 | 520 | 0 | 100 | 8 | 0 | 100
Lambton Shores | WEST LAMBTON SHORES DISTRIBUTION SYSTEM | 100 | 100 | 312 | 0 | 100 | 12 | 0 | 100
Plympton-Wyoming | PLYMPTON-WYOMING DISTRIBUTION SYSTEM | 97.59 | 92.73 | 424 | 0 | 100 | 12 | 0 | 100
Sault Ste. Marie | SAULT STE MARIE DRINKING WATER SYSTEM | 100 | 100 | 2922 | 2 | 99.9316 | 362 | 0 | 100
Whitchurch-Stouffville | BALLANTRAE-MUSSELMAN LAKE DISTRIBUTION SYSTEM | 85.71 | 100 | 470 | 0 | 100 | 18 | 0 | 100
Greater Sudbury | VERMILLION DISTRIBUTION SYSTEM | 100 | 100 | 544 | 0 | 100 | 16 | 0 | 100
Montague | MONTAGUE DISTRIBUTION SYSTEM | 100 | 96.57 | 208 | 0 | 100 | 8 | 0 | 100
The Nation | LIMOGES DRINKING WATER SYSTEM | 97.58 | 95.77 | 416 | 0 | 100 | 78 | 0 | 100
South Glengarry | LANCASTER DRINKING WATER SYSTEM | 100 | 98.18 | 416 | 0 | 100 | 73 | 0 | 100
Front Of Yonge | MILLER MANOR APARTMENTS DRINKING WATER SYSTEM | 93.55 | 100 | 24 | 0 | 100 | 9 | 0 | 100
Edwardsburgh/Cardinal | BENNETT STREET DRINKING WATER SYSTEM | 93.94 | 88.82 | 24 | 0 | 100 | 12 | 0 | 100
Minto | MINTO PINES SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 106 | 0 | 100 | 20 | 0 | 100
Moosonee | MOOSONEE DRINKING WATER SYSTEM | 93.67 | 100 | 474 | 2 | 99.5781 | 70 | 0 | 100
Woolwich | MARYHILL DRINKING WATER SYSTEM - MARYHILL VILLAGE HEIGHTS | 100 | 100 | 18 | 0 | 100 | 2 | 0 | 100
Woolwich | MARYHILL HEIGHTS DISTRIBUTION SYSTEM | 100 | 98.31 | 28 | 0 | 100 | 2 | 0 | 100
Laurentian Valley | LAURENTIAN VALLEY DISTRIBUTION SYSTEM | 86.96 | 87.85 | 234 | 0 | 100 | 12 | 0 | 100
The North Shore | PRONTO EAST SUBDIVISION DRINKING WATER SYSTEM | 100 | 100 | 102 | 0 | 100 | 35 | 0 | 100
Elizabethtown-Kitley | ELIZABETHTOWN - KITLEY DISTRIBUTION SYSTEM | 100 | 100 | 0 | 0 | No Results | No Results | No Results | No Results
Ashfield-Colborne-Wawanosh | DUNGANNON DRINKING WATER SYSTEM | 96.69 | 100 | 318 | 0 | 100 | 27 | 5 | 81.4815
Chatham-Kent | HIGHGATE DRINKING WATER SYSTEM | 95.81 | 100 | 0 | 0 | No Results | No Results | No Results | No Results
Bluewater | VARNA DRINKING WATER SYSTEM | 98.64 | N/A | 312 | 0 | 100 | 24 | 0 | 100
Woolwich | ELMIRA-ST. JACOBS-BRESLAU DISTRIBUTION SYSTEM - BRESLAU DS | 100 | 100 | 322 | 1 | 99.6894 | 13 | 0 | 100
Chatham-Kent | CHATHAM-KENT DRINKING WATER SYSTEM - SOUTH CHATHAM-KENT | 100 | 100 | 1086 | 3 | 99.7238 | 82 | 0 | 100
Georgina | GEORGINA DRINKING WATER SYSTEM - GEORGINA | 100 | 100 | 208 | 0 | 100 | 109 | 0 | 100
King | ANSNORVELDT DISTRIBUTION SYSTEM | 100 | 100 | 212 | 0 | 100 | 9 | 0 | 100
North Perth | MOLESWORTH DRINKING WATER SYSTEM | 100 | 100 | 62 | 0 | 100 | 19 | 0 | 100
Champlain | L'ORIGNAL DISTRIBUTION SYSTEM | 100 | 100 | 312 | 0 | 100 | 11 | 0 | 100
Hamilton Township | HAMILTON TOWNSHIP DISTRIBUTION SYSTEM | 100 | 97.21 | 0 | 0 | No Results | 2 | 0 | 100
Brooke-Alvinston | ALVINSTON DISTRIBUTION SYSTEM | 98.6 | 100 | 312 | 0 | 100 | 8 | 0 | 100
Ramara | SOMERSET/ KNOB HILL DISTRIBUTION SYSTEM | 100 | 98.41 | 220 | 1 | 99.5455 | 10 | 0 | 100
Huron-Kinloss | HURONVILLE SUBDIVISION DISTRIBUTION SYSTEM | 100 | 100 | 0 | 0 | No Results | 1 | 0 | 100
Oil Springs | OIL SPRINGS WATER DISTRIBUTION SYSTEM | 85.34 | 100 | 194 | 0 | 100 | 8 | 0 | 100
Dawn-Euphemia | DAWN-EUPHEMIA DISTRIBUTION SYSTEM | 100 | 86.62 | 432 | 1 | 99.7685 | 14 | 0 | 100
East Zorra-Tavistock | INNERKIP DRINKING WATER SYSTEM | 100 | 100 | 346 | 2 | 99.422 | 22 | 0 | 100
Springwater | SNOW VALLEY DRINKING WATER SYSTEM | 100 | 100 | 472 | 0 | 100 | 46 | 0 | 100
Springwater | PHELPSTON DRINKING WATER SYSTEM | 100 | 100 | 128 | 0 | 100 | 22 | 0 | 100
Thorold | THOROLD (PORT ROBINSON) DISTRIBUTION SYSTEM | 100 | 100 | 328 | 0 | 100 | 14 | 0 | 100
Thorold | THOROLD SOUTH END DISTRIBUTION SYSTEM | 96.87 | 100 | 352 | 0 | 100 | 9 | 0 | 100
Asphodel-Norwood | TRENTVIEW ESTATES DISTRIBUTION SYSTEM | 100 | 100 | 110 | 1 | 99.0909 | 8 | 0 | 100
Guelph-Eramosa | GAZER MOONEY SUBDIVISION DISTRIBUTION SYSTEM | 100 | 100 | 104 | 0 | 100 | 12 | 0 | 100
Port Hope | PORT HOPE DRINKING WATER SYSTEM | 100 | 100 | 836 | 0 | 100 | 214 | 0 | 100
Severn | WEST SHORE DRINKING WATER SYSTEM | 100 | 100 | 426 | 0 | 100 | 75 | 0 | 100
Niagara-On-The-Lake | BEVAN HEIGHTS DISTRIBUTION SYSTEM | 89.39 | 100 | 138 | 3 | 97.8261 | 12 | 0 | 100
Georgina | KESWICK-SUTTON DISTRIBUTION SYSTEM | 100 | 100 | 1504 | 1 | 99.9335 | 42 | 1 | 97.619
Mulmur | MANSFIELD DRINKING WATER SYSTEM | 100 | 100 | 334 | 0 | 100 | 75 | 0 | 100
Otonabee-South Monaghan | ELGETI AND CRYSTAL SPRINGS SUBDIVISIONS DRINKING WATER SYSTEM | 100 | 100 | 344 | 0 | 100 | 75 | 0 | 100
North Perth | ATWOOD DRINKING WATER SYSTEM | 96.84 | 97.9 | 330 | 0 | 100 | 70 | 0 | 100
Meaford | LEITH DISTRIBUTION SYSTEM | 100 | 100 | 238 | 0 | 100 | 10 | 0 | 100
South Stormont | LONG SAULT/INGLESIDE REGIONAL DRINKING WATER SYSTEM | 100 | 98.39 | 422 | 1 | 99.763 | 77 | 0 | 100
Burlington | SOUTH HALTON DRINKING WATER SYSTEM - BRIDGEVIEW COMMUNITY DS | 100 | 100 | 214 | 1 | 99.5327 | 11 | 0 | 100
Hamilton City | HAMILTON DRINKING WATER SYSTEM - FIFTY ROAD DS | 100 | 100 | 214 | 1 | 99.5327 | 14 | 0 | 100
South Frontenac | SYDENHAM DRINKING WATER SYSTEM | 100 | 95.71 | 340 | 0 | 100 | 82 | 0 | 100
Mapleton | MOOREFIELD DRINKING WATER SYSTEM | 100 | 100 | 364 | 0 | 100 | 74 | 0 | 100
Charlton/Dack | BRADLEY SUBDIVISION DISTRIBUTION SYSTEM | 100 | 100 | 0 | 0 | No Results | No Results | No Results | No Results
Lake Of Bays | BIRCH GLEN (BAYSVILLE) DRINKING WATER SYSTEM | 100 | 100 | 416 | 0 | 100 | 84 | 0 | 100
Coleman | COLEMAN DISTRIBUTION SYSTEM | 100 | 90.28 | 112 | 0 | 100 | 8 | 0 | 100
Bayham | RICHMOND COMMUNITY DRINKING WATER SYSTEM | 100 | 100 | 220 | 0 | 100 | 48 | 0 | 100
Kawartha Lakes | KINMOUNT DRINKING WATER SYSTEM | 100 | 100 | 104 | 0 | 100 | 20 | 0 | 100
St. Thomas | ST. THOMAS AREA SECONDARY WATER SUPPLY SYSTEM | 86.49 | 100 | 340 | 0 | 100 | 17 | 0 | 100
Mcdougall | MCDOUGALL NOBEL DISTRIBUTION SYSTEM | 100 | 97.28 | 310 | 0 | 100 | 38 | 0 | 100
Strathroy-Caradoc | STRATHROY-CARADOC DISTRIBUTION SYSTEM - STRATHROY DS | 100 | 93.93 | 804 | 4 | 99.5025 | 10 | 0 | 100
Oakville | SOUTH HALTON DRINKING WATER SYSTEM - BURLOAK | 96.69 | 100 | 104 | 0 | 100 | 246 | 0 | 100
Oakville | SOUTH HALTON DRINKING WATER SYSTEM - SOUTH HALTON DS | 100 | 100 | 6628 | 5 | 99.9246 | 185 | 0 | 100
Burlington | SOUTH HALTON DRINKING WATER SYSTEM - NORTH ALDERSHOT DS | 100 | 100 | 214 | 0 | 100 | 11 | 0 | 100
Burlington | SOUTH HALTON DRINKING WATER SYSTEM - SNAKE ROAD DS | 100 | 100 | 214 | 1 | 99.5327 | 11 | 0 | 100
Essa | BAXTER DISTRIBUTION SYSTEM | 100 | 100 | 208 | 0 | 100 | 9 | 0 | 100
Leamington | LEAMINGTON DISTRIBUTION SYSTEM - WHEATLEY DS | 100 | 100 | 304 | 0 | 100 | 2 | 0 | 100
East Gwillimbury | YONGE-GREEN LANE DISTRIBUTION SYSTEM | 100 | 100 | 298 | 0 | 100 | 12 | 0 | 100
Ottawa | SHADOW RIDGE DRINKING WATER SYSTEM | 98.44 | 100 | 626 | 1 | 99.8403 | 406 | 0 | 100
Champlain | LAURENTIAN PARK DISTRIBUTION SYSTEM | 100 | 100 | 104 | 0 | 100 | 9 | 0 | 100
Toronto | CITY OF TORONTO DRINKING WATER SYSTEM - TORONTO DS | 100 | 80.07 | 12284 | 47 | 99.6174 | 197 | 2 | 98.9848
The Nation | ST. ISIDORE DISTRIBUTION SYSTEM | 100 | 92.93 | 312 | 0 | 100 | 13 | 0 | 100
West Elgin | TRI-COUNTY DRINKING WATER SYSTEM | 100 | 94.18 | 348 | 4 | 98.8506 | 83 | 0 | 100
Ignace | IGNACE DRINKING WATER SYSTEM | 100 | 100 | 358 | 0 | 100 | 79 | 0 | 100
Lakeshore | TOWN OF LAKESHORE DRINKING WATER SYSTEM | 93.6 | 96.13 | 1264 | 1 | 99.9209 | 84 | 0 | 100
Bluewater | HENSALL DISTRIBUTION SYSTEM | 97.66 | 100 | 312 | 0 | 100 | 12 | 0 | 100
Minden Hills | LUTTERWORTH PINES DRINKING WATER SYSTEM | 100 | 100 | 54 | 0 | 100 | 33 | 0 | 100
Russell | RUSSELL DISTRIBUTION SYSTEM | 98.5 | 97.89 | 835 | 1 | 99.8802 | 20 | 0 | 100
Hornepayne | HERBERT AVENUE DRINKING WATER SYSTEM | 100 | 100 | 362 | 0 | 100 | 73 | 0 | 100
Wilmot | ST. AGATHA DISTRIBUTION SYSTEM | 100 | 100 | 208 | 0 | 100 | 10 | 0 | 100
Mississauga | SOUTH PEEL DISTRIBUTION SYSTEM | 100 | 94.47 | 16404 | 20 | 99.8781 | 463 | 0 | 100
West Elgin | WEST ELGIN DISTRIBUTION SYSTEM | 100 | 100 | 440 | 1 | 99.7727 | 14 | 0 | 100
Wilmot | MANNHEIM DISTRIBUTION SYSTEM | 100 | 100 | 206 | 0 | 100 | 10 | 0 | 100
Ottawa | RICHMOND WEST DRINKING WATER SYSTEM | N/A | N/A | 12 | 0 | 100 | No Results | No Results | No Results