## Convictions
Name of system related to conviction | Category | Synopsis | Date charges laid (YYYY-MM-DD) | Conviction date (YYYY-MM-DD) | Fine | Fiscal Year (April 1 to March 31)
St-Isidore Drinking Water System (Lefaivre-Plantagenet Plant) | LMRS | A drinking water system operator was convicted for including misleading information in a document, required to be created, namely logs and disinfection records. The operator failed to ensure that accurate chlorine readings were taken by the chlorine analyzer and reported to the SCADA system and did not record the fact that the free chlorine analyzer was in calibration mode in the logbook. | 2022-06-10 | 2023-05-04 | 5000 | 2023-24
Breslau Distribution System | LMRS | An owner/operator of a drinking water system were each convicted of failing to immediately report an observation that a drinking water system’s water had not been disinfected in accordance with the Ministry procedure and take immediate corrective action in response to that observation. One of the certified operators was also convicted of failing to ensure that the processes within his responsibility were measured, monitored, sampled and tested in a manner that permitted them to be adjusted when necessary. | 2023-04-25 | 2023-11-17 | 12800 | 2023-24
Pickle Lake Drinking Water System | LMRS | An operator of a drinking water system was convicted of failing to take all steps reasonably necessary to operate the processes within his responsibility in a safe and efficient manner in accordance with the relevant operations manuals. The operator failed to respond to a low chlorine alarm causing the system to shut down, lose pressure in the water lines, and the township to issue a boil water advisory. | 2023-09-07 | 2024-01-31 | 5000 | 2023-24
Silver Springs Estates Trailer Park Well Supply | NMYRRS | The owner of a drinking water system was convicted for failing to ensure a report was prepared by a licensed engineering practitioner within 30 days of completing alterations to the system, failing to provide the required water treatment equipment, and failing to comply with a permit to take water by not maintaining and submitting water-taking records as required. | 2023-05-02 | 2023-09-08 | 12000 | 2023-24
Silver Springs Estates Trailer Park Well Supply | NMYRRS | The operating authority and certified operator of a drinking water system were convicted for failing to take weekly water samples and sample and test for trihalomethanes. They were also convicted of failing to comply with a provincial officer’s order and failing to furnish a provincial officer with records as required . | 2023-05-02 | 2023-11-17 | 21000 | 2023-24