## Orders
Municipality Name | DWS # | DWS Category | DWS Name | Owner Legal Name | Operating Authority Legal Name | Order Summary | Order Type | Instrument Status | Director's Order | Date Instrument Issued | Fiscal Year
Smith-Ennismore-Lakefield | 260073957 | NMYRRS | 945 Sharon Court Well Supply | 261472 Ontario Inc |  | This order required the owner of the drinking water system to retain the services of a certified operator and provide written confirmation of the agreement. | Provincial Officer's Order | Amended | No | 2023-03-11 | 2023-2024
Thunder Bay | 220006197 | NMYRRS | Armstrong Well Supply | Armstrong Local Services Board | Armstrong Local Services Board | This order required the owner of the drinking water system to provide a weekly summary report of system operations until April 12, 2023 that included sampling results, logbook copies, operation and maintenance records, and information pertaining to alarms and/or abnormal conditions and any corrective actions that were applied. The order also required the owner to retain the services of a certified operator and provide proof of a written contract between the owner and the certified operator. Finally, the order required the development of a contingency plan that includes procedures for both preventing and managing any future situations that result in a failure to secure a Certified Operator to operate the system; identifies potential causes of such situations, describes how the duration of such situations would be minimized and includes notification protocols if the situation were to occur, including notifying to the local ministry office. | Provincial Officer's Order | Amended | No | 2023-03-03 | 2023-2024
Black River-Matheson | 260079742 | NMYRRS | 1037 Highway 577 North Well Supply | Vince D'amelio | Boreal Asset Management Corp. | This order required the owner of the drinking water system to submit a written report that included a summary of the description of current system components, photographs of the drinking water system components including the well(s), UV system, pumps, solenoid valves, pressure tanks, and sampling points; maintenance records prior to August 1st, 2023, indicating equipment maintenance and modifications from the Engineering Evaluation Report and photographs that show the posted Boil Water Advisory Notices, provincial officer’s report in a public place in the apartment unit and the corresponding inspection report. It required the owner to submit maintenance records quarterly from July 15th, 2023 to April 1st, 2024, including monthly UV maintenance, auto shut-off solenoid valve checks and filter maintenance. The order required the owner to submit copies of the certificate of analysis and chain of custodies forms for all samples taken in the drinking water system on a quarterly basis from July 15, 2023 to April 1, 2024. Finally, the order required the owner to submit a drinking water system profile information form. | Provincial Officer's Order | Escalated | Yes | 2023-07-04 | 2023-2024
Shuniah | 260069836 | NMYRRS | Dukes Trailer Court Well Supply | Dukes Trailer Court Limited |  | This order required the owner of the drinking water system to provide users of the drinking water system with door to door notices of the boil water advisory in effect on a monthly basis until the advisory was rescinded and notify the officer to confirm the notices were delivered. It also required the owner of the system to retain the services of a certified operator to operate the drinking water system and provide proof of a written contract between the owner and the certified operator to the ministry. Finally, the order required, upon its service, that the owner supply users of the drinking water system with 4 litres of water per person per day from a potable bottle water supply until such time that the provincial officer notifies the owner otherwise. | Provincial Officer's Order | Escalated | Yes | 2023-07-19 | 2023-2024
Kawartha Lakes | 260090090 | NMYRRS | Kingsview Estates Water Treatment Plant | Cccc Balsam Limited |  | This order required the owner of the drinking water system to submit an action plan to take steps to restore primary disinfection to the drinking water system or on how the owner will provide an alternate source of drinking water to the users of the drinking water system so that the users are provided with potable water. The order also required the owner to submit an action plan with an associated schedule of implementation that describes how the owner will ensure that a person who is qualified will operate and maintain the drinking water system in accordance with the SDWA. The action plan shall ensure that full operation and maintenance of the drinking water system will commence immediately if the current operating authority ceases to act in that role. | Provincial Officer's Order | Escalated | Yes | 2023-12-01 | 2023-2024
North Bay | 260074542 | NMYRRS | Parkwood Villa Well Supply | Parkwood Villa Ltd | Don Houston | This order required the owner of the drinking water system to retain the services of a licensed well technician holding a class 2 well technician license, submit written confirmation they were retained, and have the technician prepare and submit a well assessment report. It required the owner to submit a proposed action plan, including a schedule for implementing the recommendations from the well assessment report. It required the owner to retain a qualified licensed engineering practitioner who has experience in sanitary engineering related to drinking water systems, submit written confirmation that they were retained and have received a copy of this order. The owner was required to have the practitioner prepare an engineering evaluation report for the Parkwood Villa Well Supply that meets the requirements in section 21-5 of O. Reg. 170/03 and arrange for them to submit a Declaration of Licensed Engineering Practitioner and Notice of Completion to the ministry. Finally the order required the owner to submit a copy of the engineering report and notice of the completion to the provincial officer that issued the order. | Provincial Officer's Order | Served | No | 2023-12-06 | 2023-2024
Timmins | 260068926 | NMYRRS | Pine Ridge Motel and Trailer Court | 1000251411 Ontario Inc. |  | This order required the owner of the drinking water system to retain the services of a certified operator to operate their system and provide written proof of the contract between the owner and the operator. It required the owner to provide the ministry the date the certified operator would assume the operational duties of the drinking water system. It required the owner to create a sampling plan and schedule for when the operator assumed operational duties that detailed the microbiological, organic and inorganic sampling along with all chlorine residual and turbidity testing to be conducted. The plan was required to be submitted to the ministry. The order also required the owner to retain the services of a qualified licensed engineering practitioner who has experience in sanitary engineering related to drinking water systems and submit written confirmation that they were retained and have received a copy of this order. The owner was required to arrange for the practitioner to complete an assessment of the drinking water system to determine that all equipment required to meet Schedules 2, 6, 8 and 9 of O. Reg. 170/03 was provided and develop the required maintenance schedule. The practitioner also needed to complete a report detailing the findings of the engineering assessment. The report needed to be prepared in accordance with Section 21-5 of O. Reg. 170/03 and contain, at a minimum, the conclusions of the engineering assessment, the reasons supporting those conclusions, and the technical information relied upon to reach the conclusions. The owner was required to submit this report to the provincial officer. | Provincial Officer's Order | Served | No | 2023-07-24 | 2023-2024
Addington Highlands | 260098176 | NMYRRS | 75 Station Road Well Supply | Orah Meadows Inc. |  | This order required the owner of the drinking water system to retain the services of a licensed engineering practitioner and submit written confirmation that they were retained and have received a copy of this order. The owner was required to arrange for the practitioner to complete an assessment of the drinking water system to determine that the equipment met Schedules 2, 6, 8 and 9 of O. Reg. 170/03 and provide a report of the assessment. The report needed to include the details of the findings, including the conclusions of the assessment, the reasons supporting the conclusions and the technical information relied upon to reach the conclusion. The owner was required to submit a copy of the report to the provincial officer. The order required the owner to retain a certified operator to operate the drinking water system and submit the name and contact information of the operator to the provincial officer. It required the owner to complete and submit a laboratory services notification form. It required the owner to provide written confirmation that microbiological and chemical sampling was conducted. The order required Schedule 19 Drinking Water Warning Notice signs to remain posted on all private residential units, until a certified operator is retained and sampling is being conducted. | Provincial Officer's Order | Served | No | 2023-11-21 | 2023-2024
Ottawa | 260016250 | SNMNRS | Sarsfield Colonial Home Well Supply | 2629693 Ontario Inc. | Sarsfield Colonial Home | This order required the owner of the drinking water system to ensure their system operator has completed the applicable required training and possesses the required designation/certification and submit a report confirming the completion of this action to the provincial officer. It required the owner to identify the correct legal entity that owns and operates the equipment and submit a profile update form to the ministry. It required the owner to implement a procedure to make required information available for review by any member of the public during normal business hours without charge at the office of the owner or at a location that is reasonably convenient to the public. It required the owner to implement a procedure to prepare an annual report by the required deadline each year. It required the owner to have the engineering evaluation report updated by a licensed engineering practitioner to reflect the modification and replacement of the recently installed drinking water system equipment and to submit a Declaration of Licensed Engineering Practitioner and Notice of Completion to the ministry. The owner was also required to submit a copy of the engineering report and Notice of the Completion to the provincial officer that issued the order. The order required the owner to implement procedures so that the treatment equipment is operated in a manner that achieves the design capabilities required under O. Reg. 170/03 at all times that water was being supplied to consumers and provide proof that the procedure was implemented. The order required the implementation of a procedure to ensure that a record is made for every required operational test and for every required sample by recording the date, time, location, and name of the person conducting the test and result of the test. The order required the implementation of a procedure/schedule to ensure that raw water microbiological, inorganic, organic, nitrate, nitrite, fluoride, sodium sampling is conducted. Finally, the order required the owner to either implement a procedure to ensure lead sampling is conducted or submit an application to sample for lead every 36 months. | Provincial Officer's Order | Served | No | 2023-11-07 | 2023-2024
Belleville | 260095589 | SNMNRS | Seeds To Sprouts Childcare Centre Well Supply | Angela Dawn Bone Carrying | Angela Dawn Bone | This order required the owner of the drinking water system to submit to the ministry monthly checks and maintenance record sheets, including UV maintenance and cartridge filter record sheets; submit to the ministry a plan that outlines a schedule for maintenance and checks identifying the person that will perform the checks and maintenance, and explaining how the checks and maintenance will be documented and what procedure will be implemented to ensure maintenance issues will be addressed promptly; and submit to the ministry all chain of custody forms and laboratory test reports for all drinking water testing within 2 days from when they were received from the laboratory. | Provincial Officer's Order | Served | No | 2023-08-04 | 2023-2024
Powassan | 260016432 | SNMNRS | Trout Creek Senior Living Well Supply | Faim International Inc. |  | This order required the owner of the drinking water system to retain a certified operator and provide proof to the ministry of a contract between the operator and orderees; create and submit to the ministry a sampling schedule identifying the frequency, location and parameter being sampled to ensure sampling requirements are met for raw and distribution microbiological, treated nitrate and nitrite and daily treated chlorine residuals; submit to the ministry all water test results for raw and distribution microbiological, treated nitrate and nitrite and monthly log sheets for treated chlorine residuals; and post copies of the provincial officer's order in prominent locations where they are likely to come to the attention of users of the water system. | Provincial Officer's Order | Served | No | 2023-08-02 | 2023-2024