## Lab Orders
Laboratory Name | Order Summary | Instrument Status | Director's Order | Date Instrument Issued | Incident Fiscal Year | Instrument Type
ALS ENVIRONMENTAL (WATERLOO) | This order required the laboratory to conduct a root cause analysis to identify deficiencies in the laboratory system for flagging adverse drinking water test results. The root cause analysis must include a review of the laboratory's current quality management system regarding the identification, processing, and immediate reporting of prescribed adverse water test results. The laboratory must implement corrective actions to address deficiencies and retrain staff. The laboratory was also required to submit a compliance report to the ministry outlining how they have complied with the requirements. | Issued | No | 2023-06-01 | 2023-2024 | Provincial Officer's Order
PUBLIC HEALTH ONTARIO LABORATORIES - KINGSTON, LONDON, ORILLIA, SUDBURY | This order required the laboratory to review all written notifications of prescribed adverse results of drinking water tests conducted for a small drinking water system between August 2023 and November 2023 outlining if the immediate adverse written notifications were sent as required. It required a review the agency’s quality management system regarding the identification, processing, and immediate reporting of adverse water test results, including a review of the verification procedures for ensuring that written notification of adverse test results are sent in the required timeframes. It also required that staff be retrained on adverse reporting procedures and alternative procedures for immediate written notification. The laboratory was also required to submit a compliance report to the ministry outlining how they have complied with the requirements. | Issued | No | 2024-02-12 | 2023-2024 | Provincial Officer's Order
PUBLIC HEALTH ONTARIO LABORATORY - ORILLIA | This order required the laboratory to review their quality management system at the laboratory regarding the identification, processing, and immediate reporting of adverse results from small drinking water systems. The review had to identify deficiencies and implement corrective action, including staff training, on the identification, processing and immediate reporting of adverse results including samples analyzed during the weekend and originating from small drinking water systems. The laboratory was also required to submit a compliance report to the ministry outlining how they have complied with the requirements. | Issued | No | 2024-01-24 | 2023-2024 | Provincial Officer's Order