## Sheet1
DWS # | Lieu (municipalité où se trouve le réseau d'eau potable) | Nom du réseau d'eau potable | Indice d'inspection (%) obtenu pour l'exercice en cours | Indice d'inspection (%) obtenu pour l'exercice précédent | Nombre de résultats d'analyse microbiologique (EC et CT) | Nombre de résultats d'analyse microbiologique (EC et CT) insatisfaisants | Pourcentage de résultats d'analyse microbiologique (EC et CT) conformes aux normes de qualité de l'eau potable de l'Ontario | Nombre de résultats d'analyse chimique et radiologique | Nombre de résultats d'analyse chimique et radiologique insatisfaisants | Pourcentage de résultats d'analyse chimique et radiologique conformes aux normes de qualité de l'eau potable de l'Ontario
210000041 | Blind River Drinking Water System | Blind River | 100% | 95.74% | 416 | 0 | 100 | 83 | 0 | 100
210000050 | Wawa Drinking Water System | Michipicoten | 100% | 100% | 518 | 0 | 100 | 95 | 2 | 97.89
210000069 | Mt. Pleasant Drinking Water System | Brant County | 100% | 100% | 422 | 1 | 99.76 | 22 | 0 | 100
210000078 | Saugeen Shores Drinking Water System | Saugeen Shores | 100% | 100% | 836 | 0 | 100 | 85 | 0 | 100
210000087 | Moonbeam Drinking Water System | Moonbeam | 100% | 95.37% | 316 | 0 | 100 | 69 | 0 | 100
210000130 | Essex Drinking Water System - Harrow-Colchester South | Essex Town | 100% | 100% | 638 | 1 | 99.84 | 90 | 0 | 100
210000149 | Amherstburg Drinking Water System | Amherstburg | 100% | 94.93% | 1062 | 1 | 99.91 | 79 | 0 | 100
210000167 | Town Of Hanover Drinking Water System | Brockton | 96.43% | 100% | 538 | 0 | 100 | 126 | 0 | 100
210000176 | Meaford Drinking Water System | Meaford | 100% | 99.23% | 448 | 0 | 100 | 79 | 0 | 100
210000194 | Minden Drinking Water System | Minden Hills | 100% | 100% | 416 | 0 | 100 | 24 | 0 | 100
210000238 | Goderich Drinking Water System | Goderich | 96.87% | 100% | 704 | 0 | 100 | 79 | 0 | 100
210000256 | Ear Falls Drinking Water System | Ear Falls | 97.87% | 100% | 338 | 1 | 99.7 | 73 | 0 | 100
210000265 | Red Lake Drinking Water System | Red Lake | 95.73% | 92.94% | 428 | 0 | 100 | 72 | 0 | 100
210000292 | Geraldton Drinking Water System | Greenstone | 100% | 99.23% | 482 | 4 | 99.17 | 77 | 0 | 100
210000309 | Haileybury Drinking Water System | Temiskaming Shores | 91.6% | 99.21% | 610 | 6 | 99.02 | 76 | 0 | 100
210000318 | Bobcaygeon Drinking Water System | Kawartha Lakes | 100% | 100% | 436 | 0 | 100 | 76 | 0 | 100
210000327 | Fenelon Falls Drinking Water System | Kawartha Lakes | 100% | 100% | 426 | 0 | 100 | 80 | 0 | 100
210000372 | Carleton Place Drinking Water System | Carleton Place | 100% | 100% | 832 | 0 | 100 | 77 | 0 | 100
210000407 | White River Drinking Water System | White River | 100% | 100% | 314 | 0 | 100 | 69 | 0 | 100
210000470 | Hastings Drinking Water System | Trent Hills | 100% | 100% | 416 | 0 | 100 | 82 | 0 | 100
210000498 | Warkworth Drinking Water System | Trent Hills | 100% | 100% | 312 | 0 | 100 | 82 | 0 | 100
210000522 | Balmertown Cochenour Mackenzie Island Drinking Water System | Red Lake | 100% | 90% | 538 | 0 | 100 | 76 | 2 | 97.37
210000568 | South Peel Drinking Water System - Arthur P. Kennedy | Mississauga | 100% | 100% | 620 | 0 | 100 | 174 | 0 | 100
210000577 | Mitchell Drinking Water System | West Perth | 96.41% | 98.62% | 666 | 0 | 100 | 43 | 2 | 95.35
210000595 | Havelock Drinking Water System | Havelock-Belmont-Methuen | 100% | 100% | 516 | 0 | 100 | 150 | 0 | 100
210000639 | Rockland Drinking Water System | Clarence-Rockland | 97.14% | 100% | 918 | 2 | 99.78 | 65 | 0 | 100
210000657 | Emo Drinking Water System | Emo | 80.27% | 82.88% | 352 | 0 | 100 | 74 | 2 | 97.3
210000666 | Chalk River Drinking Water System | Laurentian Hills | 95.62% | 97.7% | 416 | 0 | 100 | 83 | 1 | 98.8
210000675 | Eganville Drinking Water System | Bonnechere Valley | 100% | 100% | 442 | 0 | 100 | 71 | 0 | 100
210000684 | Bradford/Bondhead Drinking Water System | Bradford-West Gwillimbury | 100% | 100% | 1776 | 2 | 99.89 | 42 | 0 | 100
210000728 | North Dundas Drinking Water System | North Dundas | 100% | 100% | 977 | 2 | 99.8 | 325 | 0 | 100
210000737 | Valley Drinking Water System | Greater Sudbury | 97.45% | 94.64% | 2330 | 0 | 100 | 689 | 0 | 100
210000746 | Espanola Drinking Water System | Espanola | 100% | 100% | 542 | 0 | 100 | 76 | 0 | 100
210000755 | Warren Drinking Water System | Markstay-Warren | 100% | 100% | 314 | 0 | 100 | 72 | 0 | 100
210000791 | Lake Huron Primary Water Supply System | South Huron | 99.35% | 91.12% | 1090 | 0 | 100 | 145 | 0 | 100
210000853 | Union Area Water Supply System | Kingsville | 98.15% | 100% | 106 | 0 | 100 | 70 | 0 | 100
210000871 | Elgin Area Primary Water Supply System | Central Elgin | 100% | 97.01% | 764 | 0 | 100 | 140 | 0 | 100
210000906 | Lambton Area Water Supply System | Sarnia | 100% | 100% | 598 | 0 | 100 | 87 | 0 | 100
210000924 | Village Of Point Edward Distribution System | Point Edward | 100% | 89.81% | 312 | 0 | 100 | 10 | 0 | 100
210000933 | Bruce Mines Drinking Water System | Bruce Mines | 97.01% | 100% | 416 | 0 | 100 | 75 | 0 | 100
210000942 | Barry'S Bay Drinking Water System | Madawaska Valley | 100% | 100% | 334 | 0 | 100 | 79 | 0 | 100
210000951 | Verner Drinking Water System | West Nipissing | 88.04% | 95.97% | 422 | 0 | 100 | 81 | 0 | 100
210000960 | Latchford Drinking Water System | Latchford | 95.26% | 100% | 326 | 2 | 99.39 | 75 | 1 | 98.67
210000979 | Fauquier Drinking Water System | Fauquier-Strickland | 89.29% | 93.16% | 332 | 0 | 100 | 72 | 0 | 100
210000997 | Vermilion Bay Drinking Water System | Machin | 88.55% | 87.56% | 312 | 0 | 100 | 87 | 2 | 97.7
210001004 | Westport Drinking Water System | Westport | 98.52% | 99.2% | 342 | 1 | 99.71 | 70 | 0 | 100
210001013 | Manitowaning Drinking Water System | Assiginack | 100% | 97.23% | 316 | 1 | 99.68 | 76 | 0 | 100
210001022 | Lansdowne Drinking Water System | Leeds And The Thousand Islands | 97.35% | 100% | 318 | 1 | 99.69 | 69 | 0 | 100
210001077 | Woodville Drinking Water System | Kawartha Lakes | 97.67% | 100% | 420 | 0 | 100 | 77 | 0 | 100
210001102 | Renfrew Drinking Water System | Renfrew Town | 97.87% | 100% | 618 | 0 | 100 | 77 | 0 | 100
210001111 | Sudbury Drinking Water System - Wahnapitei | Greater Sudbury | 100% | 100% | 1746 | 2 | 99.89 | 104 | 0 | 100
210001157 | Pickle Lake Drinking Water System | Pickle Lake | 87.91% | 88.91% | 328 | 2 | 99.39 | 76 | 0 | 100
210001219 | Casselman Drinking Water System | Casselman | 100% | 100% | 418 | 0 | 100 | 125 | 0 | 100
210001264 | Beardmore Drinking Water System | Greenstone | 99.2% | 91.14% | 316 | 2 | 99.37 | 71 | 0 | 100
210001273 | Brechin & Lagoon City Drinking Water System | Ramara | 100% | 100% | 426 | 0 | 100 | 73 | 0 | 100
210001291 | Plattsville Drinking Water System | Blandford-Blenheim | 99.09% | 100% | 418 | 0 | 100 | 30 | 0 | 100
210001317 | South Peel Drinking Water System - Lorne Park | Mississauga | 100% | 100% | 310 | 0 | 100 | 78 | 0 | 100
210001362 | Southwold Distribution System | Southwold | 100% | 92.42% | 550 | 0 | 100 | 11 | 0 | 100
210001442 | Dubreuilville Drinking Water System | Dubreuilville | 100% | 100% | 340 | 0 | 100 | 74 | 0 | 100
210001479 | Madsen Drinking Water System | Red Lake | 94.6% | 100% | 208 | 0 | 100 | 70 | 0 | 100
210001503 | Woodland Acres Subdivision Distribution System | Smith-Ennismore-Lakefield | 100% | 100% | 500 | 0 | 100 | 12 | 0 | 100
210001558 | Nanticoke Drinking Water System | Haldimand | 99.2% | 98.09% | 1048 | 0 | 100 | 101 | 0 | 100
210001585 | Vanastra Distribution System | Huron East | 100% | 100% | 312 | 0 | 100 | 10 | 0 | 100
210001665 | Dowling Drinking Water System | Greater Sudbury | 100% | 100% | 522 | 0 | 100 | 140 | 0 | 100
210001674 | Val Gagne Drinking Water System | Black River-Matheson | 95.07% | 100% | 64 | 0 | 100 | 45 | 0 | 100
210001781 | Mattice Drinking Water System | Mattice-Val Cote | 100% | 100% | 316 | 0 | 100 | 74 | 1 | 98.65
210001843 | Killarney Drinking Water System | Killarney | 100% | 100% | 332 | 1 | 99.7 | 74 | 0 | 100
210001861 | Glen Walter Drinking Water System | South Glengarry | 100% | 100% | 432 | 0 | 100 | 73 | 0 | 100
210001870 | Desbarats Drinking Water System | Johnson | 100% | 100% | 86 | 0 | 100 | 16 | 0 | 100
210001889 | Frankford-Batawa Drinking Water System | Quinte West | 100% | 90.27% | 496 | 0 | 100 | 78 | 0 | 100
210001905 | Mattawa Drinking Water System | Mattawa | 98.96% | 99.13% | 416 | 0 | 100 | 21 | 0 | 100
210002101 | Petawawa Drinking Water System | Petawawa | 100% | 100% | 928 | 0 | 100 | 126 | 3 | 97.62
210002129 | Callander Drinking Water System | Callander | 100% | 90.97% | 420 | 0 | 100 | 77 | 0 | 100
210002138 | Nairn Centre Drinking Water System | Nairn And Hyman | 100% | 100% | 312 | 0 | 100 | 74 | 0 | 100
210002147 | Neustadt Drinking Water System | West Grey | 100% | 100% | 312 | 0 | 100 | 73 | 0 | 100
210002183 | Marsville Subdivision Drinking Water System | East Garafraxa | 100% | 100% | 104 | 0 | 100 | 20 | 0 | 100
210002218 | Manilla Drinking Water System | Kawartha Lakes | 100% | 100% | 208 | 0 | 100 | 21 | 0 | 100
210002227 | Omemee Drinking Water System | Kawartha Lakes | 100% | 100% | 104 | 0 | 100 | 21 | 0 | 100
210002263 | Vars Drinking Water System | Ottawa | 100% | 100% | 398 | 1 | 99.75 | 1013 | 0 | 100
210002272 | Carp Drinking Water System | Ottawa | 96.33% | 100% | 404 | 0 | 100 | 401 | 0 | 100
210003011 | Chatsworth Drinking Water System | Chatsworth | 95.98% | 89.03% | 312 | 0 | 100 | 140 | 0 | 100
210003084 | Kagawong Drinking Water System | Billings | 100% | 100% | 364 | 0 | 100 | 74 | 0 | 100
210003280 | Georgina Drinking Water System - Keswick | Georgina | 100% | 100% | 414 | 0 | 100 | 186 | 0 | 100
210003342 | Schreiber Drinking Water System | Schreiber | 89.29% | 93.67% | 320 | 0 | 100 | 125 | 4 | 96.8
210003912 | Finch Drinking Water System | North Stormont | 100% | 100% | 312 | 0 | 100 | 71 | 0 | 100
220000013 | Erin Drinking Water System | Erin | 99.22% | 100% | 626 | 0 | 100 | 40 | 0 | 100
220000031 | Clifford Drinking Water System | Minto | 100% | 100% | 624 | 0 | 100 | 60 | 0 | 100
220000040 | Arthur Drinking Water System | Wellington North | 100% | 100% | 522 | 0 | 100 | 36 | 0 | 100
220000059 | Palmerston Drinking Water System | Minto | 100% | 100% | 832 | 0 | 100 | 60 | 0 | 100
220000068 | Mount Forest Drinking Water System | Wellington North | 100% | 100% | 820 | 1 | 99.88 | 63 | 0 | 100
220000077 | Harriston Drinking Water System | Minto | 100% | 100% | 624 | 0 | 100 | 46 | 0 | 100
220000086 | Centre Wellington Drinking Water System | Centre Wellington | 100% | 100% | 2080 | 2 | 99.9 | 519 | 0 | 100
220000095 | Guelph Drinking Water System | Guelph | 93.96% | 93.91% | 4414 | 0 | 100 | 335 | 0 | 100
220000102 | Linwood Drinking Water System | Wellesley | 100% | 100% | 418 | 0 | 100 | 24 | 0 | 100
220000111 | Region Of Waterloo Drinking Water System - New Hamburg-Baden | Wilmot | 100% | 96.27% | 104 | 0 | 100 | 62 | 0 | 100
220000157 | Region Of Waterloo Drinking Water System - Waterloo | Waterloo City | 100% | 100% | 230 | 0 | 100 | 135 | 0 | 100
220000166 | Region Of Waterloo Drinking Water System - Cambridge | Cambridge | 100% | 92.5% | 1122 | 0 | 100 | 553 | 0 | 100
220000175 | Lindsay Drinking Water System | Kawartha Lakes | 100% | 100% | 1392 | 0 | 100 | 137 | 2 | 98.54
220000184 | Caramat Drinking Water System | Greenstone | 100% | 95.47% | 106 | 0 | 100 | 30 | 0 | 100
220000193 | Red Rock Drinking Water System | Red Rock | 96.98% | 96.95% | 318 | 0 | 100 | 69 | 0 | 100
220000200 | Nakina Drinking Water System | Greenstone | 100% | 100% | 328 | 2 | 99.39 | 22 | 0 | 100
220000219 | Manitouwadge Drinking Water System | Manitouwadge | 95.21% | 95.74% | 520 | 0 | 100 | 73 | 0 | 100
220000246 | Nipigon Drinking Water System | Nipigon | 92.96% | 93.82% | 386 | 1 | 99.74 | 149 | 0 | 100
220000255 | Marathon Drinking Water System | Marathon | 100% | 100% | 866 | 0 | 100 | 67 | 0 | 100
220000264 | Longlac Drinking Water System | Greenstone | 100% | 95.27% | 376 | 4 | 98.94 | 64 | 1 | 98.44
220000273 | Bare Point Road Drinking Water System | Thunder Bay City | 100% | 95.89% | 3996 | 2 | 99.95 | 215 | 0 | 100
220000308 | Kirkland Lake Drinking Water System | Kirkland Lake | 91.23% | 87.06% | 628 | 0 | 100 | 72 | 0 | 100
220000317 | Virginiatown-Kearns Drinking Water System | Mcgarry | 100% | 92.18% | 434 | 1 | 99.77 | 71 | 0 | 100
220000326 | Larder Lake Drinking Water System | Larder Lake | 81.69% | 93.58% | 589 | 4 | 99.32 | 71 | 0 | 100
220000344 | New Liskeard Drinking Water System | Temiskaming Shores | 96.07% | 99.18% | 684 | 2 | 99.71 | 73 | 0 | 100
220000353 | Englehart Drinking Water System | Englehart | 93.3% | 100% | 444 | 0 | 100 | 75 | 0 | 100
220000362 | Cobalt Drinking Water System | Cobalt | 96.74% | 94.39% | 462 | 1 | 99.78 | 69 | 0 | 100
220000371 | Simcoe Drinking Water System | Norfolk | 100% | 100% | 1070 | 1 | 99.91 | 240 | 0 | 100
220000399 | Port Dover Drinking Water System | Norfolk | 100% | 100% | 522 | 0 | 100 | 76 | 0 | 100
220000424 | Temagami South Drinking Water System | Temagami | 72.33% | 100% | 314 | 0 | 100 | 70 | 0 | 100
220000425 | Lakeshore Drinking Water System | Huron-Kinloss | 98.46% | 100% | 1014 | 1 | 99.9 | 99 | 0 | 100
220000433 | Temagami North Drinking Water System | Temagami | 91.8% | 96.75% | 314 | 0 | 100 | 70 | 0 | 100
220000442 | Sturgeon Falls Drinking Water System | West Nipissing | 92.81% | 100% | 654 | 0 | 100 | 79 | 0 | 100
220000460 | North Bay Drinking Water System | North Bay | 95.27% | 93.83% | 2308 | 0 | 100 | 241 | 0 | 100
220000479 | Norwood Drinking Water System | Asphodel-Norwood | 100% | 95.31% | 416 | 0 | 100 | 24 | 0 | 100
220000488 | Lakefield Drinking Water System | Smith-Ennismore-Lakefield | 100% | 100% | 524 | 0 | 100 | 95 | 0 | 100
220000497 | Peterborough Drinking Water System | Peterborough City | 100% | 100% | 3180 | 1 | 99.97 | 105 | 0 | 100
220000503 | Milverton Drinking Water System | Perth East | 100% | 100% | 424 | 1 | 99.76 | 74 | 0 | 100
220000512 | Listowel Drinking Water System | North Perth | 97.21% | 100% | 844 | 1 | 99.88 | 42 | 0 | 100
220000521 | St Marys Drinking Water System | St. Marys | 97.83% | 100% | 722 | 0 | 100 | 209 | 0 | 100
220000530 | Stratford Drinking Water System | Stratford | 96.94% | 100% | 1768 | 1 | 99.94 | 452 | 31 | 93.14
220000567 | Burk'S Falls Drinking Water System | Burk'S Falls | 96.13% | 100% | 426 | 0 | 100 | 77 | 0 | 100
220000576 | Powassan Drinking Water System | Powassan | 92.53% | 100% | 418 | 0 | 100 | 78 | 0 | 100
220000585 | Parry Sound Drinking Water System | Parry Sound Town | 95.34% | 96.89% | 520 | 0 | 100 | 85 | 0 | 100
220000601 | Oxford South Drinking Water System | Norwich | 100% | 100% | 838 | 4 | 99.52 | 287 | 0 | 100
220000610 | Thamesford Drinking Water System | Zorra | 100% | 99.38% | 424 | 0 | 100 | 76 | 0 | 100
220000629 | Mount Elgin Drinking Water System | South-West Oxford | 100% | 95.32% | 484 | 1 | 99.79 | 34 | 0 | 100
220000638 | Brownsville Drinking Water System | South-West Oxford | 100% | 100% | 322 | 1 | 99.69 | 28 | 0 | 100
220000647 | Tavistock Drinking Water System | East Zorra-Tavistock | 100% | 97.18% | 424 | 1 | 99.76 | 23 | 0 | 100
220000665 | Embro Drinking Water System | Zorra | 100% | 100% | 418 | 1 | 99.76 | 22 | 0 | 100
220000674 | Beachville Drinking Water System | South-West Oxford | 95.91% | 100% | 214 | 1 | 99.53 | 20 | 0 | 100
220000683 | Tillsonburg Drinking Water System | Tillsonburg | 100% | 93.16% | 1178 | 0 | 100 | 366 | 0 | 100
220000692 | Ingersoll Drinking Water System | Ingersoll | 95.74% | 98.75% | 1156 | 2 | 99.83 | 81 | 0 | 100
220000700 | Elmvale Drinking Water System | Springwater | 100% | 100% | 408 | 0 | 100 | 76 | 0 | 100
220000709 | Woodstock Drinking Water System | Woodstock | 92.41% | 98.77% | 1990 | 1 | 99.95 | 267 | 0 | 100
220000745 | Cannington Drinking Water System | Brock | 100% | 100% | 808 | 0 | 100 | 1353 | 0 | 100
220000754 | Oshawa-Whitby-Ajax Drinking Water System - Whitby | Whitby | 99.21% | 100% | 1976 | 0 | 100 | 423 | 0 | 100
220000763 | Uxbridge Drinking Water System | Uxbridge | 100% | 100% | 958 | 1 | 99.9 | 298 | 0 | 100
220000772 | Oshawa-Whitby-Ajax Drinking Water System - Oshawa | Oshawa | 95% | 100% | 2420 | 3 | 99.88 | 432 | 1 | 99.77
220000781 | Millbrook Drinking Water System | Cavan-Millbrook-North Monaghan | 98.53% | 100% | 522 | 0 | 100 | 90 | 0 | 100
220000790 | Colborne Drinking Water System | Cramahe | 87.98% | 83.41% | 430 | 0 | 100 | 83 | 0 | 100
220000807 | Brighton Springs Drinking Water System | Brighton | 97.22% | 99.21% | 622 | 0 | 100 | 73 | 0 | 100
220000825 | Cobourg Drinking Water System | Cobourg | 100% | 100% | 944 | 0 | 100 | 77 | 0 | 100
220000834 | Campbellford Drinking Water System | Trent Hills | 100% | 100% | 528 | 1 | 99.81 | 90 | 0 | 100
220000852 | Bowmanville Drinking Water System | Clarington | 100% | 100% | 2108 | 1 | 99.95 | 282 | 2 | 99.29
220000898 | Port Rowan Drinking Water System | Norfolk | 100% | 100% | 416 | 0 | 100 | 75 | 0 | 100
220000905 | Waterford Drinking Water System | Norfolk | 95.79% | 100% | 484 | 6 | 98.76 | 76 | 0 | 100
220000923 | Deep River Drinking Water System | Deep River | 100% | 100% | 526 | 0 | 100 | 117 | 1 | 99.15
220000932 | Arnprior Drinking Water System | Arnprior | 100% | 100% | 734 | 0 | 100 | 110 | 0 | 100
220000941 | Pembroke Drinking Water System | Pembroke | 100% | 100% | 1012 | 0 | 100 | 73 | 0 | 100
220000950 | Atikokan Drinking Water System | Atikokan | 98.9% | 100% | 534 | 0 | 100 | 205 | 2 | 99.02
220000969 | Rainy River Drinking Water System | Rainy River Town | 96.96% | 95.38% | 336 | 0 | 100 | 74 | 1 | 98.65
220000978 | Fort Frances Drinking Water System | Fort Frances | 97.05% | 96.59% | 888 | 0 | 100 | 77 | 3 | 96.1
220000987 | Picton Drinking Water System | Prince Edward County | 100% | 100% | 734 | 0 | 100 | 123 | 0 | 100
220001012 | South Dundas Regional Drinking Water System | South Dundas | 100% | 100% | 412 | 0 | 100 | 72 | 0 | 100
220001030 | Alexandria Drinking Water System | North Glengarry | 100% | 100% | 526 | 2 | 99.62 | 93 | 0 | 100
220001049 | Cornwall Drinking Water System | Cornwall | 99.39% | 100% | 1718 | 0 | 100 | 71 | 0 | 100
220001076 | Tay Area Drinking Water System | Tay | 100% | 100% | 540 | 2 | 99.63 | 89 | 0 | 100
220001085 | Tottenham Drinking Water System | New Tecumseth | 100% | 100% | 838 | 1 | 99.88 | 268 | 0 | 100
220001101 | Creemore Drinking Water System | Clearview | 100% | 100% | 478 | 0 | 100 | 61 | 0 | 100
220001110 | Coldwater Drinking Water System | Severn | 100% | 99.35% | 422 | 2 | 99.53 | 81 | 0 | 100
220001138 | Stayner Drinking Water System | Clearview | 100% | 100% | 854 | 2 | 99.77 | 167 | 0 | 100
220001147 | Payette (Penetanguishene) Drinking Water System | Penetanguishene | 98.25% | 100% | 664 | 0 | 100 | 78 | 0 | 100
220001156 | Midland Drinking Water System | Midland | 100% | 100% | 1300 | 2 | 99.85 | 163 | 0 | 100
220001165 | Collingwood Drinking Water System | Collingwood | 100% | 98.31% | 1226 | 0 | 100 | 181 | 0 | 100
220001174 | Alliston Drinking Water System | New Tecumseth | 100% | 100% | 2250 | 1 | 99.96 | 483 | 0 | 100
220001183 | Orillia Drinking Water System | Orillia | 100% | 100% | 1462 | 0 | 100 | 79 | 0 | 100
220001192 | Barrie Drinking Water System | Barrie | 97.21% | 100% | 4300 | 1 | 99.98 | 260 | 0 | 100
220001218 | Cobden Drinking Water System | Whitewater Region | 100% | 92.18% | 336 | 0 | 100 | 116 | 0 | 100
220001227 | Merrickville Drinking Water System | Merrickville-Wolford | 100% | 96.57% | 332 | 0 | 100 | 75 | 0 | 100
220001236 | Kemptville Drinking Water System | North Grenville | 100% | 100% | 1032 | 1 | 99.9 | 346 | 0 | 100
220001245 | Prescott Drinking Water System | Prescott | 96.88% | 95.98% | 522 | 0 | 100 | 69 | 0 | 100
220001254 | James W. King Drinking Water System | Gananoque | 100% | 100% | 520 | 0 | 100 | 78 | 0 | 100
220001263 | Brockville Drinking Water System | Brockville | 87.11% | 100% | 1192 | 2 | 99.83 | 73 | 0 | 100
220001272 | Perth Drinking Water System | Perth Town | 93.65% | 99.2% | 528 | 1 | 99.81 | 83 | 0 | 100
220001290 | Mississippi Mills Drinking Water System | Mississippi Mills | 100% | 100% | 832 | 0 | 100 | 142 | 0 | 100
220001307 | Smiths Falls Drinking Water System | Smiths Falls | 100% | 100% | 820 | 1 | 99.88 | 122 | 0 | 100
220001405 | Sioux Lookout Urban Drinking Water System | Sioux Lookout | 96.45% | 99.3% | 562 | 0 | 100 | 69 | 0 | 100
220001423 | Kenora Area Drinking Water System | Kenora City | 93.29% | 96.92% | 902 | 6 | 99.33 | 77 | 0 | 100
220001432 | Dryden Drinking Water System | Dryden | 86.69% | 95.34% | 784 | 0 | 100 | 76 | 0 | 100
220001469 | Zurich Drinking Water System | Bluewater | 100% | 100% | 210 | 0 | 100 | 10 | 0 | 100
220001487 | Brussels Drinking Water System | Huron East | 100% | 100% | 520 | 0 | 100 | 37 | 2 | 94.59
220001496 | Blyth Drinking Water System | North Huron | 100% | 100% | 526 | 1 | 99.81 | 36 | 0 | 100
220001502 | Wingham Drinking Water System | North Huron | 100% | 100% | 524 | 0 | 100 | 36 | 0 | 100
220001511 | Seaforth Drinking Water System | Huron East | 100% | 100% | 522 | 0 | 100 | 22 | 0 | 100
220001518 | Sugar Bush Drinking Water System | Oro-Medonte | 100% | 100% | 626 | 0 | 100 | 51 | 0 | 100
220001520 | South Huron Distribution System | South Huron | 100% | 100% | 1060 | 1 | 99.91 | 8 | 0 | 100
220001539 | Clinton Drinking Water System | Central Huron | 100% | 100% | 520 | 0 | 100 | 21 | 0 | 100
220001557 | Tweed Drinking Water System | Tweed | 100% | 100% | 406 | 0 | 100 | 108 | 0 | 100
220001566 | Stirling Drinking Water System | Stirling-Rawdon | 97.48% | 100% | 416 | 0 | 100 | 78 | 0 | 100
220001575 | Madoc Drinking Water System | Madoc | 100% | 100% | 520 | 0 | 100 | 158 | 0 | 100
220001584 | Deloro Drinking Water System | Marmora And Lake | 100% | 100% | 104 | 0 | 100 | 76 | 0 | 100
220001593 | Deseronto Drinking Water System | Deseronto | 99.22% | 100% | 418 | 1 | 99.76 | 72 | 0 | 100
220001619 | Trenton Drinking Water System | Quinte West | 100% | 100% | 1162 | 0 | 100 | 74 | 0 | 100
220001628 | Belleville Drinking Water System | Belleville | 100% | 100% | 2074 | 0 | 100 | 73 | 0 | 100
220001637 | South Halton Drinking Water System - Oakville | Oakville | 100% | 100% | 122 | 0 | 100 | 255 | 0 | 100
220001646 | South Halton Drinking Water System - Milton | Milton | 100% | 100% | 1448 | 0 | 100 | 245 | 0 | 100
220001655 | Georgetown Drinking Water System | Halton Hills | 100% | 100% | 2292 | 0 | 100 | 600 | 0 | 100
220001664 | South Halton Drinking Water System - Burlington | Burlington | 100% | 100% | 104 | 0 | 100 | 231 | 0 | 100
220001673 | Acton Drinking Water System | Halton Hills | 100% | 100% | 1356 | 0 | 100 | 281 | 0 | 100
220001682 | Cardiff Drinking Water System | Highlands East | 98.47% | 100% | 312 | 0 | 100 | 74 | 0 | 100
220001744 | Markdale Drinking Water System | Grey Highlands | 100% | 100% | 520 | 0 | 100 | 142 | 0 | 100
220001753 | Dundalk Drinking Water System | Southgate | 100% | 100% | 826 | 0 | 100 | 211 | 2 | 99.05
220001762 | Thornbury Drinking Water System | The Blue Mountains | 100% | 99.26% | 1156 | 0 | 100 | 113 | 0 | 100
220001771 | Durham Drinking Water System | West Grey | 96.3% | 100% | 520 | 0 | 100 | 138 | 0 | 100
220001799 | Owen Sound Drinking Water System | Owen Sound | 96.25% | 100% | 1044 | 0 | 100 | 85 | 0 | 100
220001851 | Kingston Drinking Water System - Point Pleasant | Kingston | 100% | 100% | 104 | 0 | 100 | 167 | 0 | 100
220001860 | Kingston Drinking Water System - King Street | Kingston | 100% | 100% | 3180 | 4 | 99.87 | 217 | 0 | 100
220001888 | Bala Drinking Water System | Muskoka Lakes | 100% | 100% | 440 | 0 | 100 | 85 | 0 | 100
220002020 | Rosehill Drinking Water System | Fort Erie | 100% | 100% | 532 | 3 | 99.44 | 340 | 0 | 100
220002048 | Welland Drinking Water System | Welland | 100% | 100% | 420 | 0 | 100 | 327 | 0 | 100
220002066 | Decew Falls-Niagara Falls Drinking Water System - Decew Falls | St. Catharines | 100% | 100% | 844 | 0 | 100 | 335 | 0 | 100
220002075 | Port Colborne Drinking Water System | Port Colborne | 100% | 100% | 316 | 1 | 99.68 | 341 | 0 | 100
220002084 | Decew Falls-Niagara Falls Drinking Water System - Niagara Falls | Niagara Falls | 100% | 100% | 416 | 0 | 100 | 340 | 0 | 100
220002093 | Huntsville Drinking Water System | Huntsville | 100% | 100% | 652 | 0 | 100 | 88 | 0 | 100
220002100 | Gravenhurst Drinking Water System | Gravenhurst | 100% | 100% | 742 | 0 | 100 | 163 | 0 | 100
220002119 | Port Carling Drinking Water System | Muskoka Lakes | 100% | 100% | 416 | 0 | 100 | 85 | 0 | 100
220002137 | Wasaga Beach Drinking Water System | Wasaga Beach | 100% | 100% | 1152 | 0 | 100 | 146 | 0 | 100
220002146 | Dorchester Drinking Water System | Thames Centre | 96.4% | 96.66% | 540 | 0 | 100 | 113 | 0 | 100
220002191 | Little Current Drinking Water System | Northeast Manitoulin And The Islands | 100% | 99.18% | 416 | 0 | 100 | 75 | 0 | 100
220002208 | Gore Bay Drinking Water System | Gore Bay | 98.23% | 97.23% | 346 | 0 | 100 | 75 | 0 | 100
220002217 | Bath Drinking Water System | Loyalist | 100% | 100% | 436 | 0 | 100 | 81 | 0 | 100
220002226 | A.L. Dafoe Drinking Water System | Greater Napanee | 100% | 100% | 728 | 0 | 100 | 73 | 0 | 100
220002244 | City Of Toronto Drinking Water System - Toronto Island | Toronto | 93.01% | 100% | 2466 | 0 | 100 | 281 | 0 | 100
220002253 | City Of Toronto Drinking Water System - R.L. Clark | Toronto | 100% | 100% | 2904 | 0 | 100 | 301 | 0 | 100
220002262 | City Of Toronto Drinking Water System - R.C.Harris | Toronto | 100% | 100% | 2856 | 0 | 100 | 301 | 0 | 100
220002299 | York Drinking Water System - King City | King | 100% | 100% | 208 | 0 | 100 | 60 | 0 | 100
220002306 | Nobleton Drinking Water System | King | 100% | 100% | 494 | 0 | 100 | 262 | 0 | 100
220002333 | York Drinking Water System - Stouffville | Whitchurch-Stouffville | 100% | 100% | 520 | 0 | 100 | 384 | 0 | 100
220002360 | York Drinking Water System - Kleinburg | Vaughan | 100% | 100% | 104 | 0 | 100 | 30 | 0 | 100
220002413 | York Drinking Water System - Newmarket | Newmarket | 100% | 100% | 726 | 0 | 100 | 474 | 0 | 100
220002440 | York Drinking Water System - Aurora | Aurora | 100% | 100% | 820 | 0 | 100 | 434 | 0 | 100
220002468 | Belmont Drinking Water System | Central Elgin | 100% | 100% | 724 | 0 | 100 | 75 | 0 | 100
220002538 | Ramore Drinking Water System | Black River-Matheson | 95.64% | 95.37% | 76 | 0 | 100 | 17 | 0 | 100
220002556 | Iroquois Falls Drinking Water System | Iroquois Falls | 100% | 100% | 416 | 0 | 100 | 75 | 0 | 100
220002565 | Holtyre Drinking Water System | Black River-Matheson | 92.74% | 95.24% | 60 | 0 | 100 | 17 | 0 | 100
220002574 | Matheson Drinking Water System | Black River-Matheson | 100% | 95.41% | 326 | 0 | 100 | 73 | 0 | 100
220002583 | Kapuskasing Drinking Water System | Kapuskasing | 89.47% | 100% | 624 | 0 | 100 | 16 | 0 | 100
220002592 | Hearst Drinking Water System | Hearst | 100% | 95.95% | 530 | 0 | 100 | 78 | 2 | 97.44
220002609 | Tiverton Drinking Water System | Kincardine | 100% | 100% | 624 | 0 | 100 | 109 | 6 | 94.5
220002618 | Teeswater Drinking Water System | South Bruce | 100% | 100% | 416 | 0 | 100 | 74 | 0 | 100
220002627 | Tara Drinking Water System | Arran-Elderslie | 99.37% | 100% | 426 | 0 | 100 | 85 | 0 | 100
220002636 | Ripley Drinking Water System | Huron-Kinloss | 97.26% | 97% | 430 | 1 | 99.77 | 48 | 0 | 100
220002654 | Mildmay Drinking Water System | South Bruce | 100% | 100% | 434 | 1 | 99.77 | 139 | 0 | 100
220002663 | Lucknow Drinking Water System | Huron-Kinloss | 92.37% | 100% | 520 | 0 | 100 | 58 | 0 | 100
220002672 | Lion'S Head Drinking Water System | Northern Bruce Peninsula | 95.89% | 100% | 312 | 0 | 100 | 75 | 0 | 100
220002681 | Wiarton Drinking Water System | The South Bruce Peninsula | 100% | 100% | 430 | 1 | 99.77 | 75 | 0 | 100
220002690 | Walkerton Drinking Water System | Brockton | 100% | 100% | 468 | 0 | 100 | 52 | 0 | 100
220002716 | Kincardine Drinking Water System | Kincardine | 96.28% | 98.47% | 728 | 0 | 100 | 83 | 0 | 100
220002725 | Arran-Elderslie Drinking Water System | Arran-Elderslie | 99.13% | 100% | 372 | 0 | 100 | 40 | 0 | 100
220002734 | St. George Drinking Water System | Brant County | 100% | 100% | 520 | 0 | 100 | 23 | 0 | 100
220002743 | Airport Drinking Water System | Brant County | 100% | 100% | 418 | 0 | 100 | 22 | 0 | 100
220002752 | Paris Drinking Water System | Brant County | 100% | 100% | 986 | 0 | 100 | 269 | 0 | 100
220002789 | Elliot Lake Drinking Water System | Elliot Lake | 97.82% | 100% | 908 | 0 | 100 | 82 | 0 | 100
220002805 | Hilton Beach Drinking Water System | Hilton Beach | 100% | 95.06% | 52 | 0 | 100 | 22 | 0 | 100
220002814 | Thessalon Drinking Water System | Thessalon | 96.96% | 100% | 432 | 0 | 100 | 75 | 0 | 100
220002832 | Hawkesbury Drinking Water System | Hawkesbury | 100% | 100% | 962 | 0 | 100 | 92 | 1 | 98.91
220002841 | Lefaivre And Plantagent Drinking Water System | Alfred And Plantagenet | 93.42% | 100% | 734 | 1 | 99.86 | 81 | 0 | 100
220002903 | Petrolia Drinking Water System | Petrolia | 99.34% | 95.52% | 658 | 6 | 99.09 | 76 | 0 | 100
220002967 | Dutton-Dunwich Distribution System | Dutton-Dunwich | 100% | 100% | 416 | 0 | 100 | 11 | 0 | 100
220003047 | Cochrane Drinking Water System | Cochrane Town | 95.41% | 97.74% | 644 | 0 | 100 | 22 | 0 | 100
220003065 | Timmins Drinking Water System | Timmins | 89.18% | 93.86% | 2222 | 3 | 99.86 | 359 | 0 | 100
220003092 | Region Of Waterloo Drinking Water System - Kitchener | Kitchener | 100% | 100% | 310 | 0 | 100 | 110 | 0 | 100
220003118 | Hamilton Drinking Water System - Woodward | Hamilton City | 96.64% | 95.4% | 4870 | 9 | 99.82 | 2218 | 2 | 99.91
220003154 | Central Drinking Water System - Britannia | Ottawa | 100% | 100% | 8788 | 4 | 99.95 | 1328 | 0 | 100
220003207 | Central Drinking Water System - Lemieux Island | Ottawa | 100% | 100% | 2868 | 0 | 100 | 341 | 0 | 100
220003252 | Orangeville Drinking Water System | Orangeville | 90% | 98.14% | 2326 | 0 | 100 | 1437 | 0 | 100
220003332 | Wheatley Water Treatment Plant And Distribution Subsystem | Chatham-Kent | 100% | 100% | 1036 | 0 | 100 | 73 | 0 | 100
220003341 | Wallaceburg Water Treatment Plant And Distribution Subsystem | Chatham-Kent | 100% | 99.15% | 1068 | 0 | 100 | 237 | 0 | 100
220003369 | Ridgetown Drinking Water System | Chatham-Kent | 100% | 95.06% | 808 | 0 | 100 | 150 | 4 | 97.33
220003378 | Chatham Water Treatment Plant And Distribution Subsystems | Chatham-Kent | 100% | 100% | 3366 | 6 | 99.82 | 97 | 0 | 100
220003396 | Municipality Of Lakeshore Drinking Water System - Stoney Point | Lakeshore | 96.19% | 100% | 738 | 0 | 100 | 82 | 0 | 100
220003403 | Kingsville Distribution System | Kingsville | 96.24% | 100% | 946 | 0 | 100 | 12 | 0 | 100
220003421 | City Of Windsor Drinking Water System | Windsor | 100% | 100% | 6955 | 2 | 99.97 | 2832 | 1 | 99.96
220003449 | Beachburg Drinking Water System | Whitewater Region | 100% | 100% | 338 | 0 | 100 | 80 | 0 | 100
220003485 | Sudbury Drinking Water System - Garson | Greater Sudbury | 100% | 100% | 798 | 3 | 99.62 | 393 | 0 | 100
220003494 | Chapleau Drinking Water System | Chapleau | 100% | 96.26% | 420 | 0 | 100 | 74 | 1 | 98.65
220003500 | Massey Drinking Water System | Sables-Spanish Rivers | 100% | 100% | 312 | 0 | 100 | 75 | 0 | 100
220003519 | Onaping/Levack Drinking Water System | Greater Sudbury | 100% | 100% | 418 | 0 | 100 | 78 | 0 | 100
220003537 | Sudbury Drinking Water System - David St | Greater Sudbury | 100% | 100% | 1654 | 0 | 100 | 91 | 0 | 100
220003555 | Dunnville Drinking Water System | Haldimand | 100% | 100% | 626 | 0 | 100 | 82 | 0 | 100
220003564 | City Of Brantford Drinking Water System | Brantford | 96.5% | 100% | 3624 | 14 | 99.61 | 365 | 0 | 100
220003582 | Cardinal Drinking Water System | Edwardsburgh/Cardinal | 100% | 100% | 424 | 2 | 99.53 | 158 | 0 | 100
220003653 | Matachewan Drinking Water System | Matachewan | 94.66% | 96.6% | 338 | 1 | 99.7 | 70 | 0 | 100
220003662 | Earlton Drinking Water System | Armstrong | 95.24% | 98.15% | 314 | 0 | 100 | 17 | 0 | 100
220003680 | Essex Drinking Water System - Essex Ds | Essex Town | 100% | 100% | 626 | 0 | 100 | 11 | 0 | 100
220003706 | New Lowell Drinking Water System | Clearview | 100% | 100% | 424 | 0 | 100 | 61 | 0 | 100
220003751 | Blackstock Drinking Water System | Scugog | 100% | 100% | 442 | 0 | 100 | 103 | 0 | 100
220003760 | Greenbank Drinking Water System | Scugog | 100% | 100% | 412 | 0 | 100 | 119 | 0 | 100
220003859 | Rosemont Drinking Water System | Adjala-Tosorontio | 100% | 100% | 52 | 0 | 100 | 21 | 0 | 100
220003877 | Sandhurst Shores Drinking Water System | Greater Napanee | 100% | 100% | 312 | 0 | 100 | 70 | 0 | 100
220003911 | Hillsdale Drinking Water System | Springwater | 100% | 100% | 450 | 0 | 100 | 142 | 0 | 100
220003920 | Medonte Hills Drinking Water System | Oro-Medonte | 100% | 100% | 312 | 0 | 100 | 23 | 0 | 100
220003948 | St. Pauls Drinking Water System | Perth South | 100% | 100% | 54 | 0 | 100 | 129 | 0 | 100
220003975 | Gowanstown Subdivision Drinking Water System | North Perth | 100% | 100% | 24 | 0 | 100 | 70 | 0 | 100
220003993 | Palgrave-Caledon East Drinking Water System | Caledon | 100% | 100% | 1486 | 0 | 100 | 412 | 0 | 100
220004000 | Caledon Village - Alton Drinking Water System | Caledon | 100% | 100% | 1312 | 0 | 100 | 469 | 0 | 100
220004037 | Inglewood Drinking Water System | Caledon | 100% | 100% | 738 | 0 | 100 | 160 | 0 | 100
220004046 | York Drinking Water System - Holland Landing | East Gwillimbury | 100% | 100% | 318 | 0 | 100 | 169 | 0 | 100
220004064 | Drayton Drinking Water System | Mapleton | 97.98% | 100% | 414 | 0 | 100 | 22 | 0 | 100
220004108 | Carlisle Drinking Water System | Hamilton City | 95.64% | 100% | 714 | 2 | 99.72 | 386 | 0 | 100
220004117 | Freelton Drinking Water System | Hamilton City | 99.13% | 100% | 540 | 3 | 99.44 | 204 | 0 | 100
220004126 | Greensville Drinking Water System | Hamilton City | 98.91% | 99.23% | 208 | 0 | 100 | 140 | 0 | 100
220004135 | Maplewood Drinking Water System | Oro-Medonte | 100% | 100% | 104 | 0 | 100 | 22 | 0 | 100
220004162 | Markham Distribution System | Markham | 95.07% | 100% | 3956 | 19 | 99.52 | 140 | 0 | 100
220004171 | Maryhill Drinking Water System - Maryhill | Woolwich | 100% | 100% | 208 | 0 | 100 | 18 | 0 | 100
220004180 | New Dundee Drinking Water System | Wilmot | 100% | 100% | 104 | 0 | 100 | 64 | 0 | 100
220004199 | Ayr Drinking Water System | North Dumfries | 100% | 100% | 628 | 0 | 100 | 25 | 0 | 100
220004215 | Wellesley Drinking Water System | Wellesley | 100% | 100% | 522 | 0 | 100 | 25 | 0 | 100
220004224 | Mactier Drinking Water System | Georgian Bay | 100% | 100% | 416 | 0 | 100 | 85 | 0 | 100
220004313 | Thorold (Decew) Distribution System | Thorold | 97.52% | 90.62% | 904 | 5 | 99.45 | 8 | 0 | 100
220004359 | Point Anne Hamlet Drinking Water System | Belleville | 100% | 100% | 218 | 0 | 100 | 18 | 0 | 100
220004377 | Enniskillen Township Distribution System | Enniskillen | 100% | 100% | 642 | 1 | 99.84 | 20 | 0 | 100
220004402 | Town Of Lasalle Distribution System | Lasalle | 100% | 100% | 1154 | 1 | 99.91 | 12 | 0 | 100
220004536 | City Of Toronto Drinking Water System - F. J. Horgan | Toronto | 100% | 100% | 2820 | 0 | 100 | 408 | 0 | 100
220004769 | Orono Drinking Water System | Clarington | 100% | 100% | 540 | 0 | 100 | 200 | 0 | 100
220004787 | Newcastle Drinking Water System | Clarington | 100% | 99.27% | 1054 | 0 | 100 | 275 | 1 | 99.64
220004796 | Bancroft Drinking Water System | Bancroft | 100% | 100% | 420 | 0 | 100 | 78 | 0 | 100
220004803 | Marmora Drinking Water System | Marmora And Lake | 100% | 100% | 416 | 0 | 100 | 78 | 0 | 100
220004830 | Port Perry Drinking Water System | Scugog | 100% | 100% | 844 | 2 | 99.76 | 328 | 0 | 100
220004901 | Schomberg Drinking Water System | King | 100% | 96.42% | 208 | 0 | 100 | 97 | 0 | 100
220004910 | Sunderland Drinking Water System | Brock | 100% | 100% | 518 | 0 | 100 | 311 | 0 | 100
220004929 | Beaverton Drinking Water System | Brock | 100% | 100% | 560 | 1 | 99.82 | 274 | 3 | 98.91
220004965 | Shelburne Drinking Water System | Shelburne | 99.29% | 100% | 956 | 0 | 100 | 315 | 2 | 99.37
220004992 | Leamington Distribution System - Union Ds | Leamington | 100% | 100% | 1048 | 0 | 100 | 12 | 0 | 100
220005036 | Hockley Drinking Water System | Adjala-Tosorontio | 100% | 100% | 52 | 0 | 100 | 21 | 0 | 100
220005063 | Churchill Drinking Water System | Innisfil | 100% | 100% | 670 | 0 | 100 | 97 | 0 | 100
220005081 | Innisfil Heights Drinking Water System | Innisfil | 100% | 100% | 544 | 0 | 100 | 30 | 0 | 100
220005125 | Warminster Drinking Water System | Oro-Medonte | 100% | 100% | 438 | 1 | 99.77 | 23 | 0 | 100
220005143 | Bass Lake Woodlands Drinking Water System | Severn | 100% | 99.31% | 312 | 0 | 100 | 76 | 0 | 100
220005152 | Severn Estates Drinking Water System | Severn | 100% | 99.28% | 210 | 0 | 100 | 77 | 0 | 100
220005161 | Washago Drinking Water System | Severn | 100% | 99.3% | 318 | 2 | 99.37 | 90 | 0 | 100
220005198 | Shanty Bay Drinking Water System | Oro-Medonte | 100% | 100% | 312 | 0 | 100 | 23 | 0 | 100
220005269 | Bluewater Drinking Water System | Tiny | 100% | 100% | 420 | 0 | 100 | 26 | 0 | 100
220005278 | Cook'S Lake Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
220005287 | Georgian Bay Estates Drinking Water System | Tiny | 100% | 95.74% | 316 | 0 | 100 | 71 | 0 | 100
220005296 | Castle Cove Drinking Water System | Tiny | 100% | 100% | 520 | 0 | 100 | 34 | 0 | 100
220005321 | Lefaive Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
220005358 | Pennorth Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
220005367 | Rayko Drinking Water System | Tiny | 100% | 100% | 118 | 1 | 99.15 | 9 | 0 | 100
220005385 | Hudson Drinking Water System | Sioux Lookout | 87.22% | 100% | 416 | 0 | 100 | 72 | 0 | 100
220005394 | Tee Pee Point Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
220005401 | Vanier Woods Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 7 | 0 | 100
220005410 | Wyevale Drinking Water System | Tiny | 100% | 100% | 416 | 0 | 100 | 26 | 0 | 100
220005438 | Lisle Drinking Water System | Adjala-Tosorontio | 100% | 100% | 54 | 0 | 100 | 21 | 0 | 100
220005447 | Anten Mills Drinking Water System | Springwater | 100% | 100% | 320 | 0 | 100 | 76 | 0 | 100
220005465 | Minesing Drinking Water System | Springwater | 100% | 100% | 330 | 2 | 99.39 | 76 | 0 | 100
220005474 | Midhurst Drinking Water System | Springwater | 100% | 100% | 602 | 0 | 100 | 208 | 0 | 100
220005492 | Birr Drinking Water System | Middlesex Centre | 100% | 95.3% | 80 | 2 | 97.5 | 22 | 0 | 100
220005535 | Porquis Junction Drinking Water System | Iroquois Falls | 100% | 100% | 104 | 0 | 100 | 18 | 0 | 100
220005544 | Perkinsfield Drinking Water System | Tiny | 100% | 100% | 422 | 0 | 100 | 27 | 0 | 100
220005599 | Rockwood Drinking Water System | Guelph-Eramosa | 96.24% | 100% | 726 | 0 | 100 | 177 | 0 | 100
220005688 | Port Sydney Drinking Water System | Huntsville | 100% | 100% | 216 | 0 | 100 | 84 | 0 | 100
220005697 | Ameliasburgh Hamlet Drinking Water System | Prince Edward County | 100% | 100% | 52 | 0 | 100 | 23 | 0 | 100
220005704 | Peats Point Subdivision Drinking Water System | Prince Edward County | 100% | 100% | 60 | 0 | 100 | 18 | 0 | 100
220005768 | Charlton Drinking Water System | Charlton/Dack | 100% | 100% | 312 | 0 | 100 | 72 | 1 | 98.61
220005811 | St. Clements Drinking Water System | Wellesley | 100% | 100% | 416 | 0 | 100 | 24 | 0 | 100
220005919 | Serpent River Drinking Water System | The North Shore | 100% | 100% | 60 | 0 | 100 | 39 | 4 | 89.74
220006026 | Killaloe Drinking Water System | Killaloe/Hagarty/Richards | 100% | 100% | 328 | 0 | 100 | 85 | 0 | 100
220006053 | Cana Drinking Water System | Kingston | 100% | 100% | 106 | 0 | 100 | 95 | 0 | 100
220006115 | Thorndale Drinking Water System | Thames Centre | 96.25% | 99.38% | 408 | 0 | 100 | 77 | 0 | 100
220006124 | Hickson Drinking Water System | East Zorra-Tavistock | 100% | 99.27% | 226 | 3 | 98.67 | 21 | 0 | 100
220006204 | Stroud Drinking Water System | Innisfil | 100% | 100% | 522 | 0 | 100 | 110 | 0 | 100
220006259 | Sawlog Bay Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 21 | 0 | 100
220006268 | Thunder Bay Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
220006277 | Lafontaine Drinking Water System | Tiny | 100% | 100% | 576 | 0 | 100 | 238 | 0 | 100
220006348 | Val Rita Drinking Water System | Val Rita-Harty | 95.41% | 95.83% | 336 | 0 | 100 | 79 | 0 | 100
220006393 | Keene Heights Subdivision Drinking Water System | Otonabee-South Monaghan | 100% | 100% | 104 | 0 | 100 | 74 | 0 | 100
220006437 | Buckhorn Lake Estates Drinking Water System | Galway-Cavendish-Harvey | 100% | 96.02% | 428 | 0 | 100 | 75 | 0 | 100
220006455 | Janetville Drinking Water System | Kawartha Lakes | 100% | 100% | 422 | 1 | 99.76 | 21 | 0 | 100
220006464 | Pinewood Drinking Water System | Kawartha Lakes | 99.38% | 100% | 440 | 2 | 99.55 | 21 | 0 | 100
220006491 | Canadiana Shores Drinking Water System | Kawartha Lakes | 100% | 100% | 420 | 0 | 100 | 75 | 0 | 100
220006525 | Pleasant Point Drinking Water System | Kawartha Lakes | 100% | 100% | 416 | 0 | 100 | 74 | 0 | 100
220006543 | Mount Albert Drinking Water System | East Gwillimbury | 100% | 100% | 310 | 0 | 100 | 180 | 0 | 100
220006703 | Harbourwood Drinking Water System | Oro-Medonte | 100% | 100% | 312 | 0 | 100 | 23 | 0 | 100
220006838 | Lepage Subdivision (Penetanguishene) Drinking Water System | Penetanguishene | 98.34% | 100% | 310 | 0 | 100 | 76 | 0 | 100
220006936 | Cedar Brook Drinking Water System | Oro-Medonte | 100% | 100% | 104 | 0 | 100 | 22 | 0 | 100
220006945 | Thornton Drinking Water System | Essa | 100% | 100% | 352 | 0 | 100 | 77 | 0 | 100
220006981 | Region Of Waterloo Drinking Water System - Mannheim | Kitchener | 97.02% | 100% | 176 | 0 | 100 | 331 | 0 | 100
220007016 | Grand Valley Drinking Water System | East Luther Grand Valley | 100% | 100% | 540 | 0 | 100 | 35 | 2 | 94.29
220007025 | Spanish Drinking Water System | Spanish | 99.31% | 100% | 416 | 0 | 100 | 142 | 0 | 100
220007034 | Walter'S Falls Drinking Water System | Chatsworth | 100% | 94.36% | 104 | 0 | 100 | 21 | 0 | 100
220007043 | Scott Point Drinking Water System | Kincardine | 100% | 94.81% | 208 | 0 | 100 | 72 | 2 | 97.22
220007052 | Underwood Drinking Water System | Kincardine | 100% | 100% | 210 | 0 | 100 | 78 | 2 | 97.44
220007070 | Kimberley-Amik-Talisman Drinking Water System | Grey Highlands | 100% | 100% | 312 | 0 | 100 | 75 | 0 | 100
220007132 | Park Lane Subdivision Drinking Water System | Ramara | 96.4% | 100% | 52 | 0 | 100 | 20 | 0 | 100
220007141 | Davy Drive Subdivision Drinking Water System | Ramara | 100% | 100% | 56 | 0 | 100 | 28 | 1 | 96.43
220007150 | Grimsby Drinking Water System | Grimsby | 100% | 100% | 630 | 1 | 99.84 | 340 | 0 | 100
220007169 | Smooth Rock Falls Drinking Water System | Smooth Rock Falls | 90.73% | 85.8% | 394 | 2 | 99.49 | 74 | 0 | 100
220007178 | Delhi Drinking Water System | Norfolk | 100% | 100% | 678 | 3 | 99.56 | 141 | 0 | 100
220007203 | Opasatika Drinking Water System | Opasatika | 100% | 100% | 328 | 0 | 100 | 26 | 4 | 84.62
220007212 | Richards Landing Drinking Water System | St. Joseph | 100% | 100% | 426 | 0 | 100 | 65 | 0 | 100
220007276 | Bracebridge Drinking Water System | Bracebridge | 100% | 100% | 730 | 2 | 99.73 | 116 | 0 | 100
220007285 | Hillsburgh Drinking Water System | Erin | 100% | 100% | 448 | 2 | 99.55 | 56 | 0 | 100
220007301 | Roseville Drinking Water System | North Dumfries | 100% | 100% | 208 | 0 | 100 | 21 | 0 | 100
220007310 | Heidelberg Drinking Water System | Woolwich | 97.24% | 100% | 428 | 0 | 100 | 21 | 0 | 100
220007329 | Elk Lake Drinking Water System | James | 99.33% | 93.53% | 312 | 0 | 100 | 70 | 0 | 100
220007454 | Canterbury Drinking Water System | Oro-Medonte | 100% | 100% | 104 | 0 | 100 | 22 | 0 | 100
220007472 | Innisfil Lake Simcoe Drinking Water System | Innisfil | 100% | 100% | 1526 | 1 | 99.93 | 101 | 0 | 100
220007481 | Whippoorwill Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
220007515 | Drumbo-Princeton Drinking Water System | Blandford-Blenheim | 100% | 100% | 488 | 2 | 99.59 | 22 | 0 | 100
220007533 | Lakeside Drinking Water System | Zorra | 96.66% | 94.92% | 312 | 0 | 100 | 20 | 0 | 100
220007588 | Benmiller Drinking Water System | Ashfield-Colborne-Wawanosh | 95.64% | 100% | 108 | 0 | 100 | 22 | 0 | 100
220007604 | Brucefield Drinking Water System | Huron East | 100% | 100% | 120 | 1 | 99.17 | 18 | 0 | 100
220007659 | East Linton Drinking Water System | Georgian Bluffs | 100% | 100% | 336 | 0 | 100 | 75 | 0 | 100
220007695 | Oliphant Drinking Water System | The South Bruce Peninsula | 100% | 100% | 104 | 0 | 100 | 9 | 0 | 100
220007711 | Foreman Drinking Water System | The South Bruce Peninsula | 100% | 100% | 104 | 0 | 100 | 21 | 0 | 100
220007757 | Huron Sands Drinking Water System | Ashfield-Colborne-Wawanosh | 97.07% | 100% | 122 | 0 | 100 | 22 | 0 | 100
220007775 | Huron Woods Drinking Water System | The South Bruce Peninsula | 100% | 96.27% | 312 | 0 | 100 | 75 | 0 | 100
220007793 | Kelly Drinking Water System | Central Huron | 100% | 100% | 104 | 0 | 100 | 74 | 2 | 97.3
220007800 | Lake Rosalind Drinking Water System | Brockton | 100% | 100% | 104 | 0 | 100 | 23 | 0 | 100
220007837 | Mcclinchey Drinking Water System | Central Huron | 100% | 100% | 104 | 0 | 100 | 73 | 0 | 100
220007917 | Amabel-Sauble Drinking Water System | The South Bruce Peninsula | 100% | 100% | 312 | 0 | 100 | 74 | 0 | 100
220007999 | Kings Park Drinking Water System | Ottawa | 100% | 100% | 402 | 0 | 100 | 571 | 0 | 100
220008006 | Munster Hamlet Drinking Water System | Ottawa | 94.99% | 100% | 400 | 0 | 100 | 383 | 0 | 100
220008033 | Moose Creek Drinking Water System | North Stormont | 100% | 100% | 312 | 0 | 100 | 72 | 0 | 100
220008051 | Newington Drinking Water System | South Stormont | 100% | 100% | 296 | 0 | 100 | 81 | 0 | 100
220008079 | Bayside Drinking Water System | Quinte West | 100% | 100% | 494 | 0 | 100 | 77 | 2 | 97.4
220008104 | Creighton Heights Drinking Water System | Hamilton Township | 100% | 100% | 350 | 1 | 99.71 | 24 | 0 | 100
220008113 | Camborne Drinking Water System | Hamilton Township | 100% | 100% | 104 | 0 | 100 | 20 | 0 | 100
220008131 | Western Trent/Palmina Drinking Water System | Kawartha Lakes | 100% | 100% | 516 | 4 | 99.22 | 75 | 0 | 100
220008140 | Barwick Drinking Water System | Chapple | 86.1% | 95.47% | 72 | 0 | 100 | 18 | 2 | 88.89
220008257 | Belgrave Drinking Water System | Morris-Turnberry | 100% | 97.87% | 312 | 0 | 100 | 22 | 0 | 100
220008284 | S.A.M. Drinking Water System | Central Huron | 100% | 100% | 104 | 0 | 100 | 77 | 3 | 96.1
220008293 | Van De Wetering Drinking Water System | Central Huron | 96.39% | 100% | 110 | 0 | 100 | 78 | 2 | 97.44
220008319 | Pottawatomi Drinking Water System | Georgian Bluffs | 99.34% | 100% | 104 | 0 | 100 | 20 | 0 | 100
220008382 | Mindemoya Drinking Water System | Central Manitoulin | 95.8% | 100% | 312 | 0 | 100 | 75 | 0 | 100
220008408 | Glen Robertson Drinking Water System | North Glengarry | 98.8% | 100% | 312 | 0 | 100 | 17 | 0 | 100
220008426 | South Baymouth Drinking Water System | Tehkummah | 100% | 96.85% | 52 | 0 | 100 | 21 | 0 | 100
220008471 | Sunsite Estates Subdivision Drinking Water System | Assiginack | 100% | 96.88% | 54 | 0 | 100 | 75 | 0 | 100
220008499 | Century Heights Subdivision Drinking Water System | Ashfield-Colborne-Wawanosh | 93.49% | 100% | 208 | 0 | 100 | 22 | 0 | 100
220008523 | Island Lake Drinking Water System | Mono | 98.42% | 100% | 846 | 0 | 100 | 224 | 0 | 100
220008532 | Cardinal Woods Drinking Water System | Mono | 96.96% | 98.87% | 526 | 0 | 100 | 101 | 0 | 100
220008649 | Crysler Drinking Water System | North Stormont | 100% | 100% | 336 | 0 | 100 | 71 | 0 | 100
220008658 | Ballantrae-Musselman'S Drinking Water System | Whitchurch-Stouffville | 100% | 100% | 312 | 0 | 100 | 121 | 0 | 100
220008729 | Wellington Drinking Water System | Prince Edward County | 100% | 100% | 426 | 1 | 99.77 | 78 | 0 | 100
220008765 | Chepstow Drinking Water System | Brockton | 100% | 100% | 104 | 0 | 100 | 24 | 2 | 91.67
220008792 | Armow Drinking Water System | Kincardine | 100% | 100% | 208 | 0 | 100 | 29 | 0 | 100
220008863 | Whitechurch Drinking Water System | Huron-Kinloss | 96.88% | 100% | 208 | 0 | 100 | 26 | 0 | 100
220008890 | Oshawa-Whitby-Ajax Drinking Water System - Ajax | Ajax | 99.21% | 100% | 2772 | 2 | 99.93 | 426 | 0 | 100
220009050 | Bright Drinking Water System | Blandford-Blenheim | 100% | 100% | 316 | 1 | 99.68 | 22 | 0 | 100
220009096 | Shallow Lake Drinking Water System | Georgian Bluffs | 100% | 100% | 312 | 0 | 100 | 73 | 0 | 100
220009112 | Sheguiandah Drinking Water System | Northeast Manitoulin And The Islands | 100% | 100% | 54 | 0 | 100 | 21 | 0 | 100
220009121 | Echo Bay Drinking Water System | Macdonald Meredith & Aberdeen Additional | 100% | 100% | 312 | 0 | 100 | 75 | 0 | 100
220009149 | Del Trend Subdivision Drinking Water System | Springwater | 100% | 100% | 320 | 0 | 100 | 75 | 0 | 100
220009158 | Grafton Drinking Water System | Alnwick/Haldimand | 100% | 96.26% | 424 | 0 | 100 | 75 | 0 | 100
220009194 | Hamilton Drive Drinking Water System | Guelph-Eramosa | 96.79% | 100% | 510 | 0 | 100 | 36 | 0 | 100
220009210 | Foxboro Drinking Water System | Wilmot | 100% | 100% | 104 | 0 | 100 | 64 | 0 | 100
220009229 | Fairfield Drinking Water System | Loyalist | 100% | 100% | 1080 | 3 | 99.72 | 85 | 0 | 100
220009933 | Colgan Drinking Water System | Adjala-Tosorontio | 100% | 100% | 58 | 0 | 100 | 21 | 0 | 100
220010048 | Weca Drinking Water System | Adjala-Tosorontio | 100% | 100% | 462 | 0 | 100 | 150 | 0 | 100
220010654 | Sandcastle Estates Drinking Water System | Severn | 100% | 99.34% | 208 | 0 | 100 | 76 | 0 | 100
220010681 | South Ramara Drinking Water System | Ramara | 100% | 100% | 312 | 0 | 100 | 73 | 0 | 100
220010690 | Val Harbour Subdivision Drinking Water System | Ramara | 100% | 100% | 52 | 0 | 100 | 20 | 0 | 100
220010752 | Robin Crest Drinking Water System | Oro-Medonte | 100% | 100% | 314 | 0 | 100 | 23 | 0 | 100
220011154 | Alpine/Pirates Glen Drinking Water System | Galway-Cavendish-Harvey | 100% | 100% | 416 | 0 | 100 | 79 | 0 | 100
220011323 | Rope Drinking Water System | Tay | 100% | 100% | 58 | 0 | 100 | 20 | 0 | 100
220011680 | Everett Drinking Water System | Adjala-Tosorontio | 100% | 100% | 474 | 0 | 100 | 34 | 0 | 100
220011895 | Victoria Place Drinking Water System | Kawartha Lakes | 100% | 100% | 416 | 0 | 100 | 22 | 0 | 100
220012162 | Campbellville Drinking Water System | Milton | 100% | 100% | 620 | 0 | 100 | 117 | 0 | 100
220012251 | Woodfield Drinking Water System | Kawartha Lakes | 100% | 100% | 104 | 0 | 100 | 21 | 0 | 100
220012260 | Southview Estates Drinking Water System | Kawartha Lakes | 100% | 100% | 416 | 0 | 100 | 139 | 0 | 100
220012322 | Mariposa Estates Drinking Water System | Kawartha Lakes | 100% | 100% | 104 | 0 | 100 | 45 | 0 | 100
220012572 | Birchpoint Estates Drinking Water System | Kawartha Lakes | 100% | 100% | 416 | 0 | 100 | 22 | 0 | 100
220012724 | Bayshore Village Subdivision Drinking Water System | Ramara | 100% | 100% | 330 | 1 | 99.7 | 20 | 0 | 100
220013553 | Waldemar Drinking Water System | Amaranth | 100% | 100% | 336 | 0 | 100 | 22 | 2 | 90.91
220013562 | South River Drinking Water System | South River | 95.1% | 95.91% | 772 | 0 | 100 | 75 | 0 | 100
220013581 | Dyno Estates Drinking Water System | Highlands East | 100% | 94.74% | 128 | 0 | 100 | 21 | 0 | 100
220013606 | Markstay Distribution System | Markstay-Warren | 100% | 100% | 312 | 0 | 100 | 19 | 4 | 78.95
230000138 | Monteith Correctional Complex Drinking Water System | Iroquois Falls | 95.05% | 87.37% | 98 | 0 | 100 | 20 | 0 | 100
240000020 | Falconbridge Drinking Water System | Greater Sudbury | 100% | 100% | 730 | 0 | 100 | 198 | 0 | 100
240000075 | Vermilion Drinking Water System | Greater Sudbury | 100% | 100% | 104 | 0 | 100 | 64 | 0 | 100
250001233 | Haley Drinking Water System | Whitewater Region | 100% | 91.23% | 54 | 0 | 100 | 26 | 0 | 100
250001322 | Craighurst Drinking Water System | Oro-Medonte | 100% | 100% | 108 | 0 | 100 | 23 | 0 | 100
250001402 | Horseshoe Highlands Drinking Water System | Oro-Medonte | 100% | 100% | 472 | 0 | 100 | 23 | 0 | 100
250001420 | Buckingham Woods Drinking Water System | Clearview | 100% | 100% | 140 | 0 | 100 | 17 | 0 | 100
250001769 | Terrace Bay Drinking Water System | Terrace Bay | 96.44% | 97.5% | 374 | 1 | 99.73 | 84 | 0 | 100
250001830 | Lynden Drinking Water System | Hamilton City | 94.99% | 100% | 416 | 0 | 100 | 160 | 0 | 100
250001910 | Norland Drinking Water System | Kawartha Lakes | 100% | 100% | 104 | 0 | 100 | 21 | 0 | 100
250002311 | Redwood Estates Drinking Water System | South Glengarry | 100% | 100% | 104 | 0 | 100 | 71 | 0 | 100
260001026 | Angus Drinking Water System | Essa | 100% | 100% | 762 | 0 | 100 | 201 | 0 | 100
260001081 | Rosslyn Village Subdivision Drinking Water System | Oliver Paipoonge | 88.62% | 68.51% | 82 | 3 | 96.34 | 30 | 13 | 56.67
260001250 | St Andrews/Rosedale Terrace Distribution System | South Stormont | 99.03% | 100% | 240 | 0 | 100 | 8 | 0 | 100
260001380 | Niagara-On -The-Lake Distribution System | Niagara-On-The-Lake | 100% | 90.45% | 960 | 4 | 99.58 | 12 | 0 | 100
260001458 | Kitchener Distribution System | Kitchener | 100% | 100% | 4307 | 14 | 99.67 | 30 | 0 | 100
260001510 | Dereham Centre Drinking Water System | South-West Oxford | 100% | 100% | 220 | 0 | 100 | 25 | 0 | 100
260001604 | Pelham Distribution System | Pelham | 100% | 100% | 1070 | 2 | 99.81 | 32 | 0 | 100
260001643 | Port Colborne Distribution System | Port Colborne | 100% | 93.64% | 832 | 0 | 100 | 16 | 0 | 100
260001669 | Port Severn Drinking Water System | Georgian Bay | 100% | 100% | 428 | 0 | 100 | 95 | 0 | 100
260001747 | Holland Landing/Queensville/Sharon Distribution System | East Gwillimbury | 100% | 88.76% | 884 | 1 | 99.89 | 22 | 0 | 100
260001786 | Vespra Downs Subdivision Drinking Water System | Springwater | 100% | 100% | 128 | 0 | 100 | 75 | 0 | 100
260001799 | Township Of Warwick Distribution System | Warwick | 100% | 100% | 420 | 0 | 100 | 13 | 0 | 100
260001851 | Grimsby Distribution System | Grimsby | 100% | 100% | 1388 | 3 | 99.78 | 16 | 0 | 100
260001864 | Manorview Drinking Water System | Kawartha Lakes | 100% | 100% | 106 | 0 | 100 | 21 | 0 | 100
260001929 | York Drinking Water System - York Ds | Vaughan | 100% | 100% | 1254 | 0 | 100 | 110 | 0 | 100
260001955 | York Drinking Water System - Queensville | East Gwillimbury | 100% | 100% | 312 | 0 | 100 | 167 | 0 | 100
260001968 | Richmond Hill Distribution System | Richmond Hill | 100% | 100% | 3392 | 3 | 99.91 | 63 | 0 | 100
260002136 | Aylmer Distribution System | Aylmer | 100% | 100% | 508 | 0 | 100 | 25 | 1 | 96
260002187 | City Of St. Thomas Distribution System | St. Thomas | 100% | 88.75% | 1370 | 0 | 100 | 12 | 0 | 100
260002213 | Ansnorveldt Drinking Water System | King | 100% | 100% | 104 | 0 | 100 | 74 | 0 | 100
260002265 | Mount Albert Distribution System | East Gwillimbury | 100% | 97.57% | 388 | 0 | 100 | 9 | 0 | 100
260002304 | City Of Niagara Falls Distribution System | Niagara Falls | 100% | 100% | 2928 | 2 | 99.93 | 26 | 0 | 100
260002317 | Shakespeare Drinking Water System | Perth East | 100% | 100% | 358 | 5 | 98.6 | 32 | 15 | 53.13
260002330 | Woodland Beach Drinking Water System | Tiny | 100% | 100% | 112 | 0 | 100 | 9 | 0 | 100
260002395 | Vankleek Hill Distribution System | Champlain | 100% | 98.04% | 318 | 1 | 99.69 | 8 | 0 | 100
260002460 | Cambridge Distribution System | Cambridge | 100% | 93.91% | 3458 | 8 | 99.77 | 42 | 1 | 97.62
260002473 | City Of Waterloo Distribution System | Waterloo City | 100% | 100% | 3487 | 4 | 99.89 | 185 | 4 | 97.84
260002538 | Branchton Drinking Water System | North Dumfries | 100% | 100% | 208 | 0 | 100 | 21 | 0 | 100
260002551 | Bothwell Distribution System | Chatham-Kent | 100% | 100% | 626 | 2 | 99.68 | 12 | 0 | 100
260002577 | Nobleton Distribution System | King | 100% | 100% | 704 | 0 | 100 | 8 | 0 | 100
260002590 | Cheltenham Drinking Water System | Caledon | 100% | 100% | 772 | 0 | 100 | 162 | 0 | 100
260002616 | Cainsville Distribution System | Brant County | 100% | 100% | 104 | 0 | 100 | 9 | 0 | 100
260002642 | New Hamburg-Baden Distribution System | Wilmot | 90.87% | 100% | 730 | 2 | 99.73 | 15 | 0 | 100
260002668 | Region Of Waterloo Drinking Water System - Mannheim Village | Wilmot | 100% | 99.13% | 308 | 0 | 100 | 192 | 0 | 100
260002681 | New Dundee Distribution System | Wilmot | 100% | 100% | 262 | 0 | 100 | 8 | 0 | 100
260002707 | Region Of Waterloo Drinking Water System -Shingletown | Wilmot | 100% | 100% | 200 | 0 | 100 | 18 | 0 | 100
260002759 | Region Of Waterloo Drinking Water System - Lloyd Brown Ds | North Dumfries | 100% | 100% | 104 | 0 | 100 | 9 | 0 | 100
260002798 | Woolwich North Distribution System | Woolwich | 100% | 100% | 802 | 4 | 99.5 | 51 | 0 | 100
260002811 | Heidelberg Distribution System | Woolwich | 100% | 89.12% | 244 | 1 | 99.59 | 12 | 0 | 100
260002824 | Maryhill Distribution System | Woolwich | 100% | 100% | 358 | 0 | 100 | 22 | 0 | 100
260002876 | Smithville Distribution System | West Lincoln | 100% | 97.84% | 438 | 0 | 100 | 19 | 0 | 100
260002915 | Melrose Drinking Water System | Middlesex Centre | 100% | 100% | 76 | 0 | 100 | 25 | 0 | 100
260002954 | King'S Bay Drinking Water System | Kawartha Lakes | 96.94% | 100% | 416 | 0 | 100 | 89 | 0 | 100
260003071 | Lucan Biddulph Distribution System | Lucan Biddulph | 87.58% | 100% | 626 | 0 | 100 | 10 | 0 | 100
260003084 | Sebringville Drinking Water System | Perth South | 100% | 99.29% | 52 | 0 | 100 | 23 | 0 | 100
260003097 | Vaughan Distribution System | Vaughan | 100% | 100% | 3786 | 19 | 99.5 | 35 | 0 | 100
260003123 | South Lucknow Distribution System | Ashfield-Colborne-Wawanosh | 91.76% | 100% | 0 | 0 |  | 0 | 0
260003136 | Sarnia Distribution System | Sarnia | 89.12% | 98.75% | 2096 | 0 | 100 | 16 | 0 | 100
260003149 | Welland Distribution System | Welland | 100% | 94.44% | 3520 | 2 | 99.94 | 8 | 0 | 100
260003162 | Stouffville Distribution System | Whitchurch-Stouffville | 94.12% | 100% | 2360 | 4 | 99.83 | 43 | 0 | 100
260003188 | Newmarket Distribution System | Newmarket | 100% | 100% | 2790 | 7 | 99.75 | 44 | 0 | 100
260003227 | Town Of Aurora Distribution System | Aurora | 100% | 100% | 2060 | 17 | 99.17 | 28 | 0 | 100
260003279 | St. Catharines Distribution System | St. Catharines | 100% | 100% | 3208 | 2 | 99.94 | 29 | 0 | 100
260004202 | Middlesex Centre Distribution System - Middlesex Centre Ds | Middlesex Centre | 97.11% | 95.31% | 638 | 0 | 100 | 20 | 1 | 95
260004215 | Oxenden Distribution System | Georgian Bluffs | 100% | 100% | 208 | 0 | 100 | 10 | 0 | 100
260004293 | Wendover Drinking Water System | Alfred And Plantagenet | 95.2% | 100% | 422 | 1 | 99.76 | 70 | 0 | 100
260004306 | Jordan-Vineland Distribution System | Lincoln | 100% | 89.57% | 538 | 0 | 100 | 16 | 0 | 100
260004319 | Beamsville Distribution System | Lincoln | 100% | 100% | 792 | 4 | 99.49 | 16 | 0 | 100
260004566 | Caledonia And Cayuga Distribution System | Haldimand | 97.35% | 100% | 728 | 0 | 100 | 18 | 0 | 100
260004722 | Aylmer Area Secondary Water Supply System | Aylmer | 100% | 100% | 416 | 0 | 100 | 17 | 0 | 100
260004735 | Port Burwell Area Secondary Water Supply System | Malahide | 100% | 100% | 322 | 1 | 99.69 | 8 | 0 | 100
260004748 | Municipality Of Bayham Distribution System | Bayham | 100% | 100% | 316 | 0 | 100 | 8 | 0 | 100
260004761 | Central Elgin Distribution System | Central Elgin | 91.21% | 100% | 1168 | 1 | 99.91 | 11 | 0 | 100
260004774 | Malahide Distribution System | Malahide | 100% | 100% | 322 | 0 | 100 | 10 | 0 | 100
260004904 | Fort Erie Distribution System | Fort Erie | 100% | 100% | 1252 | 6 | 99.52 | 28 | 0 | 100
260004917 | City Of London Distribution System | London | 100% | 100% | 6134 | 6 | 99.9 | 66 | 0 | 100
260004969 | Tecumseh Distribution System | Tecumseh | 98.37% | 100% | 1037 | 0 | 100 | 27 | 2 | 92.59
260004982 | Municipality Of Lakeshore Drinking Water System - Tecumseh Ds | Lakeshore | 100% | 100% | 210 | 0 | 100 | 12 | 0 | 100
260004995 | Municipality Of Lakeshore Drinking Water System - Union Ds | Lakeshore | 100% | 100% | 408 | 0 | 100 | 11 | 0 | 100
260005008 | Rossmore/Fenwood Gardens Distribution System | Prince Edward County | 100% | 100% | 320 | 0 | 100 | 13 | 0 | 100
260005099 | Consecon/Carrying Place Distribution System | Prince Edward County | 100% | 100% | 284 | 0 | 100 | 64 | 0 | 100
260005112 | Edwardsburgh Industrial Park Distribution System | Edwardsburgh/Cardinal | 100% | 100% | 104 | 0 | 100 | 9 | 0 | 100
260005138 | King City Distribution System | King | 100% | 100% | 468 | 3 | 99.36 | 8 | 0 | 100
260005151 | Schomberg Distribution System | King | 93.09% | 100% | 440 | 2 | 99.55 | 8 | 0 | 100
260005281 | Auburn Drinking Water System | Central Huron | 100% | 100% | 104 | 0 | 100 | 77 | 0 | 100
260005398 | Colling-Woodlands Drinking Water System | Clearview | 100% | 100% | 134 | 1 | 99.25 | 17 | 0 | 100
260005411 | Nottawa Drinking Water System | Clearview | 100% | 100% | 344 | 0 | 100 | 61 | 0 | 100
260005463 | Newbury (West Elgin Aws) Distribution System | Newbury | 89.57% | 98.23% | 424 | 0 | 100 | 8 | 0 | 100
260005502 | Southwest Middlesex Distribution System | Southwest Middlesex | 100% | 100% | 642 | 1 | 99.84 | 19 | 0 | 100
260005554 | Monteith Distribution System | Iroquois Falls | 100% | 100% | 112 | 0 | 100 | 10 | 0 | 100
260006295 | Courtney Subdivision Distribution System | Ashfield-Colborne-Wawanosh | 100% | 100% | 0 | 0 |  | 1 | 0 | 100
260006464 | St. Clair Distribution System | St. Clair | 100% | 100% | 954 | 3 | 99.69 | 12 | 0 | 100
260006516 | Sonya Village Subdivision Drinking Water System | Kawartha Lakes | 100% | 96.61% | 208 | 0 | 100 | 21 | 0 | 100
260006529 | North Middlesex Distribution System | North Middlesex | 100% | 100% | 448 | 1 | 99.78 | 17 | 0 | 100
260006542 | Bluewater Lakeshore Distribution System | Bluewater | 100% | 100% | 412 | 0 | 100 | 14 | 0 | 100
260006568 | East Lambton Shores Distribution System | Lambton Shores | 100% | 100% | 526 | 0 | 100 | 11 | 0 | 100
260006581 | West Lambton Shores Distribution System | Lambton Shores | 100% | 92.5% | 318 | 0 | 100 | 10 | 0 | 100
260006594 | Plympton-Wyoming Distribution System | Plympton-Wyoming | 100% | 93.46% | 446 | 0 | 100 | 8 | 0 | 100
260006685 | Sault Ste Marie Drinking Water System | Sault Ste. Marie | 100% | 100% | 2898 | 1 | 99.97 | 423 | 0 | 100
260006737 | Ballantrae-Musselman Lake Distribution System | Whitchurch-Stouffville | 100% | 100% | 542 | 0 | 100 | 32 | 0 | 100
260006789 | Vermillion Distribution System | Greater Sudbury | 100% | 100% | 540 | 0 | 100 | 16 | 0 | 100
260006828 | Montague Distribution System | Montague | 100% | 85.38% | 208 | 0 | 100 | 10 | 0 | 100
260006841 | Limoges Drinking Water System | The Nation | 100% | 100% | 624 | 0 | 100 | 78 | 0 | 100
260006867 | Lancaster Drinking Water System | South Glengarry | 100% | 100% | 416 | 0 | 100 | 73 | 0 | 100
260006958 | Miller Manor Apartments Drinking Water System | Front Of Yonge | 100% | 94.74% | 26 | 0 | 100 | 11 | 0 | 100
260006971 | The Maples Drinking Water System | Edwardsburgh/Cardinal | 100% | 98.45% | 24 | 0 | 100 | 9 | 0 | 100
260007088 | Minto Pines Subdivision Drinking Water System | Minto | 100% | 100% | 104 | 0 | 100 | 21 | 0 | 100
260007114 | Moosonee Drinking Water System | Moosonee | 100% | 95.98% | 326 | 0 | 100 | 71 | 1 | 98.59
260007465 | Laurentian Valley Distribution System | Laurentian Valley | 91.05% | 87.43% | 228 | 0 | 100 | 8 | 0 | 100
260007491 | Pronto East Subdivision Drinking Water System | The North Shore | 100% | 100% | 54 | 0 | 100 | 39 | 4 | 89.74
260007777 | Elizabethtown - Kitley Distribution System | Elizabethtown-Kitley | 100% | 100% | 0 | 0 |  | 2 | 0 | 100
260007842 | Dungannon Drinking Water System | Ashfield-Colborne-Wawanosh | 87.31% | 100% | 312 | 0 | 100 | 32 | 3 | 90.63
260019630 | Varna Drinking Water System | Bluewater | 100% | 90.81% | 104 | 0 | 100 | 24 | 0 | 100
260022152 | Breslau Distribution System | Woolwich | 100% | 98.81% | 608 | 11 | 98.19 | 12 | 0 | 100
260024999 | South Chatham-Kent Water Treatment Plant And Distribution Subsystem | Chatham-Kent | 100% | 100% | 1230 | 1 | 99.92 | 82 | 0 | 100
260026156 | Georgina Drinking Water System - Georgina | Georgina | 100% | 100% | 208 | 0 | 100 | 178 | 0 | 100
260034372 | Ansnorveldt Distribution System | King | 100% | 100% | 208 | 0 | 100 | 8 | 0 | 100
260034996 | Molesworth Drinking Water System | North Perth | 100% | 100% | 68 | 1 | 98.53 | 13 | 0 | 100
260037102 | L'Orignal Distribution System | Champlain | 93.25% | 99.01% | 312 | 0 | 100 | 8 | 0 | 100
260039208 | Hamilton Township Distribution System | Hamilton Township | 100% | 100% | 0 | 0 |  | 0 | 0
260040170 | Alvinston Distribution System | Brooke-Alvinston | 100% | 90.62% | 314 | 0 | 100 | 10 | 0 | 100
260046137 | Somerset/ Knob Hill Distribution System | Ramara | 100% | 100% | 52 | 0 | 100 | 8 | 0 | 100
260046709 | Huronville Subdivision Distribution System | Huron-Kinloss | 100% | 100% | 0 | 0 |  | 1 | 0 | 100
260046761 | Oil Springs Water Distribution System | Oil Springs | 100% | 100% | 192 | 0 | 100 | 8 | 0 | 100
260046904 | Dawn-Euphemia Distribution System | Dawn-Euphemia | 100% | 87.13% | 428 | 1 | 99.77 | 12 | 0 | 100
260046995 | Innerkip Drinking Water System | East Zorra-Tavistock | 100% | 100% | 428 | 2 | 99.53 | 24 | 0 | 100
260048204 | Snow Valley Drinking Water System | Springwater | 96.57% | 100% | 502 | 0 | 100 | 151 | 0 | 100
260048282 | Phelpston Drinking Water System | Springwater | 100% | 100% | 140 | 0 | 100 | 75 | 0 | 100
260049582 | Thorold (Port Robinson) Distribution System | Thorold | 97.05% | 88.89% | 310 | 0 | 100 | 8 | 0 | 100
260049621 | Thorold South End Distribution System | Thorold | 97.55% | 88.27% | 318 | 1 | 99.69 | 72 | 0 | 100
260057278 | Trentview Estates Distribution System | Asphodel-Norwood | 100% | 100% | 104 | 0 | 100 | 10 | 0 | 100
260057967 | Gazer Mooney Subdivision Distribution System | Guelph-Eramosa | 100% | 100% | 104 | 0 | 100 | 11 | 0 | 100
260058006 | Port Hope Drinking Water System | Port Hope | 100% | 100% | 914 | 2 | 99.78 | 214 | 0 | 100
260061958 | West Shore Drinking Water System | Severn | 100% | 99.36% | 478 | 0 | 100 | 78 | 0 | 100
260062452 | Bevan Heights Distribution System | Niagara-On-The-Lake | 100% | 100% | 104 | 0 | 100 | 9 | 0 | 100
260062686 | Keswick-Sutton Distribution System | Georgina | 97.54% | 100% | 1490 | 1 | 99.93 | 28 | 0 | 100
260063661 | Mansfield Drinking Water System | Mulmur | 100% | 100% | 336 | 0 | 100 | 21 | 0 | 100
260064272 | Elgeti And Crystal Springs Subdivisions Drinking Water System | Otonabee-South Monaghan | 100% | 100% | 434 | 0 | 100 | 74 | 0 | 100
260065260 | Atwood Drinking Water System | North Perth | 100% | 100% | 314 | 0 | 100 | 18 | 0 | 100
260065312 | Leith Distribution System | Meaford | 100% | 100% | 232 | 0 | 100 | 12 | 0 | 100
260066417 | Long Sault/Ingleside Regional Drinking Water System | South Stormont | 99.34% | 95.71% | 396 | 0 | 100 | 69 | 0 | 100
260068419 | South Halton Drinking Water System - Bridgeview Community Ds | Burlington | 100% | 100% | 212 | 0 | 100 | 12 | 0 | 100
260069173 | Hamilton Drinking Water System - Fifty Road Ds | Hamilton City | 98.15% | 100% | 210 | 0 | 100 | 17 | 0 | 100
260069290 | Sydenham Drinking Water System | South Frontenac | 100% | 100% | 344 | 1 | 99.71 | 80 | 0 | 100
260069732 | Moorefield Drinking Water System | Mapleton | 100% | 100% | 414 | 0 | 100 | 20 | 0 | 100
260069927 | Bradley Subdivision Distribution System | Charlton/Dack | 95.65% | 96.75% | 0 | 0 |  | 1 | 0 | 100
260071435 | Baysville Drinking Water System | Lake Of Bays | 100% | 100% | 416 | 0 | 100 | 84 | 0 | 100
260074321 | Coleman Distribution System | Coleman | 100% | 98.26% | 112 | 0 | 100 | 8 | 0 | 100
260074854 | Richmond Community Drinking Water System | Bayham | 100% | 100% | 208 | 0 | 100 | 164 | 0 | 100
260075231 | Kinmount Drinking Water System | Kawartha Lakes | 100% | 100% | 106 | 0 | 100 | 21 | 0 | 100
260078897 | St. Thomas Area Secondary Water Supply System | St. Thomas | 100% | 92.31% | 0 | 0 |  | 17 | 0 | 100
260079131 | Mcdougall Nobel Distribution System | Mcdougall | 100% | 100% | 320 | 0 | 100 | 18 | 0 | 100
260080106 | Strathroy-Caradoc Distribution System - Strathroy Ds | Strathroy-Caradoc | 98.97% | 98.25% | 780 | 1 | 99.87 | 16 | 0 | 100
260085436 | South Halton Drinking Water System - Burloak | Oakville | 100% | 100% | 122 | 0 | 100 | 253 | 0 | 100
260085462 | South Halton Drinking Water System - South Halton Ds | Oakville | 100% | 100% | 6868 | 4 | 99.94 | 342 | 0 | 100
260086762 | South Halton Drinking Water System - North Aldershot Ds | Burlington | 100% | 100% | 208 | 0 | 100 | 11 | 0 | 100
260086775 | South Halton Drinking Water System - Snake Road Ds | Burlington | 100% | 100% | 208 | 0 | 100 | 11 | 0 | 100
260086866 | Baxter Distribution System | Essa | 100% | 100% | 118 | 0 | 100 | 9 | 0 | 100
260087048 | Leamington Distribution System - Wheatley Ds | Leamington | 100% | 100% | 324 | 2 | 99.38 | 2 | 0 | 100
260087685 | Yonge-Green Lane Distribution System | East Gwillimbury | 89.12% | 97.08% | 286 | 0 | 100 | 15 | 0 | 100
260089635 | Shadow Ridge Drinking Water System | Ottawa | 100% | 100% | 426 | 1 | 99.77 | 383 | 0 | 100
260090012 | Laurentian Park Distribution System | Champlain | 100% | 100% | 104 | 0 | 100 | 8 | 0 | 100
260090363 | City Of Toronto Drinking Water System - Toronto Ds | Toronto | 100% | 100% | 13692 | 62 | 99.55 | 151 | 0 | 100
260091026 | St. Isidore Distribution System | The Nation | 100% | 100% | 312 | 0 | 100 | 12 | 0 | 100
260091117 | Tri-County Drinking Water System | West Elgin | 100% | 100% | 314 | 0 | 100 | 83 | 0 | 100
260091338 | Ignace Drinking Water System | Ignace | 95.34% | 100% | 376 | 2 | 99.47 | 69 | 0 | 100
260091507 | Municipality Of Lakeshore Drinking Water System | Lakeshore | 100% | 100% | 1364 | 2 | 99.85 | 92 | 0 | 100
260091650 | Hensall-Zurich Distribution System | Bluewater | 100% | 100% | 354 | 0 | 100 | 12 | 0 | 100
260091936 | Lutterworth Pines Drinking Water System | Minden Hills | 100% | 100% | 52 | 0 | 100 | 32 | 0 | 100
260092014 | Russell Distribution System | Russell | 100% | 95.61% | 814 | 0 | 100 | 16 | 0 | 100
260092040 | Herbert Avenue Drinking Water System | Hornepayne | 100% | 100% | 330 | 0 | 100 | 122 | 4 | 96.72
260093132 | St. Agatha Distribution System | Wilmot | 100% | 100% | 208 | 0 | 100 | 8 | 0 | 100
260094120 | South Peel Distribution System | Mississauga | 100% | 100% | 17274 | 11 | 99.94 | 82 | 0 | 100
260094627 | West Elgin Distribution System | West Elgin | 100% | 100% | 422 | 0 | 100 | 11 | 0 | 100
260094939 | Mannheim Distribution System | Wilmot | 85.62% | 100% | 210 | 0 | 100 | 8 | 0 | 100
260096343 | Richmond West Drinking Water System | Ottawa | 100% | 100% | 390 | 0 | 100 | 384 | 0 | 100
260097331 | Integrated Urban Water Distribution System | Kitchener | 98.31% | 100% | 1580 | 0 | 100 | 4 | 0 | 100
260097877 | Midhurst Valley Well Supply | Springwater | 97.55% | #N/A | 282 | 0 | 100 | 129 | 0 | 100