## MRS Insp Rating + Water Quality
DWS # | Nom du réseau d'eau potable | Lieu (municipalité où se trouve le réseau d'eau potable) | Indice d'inspection (%) obtenu pour l'exercice en cours | Indice d'inspection (%) obtenu pour l'exercice précédent | Nombre de résultats d'analyse microbiologique (EC et CT) | Nombre de résultats d'analyse microbiologique (EC et CT) insatisfaisants | Pourcentage de résultats d'analyse microbiologique (EC et CT) conformes aux normes de qualité de l'eau potable de l'Ontario | Nombre de résultats d'analyse chimique et radiologique | Nombre de résultats d'analyse chimique et radiologique insatisfaisants | Pourcentage de résultats d'analyse chimique et radiologique conformes aux normes de qualité de l'eau potable de l'Ontario
210000041 | Blind River Drinking Water System | Blind River |  |  | 444 | 0 | 100 | 86 | 0 | 100
210000050 | Wawa Drinking Water System | Michipicoten |  |  | 548 | 0 | 100 | 152 | 0 | 100
210000069 | Mt. Pleasant Drinking Water System | Brant County |  |  | 422 | 1 | 99.76 | 20 | 0 | 100
210000078 | Saugeen Shores Drinking Water System | Saugeen Shores |  |  | 856 | 0 | 100 | 81 | 0 | 100
210000087 | Moonbeam Drinking Water System | Moonbeam |  |  | 312 | 0 | 100 | 22 | 0 | 100
210000130 | Essex Drinking Water System - Harrow-Colchester South | Essex Town |  |  | 676 | 2 | 99.7 | 87 | 0 | 100
210000149 | Amherstburg Drinking Water System | Amherstburg |  |  | 1104 | 0 | 100 | 79 | 0 | 100
210000167 | Town Of Hanover Drinking Water System | Brockton |  |  | 540 | 2 | 99.63 | 78 | 0 | 100
210000176 | Meaford Drinking Water System | Meaford |  |  | 448 | 0 | 100 | 79 | 0 | 100
210000194 | Minden Drinking Water System | Minden Hills |  |  | 418 | 0 | 100 | 22 | 0 | 100
210000238 | Goderich Drinking Water System | Goderich |  |  | 750 | 2 | 99.73 | 82 | 0 | 100
210000256 | Ear Falls Drinking Water System | Ear Falls |  |  | 354 | 2 | 99.44 | 83 | 1 | 98.8
210000265 | Red Lake Drinking Water System | Red Lake |  |  | 434 | 1 | 99.77 | 73 | 0 | 100
210000292 | Geraldton Drinking Water System | Greenstone |  |  | 430 | 1 | 99.77 | 74 | 0 | 100
210000309 | Haileybury Drinking Water System | Temiskaming Shores |  |  | 460 | 0 | 100 | 78 | 0 | 100
210000318 | Bobcaygeon Drinking Water System | Kawartha Lakes |  |  | 422 | 0 | 100 | 73 | 0 | 100
210000327 | Fenelon Falls Drinking Water System | Kawartha Lakes |  |  | 446 | 0 | 100 | 77 | 0 | 100
210000372 | Carleton Place Drinking Water System | Carleton Place |  |  | 832 | 0 | 100 | 69 | 0 | 100
210000407 | White River Drinking Water System | White River |  |  | 316 | 0 | 100 | 75 | 0 | 100
210000470 | Hastings Drinking Water System | Trent Hills |  |  | 424 | 0 | 100 | 82 | 0 | 100
210000498 | Warkworth Drinking Water System | Trent Hills |  |  | 318 | 0 | 100 | 82 | 0 | 100
210000522 | Balmertown Cochenour Mackenzie Island Drinking Water System | Red Lake |  |  | 618 | 0 | 100 | 86 | 0 | 100
210000568 | South Peel Drinking Water System - Arthur P. Kennedy | Mississauga |  |  | 628 | 0 | 100 | 181 | 0 | 100
210000577 | Mitchell Drinking Water System | West Perth |  |  | 708 | 0 | 100 | 85 | 0 | 100
210000595 | Havelock Drinking Water System | Havelock-Belmont-Methuen |  |  | 528 | 0 | 100 | 148 | 0 | 100
210000639 | Rockland Drinking Water System | Clarence-Rockland |  |  | 954 | 0 | 100 | 70 | 0 | 100
210000657 | Emo Drinking Water System | Emo |  |  | 384 | 1 | 99.74 | 96 | 4 | 95.83
210000666 | Chalk River Drinking Water System | Laurentian Hills |  |  | 420 | 1 | 99.76 | 86 | 2 | 97.67
210000675 | Eganville Drinking Water System | Bonnechere Valley |  |  | 442 | 0 | 100 | 73 | 0 | 100
210000684 | Bradford/Bondhead Drinking Water System | Bradford-West Gwillimbury |  |  | 1686 | 1 | 99.94 | 143 | 0 | 100
210000728 | North Dundas Drinking Water System | North Dundas |  |  | 954 | 0 | 100 | 62 | 0 | 100
210000737 | Valley Drinking Water System | Greater Sudbury |  |  | 2362 | 0 | 100 | 162 | 0 | 100
210000746 | Espanola Drinking Water System | Espanola |  |  | 530 | 0 | 100 | 76 | 0 | 100
210000755 | Warren Drinking Water System | Markstay-Warren |  |  | 314 | 0 | 100 | 20 | 0 | 100
210000791 | Lake Huron Primary Water Supply System | South Huron |  |  | 1112 | 0 | 100 | 141 | 0 | 100
210000853 | Union Water Supply System | Kingsville |  |  | 108 | 0 | 100 | 70 | 0 | 100
210000871 | Elgin Area Primary Water Supply System | Central Elgin |  |  | 770 | 0 | 100 | 140 | 0 | 100
210000906 | Lambton Area Water Supply System | Sarnia |  |  | 652 | 0 | 100 | 89 | 0 | 100
210000924 | Village Of Point Edward Distribution System | Point Edward |  |  | 324 | 1 | 99.69 | 14 | 0 | 100
210000933 | Bruce Mines Drinking Water System | Bruce Mines |  |  | 416 | 0 | 100 | 77 | 0 | 100
210000942 | Barry'S Bay Drinking Water System | Madawaska Valley |  |  | 326 | 0 | 100 | 79 | 0 | 100
210000951 | Verner Drinking Water System | West Nipissing |  |  | 418 | 0 | 100 | 75 | 0 | 100
210000960 | Latchford Drinking Water System | Latchford |  |  | 318 | 0 | 100 | 73 | 0 | 100
210000979 | Fauquier Drinking Water System | Fauquier-Strickland |  |  | 324 | 0 | 100 | 71 | 0 | 100
210000997 | Vermilion Bay Drinking Water System | Machin |  |  | 312 | 0 | 100 | 131 | 0 | 100
210001004 | Westport Drinking Water System | Westport |  |  | 344 | 0 | 100 | 74 | 0 | 100
210001013 | Manitowaning Drinking Water System | Assiginack |  |  | 344 | 0 | 100 | 75 | 0 | 100
210001022 | Lansdowne Drinking Water System | Leeds And The Thousand Islands |  |  | 342 | 0 | 100 | 55 | 0 | 100
210001077 | Woodville Drinking Water System | Kawartha Lakes |  |  | 426 | 0 | 100 | 76 | 0 | 100
210001102 | Renfrew Drinking Water System | Renfrew Town |  |  | 556 | 1 | 99.82 | 82 | 6 | 92.68
210001111 | Sudbury Drinking Water System - Wahnapitei | Greater Sudbury |  |  | 1773 | 1 | 99.94 | 96 | 0 | 100
210001157 | Pickle Lake Drinking Water System | Pickle Lake |  |  | 320 | 0 | 100 | 16 | 0 | 100
210001219 | Casselman Drinking Water System | Casselman |  |  | 424 | 0 | 100 | 70 | 0 | 100
210001264 | Beardmore Drinking Water System | Greenstone |  |  | 300 | 0 | 100 | 108 | 2 | 98.15
210001273 | Brechin & Lagoon City Drinking Water System | Ramara |  |  | 428 | 0 | 100 | 75 | 0 | 100
210001291 | Plattsville Drinking Water System | Blandford-Blenheim |  |  | 468 | 1 | 99.79 | 66 | 0 | 100
210001317 | South Peel Drinking Water System - Lorne Park | Mississauga |  |  | 314 | 0 | 100 | 75 | 0 | 100
210001362 | Southwold Distribution System | Southwold |  |  | 592 | 0 | 100 | 8 | 0 | 100
210001442 | Dubreuilville Drinking Water System | Dubreuilville |  |  | 318 | 0 | 100 | 73 | 0 | 100
210001479 | Madsen Drinking Water System | Red Lake |  |  | 216 | 0 | 100 | 69 | 0 | 100
210001503 | Woodland Acres Subdivision Distribution System | Smith-Ennismore-Lakefield |  |  | 358 | 0 | 100 | 12 | 0 | 100
210001558 | Nanticoke Drinking Water System | Haldimand |  |  | 1070 | 0 | 100 | 110 | 0 | 100
210001585 | Vanastra Distribution System | Huron East |  |  | 318 | 1 | 99.69 | 10 | 0 | 100
210001665 | Dowling Drinking Water System | Greater Sudbury |  |  | 492 | 0 | 100 | 130 | 0 | 100
210001674 | Val Gagne Drinking Water System | Black River-Matheson |  |  | 66 | 1 | 98.48 | 10 | 0 | 100
210001781 | Mattice Drinking Water System | Mattice-Val Cote |  |  | 312 | 0 | 100 | 73 | 0 | 100
210001843 | Killarney Drinking Water System | Killarney |  |  | 348 | 4 | 98.85 | 76 | 0 | 100
210001861 | Glen Walter Drinking Water System | South Glengarry |  |  | 438 | 0 | 100 | 69 | 0 | 100
210001870 | Desbarats Drinking Water System | Johnson |  |  | 62 | 1 | 98.39 | 71 | 0 | 100
210001889 | Frankford-Batawa Drinking Water System | Quinte West |  |  | 488 | 0 | 100 | 78 | 0 | 100
210001905 | Mattawa Drinking Water System | Mattawa |  |  | 436 | 0 | 100 | 76 | 0 | 100
210002101 | Petawawa Drinking Water System | Petawawa |  |  | 790 | 0 | 100 | 128 | 4 | 96.88
210002129 | Callander Drinking Water System | Callander |  |  | 428 | 0 | 100 | 74 | 0 | 100
210002138 | Nairn Centre Drinking Water System | Nairn And Hyman |  |  | 318 | 0 | 100 | 74 | 0 | 100
210002147 | Neustadt Drinking Water System | West Grey |  |  | 318 | 0 | 100 | 73 | 0 | 100
210002183 | Marsville Subdivision Drinking Water System | East Garafraxa |  |  | 104 | 0 | 100 | 22 | 0 | 100
210002218 | Manilla Drinking Water System | Kawartha Lakes |  |  | 208 | 0 | 100 | 74 | 0 | 100
210002227 | Omemee Drinking Water System | Kawartha Lakes |  |  | 104 | 0 | 100 | 74 | 0 | 100
210002263 | Vars Drinking Water System | Ottawa |  |  | 476 | 0 | 100 | 664 | 0 | 100
210002272 | Carp Drinking Water System | Ottawa |  |  | 544 | 0 | 100 | 399 | 0 | 100
210003011 | Chatsworth Drinking Water System | Chatsworth |  |  | 318 | 0 | 100 | 140 | 0 | 100
210003084 | Kagawong Drinking Water System | Billings |  |  | 318 | 0 | 100 | 74 | 0 | 100
210003280 | Georgina Drinking Water System - Keswick | Georgina |  |  | 420 | 0 | 100 | 659 | 0 | 100
210003342 | Schreiber Drinking Water System | Schreiber |  |  | 348 | 3 | 99.14 | 120 | 4 | 96.67
210003912 | Finch Drinking Water System | North Stormont |  |  | 318 | 0 | 100 | 16 | 0 | 100
220000013 | Erin Drinking Water System | Erin |  |  | 632 | 0 | 100 | 140 | 0 | 100
220000031 | Clifford Drinking Water System | Minto |  |  | 636 | 0 | 100 | 56 | 0 | 100
220000040 | Arthur Drinking Water System | Wellington North |  |  | 542 | 1 | 99.82 | 141 | 0 | 100
220000059 | Palmerston Drinking Water System | Minto |  |  | 854 | 1 | 99.88 | 56 | 0 | 100
220000068 | Mount Forest Drinking Water System | Wellington North |  |  | 842 | 0 | 100 | 271 | 0 | 100
220000077 | Harriston Drinking Water System | Minto |  |  | 634 | 0 | 100 | 44 | 0 | 100
220000086 | Centre Wellington Drinking Water System | Centre Wellington |  |  | 2224 | 0 | 100 | 99 | 0 | 100
220000095 | Guelph Drinking Water System | Guelph |  |  | 4346 | 1 | 99.98 | 320 | 0 | 100
220000102 | Linwood Drinking Water System | Wellesley |  |  | 430 | 1 | 99.77 | 19 | 0 | 100
220000111 | Region Of Waterloo Drinking Water System - New Hamburg-Baden | Wilmot |  |  | 104 | 0 | 100 | 11 | 0 | 100
220000157 | Region Of Waterloo Drinking Water System - Waterloo | Waterloo City |  |  | 312 | 0 | 100 | 150 | 0 | 100
220000166 | Region Of Waterloo Drinking Water System - Cambridge | Cambridge |  |  | 1158 | 0 | 100 | 449 | 0 | 100
220000175 | Lindsay Drinking Water System | Kawartha Lakes |  |  | 1406 | 0 | 100 | 130 | 8 | 93.85
220000184 | Caramat Drinking Water System | Greenstone |  |  | 102 | 0 | 100 | 28 | 0 | 100
220000193 | Red Rock Drinking Water System | Red Rock |  |  | 332 | 0 | 100 | 88 | 0 | 100
220000200 | Nakina Drinking Water System | Greenstone |  |  | 318 | 0 | 100 | 70 | 0 | 100
220000219 | Manitouwadge Drinking Water System | Manitouwadge |  |  | 532 | 0 | 100 | 77 | 0 | 100
220000246 | Nipigon Drinking Water System | Nipigon |  |  | 356 | 0 | 100 | 70 | 0 | 100
220000255 | Marathon Drinking Water System | Marathon |  |  | 858 | 0 | 100 | 317 | 0 | 100
220000264 | Longlac Drinking Water System | Greenstone |  |  | 364 | 1 | 99.73 | 69 | 0 | 100
220000273 | Bare Point Road Drinking Water System | Thunder Bay City |  |  | 4434 | 1 | 99.98 | 250 | 0 | 100
220000308 | Kirkland Lake Drinking Water System | Kirkland Lake |  |  | 678 | 3 | 99.56 | 72 | 0 | 100
220000317 | Virginiatown-Kearns Drinking Water System | Mcgarry |  |  | 438 | 2 | 99.54 | 18 | 0 | 100
220000326 | Larder Lake Drinking Water System | Larder Lake |  |  | 346 | 0 | 100 | 71 | 0 | 100
220000344 | New Liskeard Drinking Water System | Temiskaming Shores |  |  | 760 | 3 | 99.61 | 21 | 0 | 100
220000353 | Englehart Drinking Water System | Englehart |  |  | 442 | 1 | 99.77 | 22 | 0 | 100
220000362 | Cobalt Drinking Water System | Cobalt |  |  | 430 | 0 | 100 | 74 | 0 | 100
220000371 | Simcoe Drinking Water System | Norfolk |  |  | 1126 | 5 | 99.56 | 240 | 0 | 100
220000399 | Port Dover Drinking Water System | Norfolk |  |  | 520 | 0 | 100 | 76 | 0 | 100
220000424 | Temagami South Drinking Water System | Temagami |  |  | 322 | 0 | 100 | 72 | 0 | 100
220000425 | Lakeshore Drinking Water System | Huron-Kinloss |  |  | 834 | 0 | 100 | 312 | 0 | 100
220000433 | Temagami North Drinking Water System | Temagami |  |  | 320 | 0 | 100 | 72 | 0 | 100
220000442 | Sturgeon Falls Drinking Water System | West Nipissing |  |  | 664 | 0 | 100 | 84 | 0 | 100
220000460 | North Bay Drinking Water System | North Bay |  |  | 2188 | 2 | 99.91 | 247 | 0 | 100
220000479 | Norwood Drinking Water System | Asphodel-Norwood |  |  | 424 | 0 | 100 | 77 | 0 | 100
220000488 | Lakefield Drinking Water System | Smith-Ennismore-Lakefield |  |  | 468 | 0 | 100 | 89 | 0 | 100
220000497 | Peterborough Drinking Water System | Peterborough City |  |  | 3518 | 0 | 100 | 109 | 0 | 100
220000503 | Milverton Drinking Water System | Perth East |  |  | 438 | 2 | 99.54 | 24 | 0 | 100
220000512 | Listowel Drinking Water System | North Perth |  |  | 822 | 0 | 100 | 194 | 0 | 100
220000521 | St Marys Drinking Water System | St. Marys |  |  | 740 | 1 | 99.86 | 212 | 0 | 100
220000530 | Stratford Drinking Water System | Stratford |  |  | 1748 | 1 | 99.94 | 459 | 28 | 93.9
220000567 | Burk'S Falls Drinking Water System | Burk'S Falls |  |  | 424 | 0 | 100 | 21 | 0 | 100
220000576 | Powassan Drinking Water System | Powassan |  |  | 416 | 0 | 100 | 20 | 0 | 100
220000585 | Parry Sound Drinking Water System | Parry Sound Town |  |  | 510 | 0 | 100 | 86 | 0 | 100
220000601 | Oxford South Drinking Water System | Norwich |  |  | 792 | 1 | 99.87 | 157 | 0 | 100
220000610 | Thamesford Drinking Water System | Zorra |  |  | 430 | 1 | 99.77 | 77 | 0 | 100
220000629 | Mount Elgin Drinking Water System | South-West Oxford |  |  | 472 | 1 | 99.79 | 88 | 0 | 100
220000638 | Brownsville Drinking Water System | South-West Oxford |  |  | 324 | 1 | 99.69 | 80 | 2 | 97.5
220000647 | Tavistock Drinking Water System | East Zorra-Tavistock |  |  | 432 | 1 | 99.77 | 67 | 0 | 100
220000665 | Embro Drinking Water System | Zorra |  |  | 442 | 2 | 99.55 | 66 | 0 | 100
220000674 | Beachville Drinking Water System | South-West Oxford |  |  | 212 | 0 | 100 | 29 | 0 | 100
220000683 | Tillsonburg Drinking Water System | Tillsonburg |  |  | 1228 | 5 | 99.59 | 418 | 0 | 100
220000692 | Ingersoll Drinking Water System | Ingersoll |  |  | 1230 | 0 | 100 | 370 | 4 | 98.92
220000700 | Elmvale Drinking Water System | Springwater |  |  | 410 | 1 | 99.76 | 22 | 0 | 100
220000709 | Woodstock Drinking Water System | Woodstock |  |  | 2106 | 2 | 99.91 | 384 | 0 | 100
220000745 | Cannington Drinking Water System | Brock |  |  | 762 | 0 | 100 | 1304 | 0 | 100
220000754 | Oshawa-Whitby-Ajax Drinking Water System - Whitby | Whitby |  |  | 2196 | 4 | 99.82 | 278 | 0 | 100
220000763 | Uxbridge Drinking Water System | Uxbridge |  |  | 950 | 3 | 99.68 | 315 | 0 | 100
220000772 | Oshawa-Whitby-Ajax Drinking Water System - Oshawa | Oshawa |  |  | 2576 | 4 | 99.84 | 266 | 0 | 100
220000781 | Millbrook Drinking Water System | Cavan-Millbrook-North Monaghan |  |  | 532 | 2 | 99.62 | 90 | 0 | 100
220000790 | Colborne Drinking Water System | Cramahe |  |  | 424 | 0 | 100 | 77 | 0 | 100
220000807 | Brighton Springs Drinking Water System | Brighton |  |  | 620 | 0 | 100 | 23 | 0 | 100
220000825 | Cobourg Drinking Water System | Cobourg |  |  | 954 | 0 | 100 | 78 | 0 | 100
220000834 | Campbellford Drinking Water System | Trent Hills |  |  | 538 | 1 | 99.81 | 93 | 0 | 100
220000852 | Bowmanville Drinking Water System | Clarington |  |  | 2050 | 2 | 99.9 | 290 | 0 | 100
220000898 | Port Rowan Drinking Water System | Norfolk |  |  | 426 | 0 | 100 | 75 | 0 | 100
220000905 | Waterford Drinking Water System | Norfolk |  |  | 434 | 0 | 100 | 76 | 0 | 100
220000923 | Deep River Drinking Water System | Deep River |  |  | 546 | 0 | 100 | 159 | 5 | 96.86
220000932 | Arnprior Drinking Water System | Arnprior |  |  | 736 | 0 | 100 | 98 | 0 | 100
220000941 | Pembroke Drinking Water System | Pembroke |  |  | 1023 | 0 | 100 | 77 | 0 | 100
220000950 | Atikokan Drinking Water System | Atikokan |  |  | 574 | 1 | 99.83 | 294 | 0 | 100
220000969 | Rainy River Drinking Water System | Rainy River Town |  |  | 340 | 0 | 100 | 71 | 2 | 97.18
220000978 | Fort Frances Drinking Water System | Fort Frances |  |  | 822 | 0 | 100 | 70 | 0 | 100
220000987 | Picton Drinking Water System | Prince Edward County |  |  | 735 | 1 | 99.86 | 113 | 0 | 100
220001012 | South Dundas Regional Drinking Water System | South Dundas |  |  | 418 | 0 | 100 | 72 | 0 | 100
220001030 | Alexandria Drinking Water System | North Glengarry |  |  | 530 | 0 | 100 | 89 | 0 | 100
220001049 | Cornwall Drinking Water System | Cornwall |  |  | 1676 | 0 | 100 | 75 | 0 | 100
220001076 | Tay Area Drinking Water System | Tay |  |  | 612 | 4 | 99.35 | 76 | 0 | 100
220001085 | Tottenham Drinking Water System | New Tecumseth |  |  | 874 | 2 | 99.77 | 26 | 0 | 100
220001101 | Creemore Drinking Water System | Clearview |  |  | 432 | 0 | 100 | 22 | 0 | 100
220001110 | Coldwater Drinking Water System | Severn |  |  | 430 | 0 | 100 | 82 | 0 | 100
220001138 | Stayner Drinking Water System | Clearview |  |  | 880 | 3 | 99.66 | 47 | 0 | 100
220001147 | Payette (Penetanguishene) Drinking Water System | Penetanguishene |  |  | 656 | 0 | 100 | 76 | 0 | 100
220001156 | Midland Drinking Water System | Midland |  |  | 1338 | 4 | 99.7 | 180 | 0 | 100
220001165 | Collingwood Drinking Water System | Collingwood |  |  | 1158 | 0 | 100 | 74 | 0 | 100
220001174 | New Tecumseth Drinking Water System | New Tecumseth |  |  | 2238 | 0 | 100 | 104 | 0 | 100
220001183 | Orillia Drinking Water System | Orillia |  |  | 1598 | 4 | 99.75 | 189 | 0 | 100
220001192 | Barrie Drinking Water System | Barrie |  |  | 4472 | 0 | 100 | 796 | 0 | 100
220001218 | Cobden Drinking Water System | Whitewater Region |  |  | 332 | 1 | 99.7 | 115 | 2 | 98.26
220001227 | Merrickville Drinking Water System | Merrickville-Wolford |  |  | 340 | 1 | 99.71 | 69 | 0 | 100
220001236 | Kemptville Drinking Water System | North Grenville |  |  | 1122 | 2 | 99.82 | 91 | 0 | 100
220001245 | Prescott Drinking Water System | Prescott |  |  | 530 | 0 | 100 | 69 | 0 | 100
220001254 | James W. King Drinking Water System | Gananoque |  |  | 528 | 0 | 100 | 76 | 0 | 100
220001263 | Brockville Drinking Water System | Brockville |  |  | 1220 | 0 | 100 | 121 | 0 | 100
220001272 | Perth Drinking Water System | Perth Town |  |  | 550 | 0 | 100 | 90 | 0 | 100
220001290 | Mississippi Mills Drinking Water System | Mississippi Mills |  |  | 830 | 1 | 99.88 | 264 | 0 | 100
220001307 | Smiths Falls Drinking Water System | Smiths Falls |  |  | 816 | 4 | 99.51 | 136 | 5 | 96.32
220001405 | Sioux Lookout Urban Drinking Water System | Sioux Lookout |  |  | 564 | 0 | 100 | 75 | 0 | 100
220001423 | Kenora Area Drinking Water System | Kenora City |  |  | 884 | 0 | 100 | 482 | 0 | 100
220001432 | Dryden Drinking Water System | Dryden |  |  | 756 | 0 | 100 | 80 | 0 | 100
220001487 | Brussels Drinking Water System | Huron East |  |  | 528 | 0 | 100 | 142 | 0 | 100
220001496 | Blyth Drinking Water System | North Huron |  |  | 532 | 0 | 100 | 144 | 0 | 100
220001502 | Wingham Drinking Water System | North Huron |  |  | 530 | 1 | 99.81 | 144 | 0 | 100
220001511 | Seaforth Drinking Water System | Huron East |  |  | 532 | 2 | 99.62 | 79 | 1 | 98.73
220001518 | Sugar Bush Drinking Water System | Oro-Medonte |  |  | 672 | 0 | 100 | 207 | 0 | 100
220001520 | South Huron Distribution System | South Huron |  |  | 992 | 1 | 99.9 | 10 | 0 | 100
220001539 | Clinton Drinking Water System | Central Huron |  |  | 520 | 0 | 100 | 77 | 0 | 100
220001557 | Tweed Drinking Water System | Tweed |  |  | 422 | 0 | 100 | 111 | 0 | 100
220001566 | Stirling Drinking Water System | Stirling-Rawdon |  |  | 452 | 0 | 100 | 74 | 0 | 100
220001575 | Madoc Drinking Water System | Madoc |  |  | 530 | 0 | 100 | 156 | 0 | 100
220001584 | Deloro Drinking Water System | Marmora And Lake |  |  | 106 | 0 | 100 | 76 | 0 | 100
220001593 | Deseronto Drinking Water System | Deseronto |  |  | 416 | 0 | 100 | 73 | 0 | 100
220001619 | Trenton Drinking Water System | Quinte West |  |  | 1158 | 0 | 100 | 79 | 0 | 100
220001628 | Belleville Drinking Water System | Belleville |  |  | 2158 | 0 | 100 | 83 | 0 | 100
220001637 | Halton Region Drinking Water System - Oakville | Oakville |  |  | 118 | 0 | 100 | 250 | 0 | 100
220001646 | Halton Region Drinking Water System - Milton | Milton |  |  | 1428 | 2 | 99.86 | 276 | 0 | 100
220001655 | Halton Region Drinking Water System - Georgetown Treatment And Ds | Halton Hills |  |  | 2188 | 1 | 99.95 | 579 | 0 | 100
220001664 | Halton Region Drinking Water System - Burlington | Burlington |  |  | 106 | 0 | 100 | 232 | 0 | 100
220001673 | Acton Drinking Water System | Halton Hills |  |  | 1360 | 0 | 100 | 281 | 0 | 100
220001682 | Cardiff Drinking Water System | Highlands East |  |  | 320 | 0 | 100 | 77 | 0 | 100
220001744 | Markdale Drinking Water System | Grey Highlands |  |  | 530 | 0 | 100 | 138 | 0 | 100
220001753 | Dundalk Drinking Water System | Southgate |  |  | 874 | 0 | 100 | 54 | 2 | 96.3
220001762 | Thornbury Drinking Water System | The Blue Mountains |  |  | 1190 | 1 | 99.92 | 118 | 0 | 100
220001771 | Durham Drinking Water System | West Grey |  |  | 528 | 0 | 100 | 138 | 0 | 100
220001799 | Owen Sound Drinking Water System | Owen Sound |  |  | 1078 | 1 | 99.91 | 85 | 0 | 100
220001851 | Kingston Drinking Water System - Point Pleasant | Kingston |  |  | 104 | 0 | 100 | 169 | 0 | 100
220001860 | Kingston Drinking Water System - King Street | Kingston |  |  | 3238 | 3 | 99.91 | 240 | 0 | 100
220001888 | Bala Drinking Water System | Muskoka Lakes |  |  | 442 | 0 | 100 | 85 | 0 | 100
220002020 | Rosehill Drinking Water System | Fort Erie |  |  | 530 | 0 | 100 | 340 | 0 | 100
220002048 | Welland Drinking Water System | Welland |  |  | 424 | 0 | 100 | 340 | 0 | 100
220002066 | Decew Falls-Niagara Falls Drinking Water System - Decew Falls | St. Catharines |  |  | 876 | 1 | 99.89 | 324 | 0 | 100
220002075 | Port Colborne Drinking Water System | Port Colborne |  |  | 324 | 1 | 99.69 | 340 | 0 | 100
220002084 | Decew Falls-Niagara Falls Drinking Water System - Niagara Falls | Niagara Falls |  |  | 438 | 1 | 99.77 | 340 | 0 | 100
220002093 | Huntsville Drinking Water System | Huntsville |  |  | 670 | 0 | 100 | 88 | 0 | 100
220002100 | Gravenhurst Drinking Water System | Gravenhurst |  |  | 734 | 1 | 99.86 | 159 | 0 | 100
220002119 | Port Carling Drinking Water System | Muskoka Lakes |  |  | 422 | 1 | 99.76 | 85 | 0 | 100
220002137 | Wasaga Beach Drinking Water System | Wasaga Beach |  |  | 1160 | 0 | 100 | 32 | 0 | 100
220002146 | Dorchester Drinking Water System | Thames Centre |  |  | 516 | 0 | 100 | 105 | 0 | 100
220002191 | Little Current Drinking Water System | Northeast Manitoulin And The Islands |  |  | 450 | 1 | 99.78 | 75 | 0 | 100
220002208 | Gore Bay Drinking Water System | Gore Bay |  |  | 380 | 0 | 100 | 75 | 0 | 100
220002217 | Bath Drinking Water System | Loyalist |  |  | 428 | 0 | 100 | 79 | 0 | 100
220002226 | A.L. Dafoe Drinking Water System | Greater Napanee |  |  | 726 | 0 | 100 | 73 | 0 | 100
220002244 | City Of Toronto Drinking Water System - Toronto Island | Toronto |  |  | 2504 | 1 | 99.96 | 317 | 0 | 100
220002253 | City Of Toronto Drinking Water System - R.L. Clark | Toronto |  |  | 2908 | 0 | 100 | 348 | 0 | 100
220002262 | City Of Toronto Drinking Water System - R.C.Harris | Toronto |  |  | 2904 | 0 | 100 | 348 | 0 | 100
220002299 | York Drinking Water System - King City | King |  |  | 208 | 0 | 100 | 139 | 1 | 99.28
220002306 | Nobleton Drinking Water System | King |  |  | 478 | 0 | 100 | 351 | 2 | 99.43
220002333 | York Drinking Water System - Stouffville | Whitchurch-Stouffville |  |  | 522 | 0 | 100 | 463 | 0 | 100
220002360 | York Drinking Water System - Kleinburg | Vaughan |  |  | 104 | 0 | 100 | 64 | 0 | 100
220002413 | York Drinking Water System - Newmarket | Newmarket |  |  | 742 | 0 | 100 | 594 | 1 | 99.83
220002440 | York Drinking Water System - Aurora | Aurora |  |  | 836 | 0 | 100 | 696 | 0 | 100
220002468 | Belmont Drinking Water System | Central Elgin |  |  | 738 | 1 | 99.86 | 20 | 0 | 100
220002538 | Ramore Drinking Water System | Black River-Matheson |  |  | 58 | 0 | 100 | 10 | 0 | 100
220002556 | Iroquois Falls Drinking Water System | Iroquois Falls |  |  | 422 | 0 | 100 | 19 | 0 | 100
220002565 | Holtyre Drinking Water System | Black River-Matheson |  |  | 54 | 0 | 100 | 10 | 0 | 100
220002574 | Matheson Drinking Water System | Black River-Matheson |  |  | 318 | 0 | 100 | 18 | 0 | 100
220002583 | Kapuskasing Drinking Water System | Kapuskasing |  |  | 628 | 0 | 100 | 77 | 0 | 100
220002592 | Hearst Drinking Water System | Hearst |  |  | 532 | 0 | 100 | 72 | 0 | 100
220002609 | Tiverton Drinking Water System | Kincardine |  |  | 642 | 0 | 100 | 103 | 0 | 100
220002618 | Teeswater Drinking Water System | South Bruce |  |  | 440 | 0 | 100 | 21 | 0 | 100
220002627 | Tara Drinking Water System | Arran-Elderslie |  |  | 430 | 0 | 100 | 144 | 0 | 100
220002636 | Ripley Drinking Water System | Huron-Kinloss |  |  | 422 | 0 | 100 | 157 | 0 | 100
220002654 | Mildmay Drinking Water System | South Bruce |  |  | 420 | 0 | 100 | 33 | 0 | 100
220002663 | Lucknow Drinking Water System | Huron-Kinloss |  |  | 536 | 2 | 99.63 | 162 | 0 | 100
220002672 | Lion'S Head Drinking Water System | Northern Bruce Peninsula |  |  | 318 | 0 | 100 | 76 | 0 | 100
220002681 | Wiarton Drinking Water System | The South Bruce Peninsula |  |  | 432 | 0 | 100 | 75 | 0 | 100
220002690 | Walkerton Drinking Water System | Brockton |  |  | 472 | 0 | 100 | 155 | 0 | 100
220002716 | Kincardine Drinking Water System | Kincardine |  |  | 750 | 0 | 100 | 82 | 0 | 100
220002725 | Arran-Elderslie Drinking Water System | Arran-Elderslie |  |  | 374 | 0 | 100 | 150 | 0 | 100
220002734 | St. George Drinking Water System | Brant County |  |  | 520 | 0 | 100 | 20 | 0 | 100
220002743 | Airport Drinking Water System | Brant County |  |  | 422 | 1 | 99.76 | 20 | 0 | 100
220002752 | Paris Drinking Water System | Brant County |  |  | 994 | 0 | 100 | 211 | 0 | 100
220002789 | Elliot Lake Drinking Water System | Elliot Lake |  |  | 1074 | 3 | 99.72 | 78 | 0 | 100
220002805 | Hilton Beach Drinking Water System | Hilton Beach |  |  | 58 | 0 | 100 | 22 | 0 | 100
220002814 | Thessalon Drinking Water System | Thessalon |  |  | 470 | 0 | 100 | 75 | 0 | 100
220002832 | Hawkesbury Drinking Water System | Hawkesbury |  |  | 994 | 0 | 100 | 94 | 0 | 100
220002841 | Lefaivre And Plantagent Drinking Water System | Alfred And Plantagenet |  |  | 750 | 0 | 100 | 81 | 0 | 100
220002903 | Petrolia Drinking Water System | Petrolia |  |  | 636 | 0 | 100 | 76 | 0 | 100
220002967 | Dutton-Dunwich Distribution System | Dutton-Dunwich |  |  | 442 | 2 | 99.55 | 10 | 0 | 100
220003047 | Cochrane Drinking Water System | Cochrane Town |  |  | 620 | 0 | 100 | 77 | 0 | 100
220003065 | Timmins Drinking Water System | Timmins |  |  | 2130 | 0 | 100 | 331 | 0 | 100
220003092 | Region Of Waterloo Drinking Water System - Kitchener | Kitchener |  |  | 358 | 0 | 100 | 211 | 0 | 100
220003118 | Hamilton Drinking Water System - Woodward | Hamilton City |  |  | 4930 | 13 | 99.74 | 2416 | 2 | 99.92
220003154 | Central Drinking Water System - Britannia | Ottawa |  |  | 8404 | 3 | 99.96 | 1350 | 0 | 100
220003207 | Central Drinking Water System - Lemieux Island | Ottawa |  |  | 2844 | 0 | 100 | 341 | 0 | 100
220003252 | Orangeville Drinking Water System | Orangeville |  |  | 2156 | 2 | 99.91 | 1445 | 0 | 100
220003332 | Wheatley Water Treatment Plant And Distribution Subsystem | Chatham-Kent |  |  | 1040 | 0 | 100 | 88 | 0 | 100
220003341 | Wallaceburg Water Treatment Plant And Distribution Subsystem | Chatham-Kent |  |  | 1130 | 1 | 99.91 | 219 | 0 | 100
220003369 | Ridgetown Drinking Water System | Chatham-Kent |  |  | 868 | 0 | 100 | 148 | 2 | 98.65
220003378 | Chatham Water Treatment Plant And Distribution Subsystems | Chatham-Kent |  |  | 3178 | 2 | 99.94 | 111 | 1 | 99.1
220003396 | Municipality Of Lakeshore Drinking Water System - Stoney Point | Lakeshore |  |  | 752 | 0 | 100 | 84 | 0 | 100
220003403 | Kingsville Distribution System | Kingsville |  |  | 962 | 0 | 100 | 8 | 0 | 100
220003421 | City Of Windsor Drinking Water System | Windsor |  |  | 7004 | 1 | 99.99 | 2870 | 14 | 99.51
220003449 | Beachburg Drinking Water System | Whitewater Region |  |  | 348 | 0 | 100 | 79 | 0 | 100
220003485 | Sudbury Drinking Water System - Garson | Greater Sudbury |  |  | 738 | 0 | 100 | 279 | 0 | 100
220003494 | Chapleau Drinking Water System | Chapleau |  |  | 436 | 0 | 100 | 73 | 0 | 100
220003500 | Massey Drinking Water System | Sables-Spanish Rivers |  |  | 322 | 0 | 100 | 75 | 0 | 100
220003519 | Onaping/Levack Drinking Water System | Greater Sudbury |  |  | 416 | 0 | 100 | 21 | 0 | 100
220003537 | Sudbury Drinking Water System - David St | Greater Sudbury |  |  | 1662 | 1 | 99.94 | 92 | 0 | 100
220003555 | Dunnville Drinking Water System | Haldimand |  |  | 648 | 2 | 99.69 | 82 | 0 | 100
220003564 | City Of Brantford Drinking Water System | Brantford |  |  | 3370 | 3 | 99.91 | 768 | 0 | 100
220003582 | Cardinal Drinking Water System | Edwardsburgh/Cardinal |  |  | 424 | 0 | 100 | 161 | 0 | 100
220003653 | Matachewan Drinking Water System | Matachewan |  |  | 312 | 0 | 100 | 18 | 0 | 100
220003662 | Earlton Drinking Water System | Armstrong |  |  | 312 | 0 | 100 | 75 | 0 | 100
220003680 | Essex Drinking Water System - Essex Ds | Essex Town |  |  | 636 | 0 | 100 | 8 | 0 | 100
220003706 | New Lowell Drinking Water System | Clearview |  |  | 424 | 0 | 100 | 22 | 0 | 100
220003751 | Blackstock Drinking Water System | Scugog |  |  | 466 | 3 | 99.36 | 105 | 0 | 100
220003760 | Greenbank Drinking Water System | Scugog |  |  | 416 | 0 | 100 | 119 | 0 | 100
220003859 | Rosemont Drinking Water System | Adjala-Tosorontio |  |  | 54 | 0 | 100 | 21 | 0 | 100
220003877 | Sandhurst Shores Drinking Water System | Greater Napanee |  |  | 314 | 0 | 100 | 71 | 0 | 100
220003911 | Hillsdale Drinking Water System | Springwater |  |  | 450 | 0 | 100 | 34 | 0 | 100
220003920 | Medonte Hills Drinking Water System | Oro-Medonte |  |  | 312 | 0 | 100 | 75 | 0 | 100
220003948 | St. Pauls Drinking Water System | Perth South |  |  | 66 | 0 | 100 | 22 | 0 | 100
220003975 | Gowanstown Subdivision Drinking Water System | North Perth |  |  | 26 | 0 | 100 | 16 | 1 | 93.75
220003993 | Palgrave-Caledon East Drinking Water System | Caledon |  |  | 1442 | 0 | 100 | 413 | 0 | 100
220004000 | Caledon Village - Alton Drinking Water System | Caledon |  |  | 1444 | 1 | 99.93 | 464 | 0 | 100
220004037 | Inglewood Drinking Water System | Caledon |  |  | 748 | 0 | 100 | 158 | 0 | 100
220004046 | York Drinking Water System - Holland Landing | East Gwillimbury |  |  | 312 | 0 | 100 | 198 | 0 | 100
220004064 | Drayton Drinking Water System | Mapleton |  |  | 416 | 0 | 100 | 73 | 0 | 100
220004108 | Carlisle Drinking Water System | Hamilton City |  |  | 700 | 0 | 100 | 381 | 0 | 100
220004117 | Freelton Drinking Water System | Hamilton City |  |  | 536 | 2 | 99.63 | 203 | 0 | 100
220004126 | Greensville Drinking Water System | Hamilton City |  |  | 208 | 0 | 100 | 139 | 0 | 100
220004135 | Maplewood Drinking Water System | Oro-Medonte |  |  | 104 | 0 | 100 | 19 | 0 | 100
220004162 | Markham Distribution System | Markham |  |  | 3936 | 16 | 99.59 | 141 | 0 | 100
220004171 | Maryhill Drinking Water System - Maryhill | Woolwich |  |  | 166 | 0 | 100 | 70 | 0 | 100
220004180 | New Dundee Drinking Water System | Wilmot |  |  | 104 | 0 | 100 | 11 | 0 | 100
220004199 | Ayr Drinking Water System | North Dumfries |  |  | 630 | 0 | 100 | 22 | 0 | 100
220004215 | Wellesley Drinking Water System | Wellesley |  |  | 522 | 0 | 100 | 19 | 0 | 100
220004224 | Mactier Drinking Water System | Georgian Bay |  |  | 416 | 0 | 100 | 85 | 0 | 100
220004313 | Thorold (Decew) Distribution System | Thorold |  |  | 976 | 1 | 99.9 | 8 | 0 | 100
220004359 | Point Anne Hamlet Drinking Water System | Belleville |  |  | 208 | 0 | 100 | 16 | 0 | 100
220004377 | Enniskillen Township Distribution System | Enniskillen |  |  | 636 | 0 | 100 | 20 | 0 | 100
220004402 | Town Of Lasalle Distribution System | Lasalle |  |  | 1156 | 2 | 99.83 | 12 | 0 | 100
220004536 | City Of Toronto Drinking Water System - F. J. Horgan | Toronto |  |  | 2886 | 0 | 100 | 348 | 0 | 100
220004769 | Orono Drinking Water System | Clarington |  |  | 526 | 0 | 100 | 195 | 1 | 99.49
220004787 | Newcastle Drinking Water System | Clarington |  |  | 1032 | 0 | 100 | 278 | 1 | 99.64
220004796 | Bancroft Drinking Water System | Bancroft |  |  | 424 | 0 | 100 | 78 | 0 | 100
220004803 | Marmora Drinking Water System | Marmora And Lake |  |  | 440 | 0 | 100 | 78 | 0 | 100
220004830 | Port Perry Drinking Water System | Scugog |  |  | 920 | 2 | 99.78 | 329 | 1 | 99.7
220004901 | Schomberg Drinking Water System | King |  |  | 206 | 0 | 100 | 130 | 0 | 100
220004910 | Sunderland Drinking Water System | Brock |  |  | 552 | 1 | 99.82 | 323 | 0 | 100
220004929 | Beaverton Drinking Water System | Brock |  |  | 608 | 0 | 100 | 286 | 0 | 100
220004965 | Shelburne Drinking Water System | Shelburne |  |  | 940 | 0 | 100 | 158 | 0 | 100
220004992 | Leamington Distribution System - Union Ds | Leamington |  |  | 1060 | 1 | 99.91 | 8 | 0 | 100
220005036 | Hockley Drinking Water System | Adjala-Tosorontio |  |  | 60 | 2 | 96.67 | 21 | 0 | 100
220005063 | Churchill Drinking Water System | Innisfil |  |  | 648 | 0 | 100 | 198 | 0 | 100
220005081 | Innisfil Heights Drinking Water System | Innisfil |  |  | 624 | 4 | 99.36 | 81 | 0 | 100
220005125 | Warminster Drinking Water System | Oro-Medonte |  |  | 430 | 1 | 99.77 | 75 | 0 | 100
220005143 | Bass Lake Woodlands Drinking Water System | Severn |  |  | 312 | 0 | 100 | 76 | 0 | 100
220005152 | Severn Estates Drinking Water System | Severn |  |  | 208 | 0 | 100 | 76 | 0 | 100
220005161 | Washago Drinking Water System | Severn |  |  | 314 | 0 | 100 | 89 | 0 | 100
220005198 | Shanty Bay Drinking Water System | Oro-Medonte |  |  | 310 | 0 | 100 | 75 | 0 | 100
220005269 | Bluewater Drinking Water System | Tiny |  |  | 422 | 1 | 99.76 | 132 | 0 | 100
220005278 | Cook'S Lake Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
220005287 | Georgian Bay Estates Drinking Water System | Tiny |  |  | 312 | 0 | 100 | 18 | 0 | 100
220005296 | Castle Cove Drinking Water System | Tiny |  |  | 520 | 0 | 100 | 193 | 0 | 100
220005321 | Lefaive Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 12 | 1 | 91.67
220005358 | Pennorth Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
220005367 | Rayko Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
220005385 | Hudson Drinking Water System | Sioux Lookout |  |  | 432 | 0 | 100 | 73 | 0 | 100
220005394 | Tee Pee Point Drinking Water System | Tiny |  |  | 124 | 0 | 100 | 11 | 0 | 100
220005401 | Vanier Woods Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
220005410 | Wyevale Drinking Water System | Tiny |  |  | 416 | 0 | 100 | 132 | 0 | 100
220005438 | Lisle Drinking Water System | Adjala-Tosorontio |  |  | 54 | 0 | 100 | 21 | 0 | 100
220005447 | Anten Mills Drinking Water System | Springwater |  |  | 348 | 0 | 100 | 22 | 0 | 100
220005465 | Minesing Drinking Water System | Springwater |  |  | 320 | 0 | 100 | 22 | 0 | 100
220005474 | Midhurst Drinking Water System | Springwater |  |  | 606 | 0 | 100 | 46 | 0 | 100
220005492 | Birr Drinking Water System | Middlesex Centre |  |  | 66 | 0 | 100 | 23 | 0 | 100
220005535 | Porquis Junction Drinking Water System | Iroquois Falls |  |  | 106 | 0 | 100 | 17 | 0 | 100
220005544 | Perkinsfield Drinking Water System | Tiny |  |  | 422 | 1 | 99.76 | 133 | 0 | 100
220005599 | Rockwood Drinking Water System | Guelph-Eramosa |  |  | 730 | 0 | 100 | 225 | 0 | 100
220005688 | Port Sydney Drinking Water System | Huntsville |  |  | 208 | 0 | 100 | 84 | 0 | 100
220005697 | Ameliasburgh Hamlet Drinking Water System | Prince Edward County |  |  | 52 | 0 | 100 | 20 | 0 | 100
220005704 | Peats Point Subdivision Drinking Water System | Prince Edward County |  |  | 52 | 0 | 100 | 17 | 0 | 100
220005768 | Charlton Drinking Water System | Charlton/Dack |  |  | 312 | 0 | 100 | 71 | 0 | 100
220005811 | St. Clements-Heidelberg Drinking Water System | Wellesley |  |  | 490 | 0 | 100 | 20 | 0 | 100
220005919 | Serpent River Drinking Water System | The North Shore |  |  | 52 | 0 | 100 | 100 | 8 | 92
220006026 | Killaloe Drinking Water System | Killaloe/Hagarty/Richards |  |  | 328 | 0 | 100 | 81 | 0 | 100
220006053 | Cana Drinking Water System | Kingston |  |  | 116 | 0 | 100 | 93 | 0 | 100
220006115 | Thorndale Drinking Water System | Thames Centre |  |  | 404 | 0 | 100 | 20 | 0 | 100
220006124 | Hickson Drinking Water System | East Zorra-Tavistock |  |  | 214 | 0 | 100 | 30 | 0 | 100
220006204 | Stroud Drinking Water System | Innisfil |  |  | 528 | 0 | 100 | 162 | 0 | 100
220006259 | Sawlog Bay Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 21 | 0 | 100
220006268 | Thunder Bay Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
220006277 | Lafontaine Drinking Water System | Tiny |  |  | 574 | 0 | 100 | 385 | 0 | 100
220006348 | Val Rita Drinking Water System | Val Rita-Harty |  |  | 312 | 0 | 100 | 26 | 0 | 100
220006393 | Keene Heights Subdivision Drinking Water System | Otonabee-South Monaghan |  |  | 120 | 0 | 100 | 21 | 0 | 100
220006437 | Buckhorn Lake Estates Drinking Water System | Galway-Cavendish-Harvey |  |  | 418 | 0 | 100 | 75 | 0 | 100
220006455 | Janetville Drinking Water System | Kawartha Lakes |  |  | 416 | 0 | 100 | 20 | 0 | 100
220006464 | Pinewood Drinking Water System | Kawartha Lakes |  |  | 436 | 0 | 100 | 20 | 0 | 100
220006491 | Canadiana Shores Drinking Water System | Kawartha Lakes |  |  | 424 | 1 | 99.76 | 73 | 0 | 100
220006525 | Pleasant Point Drinking Water System | Kawartha Lakes |  |  | 426 | 0 | 100 | 73 | 0 | 100
220006543 | Mount Albert Drinking Water System | East Gwillimbury |  |  | 312 | 0 | 100 | 209 | 0 | 100
220006703 | Harbourwood Drinking Water System | Oro-Medonte |  |  | 316 | 0 | 100 | 75 | 0 | 100
220006838 | Lepage Subdivision (Penetanguishene) Drinking Water System | Penetanguishene |  |  | 308 | 0 | 100 | 76 | 0 | 100
220006936 | Cedar Brook Drinking Water System | Oro-Medonte |  |  | 104 | 0 | 100 | 21 | 0 | 100
220006945 | Thornton Drinking Water System | Essa |  |  | 358 | 0 | 100 | 24 | 0 | 100
220006981 | Region Of Waterloo Drinking Water System - Mannheim | Kitchener |  |  | 104 | 0 | 100 | 324 | 0 | 100
220007016 | Grand Valley Drinking Water System | East Luther Grand Valley |  |  | 614 | 0 | 100 | 207 | 2 | 99.03
220007025 | Spanish Drinking Water System | Spanish |  |  | 432 | 0 | 100 | 90 | 1 | 98.89
220007034 | Walter'S Falls Drinking Water System | Chatsworth |  |  | 106 | 0 | 100 | 21 | 0 | 100
220007043 | Scott Point Drinking Water System | Kincardine |  |  | 212 | 0 | 100 | 78 | 0 | 100
220007052 | Underwood Drinking Water System | Kincardine |  |  | 220 | 0 | 100 | 21 | 0 | 100
220007070 | Kimberley-Amik-Talisman Drinking Water System | Grey Highlands |  |  | 318 | 0 | 100 | 73 | 0 | 100
220007132 | Park Lane Subdivision Drinking Water System | Ramara |  |  | 52 | 0 | 100 | 74 | 0 | 100
220007141 | Davy Drive Subdivision Drinking Water System | Ramara |  |  | 54 | 0 | 100 | 80 | 0 | 100
220007150 | Grimsby Drinking Water System | Grimsby |  |  | 636 | 0 | 100 | 340 | 0 | 100
220007169 | Smooth Rock Falls Drinking Water System | Smooth Rock Falls |  |  | 390 | 0 | 100 | 68 | 0 | 100
220007178 | Delhi Drinking Water System | Norfolk |  |  | 628 | 0 | 100 | 141 | 0 | 100
220007203 | Opasatika Drinking Water System | Opasatika |  |  | 312 | 0 | 100 | 76 | 0 | 100
220007212 | Richards Landing Drinking Water System | St. Joseph |  |  | 430 | 0 | 100 | 72 | 0 | 100
220007276 | Bracebridge Drinking Water System | Bracebridge |  |  | 706 | 0 | 100 | 116 | 0 | 100
220007285 | Hillsburgh Drinking Water System | Erin |  |  | 416 | 0 | 100 | 158 | 0 | 100
220007301 | Roseville Drinking Water System | North Dumfries |  |  | 208 | 0 | 100 | 19 | 0 | 100
220007310 | Heidelberg Drinking Water System | Woolwich |  |  | 300 | 2 | 99.33 | 65 | 0 | 100
220007329 | Elk Lake Drinking Water System | James |  |  | 318 | 0 | 100 | 18 | 0 | 100
220007454 | Canterbury Drinking Water System | Oro-Medonte |  |  | 104 | 0 | 100 | 21 | 0 | 100
220007472 | Innisfil Lake Simcoe Drinking Water System | Innisfil |  |  | 1664 | 0 | 100 | 97 | 0 | 100
220007481 | Whippoorwill Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
220007515 | Drumbo-Princeton Drinking Water System | Blandford-Blenheim |  |  | 430 | 0 | 100 | 66 | 0 | 100
220007533 | Lakeside Drinking Water System | Zorra |  |  | 330 | 1 | 99.7 | 66 | 2 | 96.97
220007588 | Benmiller Drinking Water System | Ashfield-Colborne-Wawanosh |  |  | 116 | 0 | 100 | 22 | 0 | 100
220007604 | Brucefield Drinking Water System | Huron East |  |  | 110 | 0 | 100 | 14 | 0 | 100
220007659 | East Linton Drinking Water System | Georgian Bluffs |  |  | 342 | 0 | 100 | 73 | 0 | 100
220007695 | Oliphant Drinking Water System | The South Bruce Peninsula |  |  | 106 | 0 | 100 | 9 | 0 | 100
220007711 | Foreman Drinking Water System | The South Bruce Peninsula |  |  | 106 | 0 | 100 | 21 | 0 | 100
220007757 | Huron Sands Drinking Water System | Ashfield-Colborne-Wawanosh |  |  | 114 | 0 | 100 | 22 | 0 | 100
220007775 | Huron Woods Drinking Water System | The South Bruce Peninsula |  |  | 318 | 0 | 100 | 76 | 0 | 100
220007793 | Kelly Drinking Water System | Central Huron |  |  | 104 | 0 | 100 | 19 | 0 | 100
220007800 | Lake Rosalind Drinking Water System | Brockton |  |  | 104 | 0 | 100 | 21 | 0 | 100
220007837 | Mcclinchey Drinking Water System | Central Huron |  |  | 104 | 0 | 100 | 19 | 0 | 100
220007917 | Amabel-Sauble Drinking Water System | The South Bruce Peninsula |  |  | 318 | 0 | 100 | 74 | 0 | 100
220007999 | Kings Park Drinking Water System | Ottawa |  |  | 532 | 0 | 100 | 587 | 0 | 100
220008006 | Munster Hamlet Drinking Water System | Ottawa |  |  | 546 | 0 | 100 | 390 | 0 | 100
220008033 | Moose Creek Drinking Water System | North Stormont |  |  | 318 | 0 | 100 | 16 | 0 | 100
220008051 | Newington Drinking Water System | South Stormont |  |  | 296 | 0 | 100 | 72 | 0 | 100
220008079 | Bayside Drinking Water System | Quinte West |  |  | 498 | 0 | 100 | 77 | 1 | 98.7
220008104 | Creighton Heights Drinking Water System | Hamilton Township |  |  | 342 | 0 | 100 | 79 | 0 | 100
220008113 | Camborne Drinking Water System | Hamilton Township |  |  | 110 | 0 | 100 | 21 | 0 | 100
220008131 | Western Trent/Palmina Drinking Water System | Kawartha Lakes |  |  | 428 | 0 | 100 | 73 | 0 | 100
220008140 | Barwick Drinking Water System | Chapple |  |  | 58 | 0 | 100 | 21 | 4 | 80.95
220008257 | Belgrave Drinking Water System | Morris-Turnberry |  |  | 312 | 0 | 100 | 22 | 0 | 100
220008284 | S.A.M. Drinking Water System | Central Huron |  |  | 104 | 0 | 100 | 24 | 1 | 95.83
220008293 | Van De Wetering Drinking Water System | Central Huron |  |  | 108 | 0 | 100 | 23 | 0 | 100
220008319 | Pottawatomi Drinking Water System | Georgian Bluffs |  |  | 106 | 0 | 100 | 20 | 0 | 100
220008382 | Mindemoya Drinking Water System | Central Manitoulin |  |  | 318 | 0 | 100 | 75 | 0 | 100
220008408 | Glen Robertson Drinking Water System | North Glengarry |  |  | 314 | 0 | 100 | 71 | 0 | 100
220008426 | South Baymouth Drinking Water System | Tehkummah |  |  | 52 | 0 | 100 | 75 | 0 | 100
220008471 | Sunsite Estates Subdivision Drinking Water System | Assiginack |  |  | 60 | 0 | 100 | 21 | 0 | 100
220008499 | Century Heights Subdivision Drinking Water System | Ashfield-Colborne-Wawanosh |  |  | 210 | 0 | 100 | 22 | 0 | 100
220008523 | Island Lake Drinking Water System | Mono |  |  | 832 | 0 | 100 | 212 | 0 | 100
220008532 | Cardinal Woods Drinking Water System | Mono |  |  | 430 | 0 | 100 | 99 | 0 | 100
220008649 | Crysler Drinking Water System | North Stormont |  |  | 342 | 0 | 100 | 69 | 0 | 100
220008658 | Ballantrae-Musselman'S Drinking Water System | Whitchurch-Stouffville |  |  | 312 | 0 | 100 | 209 | 0 | 100
220008729 | Wellington Drinking Water System | Prince Edward County |  |  | 432 | 0 | 100 | 73 | 0 | 100
220008765 | Chepstow Drinking Water System | Brockton |  |  | 104 | 0 | 100 | 21 | 0 | 100
220008792 | Armow Drinking Water System | Kincardine |  |  | 216 | 0 | 100 | 29 | 0 | 100
220008863 | Whitechurch Drinking Water System | Huron-Kinloss |  |  | 208 | 0 | 100 | 27 | 0 | 100
220008890 | Oshawa-Whitby-Ajax Drinking Water System - Ajax | Ajax |  |  | 2784 | 5 | 99.82 | 270 | 1 | 99.63
220009050 | Bright Drinking Water System | Blandford-Blenheim |  |  | 334 | 1 | 99.7 | 68 | 0 | 100
220009096 | Shallow Lake Drinking Water System | Georgian Bluffs |  |  | 318 | 0 | 100 | 73 | 0 | 100
220009112 | Sheguiandah Drinking Water System | Northeast Manitoulin And The Islands |  |  | 76 | 0 | 100 | 75 | 0 | 100
220009121 | Echo Bay Drinking Water System | Macdonald Meredith & Aberdeen Additional |  |  | 314 | 0 | 100 | 74 | 0 | 100
220009149 | Del Trend Subdivision Drinking Water System | Springwater |  |  | 350 | 0 | 100 | 21 | 0 | 100
220009158 | Grafton Drinking Water System | Alnwick/Haldimand |  |  | 424 | 0 | 100 | 76 | 0 | 100
220009194 | Hamilton Drive Drinking Water System | Guelph-Eramosa |  |  | 526 | 1 | 99.81 | 142 | 0 | 100
220009210 | Foxboro Drinking Water System | Wilmot |  |  | 104 | 0 | 100 | 11 | 0 | 100
220009229 | Fairfield Drinking Water System | Loyalist |  |  | 982 | 1 | 99.9 | 77 | 0 | 100
220009933 | Colgan Drinking Water System | Adjala-Tosorontio |  |  | 302 | 0 | 100 | 76 | 0 | 100
220010048 | Weca Drinking Water System | Adjala-Tosorontio |  |  | 412 | 0 | 100 | 46 | 1 | 97.83
220010654 | Sandcastle Estates Drinking Water System | Severn |  |  | 208 | 0 | 100 | 76 | 0 | 100
220010681 | South Ramara Drinking Water System | Ramara |  |  | 316 | 0 | 100 | 74 | 0 | 100
220010690 | Val Harbour Subdivision Drinking Water System | Ramara |  |  | 52 | 0 | 100 | 74 | 0 | 100
220010752 | Robin Crest Drinking Water System | Oro-Medonte |  |  | 312 | 0 | 100 | 75 | 0 | 100
220011154 | Alpine/Pirates Glen Drinking Water System | Galway-Cavendish-Harvey |  |  | 420 | 0 | 100 | 85 | 0 | 100
220011323 | Rope Drinking Water System | Tay |  |  | 52 | 0 | 100 | 33 | 1 | 96.97
220011680 | Everett Drinking Water System | Adjala-Tosorontio |  |  | 454 | 0 | 100 | 34 | 0 | 100
220011895 | Victoria Place Drinking Water System | Kawartha Lakes |  |  | 416 | 0 | 100 | 20 | 0 | 100
220012162 | Campbellville Drinking Water System | Milton |  |  | 624 | 0 | 100 | 126 | 0 | 100
220012251 | Woodfield Drinking Water System | Kawartha Lakes |  |  | 114 | 0 | 100 | 74 | 0 | 100
220012260 | Southview Estates Drinking Water System | Kawartha Lakes |  |  | 430 | 0 | 100 | 139 | 1 | 99.28
220012322 | Mariposa Estates Drinking Water System | Kawartha Lakes |  |  | 110 | 0 | 100 | 101 | 0 | 100
220012572 | Birchpoint Estates Drinking Water System | Kawartha Lakes |  |  | 424 | 0 | 100 | 20 | 0 | 100
220012724 | Bayshore Village Subdivision Drinking Water System | Ramara |  |  | 332 | 2 | 99.4 | 22 | 0 | 100
220013553 | Waldemar Drinking Water System | Amaranth |  |  | 336 | 0 | 100 | 76 | 1 | 98.68
220013562 | South River Drinking Water System | South River |  |  | 440 | 0 | 100 | 73 | 0 | 100
220013581 | Dyno Estates Drinking Water System | Highlands East |  |  | 130 | 0 | 100 | 22 | 0 | 100
220013606 | Markstay Distribution System | Markstay-Warren |  |  | 312 | 0 | 100 | 20 | 1 | 95
230000138 | Monteith Correctional Complex Drinking Water System | Iroquois Falls |  |  | 52 | 0 | 100 | 18 | 0 | 100
240000020 | Falconbridge Drinking Water System | Greater Sudbury |  |  | 730 | 0 | 100 | 34 | 0 | 100
240000075 | Vermilion Drinking Water System | Greater Sudbury |  |  | 108 | 0 | 100 | 63 | 0 | 100
250001233 | Haley Drinking Water System | Whitewater Region |  |  | 52 | 0 | 100 | 26 | 0 | 100
250001322 | Craighurst Drinking Water System | Oro-Medonte |  |  | 112 | 1 | 99.11 | 22 | 0 | 100
250001402 | Horseshoe Highlands Drinking Water System | Oro-Medonte |  |  | 440 | 0 | 100 | 75 | 0 | 100
250001420 | Buckingham Woods Drinking Water System | Clearview |  |  | 136 | 1 | 99.26 | 30 | 0 | 100
250001769 | Terrace Bay Drinking Water System | Terrace Bay |  |  | 324 | 0 | 100 | 79 | 0 | 100
250001830 | Lynden Drinking Water System | Hamilton City |  |  | 416 | 0 | 100 | 158 | 0 | 100
250001910 | Norland Drinking Water System | Kawartha Lakes |  |  | 106 | 0 | 100 | 74 | 0 | 100
250002311 | Redwood Estates Drinking Water System | South Glengarry |  |  | 106 | 0 | 100 | 16 | 0 | 100
260001026 | Angus Drinking Water System | Essa |  |  | 850 | 0 | 100 | 48 | 0 | 100
260001081 | Rosslyn Village Subdivision Drinking Water System | Oliver Paipoonge |  |  | 60 | 0 | 100 | 27 | 10 | 62.96
260001250 | St Andrews/Rosedale Terrace Distribution System | South Stormont |  |  | 268 | 2 | 99.25 | 8 | 0 | 100
260001380 | Niagara-On -The-Lake Distribution System | Niagara-On-The-Lake |  |  | 960 | 1 | 99.9 | 9 | 0 | 100
260001458 | Kitchener Distribution System | Kitchener |  |  | 4372 | 9 | 99.79 | 29 | 0 | 100
260001510 | Dereham Centre Drinking Water System | South-West Oxford |  |  | 224 | 2 | 99.11 | 77 | 0 | 100
260001604 | Pelham Distribution System | Pelham |  |  | 1068 | 0 | 100 | 32 | 0 | 100
260001643 | Port Colborne Distribution System | Port Colborne |  |  | 874 | 1 | 99.89 | 16 | 0 | 100
260001669 | Port Severn Drinking Water System | Georgian Bay |  |  | 426 | 0 | 100 | 85 | 0 | 100
260001747 | Holland Landing/Queensville/Sharon Distribution System | East Gwillimbury |  |  | 930 | 3 | 99.68 | 28 | 0 | 100
260001786 | Vespra Downs Subdivision Drinking Water System | Springwater |  |  | 128 | 0 | 100 | 21 | 0 | 100
260001799 | Township Of Warwick Distribution System | Warwick |  |  | 424 | 0 | 100 | 17 | 0 | 100
260001851 | Grimsby Distribution System | Grimsby |  |  | 1434 | 0 | 100 | 16 | 0 | 100
260001864 | Manorview Drinking Water System | Kawartha Lakes |  |  | 112 | 0 | 100 | 74 | 0 | 100
260001929 | York Drinking Water System - York Ds | Vaughan |  |  | 1226 | 0 | 100 | 112 | 0 | 100
260001955 | York Drinking Water System - Queensville | East Gwillimbury |  |  | 312 | 0 | 100 | 211 | 0 | 100
260001968 | Richmond Hill Distribution System | Richmond Hill |  |  | 3744 | 22 | 99.41 | 44 | 0 | 100
260002136 | Aylmer Distribution System | Aylmer |  |  | 522 | 0 | 100 | 24 | 0 | 100
260002187 | City Of St. Thomas Distribution System | St. Thomas |  |  | 1450 | 2 | 99.86 | 12 | 0 | 100
260002213 | Ansnorveldt Drinking Water System | King |  |  | 104 | 0 | 100 | 108 | 0 | 100
260002265 | Mount Albert Distribution System | East Gwillimbury |  |  | 400 | 0 | 100 | 14 | 0 | 100
260002304 | City Of Niagara Falls Distribution System | Niagara Falls |  |  | 3016 | 2 | 99.93 | 30 | 0 | 100
260002317 | Shakespeare Drinking Water System | Perth East |  |  | 372 | 6 | 98.39 | 34 | 14 | 58.82
260002330 | Woodland Beach Drinking Water System | Tiny |  |  | 112 | 0 | 100 | 11 | 0 | 100
260002395 | Vankleek Hill Distribution System | Champlain |  |  | 318 | 0 | 100 | 10 | 0 | 100
260002460 | Cambridge Distribution System | Cambridge |  |  | 3556 | 1 | 99.97 | 46 | 0 | 100
260002473 | City Of Waterloo Distribution System | Waterloo City |  |  | 3466 | 13 | 99.62 | 167 | 2 | 98.8
260002538 | Branchton Drinking Water System | North Dumfries |  |  | 208 | 0 | 100 | 19 | 0 | 100
260002551 | Bothwell Distribution System | Chatham-Kent |  |  | 628 | 0 | 100 | 12 | 0 | 100
260002577 | Nobleton Distribution System | King |  |  | 472 | 0 | 100 | 11 | 0 | 100
260002590 | Cheltenham Drinking Water System | Caledon |  |  | 774 | 0 | 100 | 162 | 0 | 100
260002616 | Cainsville Distribution System | Brant County |  |  | 110 | 1 | 99.09 | 8 | 0 | 100
260002642 | New Hamburg-Baden Distribution System | Wilmot |  |  | 710 | 0 | 100 | 14 | 0 | 100
260002668 | Region Of Waterloo Drinking Water System - Mannheim Village | Wilmot |  |  | 310 | 0 | 100 | 86 | 0 | 100
260002681 | New Dundee Distribution System | Wilmot |  |  | 262 | 0 | 100 | 10 | 0 | 100
260002707 | Region Of Waterloo Drinking Water System -Shingletown | Wilmot |  |  | 190 | 0 | 100 | 130 | 0 | 100
260002759 | Region Of Waterloo Drinking Water System - Lloyd Brown Ds | North Dumfries |  |  | 104 | 0 | 100 | 8 | 0 | 100
260002798 | Woolwich North Distribution System | Woolwich |  |  | 974 | 9 | 99.08 | 64 | 0 | 100
260002811 | Heidelberg Distribution System | Woolwich |  |  | 238 | 0 | 100 | 14 | 0 | 100
260002824 | Maryhill Distribution System | Woolwich |  |  | 316 | 1 | 99.68 | 23 | 0 | 100
260002876 | Smithville Distribution System | West Lincoln |  |  | 460 | 0 | 100 | 19 | 0 | 100
260002915 | Melrose Drinking Water System | Middlesex Centre |  |  | 52 | 0 | 100 | 23 | 0 | 100
260002954 | King'S Bay Drinking Water System | Kawartha Lakes |  |  | 416 | 0 | 100 | 101 | 0 | 100
260003071 | Lucan Biddulph Distribution System | Lucan Biddulph |  |  | 626 | 1 | 99.84 | 10 | 0 | 100
260003084 | Sebringville Drinking Water System | Perth South |  |  | 54 | 0 | 100 | 22 | 0 | 100
260003097 | Vaughan Distribution System | Vaughan |  |  | 3740 | 13 | 99.65 | 47 | 0 | 100
260003123 | South Lucknow Distribution System | Ashfield-Colborne-Wawanosh |  |  | 0 | 0 |  | 0 | 0
260003136 | Sarnia Distribution System | Sarnia |  |  | 2126 | 0 | 100 | 32 | 0 | 100
260003149 | Welland Distribution System | Welland |  |  | 3158 | 1 | 99.97 | 8 | 0 | 100
260003162 | Stouffville Distribution System | Whitchurch-Stouffville |  |  | 2174 | 0 | 100 | 52 | 0 | 100
260003188 | Newmarket Distribution System | Newmarket |  |  | 2786 | 1 | 99.96 | 52 | 0 | 100
260003227 | Town Of Aurora Distribution System | Aurora |  |  | 2136 | 4 | 99.81 | 28 | 0 | 100
260003279 | St. Catharines Distribution System | St. Catharines |  |  | 3150 | 2 | 99.94 | 34 | 0 | 100
260004202 | Middlesex Centre Distribution System - Middlesex Centre Ds | Middlesex Centre |  |  | 628 | 0 | 100 | 15 | 0 | 100
260004215 | Oxenden Distribution System | Georgian Bluffs |  |  | 212 | 0 | 100 | 8 | 0 | 100
260004293 | Wendover Drinking Water System | Alfred And Plantagenet |  |  | 432 | 1 | 99.77 | 69 | 0 | 100
260004306 | Jordan-Vineland Distribution System | Lincoln |  |  | 542 | 1 | 99.82 | 16 | 0 | 100
260004319 | Beamsville Distribution System | Lincoln |  |  | 778 | 3 | 99.61 | 16 | 0 | 100
260004566 | Caledonia And Cayuga Distribution System | Haldimand |  |  | 754 | 4 | 99.47 | 20 | 0 | 100
260004722 | Aylmer Area Secondary Water Supply System | Aylmer |  |  | 422 | 0 | 100 | 17 | 0 | 100
260004735 | Port Burwell Area Secondary Water Supply System | Malahide |  |  | 318 | 0 | 100 | 8 | 0 | 100
260004748 | Municipality Of Bayham Distribution System | Bayham |  |  | 318 | 1 | 99.69 | 16 | 0 | 100
260004761 | Central Elgin Distribution System | Central Elgin |  |  | 1168 | 4 | 99.66 | 8 | 0 | 100
260004774 | Malahide Distribution System | Malahide |  |  | 318 | 0 | 100 | 12 | 0 | 100
260004904 | Fort Erie Distribution System | Fort Erie |  |  | 1312 | 15 | 98.86 | 28 | 0 | 100
260004917 | City Of London Distribution System | London |  |  | 6140 | 4 | 99.93 | 66 | 0 | 100
260004969 | Tecumseh Distribution System | Tecumseh |  |  | 1060 | 0 | 100 | 30 | 1 | 96.67
260004982 | Municipality Of Lakeshore Drinking Water System - Tecumseh Ds | Lakeshore |  |  | 212 | 0 | 100 | 12 | 0 | 100
260004995 | Municipality Of Lakeshore Drinking Water System - Union Ds | Lakeshore |  |  | 424 | 0 | 100 | 8 | 0 | 100
260005008 | Rossmore/Fenwood Gardens Distribution System | Prince Edward County |  |  | 312 | 0 | 100 | 8 | 0 | 100
260005099 | Consecon/Carrying Place Distribution System | Prince Edward County |  |  | 280 | 0 | 100 | 60 | 0 | 100
260005112 | Edwardsburgh Industrial Park Distribution System | Edwardsburgh/Cardinal |  |  | 106 | 0 | 100 | 9 | 0 | 100
260005138 | King City Distribution System | King |  |  | 464 | 3 | 99.35 | 11 | 0 | 100
260005151 | Schomberg Distribution System | King |  |  | 424 | 0 | 100 | 10 | 0 | 100
260005281 | Auburn Drinking Water System | Central Huron |  |  | 104 | 0 | 100 | 23 | 0 | 100
260005398 | Colling-Woodlands Drinking Water System | Clearview |  |  | 156 | 1 | 99.36 | 30 | 0 | 100
260005411 | Nottawa Drinking Water System | Clearview |  |  | 324 | 0 | 100 | 21 | 0 | 100
260005463 | Newbury (West Elgin Aws) Distribution System | Newbury |  |  | 424 | 0 | 100 | 10 | 0 | 100
260005502 | Southwest Middlesex Distribution System | Southwest Middlesex |  |  | 638 | 0 | 100 | 16 | 0 | 100
260005554 | Monteith Distribution System | Iroquois Falls |  |  | 106 | 0 | 100 | 9 | 0 | 100
260006269 | Petersburg Drinking Water System | Wilmot |  |  | 6 | 0 | 100 | 0 | 0
260006295 | Courtney Subdivision Distribution System | Ashfield-Colborne-Wawanosh |  |  | 0 | 0 |  | 0 | 0
260006464 | St. Clair Distribution System | St. Clair |  |  | 954 | 0 | 100 | 20 | 0 | 100
260006516 | Sonya Village Subdivision Drinking Water System | Kawartha Lakes |  |  | 216 | 0 | 100 | 20 | 0 | 100
260006529 | North Middlesex Distribution System | North Middlesex |  |  | 478 | 0 | 100 | 14 | 0 | 100
260006542 | Bluewater Lakeshore Distribution System | Bluewater |  |  | 416 | 0 | 100 | 14 | 0 | 100
260006568 | East Lambton Shores Distribution System | Lambton Shores |  |  | 544 | 0 | 100 | 8 | 0 | 100
260006581 | West Lambton Shores Distribution System | Lambton Shores |  |  | 312 | 0 | 100 | 10 | 0 | 100
260006594 | Plympton-Wyoming Distribution System | Plympton-Wyoming |  |  | 428 | 0 | 100 | 8 | 0 | 100
260006685 | Sault Ste Marie Drinking Water System | Sault Ste. Marie |  |  | 2848 | 2 | 99.93 | 458 | 0 | 100
260006737 | Ballantrae-Musselman Lake Distribution System | Whitchurch-Stouffville |  |  | 554 | 0 | 100 | 32 | 0 | 100
260006789 | Vermillion Distribution System | Greater Sudbury |  |  | 540 | 0 | 100 | 21 | 0 | 100
260006828 | Montague Distribution System | Montague |  |  | 212 | 0 | 100 | 8 | 0 | 100
260006841 | Limoges Drinking Water System | The Nation |  |  | 624 | 0 | 100 | 79 | 0 | 100
260006867 | Lancaster Drinking Water System | South Glengarry |  |  | 424 | 0 | 100 | 69 | 0 | 100
260006958 | Miller Manor Apartments Drinking Water System | Front Of Yonge |  |  | 24 | 0 | 100 | 11 | 0 | 100
260006971 | The Maples Drinking Water System | Edwardsburgh/Cardinal |  |  | 24 | 0 | 100 | 12 | 0 | 100
260007088 | Minto Pines Subdivision Drinking Water System | Minto |  |  | 106 | 0 | 100 | 20 | 0 | 100
260007114 | Moosonee Drinking Water System | Moosonee |  |  | 332 | 0 | 100 | 74 | 7 | 90.54
260007465 | Laurentian Valley Distribution System | Laurentian Valley |  |  | 232 | 0 | 100 | 8 | 0 | 100
260007491 | Pronto East Subdivision Drinking Water System | The North Shore |  |  | 52 | 0 | 100 | 97 | 4 | 95.88
260007777 | Elizabethtown - Kitley Distribution System | Elizabethtown-Kitley |  |  | 0 | 0 |  | 4 | 0 | 100
260007842 | Dungannon Drinking Water System | Ashfield-Colborne-Wawanosh |  |  | 312 | 0 | 100 | 50 | 0 | 100
260019630 | Varna Drinking Water System | Bluewater |  |  | 114 | 0 | 100 | 24 | 0 | 100
260022152 | Breslau Distribution System | Woolwich |  |  | 556 | 5 | 99.1 | 17 | 0 | 100
260024999 | South Chatham-Kent Water Treatment Plant And Distribution Subsystem | Chatham-Kent |  |  | 1166 | 0 | 100 | 106 | 0 | 100
260026156 | Georgina Drinking Water System - Georgina | Georgina |  |  | 204 | 0 | 100 | 339 | 0 | 100
260034372 | Ansnorveldt Distribution System | King |  |  | 212 | 0 | 100 | 9 | 0 | 100
260034996 | Molesworth Drinking Water System | North Perth |  |  | 58 | 0 | 100 | 11 | 0 | 100
260037102 | L'Orignal Distribution System | Champlain |  |  | 318 | 0 | 100 | 10 | 0 | 100
260039208 | Hamilton Township Distribution System | Hamilton Township |  |  | 0 | 0 |  | 2 | 0 | 100
260040170 | Alvinston Distribution System | Brooke-Alvinston |  |  | 318 | 0 | 100 | 8 | 0 | 100
260046137 | Somerset/ Knob Hill Distribution System | Ramara |  |  | 52 | 0 | 100 | 9 | 0 | 100
260046709 | Huronville Subdivision Distribution System | Huron-Kinloss |  |  | 0 | 0 |  | 1 | 0 | 100
260046761 | Oil Springs Water Distribution System | Oil Springs |  |  | 194 | 0 | 100 | 8 | 0 | 100
260046904 | Dawn-Euphemia Distribution System | Dawn-Euphemia |  |  | 424 | 0 | 100 | 12 | 0 | 100
260046995 | Innerkip Drinking Water System | East Zorra-Tavistock |  |  | 428 | 1 | 99.77 | 27 | 0 | 100
260048204 | Snow Valley Drinking Water System | Springwater |  |  | 524 | 0 | 100 | 43 | 0 | 100
260048282 | Phelpston Drinking Water System | Springwater |  |  | 128 | 0 | 100 | 21 | 0 | 100
260049582 | Thorold (Port Robinson) Distribution System | Thorold |  |  | 308 | 0 | 100 | 8 | 0 | 100
260049621 | Thorold South End Distribution System | Thorold |  |  | 526 | 1 | 99.81 | 12 | 0 | 100
260057278 | Trentview Estates Distribution System | Asphodel-Norwood |  |  | 106 | 0 | 100 | 10 | 0 | 100
260057967 | Gazer Mooney Subdivision Distribution System | Guelph-Eramosa |  |  | 98 | 0 | 100 | 10 | 0 | 100
260058006 | Port Hope Drinking Water System | Port Hope |  |  | 852 | 1 | 99.88 | 214 | 0 | 100
260061958 | Westshore Drinking Water System | Severn |  |  | 416 | 0 | 100 | 78 | 0 | 100
260062452 | Bevan Heights Distribution System | Niagara-On-The-Lake |  |  | 106 | 0 | 100 | 8 | 0 | 100
260062686 | Keswick-Sutton Distribution System | Georgina |  |  | 1488 | 1 | 99.93 | 27 | 0 | 100
260063661 | Mansfield Drinking Water System | Mulmur |  |  | 338 | 0 | 100 | 76 | 0 | 100
260064272 | Elgeti And Crystal Springs Subdivisions Drinking Water System | Otonabee-South Monaghan |  |  | 416 | 0 | 100 | 75 | 0 | 100
260065260 | Atwood Drinking Water System | North Perth |  |  | 312 | 0 | 100 | 69 | 0 | 100
260065312 | Leith Distribution System | Meaford |  |  | 236 | 0 | 100 | 12 | 0 | 100
260066417 | Long Sault/Ingleside Regional Drinking Water System | South Stormont |  |  | 402 | 0 | 100 | 69 | 0 | 100
260068419 | Halton Region Drinking Water System - Bridgeview Community Ds | Burlington |  |  | 210 | 0 | 100 | 11 | 0 | 100
260069173 | Hamilton Drinking Water System - Fifty Road Ds | Hamilton City |  |  | 208 | 0 | 100 | 16 | 0 | 100
260069290 | Sydenham Drinking Water System | South Frontenac |  |  | 336 | 1 | 99.7 | 75 | 0 | 100
260069732 | Moorefield Drinking Water System | Mapleton |  |  | 414 | 0 | 100 | 73 | 0 | 100
260069927 | Bradley Subdivision Distribution System | Charlton/Dack |  |  | 0 | 0 |  | 0 | 0
260071435 | Baysville Drinking Water System | Lake Of Bays |  |  | 416 | 0 | 100 | 88 | 0 | 100
260074321 | Coleman Distribution System | Coleman |  |  | 106 | 0 | 100 | 9 | 0 | 100
260074854 | Richmond Community Drinking Water System | Bayham |  |  | 216 | 1 | 99.54 | 219 | 0 | 100
260075231 | Kinmount Drinking Water System | Kawartha Lakes |  |  | 106 | 0 | 100 | 79 | 0 | 100
260078897 | St. Thomas Area Secondary Water Supply System | St. Thomas |  |  | 0 | 0 |  | 17 | 0 | 100
260079131 | Mcdougall Nobel Distribution System | Mcdougall |  |  | 314 | 0 | 100 | 23 | 0 | 100
260080106 | Strathroy-Caradoc Distribution System - Strathroy Ds | Strathroy-Caradoc |  |  | 994 | 0 | 100 | 8 | 0 | 100
260085436 | Halton Region Drinking Water System - Burloak | Oakville |  |  | 118 | 0 | 100 | 251 | 1 | 99.6
260085462 | Halton Region Drinking Water System - Halton Region Ds | Oakville |  |  | 7158 | 3 | 99.96 | 697 | 0 | 100
260086762 | Halton Region Drinking Water System - North Aldershot Ds | Burlington |  |  | 230 | 0 | 100 | 11 | 0 | 100
260086775 | Halton Region Drinking Water System - Snake Road Ds | Burlington |  |  | 216 | 1 | 99.54 | 11 | 0 | 100
260086866 | Baxter Distribution System | Essa |  |  | 108 | 0 | 100 | 9 | 0 | 100
260087048 | Leamington Distribution System - Wheatley Ds | Leamington |  |  | 310 | 0 | 100 | 2 | 0 | 100
260087685 | Yonge-Green Lane Distribution System | East Gwillimbury |  |  | 320 | 1 | 99.69 | 16 | 0 | 100
260089635 | Shadow Ridge Drinking Water System | Ottawa |  |  | 530 | 1 | 99.81 | 412 | 0 | 100
260090012 | Laurentian Park Distribution System | Champlain |  |  | 118 | 1 | 99.15 | 9 | 0 | 100
260090363 | City Of Toronto Drinking Water System - Toronto Ds | Toronto |  |  | 12934 | 96 | 99.26 | 176 | 0 | 100
260091026 | St. Isidore Distribution System | The Nation |  |  | 312 | 0 | 100 | 12 | 0 | 100
260091117 | Tri-County Drinking Water System | West Elgin |  |  | 324 | 0 | 100 | 82 | 0 | 100
260091338 | Ignace Drinking Water System | Ignace |  |  | 354 | 0 | 100 | 69 | 0 | 100
260091507 | Municipality Of Lakeshore Drinking Water System - Belle River | Lakeshore |  |  | 1392 | 0 | 100 | 90 | 0 | 100
260091650 | Hensall-Zurich Distribution System | Bluewater |  |  | 416 | 0 | 100 | 12 | 0 | 100
260091936 | Lutterworth Pines Drinking Water System | Minden Hills |  |  | 54 | 0 | 100 | 86 | 0 | 100
260092014 | Russell Distribution System | Russell |  |  | 862 | 0 | 100 | 16 | 0 | 100
260092040 | Herbert Avenue Drinking Water System | Hornepayne |  |  | 318 | 0 | 100 | 110 | 5 | 95.45
260093132 | St. Agatha Distribution System | Wilmot |  |  | 208 | 0 | 100 | 10 | 0 | 100
260094120 | South Peel Distribution System | Mississauga |  |  | 16008 | 9 | 99.94 | 140 | 0 | 100
260094627 | West Elgin Distribution System | West Elgin |  |  | 436 | 2 | 99.54 | 11 | 0 | 100
260094939 | Mannheim Distribution System | Wilmot |  |  | 244 | 5 | 97.95 | 10 | 0 | 100
260095498 | Braestone Drinking Water System | Oro-Medonte |  |  | 312 | 0 | 100 | 87 | 0 | 100
260096343 | Richmond West Drinking Water System | Ottawa |  |  | 486 | 0 | 100 | 451 | 0 | 100
260097331 | Integrated Urban Water Distribution System | Kitchener |  |  | 1586 | 0 | 100 | 4 | 0 | 100
260097877 | Midhurst Valley Well Supply | Springwater |  |  | 356 | 0 | 100 | 24 | 0 | 100