## REMARK_VALQUALIF_CODE_EN
REMARK_VALUQUALIFI | DESCRIPTION
0 | INVALID CODE DURING LOAD
32 | INVALID CODE DURING LOAD
35 | INVALID CODE DURING LOAD
47 | INVALID CODE DURING LOAD
85 | INVALID CODE DURING LOAD
932 | INVALID CODE DURING LOAD
947 | INVALID CODE DURING LOAD
!RT | SAMPLE NOT REFRIDGERATED IN TRANSIT
*** | SAMPLING DISCONTINUED
+/- | RESULT OBTAINED IS +/- VALUE INDICATED
+/-0 | NON LASB METHOD - UNCERTAINTY UNKNOWN
< | ACTUAL RESULT < THAN REPORTED VALUE
<=> | APPROXIMATE RESULT
<=W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
<=WE | NO MEASURABLE RESPONSE (DILN/CONC): < REPORTED VALUE
<MD | LESS THAN METHOD DETECTION LIMIT
<MDL | LESS THAN METHOD DETECTION LIMIT
<R | DETECT LIMIT REPORT: VALUE LIMIT
<RDL | LESS THAN REPORTING DETECTION LIMIT
<T | A MEASURABLE TRACE AMOUNT: INTERPRET WITH CAUTION
<TE | MEASURABLE TRACE AFTER EXTRA DILN/CONC:CAUTION
<W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
<WE | NO MEASURABLE RESPONSE (DILN/CONC)
> | ACTUAL RESULT > THAN REPORTED VALUE
>10C | RECD>10C. DATA MAY NOT REFLECT THAT OF ORIG.SAMPLE
A | APPROXIMATE VALUE
A> | APPROX RSLT: EXCEED NORMAL RNGE LIMIT
A3C | APROX RESULT: TOTAL COUNT EXCEEDS 300 COLONIES
ABC | APROX RSLT:INDETERM BACKGRND COLOUR
ABP | APPROXIMATE RESULT
ADJA | SAMPLE ADJUSTED BEFORE ANALYSIS
AED | APPROX RESULT:EXCESS DILUTION USED
AEDX | APPROX.RESULT: EXCESSIVE DILUTION USED
AGE | SAMPLE AGE EXCEEDED NORMAL LIMIT
AHS | APPROX.RESULT: HETEROGENEOUS SAMPLE
AID | APPROXIMATE RESULT: INSUFFICIENT DO5 DEPLETION
AIN | APPROX.RESULT: INTERFERENCE SUSPECTED
AIS | APPROX.RESULT: INSUFFICIENT SAMPLE
AQH | RESULT BIASED HIGH, QC OUT OF RANGE
AQN | QC OUT OF RANGE, NO BIAS EXPECTED
AR | ATTACHED REPORT
AR> | APPROX. RESULT: EXCEEDED NORMAL RANGE LIMIT
ARS | APPROX RESULT:HETEROGENEOUS SAMPLE
BLD | BOTTLE LABEL/SUBMISSION FORM DIFFER
C | BACKGROUND COUNT TOO NUMEROUS
CALCR | THIS IS A SYSTEM-CALC. RESULT VALUE * DILUTION
CIC | POSSIBLE CONTAM DUE TO IMPROPER CAP
CRO | CALCULATED RESULT ONLY
DEL | INVALID CODE DURING LOAD
EST | ESTIMATED
FAQ | FRACTION OF SAMPLE ANALYSED: AQUEOUS PHASE ONLY
I | APPROXIMATE VALUE; INSUFFICIENT DILUTION
IDE | APROX RSLT:INSUFFIC. DO5 DEPLETION
IS | INTERFERENCE SUSPECTED
LPI | LABELS PROBABLY INTERCHANGED
M | MANUALLY ANALYSED
NNN | NOTE: CORRECTED VALUE
NSS | NO SUITABLE SAMPLE
NTR | NO TIME RECORDED: ANALYSIS PERFORMED
OCR | RESULT OUTSIDE OF CALIBRATED RANGE
OMR | RESULT OUTSIDE OF MONITORED RANGE
P40 | PCB RESEMBLED MIX:AROCLOR 1254,1260
PHA | PH ADJUSTED BEFORE ANALYSIS
PIL | PRESERVED IN LABORATORY
PNS | TEST PERFORMED ON UNPRESERVED SAMPLED
PPS | TEST PERFORMED ON PRESERVED SAMPLED
PSS | PARTICULATES PRESENT IN SUBMITTED SAMPLE
QCU | QUALITY CONTROL UNACCEPTABLE
R24 | REPEAT: 24HR BETWEEN SAMP AND ANALYSIS
R48 | REPEAT: 48HR BETWEEN SAMP AND ANALYSIS
R72 | REPEAT: 72HR BETWEEN SAMP AND ANALYSIS
RDB | CALCULATED VIA DIGESTED BLANK FROM ANOTHER RUN
RDS | RESULT OBTAINED ON DILUTED SAMPLE
RMV | REPORTED RESULT DETERMINED USING METHOD VARIANCE
RRA | REPORTED RESULT IS AVERAGE OF >2 ANALYSES
RRC | REPORTED RESULT CALCULATIONS CHECKED
RRM | RESULT REPRESENTS A MINIMUM VALUE
RRR | REPORTED RESULT OBTAINED BY REPEAT ANALYSIS
RRV | RESULT VERIFIED BY REPEAT ANALYSIS
RVU | REPORTED VALUE UNUSUAL: UNABLE TO REANALYSE
S24 | SAMPLE SETTLED 20-40% DURING 1 MIN.TEST PERIOD
S46 | SAMPLE SETTLED 40-60% DURING 1 MIN.TEST PERIOD
S6+ | SAMPLE SETTLED OVER 60% DURING 1 MIN TEST PERIOD
SBO | SAMPLE BOTTLE OVERFILLED
SD | SAMPLE DUPLICATES DIFFER IN APPEARANCE
SFA | SAMPLE FILTERED - FILTRATE ANALYZED
SFT | SAMPLE FROZEN IN TRANSIT
SIP | SAMPLE IMPROPERLY PRESERVED
SNF | ANALY. ON SUPERNT'NT: NOT FILTERED
SQT | RESULT BASED ON SEMI-QUANT. METHOD
SRL | RECOVERY LOWER THAN LOWER CONTROL LIMIT
TOQ | TEST OMITTED IN ERROR - QUEUED LATE
T01 | 01 HR BETWEEN SAMPLING AND ANALYSIS
T02 | 02 HR BETWEEN SAMPLING AND ANALYSIS
T03 | 03 HR BETWEEN SAMPLING AND ANAYLSIS
T04 | 04 HR BETWEEN SAMPLING AND ANALYSIS
T05 | 05 HR BETWEEN SAMPLING AND ANALYSIS
T06 | 06 HR BETWEEN SAMPLING AND ANALYSIS
T07 | 07 HR BETWEEN SAMPLING AND ANALYSIS
T09 | 09 HR BETWEEN SAMPLING AND ANALYSIS
T12 | 12 HR BETWEEN SAMPLING AND ANALYSIS
T13 | 13 HR BETWEEN SAMPLING AND ANALYSIS
T15 | 15 HR BETWEEN SAMPLING AND ANALYSIS
T21 | 21 HR BETWEEN SAMPLING AND ANALYSIS
T22 | 22 HR BETWEEN SAMPLING AND ANALYSIS
T24 | TIME: 24 HOURS BEFORE SAMPLING AND ANALYSIS
T36 | 36 HR BETWEEN SAMPLING AND ANALYSIS
T48 | TIME: 48 HOURS BEFORE SAMPLING AND ANALYSIS
T72 | 72 HR BETWEEN SAMPLING AND ANALYSIS
UAL | UNRELIABLE: SAMPLE AGE EXCEEDED NORMAL LIMIT
UQC | UNRELIABLE: POSSIBLE LAB QC PROBLEMS
WSB | WARNING-HEAVY SILT IN SAMP BIAS RES
WSE | INVALID CODE DURING LOAD
X1 | DILUTED BY 10 DETECT LIMT 10X NORM
X10 | DILUTED BY 3 DETECTION LIMITS 3 TIMES NORMAL
X2 | DILUTED BY 100 DETECT LIMT 100X NORM
X4 | DILUTED BY 2 DETECTION LIMITS 2 TIMES NORMAL
X5 | DILUTED BY 25 DETECTION LIMITS 25 TIMES NORMAL
X6 | DILUTED BY 50 DETECTION LIMITS 50 TIMES NORMAL
X7 | DILUTED BY 5 DETECTION LIMITS 5 TIMES NORMAL
X9 | DILUTED BY 20 DETECTION LIMITS 20 TIMES NORMAL