## Sheet1
REMARK_VALUEQUALIFIER | DESCRIPTION
!RT | SAMPLE NOT REFRIDGERATED IN TRANSIT
<TE | MEASURABLE TRACE AFTER EXTRA DILN/CONC:CAUTION
<MD | LESS THAN METHOD DETECTION LIMIT
<MDL | LESS THAN METHOD DETECTION LIMIT
<T | A MEASURABLE TRACE AMOUNT: INTERPRET WITH CAUTION
<TE | MEASURABLE TRACE AFTER EXTRA DILN/CONC:CAUTION
<W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
<WE | NO MEASURABLE RESPONSE (DILN/CONC)
<=WE | NO MEASURABLE RESPONSE (DILN/CONC): < REPORTED VALUE
<=> | APPROXIMATE RESULT
<=W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
<=WE | NO MEASURABLE RESPONSE (DILN/CONC): < REPORTED VALUE
<MDL | LESS THAN METHOD DETECTION LIMIT
<R | DETECT LIMIT REPORT: VALUE LIMIT
<RDL | LESS THAN REPORTING DETECTION LIMIT
<T | A MEASURABLE TRACE AMOUNT: INTERPRET WITH CAUTION
<TE | MEASURABLE TRACE AFTER EXTRA DILN/CONC:CAUTION
<W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
<WE | NO MEASURABLE RESPONSE (DILN/CONC)
A | APPROXIMATE VALUE
A3C | APROX RESULT: TOTAL COUNT EXCEEDS 300 COLONIES
A> | APPROX RSLT: EXCEED NORMAL RNGE LIMIT
ABC | APROX RSLT:INDETERM BACKGRND COLOUR
ABP | APPROXIMATE RESULT
ADJA | SAMPLE ADJUSTED BEFORE ANALYSIS
AED | APPROX RESULT:EXCESS DILUTION USED
AGE | SAMPLE AGE EXCEEDED NORMAL LIMIT
AHS | APPROX.RESULT: HETEROGENEOUS SAMPLE
AID | APPROXIMATE RESULT: INSUFFICIENT DO5 DEPLETION
AIN | APPROX.RESULT: INTERFERENCE SUSPECTED
AIS | APPROXIMATE RESULT: IMPROPER SAMPLE
AMI | APPROXIMATE RESULT: MATRIX INTERFERENCE
AR | ATTACHED REPORT
AR> | APPROX. RESULT: EXCEEDED NORMAL RANGE LIMIT
ARS | APPROX RESULT:HETEROGENEOUS SAMPLE
BLD | BOTTLE LABEL/SUBMISSION FORM DIFFER
C | BACKGROUND COUNT TOO NUMEROUS
CIC | POSSIBLE CONTAM DUE TO IMPROPER CAP
CRO | CALCULATED RESULT ONLY
DEL | INVALID CODE DURING LOAD
EST | ESTIMATED RESULT
FAQ | FRACTION AQUEOUS ANALYSED
I | APPROXIMATE VALUE; INSUFFICIENT DILUTION
IDE | APROX RSLT:INSUFFIC. DO5 DEPLETION
LPI | LABELS PROBABLY INTERCHANGED
M | MANUALLY ANALYSED
NDEF | NO DATA: EQUIPMENT FAILURE
NDIV | NO DATA: INSUFFICIENT VOLUME
NNN | NOTE: CORRECTED VALUE
NSS | NO SUITABLE SAMPLE
NTR | NO TIME RECORDED: ANALYSIS PERFORMED
OCR | OUTSIDE OF CALIBRATION RANGE
P40 | PCB RESEMBLED MIX:AROCLOR 1254,1260
PHA | PH ADJUSTED BEFORE ANALYSIS
PNS | TEST PERFORMED ON UNPRESERVED SAMPLED
PPS | TEST PERFORMED ON PRESERVED SAMPLED
PSS | PARTICULATES PRESENT IN SUBMITTED SAMPLE
QCU | QUALITY CONTROL UNACCEPTABLE
R24 | REPEAT: 24HR BETWEEN SAMP AND ANALYSIS
R48 | REPEAT: 48HR BETWEEN SAMP AND ANALYSIS
R72 | REPEAT: 72HR BETWEEN SAMP AND ANALYSIS
RDS | RESULT OBTAINED ON DILUTED SAMPLE
RRA | REPORTED RESULT IS AVERAGE OF >2 ANALYSES
RRC | REPORTED RESULT CALCULATIONS CHECKED
RRV | REPORTED RESULTS VERIFIED BY REPEAT ANALYSIS
RVU | REPORTED VALUE UNUSUAL: UNABLE TO REANALYSE
S24 | SAMPLE SETTLED 20-40% DURING 1 MIN.TEST PERIOD
S46 | SAMPLE SETTLED 40-60% DURING 1 MIN.TEST PERIOD
S6+ | SAMPLE SETTLED OVER 60% DURING 1 MIN TEST PERIOD
SD | SAMPLE DUPLICATES DIFFER IN APPEARANCE
SFA | SAMPLE FILTERED - FILTRATE ANALYZED
SFT | SAMPLE FROZEN IN TRANSIT
SIP | SAMPLE IMPROPERLY PRESERVED
SNF | ANALY. ON SUPERNT'NT: NOT FILTERED
SQT | RESULT BASED ON SEMI-QUANT. METHOD
T01 | 01 HR BETWEEN SAMPLING AND ANALYSIS
T02 | 02 HR BETWEEN SAMPLING AND ANALYSIS
T03 | 03 HR BETWEEN SAMPLING AND ANAYLSIS
T04 | 04 HR BETWEEN SAMPLING AND ANALYSIS
T05 | 05 HR BETWEEN SAMPLING AND ANALYSIS
T06 | 06 HR BETWEEN SAMPLING AND ANALYSIS
T07 | 07 HR BETWEEN SAMPLING AND ANALYSIS
T09 | 09 HR BETWEEN SAMPLING AND ANALYSIS
T12 | 12 HR BETWEEN SAMPLING AND ANALYSIS
T13 | 13 HR BETWEEN SAMPLING AND ANALYSIS
T15 | 15 HR BETWEEN SAMPLING AND ANALYSIS
T21 | 21 HR BETWEEN SAMPLING AND ANALYSIS
T22 | 22 HR BETWEEN SAMPLING AND ANALYSIS
T24 | TIME: 24 HOURS BEFORE SAMPLING AND ANALYSIS
T36 | 36 HR BETWEEN SAMPLING AND ANALYSIS
T48 | TIME: 48 HOURS BEFORE SAMPLING AND ANALYSIS
T72 | 72 HR BETWEEN SAMPLING AND ANALYSIS
UCL | UNRELIABLE: EXCESSIVE CHLORINE LEVEL IN SAMPLE
UCS | UNRELIABLE: CONTAMINATION SUSPECTED
UDD | UNRELIABLE: DUPLICATE RESULTS DIFFER
UEF | UNRELIABLE: EQUIPMENT FAILURE
UHM | UNRELIABLE DUE TO HEAVY MATRIX
UHT | UNRELIABLE: HOLD TIME EXCEEDED
UIC | UNRELIABLE: IMPROPER CONTAINER
UIV | UNRELIABLE: INSUFFICIENT VOLUME
UMI | UNRELIABLE: MATRIX INTERFERENCE
UNH | UNRELIABLE: SAMPLE NOT HOMOGENEOUS
UPR | UNRELIABLE: IMPROPER PRESERVATIVE
UQC | UNRELIABLE: POSSIBLE QC PROBLEM
URHT | UNRELIABLE: INSUFFICIENT REMAINING HOLD TIME
USL | UNRELIABLE: SAMPLE PRESERVED IN LABORATORY
USRPHT | UNRELIABLE: SAMPLE RECEIVED PAST HOLD TIME
UXX | #N/A
WSB | WARNING-HEAVY SILT IN SAMP BIAS RES
WSE | INVALID CODE DURING LOAD
X10 | Diluted by 10. Detection limit 10 times normal
X2 | Diluted by 2. Detection limit 2 times normal
X20 | Diluted by 20. Detection limit 20 times normal
X3 | Diluted by 3. Detection limit 3 times normal
X5 | Diluted by 5. Detection limit 5 times normal
RRV | REPORTED RESULTS VERIFIED BY REPEAT ANALYSIS
FAQ | FRACTION AQUEOUS ANALYSED
UHT | UNRELIABLE: HOLD TIME EXCEEDED
X5 | Diluted by 5. Detection limit 5 times normal
UCL | UNRELIABLE: EXCESSIVE CHLORINE LEVEL IN SAMPLE
UHM | UNRELIABLE DUE TO HEAVY MATRIX
UMI | UNRELIABLE: MATRIX INTERFERENCE
X10 | Diluted by 10. Detection limit 10 times normal
X2 | Diluted by 2. Detection limit 2 times normal
UIS | UNRELIABLE: IMPROPER SAMPLE
UQC | UNRELIABLE: POSSIBLE QC PROBLEM
USL | UNRELIABLE: SAMPLE PRESERVED IN LABORATORY