## REMARK_VALQUALIF_CODE_EN
REMARK_VALUQUALIFI | DESCRIPTION
+/- | RESULT OBTAINED IS +/- VALUE INDICATED
+/-0 | NON LASB METHOD - UNCERTAINTY UNKNOWN
< | ACTUAL RESULT < THAN REPORTED VALUE
<=> | APPROXIMATE RESULT
<=W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
<=WE | NO MEASURABLE RESPONSE (DILN/CONC): < REPORTED VALUE
<MDL | LESS THAN METHOD DETECTION LIMIT
<RDL | LESS THAN REPORTING DETECTION LIMIT
<T | A MEASURABLE TRACE AMOUNT: INTERPRET WITH CAUTION
<TE | MEASURABLE TRACE AFTER EXTRA DILN/CONC:CAUTION
<W | NO MEASURABLE RESPONSE (ZERO): <REPORTED VALUE
> | ACTUAL RESULT > THAN REPORTED VALUE
>10C | RECD>10C. DATA MAY NOT REFLECT THAT OF ORIG.SAMPLE
A3C | APROX RESULT: TOTAL COUNT EXCEEDS 300 COLONIES
AEDX | APPROX.RESULT: EXCESSIVE DILUTION USED
AHS | APPROX.RESULT: HETEROGENEOUS SAMPLE
AID | APPROXIMATE RESULT: INSUFFICIENT DO5 DEPLETION
AIN | APPROX.RESULT: INTERFERENCE SUSPECTED
AQH | RESULT BIASED HIGH, QC OUT OF RANGE
AQN | Eng
AR> | APPROX. RESULT: EXCEEDED NORMAL RANGE LIMIT
CALCR | THIS IS A SYSTEM-CALC. RESULT VALUE * DILUTION
CRO | CALCULATED RESULT ONLY
EST | ESTIMATED
FAQ | FRACTION OF SAMPLE ANALYSED: AQUEOUS PHASE ONLY
IS | INTERFERENCE SUSPECTED
OCR | RESULT OUTSIDE OF CALIBRATED RANGE
OMR | RESULT OUTSIDE OF MONITORED RANGE
P40 | PCB RESEMBLED MIX:AROCLOR 1254,1260
PIL | PRESERVED IN LABORATORY
RDB | CALCULATED VIA DIGESTED BLANK FROM ANOTHER RUN
RDS | RESULT OBTAINED ON DILUTED SAMPLE
RMV | REPORTED RESULT DETERMINED USING METHOD VARIANCE
RRM | RESULT REPRESENTS A MINIMUM VALUE
RRR | REPORTED RESULT OBTAINED BY REPEAT ANALYSIS
RRV | RESULT VERIFIED BY REPEAT ANALYSIS
RVU | REPORTED VALUE UNUSUAL: UNABLE TO REANALYSE
S24 | SAMPLE SETTLED 20-40% DURING 1 MIN.TEST PERIOD
S46 | SAMPLE SETTLED 40-60% DURING 1 MIN.TEST PERIOD
S6+ | SAMPLE SETTLED OVER 60% DURING 1 MIN TEST PERIOD
SBO | SAMPLE BOTTLE OVERFILLED
SRL | RECOVERY LOWER THAN LOWER CONTROL LIMIT
TOQ | TEST OMITTED IN ERROR - QUEUED LATE
UAL | UNRELIABLE: SAMPLE AGE EXCEEDED NORMAL LIMIT
UQC | UNRELIABLE: POSSIBLE LAB QC PROBLEMS
X1 | DILUTD BY 10 DETECT LIMT 10X NORM
X10 | DILUTED BY 3 DETECTION LIMITS 3 TIMES NORMAL
X2 | DILUTD BY 100 DETECT LIMT 100X NORM
X4 | DILUTED BY 2 DETECTION LIMITS 2 TIMES NORMAL
X6 | DILUTED BY 50 DETECTION LIMITS 50 TIMES NORMAL
X7 | DILUTED BY 5 DETECTION LIMITS 5 TIMES NORMAL
X9 | DILUTED BY 20 DETECTION LIMITS 20 TIMES NORMAL