## EP Annual Report 2020
Region | District | Sector | Company Name | Site Address | Municipality | Order Number | Order Date | Order Violation Number | Violation Date | Description of the Violation | Reduction to the Environmental Penalty Amount | Order Amount of Environmental Penalty per Violation | Environmental Penalty Order Total | Environmental Penalty Order Appealed (Yes/No)
Northern | Sault Ste. Marie | Iron & Steel | Algoma Tubes Inc. | 547 Wallace Terrace | Sault Ste. Marie | 224 | 2020-02-14 | 1 | 2019-11-14 | Violation of acute lethality test - Daphnia magna at sampling point 0100 under section 17 of O. Reg. 214/95, Effluent Monitoring and Effluent Limits - Iron and Steel Manufacturing | 35% | 8125 | 8125 | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 227 | 2020-03-02 | 1 | 2019-03-31 | Violation of the Biochemical Oxygen Demand daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 | 5609.5 | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 227 | 2020-03-02 | 2 | 2019-04-01 | Violation of the Biochemical Oxygen Demand daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 227 | 2020-03-02 | 3 | 2019-04-02 | Violation of the Biochemical Oxygen Demand daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1345.5 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 227 | 2020-03-02 | 4 | 2019-04-03 | Violation of the Biochemical Oxygen Demand daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 227 | 2020-03-02 | 5 | 2019-04-04 | Violation of the Biochemical Oxygen Demand daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 1 | 2019-03-29 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 | 7891 | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 2 | 2019-03-30 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1209 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 3 | 2019-03-31 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 4 | 2019-04-01 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1209 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 5 | 2019-04-02 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1209 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 6 | 2019-04-03 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 228 | 2020-03-02 | 7 | 2019-04-04 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 229 | 2020-09-25 | 1 | 2019-05-08 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 | 3341 | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 229 | 2020-09-25 | 2 | 2019-05-09 | Violation of the Total Suspended Solids daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1209 |  | No
Northern | Sudbury | Pulp & Paper | Domtar Inc. | 1 Station Road | Espanola | 229 | 2020-09-25 | 3 | 2019-05-09 | Violation of the Biochemical Oxygen Demand daily plant loading which is a violation of Subsection 14(1) of O. Reg. 760/93; Effluent Monitoring and Effluent Limits - Pulp and Paper Sector | 35% | 1066 |  | No
Southwest | London | Industrial Minerals | St. Marys Cement Inc. | 585 Water Street South | St. Marys | 222 | 2020-01-17 | 1 | 2019-10-31 | Violation of the Total Suspended Solids parameter limits which is a violation of Subsection 18(1) of O. Reg. 561/94; Effluent Monitoring and Effluent Limits - Industrial Minerals Sector | 17% | 6523.8 | 6523.8 | No
Southwest | Owen Sound | Electric Power | Bruce Power Inc. | Bruce Nuclear Generating Station A, Part of Lots 11-20, Lake Range | Kincardine | 238 | 2020-11-06 | 1 | 2020-02-20 | Violation of acute lethality test - Rainbow Trout under Subsection 17(1) of O. Reg. 215/95, Effluent Monitoring and Effluent Limits - Electric Power Generation Sector | 35% | 9750 | 9750 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 223 | 2020-01-07 | 1 | 2019-10-01 | Violation of acute lethality test - Daphnia magna at control point 0400 under section 15 of O. Reg. 537/93, Effluent Monitoring and Effluent Limits - Petroleum Sector | 15% | 12750 | 12750 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 225 | 2020-02-20 | 1 | 2019-09-28 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 21% | 79000 | 79000 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 226 | 2020-02-20 | 1 | 2019-10-02 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 21% | 19750 | 19750 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 232 | 2020-12-01 | 1 | 2020-01-10 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 23% | 77000 | 77000 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 233 | 2020-12-01 | 1 | 2020-01-18 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 27% | 73000 | 73000 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 234 | 2020-12-01 | 1 | 2020-01-21 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities. | 25% | 75000 | 75000 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 237 | 2020-12-01 | 1 | 2020-04-01 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities. | 27% | 60487.8 | 60487.8 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 240 | 2020-12-01 | 1 | 2020-05-23 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 27% | 73000 | 180426.8 | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 240 | 2020-12-01 | 2 | 2020-06-22 | Total discharge is greater than or equal to 450 kg of SO2 in a 24-hour period but less than 900 kg from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 27% | 34426.8 |  | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 240 | 2020-12-01 | 3 | 2020-07-08 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 27% | 73000 |  | No
Southwest | Sarnia | Petroleum | Shell Canada Limited | 150 St. Clair Parkway | St. Clair Township | 241 | 2020-10-20 | 1 | 2020-05-12 | Violation of the Dissolved Organic Carbon daily plant loading which is a violation of Subsection 14(1) of O. Reg. 537/93; Effluent Monitoring and Effluent Limits - Petroleum Sector | 11% | 3497.7 | 3497.7 | No
Southwest | Sarnia | Petroleum | Suncor Energy Inc. | 1900 River Road | Sarnia | 219 | 2020-10-20 | 1 | 2019-09-17 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 35% | 57573.75 | 67323.75 | No
Southwest | Sarnia | Petroleum | Suncor Energy Inc. | 1900 River Road | Sarnia | 219 | 2020-10-20 | 2 | 2019-09-18 | Total discharge is more than 225 kg of S02 in a 24-hour period but less than 450 kg from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 35% | 9750 |  | No
Southwest | Sarnia | Petroleum | Suncor Energy Inc. | 1900 River Road | Sarnia | 230 | 2020-10-20 | 1 | 2019-11-05 | Violation of total residual chlorine limit at Sampling Point 0400 under Condition 6(1) of Environmental Compliance Approval No. 6016-A9SKLT, which is a violation of Subsection 53(1) of the Ontario Water Resources Act, R.S.O. 1990, c. O.40. | 27% | 6256.1 | 6256.1 | No
West Central | Hamilton | Petroleum | Imperial Oil Limited (Nanticoke) | Nanticoke Refinery, 225 Concession 2 Rd., Lots 9,10, and 11, Concession 1, 2, and 3, Walpole Township | Haldimand County | 221 | 2020-10-27 | 1 | 2019-09-09 | Total discharge is greater than 900 kg of S02 in a 24-hour period from one or more pieces of acid gas combustion equipment at a petroleum facility, which is a violation of Subsection 5(1) of O. Reg. 530/18; Air Pollution - Discharge of Sulphur Dioxide from Petroleum Facilities | 15% | 75288.75 | 75288.75 | No