## _2014_Air_Emissions_All_Regions
Facility Owner | Site Address | Site Municipality | Sector | District | Contaminant | Type of Exceedance | Exceedance Start Date | Exceedance End Date | Contaminant Limit | Contaminant Unit | Limit Frequency | No of Exceedances | Quantity Minimum* | Quantity Maximum* | Facility Action | Ministry Action | Air Dispersion Modeling
Algonquin Power Energy From Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | HYDROGEN CHLORIDE GAS | Approval/Permit Non-Compliance | 2014-01-20 | 2014-01-20 | 18 | ppm dry volume | 24h avg | 1 | 19 | 19 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Algonquin Power Energy From Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | HYDROGEN CHLORIDE GAS | Approval/Permit Non-Compliance | 2014-03-31 | 2014-03-31 | 18 | ppm dry volume | 24h avg | 1 | 19 | 19 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Algonquin Power Energy From Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | OPACITY | Approval/Permit Non-Compliance | 2014-01-04 | 2014-01-04 | 10 | % | 6min avg | 1 | 11 | 11 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Algonquin Power Energy From Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | OPACITY | Approval/Permit Non-Compliance | 2014-01-05 | 2014-01-05 | 10 | % | 6min avg | 1 | 11.1 | 11.1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Algonquin Power Energy From Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | OPACITY | Approval/Permit Non-Compliance | 2014-01-05 | 2014-01-05 | 10 | % | 6min avg | 1 | 13.8 | 13.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Algonquin Power Energy From Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | OPACITY | Approval/Permit Non-Compliance | 2014-02-17 | 2014-02-17 | 10 | % | 6min avg | 1 | 12 | 12 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Apotex Inc. | 380 Elgin Mills Road Rd | Richmond Hill | Miscellaneous Industrial | York-Durham | NOISE | Approval/Permit Non-Compliance | 2014-01-01 | 2014-12-31 | 47 | dBA | Leq | 1 | 47 | 47 | Additional Monitoring Underway Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-01-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements Additional Monitoring Underway Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Training/Procedure Change | Assessment Underway
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-02-28 | 20 | % | 6min avg | 28 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Training/Procedure Change | Assessment Underway
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-03-01 | 2014-03-31 | 20 | % | 6min avg | 31 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Training/Procedure Change | Assessment Underway
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-04-01 | 2014-04-30 | 20 | % | 6min avg | 30 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Training/Procedure Change | Assessment Underway; Other Abatement Action Taken
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 20 | % | 6min avg | 31 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Training/Procedure Change | Assessment Underway; Other Abatement Action Taken
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-06-01 | 2014-06-30 | 20 | % | 6min avg | 30 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Training/Procedure Change | Assessment Underway; Other Abatement Action Taken
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-07-01 | 2014-07-31 | 20 | % | 6min avg | 31 | 21 | 100 | Other | Assessment Underway; Director's Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-08-01 | 2014-08-31 | 20 | % | 6min avg | 31 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated New Equipment or Treatment Process Installed Operational Process Modification Other Training/Procedure Change | Other Abatement Action Taken; Director's Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-30 | 20 | % | 6min avg | 30 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated New Equipment or Treatment Process Installed Operational Process Modification Training/Procedure Change | Assessment Underway; Director's Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-10-01 | 2014-10-31 | 20 | % | 6min avg | 31 | 22 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification Other Training/Procedure Change | Assessment Underway; Director's Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-11-01 | 2014-11-30 | 20 | % | 6min avg | 30 | 21 | 100 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated New Equipment or Treatment Process Installed Operational Process Modification Other Training/Procedure Change | Assessment Underway; Director's Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E Piers 20 & 21 | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-12-01 | 2014-12-31 | 20 | % | 6min avg | 31 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification; Other; Training/Procedure Change | Assessment Underway; Director's Order Issued
AuRico Gold Inc. - Young-Davidson Mine | 3 km West of Matachewan Hwy 566 | Matachewan | Metal Mining and Refining | Timmins | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-03-12 | 2014-03-12 | 120 | µg/m³ | 24h avg | 1 | 122 | 122 | Other | Assessment Complete - No Action Required
AV Terrace Bay Inc. - Terrace Bay Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-12-31 | 20 | % | 6min avg | 345 | 20 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Underway; Provincial Officer's Order Issued
AV Terrace Bay Inc. - Terrace Bay Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-01-14 | 2014-02-24 | 9 | ppb | 10min avg | 10 | 10 | 44 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-01-31 | 20 | % | 6min avg | 3 | 21 | 50.2 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-02-01 | 2014-02-28 | 20 | % | 6min avg | 1 | 21 | 24.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-04-01 | 2014-04-30 | 20 | % | 6min avg | 1 | 21 | 40.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-06-01 | 2014-06-30 | 20 | % | 6min avg | 4 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated, Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-07-01 | 2014-07-31 | 20 | % | 6min avg | 9 | 20.2 | 80 | Equipment Modified - Repaired - Replaced or Re-calibrated, Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-08-01 | 2014-08-31 | 20 | % | 6min avg | 2 | 21 | 55.5 | Equipment Modified - Repaired - Replaced or Re-calibrated, Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-30 | 20 | % | 6min avg | 3 | 22 | 56.8 | Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-10-01 | 2014-10-31 | 20 | % | 6min avg | 4 | 21.2 | 64.5 | Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-11-01 | 2014-11-30 | 20 | % | 6min avg | 7 | 20.3 | 77.5 | Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY | Legislation Non-Compliance | 2014-12-01 | 2014-12-31 | 20 | % | 6min avg | 1 | 25.2 | 27.8 | Operational Process Modification | Assessment Complete - Incident Resolved
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-01-31 | 20 | % | 6min avg | 19 | 20.1 | 76.7 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-02-01 | 2014-02-28 | 20 | % | 6min avg | 15 | 20.3 | 76.7 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-03-01 | 2014-03-31 | 20 | % | 6min avg | 22 | 20.3 | 77.1 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-04-01 | 2014-04-30 | 20 | % | 6min avg | 14 | 22.7 | 76.7 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 20 | % | 6min avg | 24 | 21.1 | 76.7 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-06-01 | 2014-06-30 | 20 | % | 6min avg | 19 | 20.1 | 75.2 | Conducting Study | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-07-01 | 2014-07-31 | 20 | % | 6min avg | 13 | 21 | 68.8 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-08-01 | 2014-08-31 | 20 | % | 6min avg | 11 | 21 | 55.9 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-30 | 20 | % | 6min avg | 19 | 20.2 | 53.7 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-10-01 | 2014-10-31 | 20 | % | 6min avg | 22 | 20.4 | 63.4 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-11-01 | 2014-11-30 | 20 | % | 6min avg | 13 | 20.3 | 69.7 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | OPACITY | Legislation Non-Compliance | 2014-12-01 | 2014-12-31 | 20 | % | 6min avg | 24 | 20.1 | 59.2 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Clean Harbors Canada, Inc. | 4090 Telfer Rd | St. Clair | Inorganic Chemicals | Sarnia | CARBON MONOXIDE | Approval/Permit Non-Compliance | 2014-02-19 | 2014-02-19 | 100 | ppm | 1hr | 1 | 100.5 | 100.5 | Operational Process Modification | Voluntary Abatement Program Underway
Clean Harbors Canada, Inc. | 4090 Telfer Rd | St. Clair | Inorganic Chemicals | Sarnia | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-06-29 | 2014-06-29 | 100 | ppm | 10min avg | 1 | 122 | 122 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
CM Greenfield Power Corp. - Greenfield Energy Centre | 140 Bickford Line | St. Clair | Electric Power Generation | Sarnia | CARBON MONOXIDE | Approval/Permit Non-Compliance | 2014-06-01 | 2014-06-01 | 60 | ppm dry volume | 24h avg | 1 | 71.5 | 71.5 | Operational Process Modification | Assessment Complete - Incident Resolved
Cooper Standard Automotive Canada Limited | 80 Arthur St | West Perth | Miscellaneous Industrial | London | XYLENES | Policy/Guideline Non-Conformance | 2014-05-09 | 2014-05-09 | 3000 | µg/m³ | 10min avg | 1 | 6152 | 6152 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Darling International Canada Inc. - Rothsay Recycles | 8406 Wellington County Road 7 | Mapleton | Miscellaneous Industrial | Guelph | ODOUR | Approval/Permit Non-Compliance | 2014-10-10 | 2014-10-10 | 5 | Odour unit | 10min avg | 1 | 7.43 | 7.43 | New Equipment or Treatment Process Installed | Assessment Underway
De Beers Canada Inc. - Victor Diamond Project | 90 km W of Attawapiskat | Unsurveyed Territory (Timmins District Office) | Industrial Minerals | Timmins | SUSPENDED PARTICULATE MATTER | Approval/Permit Non-Compliance | 2014-10-04 | 2014-10-06 | 17 | mg/m³ | any | 1 | 55.1 | 55.1 | Conducting Study | Assessment Underway
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-06-24 | 2014-06-24 | 20 | % | 6min avg | 1 | 33 | 93.9 | Operational Process Modification | Assessment Underway
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-06-26 | 2014-06-26 | 20 | % | 6min avg | 1 | 24.6 | 93.9 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-07-11 | 2014-07-11 | 20 | % | 6min avg | 1 | 56.9 | 66.6 | Other | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-07-26 | 2014-07-26 | 20 | % | 6min avg | 1 | 22.9 | 83.7 | Operational Process Modification; Other | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-01 | 20 | % | 6min avg | 1 | 23.6 | 67.9 | Other | Other Abatement Action Taken
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-09-27 | 2014-09-29 | 20 | % | 6min avg | 1 | 20.1 | 47 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-10-04 | 2014-10-04 | 20 | % | 6min avg | 1 | 47.1 | 47.1 | Other | Other Abatement Action Taken
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-10-10 | 2014-10-10 | 20 | % | 6min avg | 1 | 28.9 | 46.9 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-10-14 | 2014-10-14 | 20 | % | 6min avg | 1 | 58.3 | 79.1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-10-15 | 2014-10-15 | 20 | % | 6min avg | 1 | 20.8 | 48.3 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-10-27 | 2014-10-27 | 20 | % | 6min avg | 1 | 20.8 | 53.8 | None Required | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-11-05 | 2014-11-05 | 20 | % | 6min avg | 1 | 21.3 | 75.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY | Legislation Non-Compliance | 2014-11-07 | 2014-11-07 | 20 | % | 6min avg | 1 | 27.3 | 31.9 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-02-18 | 2014-02-18 | 13 | µg/m³ | 10min avg | 8 | 14 | 76 | Operational Process Modification | Assessment Complete - Incident Resolved
Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-03-03 | 2014-03-03 | 13 | µg/m³ | 10min avg | 4 | 13.7 | 23.8 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed | Other Abatement Action Taken
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-01-02 | 2014-01-23 | 13 | µg/m³ | 10min avg | 6 | 14.3 | 18 | Action Plan Submitted - Implementing Improvements; Conducting Study | Other Abatement Action Taken; Voluntary Abatement Program Underway
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-02-14 | 2014-02-16 | 13 | µg/m³ | 10min avg | 16 | 13.3 | 64.6 | Additional Monitoring Underway; Conducting Study | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
Emerald Energy from Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | HYDROGEN CHLORIDE GAS | Approval/Permit Non-Compliance | 2014-04-04 | 2014-04-04 | 18 | ppm dry volume | 24h avg | 1 | 19 | 19 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Emerald Energy from Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | HYDROGEN CHLORIDE GAS | Approval/Permit Non-Compliance | 2014-05-12 | 2014-05-12 | 18 | ppm dry volume | 24h avg | 1 | 21 | 21 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Emerald Energy from Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | HYDROGEN CHLORIDE GAS | Approval/Permit Non-Compliance | 2014-12-11 | 2014-12-11 | 18 | ppm dry volume | 24h avg | 1 | 19.2 | 19.2 | Training/Procedure Change | Assessment Complete - Incident Resolved
Emerald Energy from Waste Inc. | 7656 Bramalea Road | Brampton | Miscellaneous Industrial | Halton-Peel | OPACITY | Approval/Permit Non-Compliance | 2014-11-12 | 2014-11-12 | 10 | % | 6min avg | 1 | 14 | 14 | None Required | Assessment Complete - No Action Required
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-01-31 | 20 | % | 6min avg | 31 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-02-01 | 2014-02-28 | 20 | % | 6min avg | 28 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-03-01 | 2014-03-31 | 20 | % | 6min avg | 25 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-04-01 | 2014-04-30 | 20 | % | 6min avg | 28 | 21 | 100 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 20 | % | 6min avg | 28 | 21 | 100 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Other Abatement Action Taken; Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-06-01 | 2014-06-30 | 20 | % | 6min avg | 30 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-07-01 | 2014-07-31 | 20 | % | 6min avg | 28 | 21 | 100 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-08-01 | 2014-08-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Other Abatement Action Taken; Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-30 | 20 | % | 6min avg | 30 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Other Abatement Action Taken; Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-10-01 | 2014-10-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Other Abatement Action Taken; Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-11-01 | 2014-11-30 | 20 | % | 6min avg | 28 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification; Other; Training/Procedure Change | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY | Legislation Non-Compliance | 2014-12-01 | 2014-12-31 | 20 | % | 6min avg | 27 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification; Training/Procedure Change | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-05-06 | 2014-07-22 | 120 | µg/m³ | 24h avg | 8 | 120.5 | 171.333 | Other | Assessment Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-03-20 | 2014-03-22 | 20 | % | 6min avg | 2 | 22.46 | 35.86 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-03-25 | 2014-03-31 | 20 | % | 6min avg | 6 | 20.19 | 87.72 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-04-01 | 2014-04-07 | 20 | % | 6min avg | 5 | 20.58 | 77.03 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-04-09 | 2014-04-14 | 20 | % | 6min avg | 5 | 20.16 | 81.88 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-04-17 | 2014-04-22 | 20 | % | 6min avg | 2 | 20.15 | 59.04 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-04-26 | 2014-04-26 | 20 | % | 6min avg | 1 | 22.6 | 40 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-04-29 | 2014-05-07 | 20 | % | 6min avg | 5 | 20.01 | 90.15 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-05-08 | 2014-05-12 | 20 | % | 6min avg | 4 | 20.7 | 58.26 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-05-14 | 2014-05-20 | 20 | % | 6min avg | 4 | 20.16 | 90.16 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-05-31 | 2014-06-05 | 20 | % | 6min avg | 2 | 21.11 | 60.82 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-06-10 | 2014-06-11 | 20 | % | 6min avg | 2 | 23.56 | 90.09 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-06-13 | 2014-06-19 | 20 | % | 6min avg | 6 | 20.41 | 69.43 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-06-24 | 2014-07-16 | 20 | % | 6min avg | 7 | 20.1 | 42.36 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-07-10 | 2014-07-16 | 20 | % | 6min avg | 7 | 20.04 | 28.83 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-07-17 | 2014-07-17 | 20 | % | 6min avg | 1 | 21.827 | 21.827 | Operational Process Modification | Assessment Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-07-25 | 2014-07-25 | 20 | % | 6min avg | 1 | 20.08 | 20.08 | Other | Other Abatement Action Taken
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-08-19 | 2014-08-24 | 20 | % | 6min avg | 3 | 21.11 | 30.99 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-09-02 | 2014-09-09 | 20 | % | 6min avg | 4 | 21.6 | 38.25 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-09-13 | 2014-09-29 | 20 | % | 6min avg | 6 | 20.7 | 39.3 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-10-03 | 2014-10-15 | 20 | % | 6min avg | 3 | 20.96 | 26.65 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-10-20 | 2014-10-20 | 20 | % | 6min avg | 1 | 28 | 28 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-11-10 | 2014-11-24 | 20 | % | 6min avg | 4 | 20.43 | 81.11 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-12-02 | 2014-12-13 | 20 | % | 6min avg | 3 | 21.26 | 90.32 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-12-13 | 2014-12-13 | 20 | % | 6min avg | 1 | 21.262 | 34.512 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-12-21 | 2014-12-31 | 20 | % | 6min avg | 5 | 20.28 | 90.26 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-12-30 | 2014-12-30 | 20 | % | 6min avg | 1 | 20.6 | 20.6 | Other | Other Abatement Action Taken
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-12-31 | 2014-12-31 | 20 | % | 6min avg | 1 | 20.3 | 20.3 | Other | Other Abatement Action Taken
Essroc Canada Inc. | 1370 Highway 49 | Prince Edward | Industrial Minerals | Belleville | OPACITY | Legislation Non-Compliance | 2014-12-31 | 2014-12-31 | 20 | % | 6min avg | 1 | 34.7 | 34.7 | Other | Other Abatement Action Taken
General Motors of Canada Ltd. - CAMI Assembly Plant | 300 Ingersoll St | Ingersoll | Miscellaneous Industrial | London | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-10-27 | 2014-10-27 | 100 | ppm | 10min avg | 1 | 130 | 130 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | CADMIUM | Site Specific Standard | 2014-05-08 | 2014-05-08 | 0.19 | µg/m³ | 24h avg | 1 | 0.32 | 0.32 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | CADMIUM | Site Specific Standard | 2014-05-08 | 2014-05-08 | 0.19 | µg/m³ | 24h avg | 1 | 0.275 | 0.275 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | CADMIUM | Upper Risk Threshold | 2014-01-13 | 2014-01-13 | 0.25 | µg/m³ | 24h avg | 1 | 0.326 | 0.326 | Additional Monitoring Underway | Assessment Underway | Based on Air Dispersion Modeling
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | COBALT | Legislation Non-Compliance | 2014-01-13 | 2014-01-13 | 0.1 | µg/m³ | 24h avg | 1 | 0.18 | 0.18 | Conducting Study | Assessment Underway | Based on Air Dispersion Modeling
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | COBALT | Legislation Non-Compliance | 2014-04-29 | 2014-04-29 | 0.1 | µg/m³ | 24h avg | 1 | 0.407 | 0.407 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | LEAD | Legislation Non-Compliance | 2014-01-13 | 2014-01-13 | 0.5 | µg/m³ | 24h avg | 1 | 0.743 | 0.743 | Conducting Study | Assessment Underway | Based on Air Dispersion Modeling
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Legislation Non-Compliance | 2014-01-13 | 2014-01-13 | 2 | µg/m³ | 24h avg | 1 | 2.16 | 2.16 | Conducting Study | Assessment Underway | Based on Air Dispersion Modeling
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Legislation Non-Compliance | 2014-04-29 | 2014-04-29 | 2 | µg/m³ | 24h avg | 1 | 2.12 | 2.12 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Glencore Canada Corporation - Sudbury Smelter Complex | Lot 11, Concession 3, Falconbridge Township | Greater Sudbury | Metal Mining and Refining | Sudbury | OPACITY | Legislation Non-Compliance | 2014-02-28 | 2014-02-28 | 20 | % | 6min avg | 1 | 40 | 95 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Heico 2004 Member, Inc. as the general partner of Ivaco Rolling Mills 2004 L.P. | 1040 County Road 17 | Champlain | Iron and Steel | Cornwall | DIOXIN AND FURAN | Approval/Permit Non-Compliance | 2014-10-16 | 2014-10-17 | 100 | pg TEQ/m³ | any | 2 | 281 | 315 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Her Majesty the Queen in Right of Ontario as Represented by the Minister of Natural Resources; Conestoga-Rovers & Associates - FORMER CANADIAN INTERNATIONAL PAPER | 229 MAIN St W | Hawkesbury | Miscellaneous Industrial | Cornwall | HYDROGEN SULFIDE | Legislation Non-Compliance | 2014-10-14 | 2014-10-15 | 7 | µg/m³ | 24h avg | 1 | 33.7 | 33.7 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway
Her Majesty the Queen in Right of Ontario as Represented by the Minister of Natural Resources; Conestoga-Rovers & Associates - FORMER CANADIAN INTERNATIONAL PAPER | 229 MAIN St W | Hawkesbury | Miscellaneous Industrial | Cornwall | HYDROGEN SULFIDE | Upper Risk Threshold | 2014-10-08 | 2014-10-09 | 70 | µg/m³ | 24h avg | 1 | 126 | 126 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway
Holcim (Canada) Inc. - Mississauga | 2391 Lakeshore Road West | Mississauga | Industrial Minerals | Halton-Peel | OPACITY | Legislation Non-Compliance | 2014-07-16 | 2014-07-16 | 20 | % | 6min avg | 1 | 53.8 | 53.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Holcim (Canada) Inc. - Mississauga | 2391 Lakeshore Road West | Mississauga | Industrial Minerals | Halton-Peel | OPACITY | Legislation Non-Compliance | 2014-07-16 | 2014-07-16 | 20 | % | 6min avg | 1 | 71.5 | 71.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Holcim (Canada) Inc. - Mississauga | 2391 Lakeshore Road West | Mississauga | Industrial Minerals | Halton-Peel | OPACITY | Legislation Non-Compliance | 2014-11-18 | 2014-11-18 | 20 | % | 6min avg | 1 | 57 | 57 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Holcim (Canada) Inc. - Mississauga | 2391 Lakeshore Road West | Mississauga | Industrial Minerals | Halton-Peel | OPACITY | Legislation Non-Compliance | 2014-11-18 | 2014-11-18 | 20 | % | 6min avg | 1 | 62 | 62 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Imperial Oil Limited - Sarnia Refinery | 602 Christina St S | Sarnia | Petroleum Refineries | Sarnia | OPACITY | Legislation Non-Compliance | 2014-01-27 | 2014-01-27 | 20 | % | 6min avg | 1 | 45 | 45 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Imperial Oil Limited - Sarnia Refinery | 602 Christina St S | Sarnia | Petroleum Refineries | Sarnia | OPACITY | Legislation Non-Compliance | 2014-04-22 | 2014-04-22 | 20 | % | 6min avg | 1 | 21 | 21 | Conducting Study | Assessment Underway
Ingot Metal Company Limited | 111 Fenmar Dr | Toronto | Iron and Steel | Toronto | COPPER | Legislation Non-Compliance | 2014-01-01 | 2014-12-31 | 50 | µg/m³ | 24h avg | 1 | 82.2 | 82.2 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Lafarge Canada Inc. - Bath Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | OPACITY | Legislation Non-Compliance | 2014-06-15 | 2014-06-15 | 20 | % | 6min avg | 1 | 36.5 | 36.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Bath Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | OPACITY | Legislation Non-Compliance | 2014-06-15 | 2014-06-15 | 20 | % | 6min avg | 1 | 34.7 | 34.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Bath Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | OPACITY | Legislation Non-Compliance | 2014-06-15 | 2014-06-15 | 20 | % | 6min avg | 1 | 49 | 49 | None Required | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Bath Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-01 | 20 | % | 6min avg | 1 | 32.7 | 32.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Lanxess Inc. | 856 Tashmoo Ave | Sarnia | Organic Chemicals Manufacturing | Sarnia | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-02-27 | 2014-02-27 | 100 | ppm dry volume | 10min avg | 1 | 112 | 112 | Action Plan Submitted - Implementing Improvements New/Amended Approval | Assessment Underway
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-06-13 | 2014-06-24 | 100 | µg/m³ | 30min avg | 6 | 104 | 227 | None Required | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-07-02 | 2014-07-31 | 100 | µg/m³ | 30min avg | 9 | 104 | 291 | None Required | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-08-15 | 2014-08-21 | 100 | µg/m³ | 30min avg | 8 | 115 | 217 | None Required | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-09-22 | 2014-09-29 | 100 | µg/m³ | 30min avg | 9 | 105 | 395 | None Required | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-12-31 | 2014-12-31 | 100 | µg/m³ | 30min avg | 2 | 199 | 277 | None Required | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-01-09 | 2014-01-30 | 100 | µg/m³ | 30min avg | 13 | 105 | 303 | Additional Monitoring Underway | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-02-26 | 2014-02-27 | 100 | µg/m³ | 30min avg | 14 | 103 | 999 | Additional Monitoring Underway | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-03-26 | 2014-03-26 | 100 | µg/m³ | 30min avg | 1 | 175 | 175 | None Required | Assessment Complete - No Action Required
Newalta Corporation - Stoney Creek Landfill | Stoney Creek | Hamilton | Miscellaneous Industrial | Hamilton | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-05-26 | 2014-05-27 | 100 | µg/m³ | 30min avg | 10 | 101 | 277 | None Required | Assessment Complete - No Action Required
Noreast Electronics Co. Ltd. | 1175 Tupper St | Hawkesbury | Miscellaneous Industrial | Cornwall | TRICHLOROETHYLENE | Legislation Non-Compliance | 2014-01-01 | 2014-05-29 | 36 | µg/m³ | 30min avg | 1 | 2195.6 | 2195.6 | Other | Provincial Officer's Order Issued | Based on Air Dispersion Modeling
Parrish & Heimbecker, Limited | 45 Church St W | Halton Hills | Miscellaneous Industrial | Halton-Peel | NOISE | Approval/Permit Non-Compliance | 2014-01-01 | 2014-12-31 | 50 | dBA | Leq | 1 | 54 | 54 | New/Amended Approval | Additional Requirements Added in Approval/Permit
Parrish & Heimbecker, Limited | 45 Church St W | Halton Hills | Miscellaneous Industrial | Halton-Peel | NOISE | Approval/Permit Non-Compliance | 2014-01-01 | 2014-12-31 | 45 | dBA | Leq | 1 | 46 | 46 | New/Amended Approval | Additional Requirements Added in Approval/Permit
Plasco Trail Road Inc. | 4420 Trail Rd | Ottawa | Electric Power Generation | Ottawa | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-02-14 | 2014-02-14 | 50 | ppmwv | 10min avg | 1 | 138.3 | 138.3 | Conducting Study | Voluntary Abatement Program Underway
Plasco Trail Road Inc. | 4420 Trail Rd | Ottawa | Electric Power Generation | Ottawa | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-02-15 | 2014-02-15 | 50 | ppmwv | 10min avg | 1 | 139.8 | 138.9 | Conducting Study | Voluntary Abatement Program Underway
Plasco Trail Road Inc. | 4420 Trail Rd | Ottawa | Electric Power Generation | Ottawa | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-02-17 | 2014-02-17 | 50 | ppmwv | 10min avg | 1 | 55 | 139.8 | Conducting Study | Voluntary Abatement Program Underway
Plasco Trail Road Inc. | 4420 Trail Rd | Ottawa | Electric Power Generation | Ottawa | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-07-09 | 2014-07-09 | 50 | ppmwv | 10min avg | 1 | 56.8 | 56.8 | Operational Process Modification | Voluntary Abatement Program Underway
Plasco Trail Road Inc. | 4420 Trail Rd | Ottawa | Electric Power Generation | Ottawa | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-07-09 | 2014-07-09 | 50 | ppmwv | 10min avg | 1 | 56.8 | 56.8 | Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
Plasco Trail Road Inc. | 4420 Trail Rd | Ottawa | Electric Power Generation | Ottawa | TOTAL HYDROCARBONS (THC) | Approval/Permit Non-Compliance | 2014-07-15 | 2014-07-15 | 50 | ppmwv | 10min avg | 1 | 84.84 | 84.84 | Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
Resolute FP Canada Inc. -Thunder Bay Mill | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY | Legislation Non-Compliance | 2014-01-24 | 2014-11-10 | 20 | % | 6min avg | 2 | 40 | 56 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
SGS Canada Inc. - Lakefield Research | 185 Concession St | Selwyn | Miscellaneous Industrial | Peterborough | NOISE | Approval/Permit Non-Compliance | 2014-11-17 | 2014-11-18 | 45 | dBA | Leq | 8 | 45.5 | 52.5 | Other; Training/Procedure Change | Assessment Underway
SGS Canada Inc. - Lakefield Research | 185 Concession St | Selwyn | Miscellaneous Industrial | Peterborough | NOISE | Approval/Permit Non-Compliance | 2014-11-17 | 2014-11-18 | 50 | dBA | Leq | 1 | 54.5 | 54.5 | Other; Training/Procedure Change | Assessment Underway
St. Marys Cement Inc. (Canada) - St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | OPACITY | Legislation Non-Compliance | 2014-01-05 | 2014-01-05 | 20 | % | 6min avg | 1 | 26.7 | 26.7 | Conducting Study Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway
St. Marys Cement Inc. (Canada) - St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-03-30 | 20 | % | 6min avg | 32 | 20.3 | 76 | Additional Monitoring Underway Conducting Study Operational Process Modification | Assessment Underway
St. Marys Cement Inc. (Canada) - St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | OPACITY | Legislation Non-Compliance | 2014-04-04 | 2014-04-17 | 20 | % | 6min avg | 3 | 24.9 | 32.2 | Conducting Study Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway
St. Marys Cement Inc. (Canada) - St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | OPACITY | Legislation Non-Compliance | 2014-04-20 | 2014-04-20 | 20 | % | 6min avg | 1 | 27.9 | 31.9 | Additional Monitoring Underway Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway
St. Marys Cement Inc. (Canada) - St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | OPACITY | Legislation Non-Compliance | 2014-04-25 | 2014-04-29 | 20 | % | 6min avg | 2 | 22.9 | 28.2 | Conducting Study | Assessment Underway
Suncor Energy Products Inc. - Suncor Sarnia Refinery | 1900 River Rd | Sarnia | Petroleum Refineries | Sarnia | HYDROGEN SULFIDE | Legislation Non-Compliance | 2014-05-05 | 2014-05-05 | 7 | µg/m³ | 24h avg | 1 | 67.4 | 67.4 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Tembec - Kapuskasing Operations | 1 Government Rd | Kapuskasing | Pulp and Paper | Timmins | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-01-01 | 20 | % | 6min avg | 1 | 23 | 51 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Tembec - Kapuskasing Operations | 1 Government Rd | Kapuskasing | Pulp and Paper | Timmins | OPACITY | Legislation Non-Compliance | 2014-01-04 | 2014-01-04 | 20 | % | 6min avg | 1 | 43 | 54 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken; Voluntary Abatement Program Underway
Tembec - Kapuskasing Operations | 1 Government Rd | Kapuskasing | Pulp and Paper | Timmins | OPACITY | Legislation Non-Compliance | 2014-01-05 | 2014-01-05 | 20 | % | 6min avg | 1 | 22 | 26 | Operational Process Modification; Other | Other Abatement Action Taken
Tembec - Kapuskasing Operations | 1 Government Rd | Kapuskasing | Pulp and Paper | Timmins | OPACITY | Legislation Non-Compliance | 2014-01-11 | 2014-01-11 | 20 | % | 6min avg | 1 | 38 | 38 | Operational Process Modification | Assessment Complete - Incident Resolved
Tembec - Kapuskasing Operations | 1 Government Rd | Kapuskasing | Pulp and Paper | Timmins | OPACITY | Legislation Non-Compliance | 2014-11-30 | 2014-11-30 | 20 | % | 6min avg | 1 | 22.5 | 25.8 | Other | Other Abatement Action Taken
The Corporation of the Township of St. Clair - Courtright Wastewater Treatment Plant | 1464 St. Clair Pky | St. Clair | Municipal Sewage | Sarnia | HYDROGEN SULFIDE | Legislation Non-Compliance | 2014-09-03 | 2014-09-03 | 10 | µg/m³ | 30min avg | 1 | 54.7 | 90.9 | Additional Monitoring Underway New Equipment or Treatment Process Installed Operational Process Modification | Provincial Officer's Order Issued; Voluntary Abatement Program Underway
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Lake Erie Works | 2330 Regional Road #3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-03-02 | 2014-03-02 | 20 | % | 6min avg | 1 | 21 | 30 | Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Lake Erie Works | 2330 Regional Road #3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 20 | % | 6min avg | 1 | 21 | 26 | Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Lake Erie Works | 2330 Regional Road #3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-06-01 | 2014-06-30 | 20 | % | 6min avg | 2 | 21 | 38 | Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Lake Erie Works | 2330 Regional Road #3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-12-01 | 2014-12-31 | 20 | % | 6min avg | 27 | 21 | 83 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | BENZO[A]PYRENE | Policy/Guideline Non-Conformance | 2014-04-17 | 2014-04-17 | 0.0011 | µg/m³ | 24h avg | 1 | 0.0016 | 0.0016 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Assessment Complete - Incident Resolved; Director's Order Issued; Other Abatement Action Taken
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | BENZO[A]PYRENE | Policy/Guideline Non-Conformance | 2014-04-29 | 2014-04-29 | 0.0011 | µg/m³ | 24h avg | 1 | 0.0019 | 0.0019 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Assessment Complete - Incident Resolved; Director's Order Issued; Other Abatement Action Taken
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-01-01 | 2014-01-31 | 20 | % | 6min avg | 12 | 21 | 56 | Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - No Action Required
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-02-01 | 2014-02-28 | 20 | % | 6min avg | 12 | 21 | 33 | Action Plan Submitted - Implementing Improvements Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-03-01 | 2014-03-31 | 20 | % | 6min avg | 11 | 21 | 46 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-04-01 | 2014-04-30 | 20 | % | 6min avg | 9 | 21 | 51 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 20 | % | 6min avg | 8 | 21 | 31 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 20 | % | 6min avg | 8 | 21 | 32 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-07-01 | 2014-07-31 | 20 | % | 6min avg | 9 | 21 | 50 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-08-01 | 2014-08-31 | 20 | % | 6min avg | 8 | 21 | 25 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-09-01 | 2014-09-30 | 20 | % | 6min avg | 5 | 21 | 58 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-10-01 | 2014-10-31 | 20 | % | 6min avg | 6 | 21 | 31 | Action Plan Submitted - Implementing Improvements Equipment Modified - Repaired - Replaced or Re-calibrated Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY | Legislation Non-Compliance | 2014-11-01 | 2014-11-30 | 20 | % | 6min avg | 1 | 21 | 30 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-04-01 | 2014-04-30 | 13 | µg/m³ | 10min avg | 52 | 13.1 | 58.6 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Director's Order Issued
U.S. Steel Canada Inc. Acier U. S. Canada Inc. - Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2014-05-01 | 2014-05-31 | 13 | µg/m³ | 10min avg | 7 | 13.4 | 28.4 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Director's Order Issued
Walker Aggregates Inc. - Niagara | 2800 Townline Rd | Niagara Falls | Miscellaneous Industrial | Niagara | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-08-15 | 2014-08-15 | 120 | µg/m³ | 24h avg | 1 | 148.17 | 148.17 | Conducting Study; Other | Assessment Complete - No Action Required
Walker Aggregates Inc. - Niagara | 2800 Townline Rd | Niagara Falls | Miscellaneous Industrial | Niagara | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-08-18 | 2014-08-18 | 120 | µg/m³ | 24h avg | 1 | 148 | 148 | None Required | Assessment Complete - No Action Required
Walker Aggregates Inc. - Niagara | 2800 Townline Rd | Niagara Falls | Miscellaneous Industrial | Niagara | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2014-10-08 | 2014-10-08 | 120 | µg/m³ | 24h avg | 1 | 133.12 | 133.12 | Other | Assessment Complete - No Action Required
Weyerhaeuser Company Limited -Kenora Timberstrand Plant | 1000 Jones Rd | Kenora | Miscellaneous Industrial | Kenora | OPACITY | Legislation Non-Compliance | 2014-02-09 | 2014-02-09 | 20 | % | 6min avg | 1 | 22 | 22 | Other | Assessment Complete - Incident Resolved
Weyerhaeuser Company Limited -Kenora Timberstrand Plant | 1000 Jones Rd | Kenora | Miscellaneous Industrial | Kenora | OPACITY | Legislation Non-Compliance | 2014-04-25 | 2014-04-25 | 20 | % | 6min avg | 1 | 21 | 26 | Other | Assessment Complete - Incident Resolved
This data is provided for information purposes only. Dischargers provide most of the information contained in this summary. Dischargers are accountable for the accuracy of the information they submit. Some of the information is also derived from ministry data on discharges. Facility Action and Ministry Action are current to August 2015. For up-to-date information, please contact the appropriate district or area office.