## 2015_Industrial_Sewage_All
Facility Owner | Site Address | Site Municipality | Sector | District | Contaminant | Type of Exceedance | Exceedance Start Date | Exceedance End Date | Contaminant Limit | Contaminant Unit | Limit Frequency | No of Exceedances | Quantity Minimum* | Quantity Maximum* | Facility Action | Ministry Action
1712028 Ontario Inc. o/a Port Colborne Quarries Inc. | Lot19- 24; Concession 2, Humberstone Township | Port Colborne | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-06-30 | 2015-12-10 | 25 | mg/L | any | 7 | 26 | 109 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Voluntary Abatement Program Underway
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | TOLUENE | Approval/Permit Non-Compliance | 2015-02-18 | 2015-02-18 | 0.8 | µg/L | any | 1 | 10.9 | 10.9 | Operational Process Modification; Training/Procedure Change | Assessment Complete - No Action Required
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | TOLUENE | Approval/Permit Non-Compliance | 2015-02-24 | 2015-02-24 | 0.8 | µg/L | any | 1 | 14 | 14 | Operational Process Modification; Training/Procedure Change | Assessment Complete - No Action Required
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | TOLUENE | Approval/Permit Non-Compliance | 2015-02-24 | 2015-02-24 | 0.8 | µg/L | any | 1 | 1.6 | 1.6 | Operational Process Modification; Training/Procedure Change | Assessment Complete - No Action Required
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | TOLUENE | Approval/Permit Non-Compliance | 2015-03-03 | 2015-03-03 | 0.8 | µg/L | any | 1 | 1.4 | 1.4 | Operational Process Modification; Training/Procedure Change | Assessment Complete - No Action Required
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | ETHYLBENZENE | Approval/Permit Non-Compliance | 2015-10-20 | 2015-10-20 | 8 | µg/L | any | 1 | 17.8 | 17.8 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | OIL/GREASE | Approval/Permit Non-Compliance | 2015-10-20 | 2015-10-20 | 15 | mg/L | any | 1 | 19.2 | 19.2 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | TOLUENE | Approval/Permit Non-Compliance | 2015-10-20 | 2015-10-20 | 0.8 | µg/L | any | 1 | 1.5 | 1.5 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | OIL/GREASE | Approval/Permit Non-Compliance | 2015-11-06 | 2015-11-06 | 15 | µg/L | any | 1 | 19.2 | 19.2 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
970207 Ontario Limited o/a Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | TOLUENE | Approval/Permit Non-Compliance | 2015-11-06 | 2015-11-06 | 0.8 | µg/L | any | 1 | 1 | 1 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
Accuworx Inc.; GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2015-05-01 | 2015-05-31 | 5 | µg/L | /wk | 4 | 5.6 | 8.2 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Accuworx Inc.; GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | PH - HIGH | Approval/Permit Non-Compliance | 2015-05-01 | 2015-05-31 | 8.5 | pH | any | 8 | 8.59 | 9.1 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | COBALT | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 0.9 | µg/L | /wk | 1 | 1.7 | 1.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | COPPER | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 5 | µg/L | /wk | 1 | 47 | 47 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 5 | µg/L | /wk | 1 | 9.1 | 9.1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | URANIUM | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 5 | µg/L | /wk | 3 | 6 | 11.1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | ZINC | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 20 | µg/L | /wk | 2 | 25.3 | 71 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 5 | µg/L | /wk | 4 | 5.4 | 131 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | PH - HIGH | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 8.5 | pH | any | 4 | 8.53 | 8.58 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | CHROMIUM | Approval/Permit Non-Compliance | 2015-07-01 | 2015-07-31 | 1 | µg/L | /wk | 5 | 1.1 | 3.2 | Operational Process Modification | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-07-01 | 2015-07-31 | 25 | mg/L | /wk | 4 | 55 | 262 | Operational Process Modification | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | URANIUM | Approval/Permit Non-Compliance | 2015-07-01 | 2015-07-31 | 5 | µg/L | /wk | 3 | 5.5 | 6.2 | Operational Process Modification | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2015-07-17 | 2015-07-17 | 5 | µg/L | /wk | 1 | 6.1 | 6.1 | None Required; Other | Assessment Complete - Incident Resolved
Accuworx Inc.; GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2015-09-04 | 2015-09-04 | 5 | µg/L | /wk | 1 | 5.9 | 5.9 | None Required | Assessment Complete - No Action Required
GrandLinq Contractors; Newterra Ltd. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | PH - HIGH | Approval/Permit Non-Compliance | 2015-10-22 | 2015-10-30 | 8.5 | pH | any | 1 | 8.72 | 8.72 | Ceased Operations | Assessment Complete - No Action Required
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | TOTAL AMMONIA NITROGEN | Legislation Non-Compliance | 2015-12-01 | 2015-12-31 | 152 | kg/d | Mon Avg | 1 | 160 | 160 | Operational Process Modification | Environmental Penalty Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-03-25 | 2015-03-25 | 0.01 | mg/L | any | 1 | 1 | 1 | Ceased Operations, Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
ArcelorMittal Dofasco Inc - Bayfront Site | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-05-14 | 2015-05-14 | 0.01 | mg/L | any | 1 | 0.3 | 0.3 | Ceased Operations, Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Geographic Township of Stoddart part of the Unorganized District of Cochrane | Electric Power Generation | Timmins | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-03-31 | 2015-03-31 | 15 | mg/L | /wk | 1 | 37.7 | 37.7 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Geographic Township of Stoddart part of the Unorganized District of Cochrane | Electric Power Generation | Timmins | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-04-21 | 2015-04-21 | 15 | mg/L | /wk | 1 | 24.3 | 24.3 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Geographic Township of Stoddart part of the Unorganized District of Cochrane | Electric Power Generation | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-05-05 | 2015-05-05 | 15 | mg/L | /wk | 1 | 24 | 24 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Geographic Township of Stoddart part of the Unorganized District of Cochrane | Electric Power Generation | Timmins | ALUMINUM | Approval/Permit Non-Compliance | 2015-05-12 | 2015-05-12 | 1 | mg/L | /d | 1 | 1.16 | 1.16 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Geographic Township of Stoddart part of the Unorganized District of Cochrane | Electric Power Generation | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-05-12 | 2015-05-12 | 15 | mg/L | /wk | 1 | 29.7 | 29.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Geographic Township of Stoddart part of the Unorganized District of Cochrane | Electric Power Generation | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-05-19 | 2015-05-19 | 15 | mg/L | /wk | 1 | 22.7 | 22.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
AV Terrace Bay Inc. - Terrace Bay Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-02-14 | 2015-02-14 | 14500 | kg/d | /d | 1 | 15854 | 15854 | Operational Process Modification | Assessment Underway
AV Terrace Bay Inc. - Terrace Bay Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-09-03 | 2015-09-03 | 14500 | kg/d | /d | 1 | 43862 | 43862 | Operational Process Modification | Assessment Underway
AV Terrace Bay Inc. - Terrace Bay Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-09-21 | 2015-09-21 | 14500 | kg/d | /d | 1 | 15168 | 15168 | Operational Process Modification | Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | ESCHERICHIA COLI | Approval/Permit Non-Compliance | 2015-02-01 | 2015-02-28 | 200 | CT/100mL | mon avg. on a geo. mean density | 1 | 4683 | 4683 | Conducting Study | Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-02-01 | 2015-02-28 | 10 | mg/L | mon avg | 1 | 16.3 | 16.3 | Conducting Study | Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-03-01 | 2015-03-31 | 10 | mg/L | mon avg | 1 | 15 | 15 | New Equipment or Treatment Process Installed | Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-05-01 | 2015-05-31 | 10 | mg/L | mon avg | 1 | 14.6 | 14.6 | Conducting Study | Assessment Complete - No Action Required
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 10 | mg/L | mon avg | 1 | 11.3 | 11.3 | Action Plan Submitted - Implementing Improvements | Additional Requirements Added in Approval/Permit; Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-07-01 | 2015-07-31 | 10 | mg/L | mon avg | 1 | 11.2 | 11.2 | Conducting Study | Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | DISSOLVED OXYGEN | Approval/Permit Non-Compliance | 2015-08-01 | 2015-08-31 | 4 | mg/L | mon avg | 1 | 3.9 | 3.9 | Conducting Study | Assessment Underway
Belwood Poultry Limited - 4272 Concession 4 Rd N | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-09-01 | 2015-09-30 | 10 | mg/L | mon avg | 1 | 10.4 | 10.4 | Additional Monitoring Underway | Assessment Underway
Belwood Poultry Limited - 4308 Concession 4 Rd N | 4308 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | ESCHERICHIA COLI | Approval/Permit Non-Compliance | 2015-04-01 | 2015-04-30 | 200 | CT/100mL | mon avg. on a geo. mean density | 1 | 765.6 | 765.6 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Belwood Poultry Limited - 4308 Concession 4 Rd N | 4308 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-01 | 2015-04-30 | 10 | mg/L | mon avg | 1 | 11.3 | 11.3 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Brampton Brick Ltd - Cheltenham Quarry | PART LOTS 29 AND 30, CONCESSION 5 WHS (CHING) | Caledon | Miscellaneous Industrial | Halton-Peel | PH - HIGH | Approval/Permit Non-Compliance | 2015-06-07 | 2015-06-07 | 8.5 | pH | any | 1 | 8.73 | 8.73 | Operational Process Modification | Voluntary Abatement Program Underway
Brampton Brick Ltd - Cheltenham Quarry | PART LOTS 29 AND 30, CONCESSION 5 WHS (CHING) | Caledon | Miscellaneous Industrial | Halton-Peel | PH - HIGH | Approval/Permit Non-Compliance | 2015-07-22 | 2015-07-22 | 8.5 | pH | any | 1 | 8.64 | 8.64 | Operational Process Modification | Voluntary Abatement Program Underway
Brampton Brick Ltd - Cheltenham Quarry | PART LOTS 29 AND 30, CONCESSION 5 WHS (CHING) | Caledon | Miscellaneous Industrial | Halton-Peel | PH - HIGH | Approval/Permit Non-Compliance | 2015-07-17 | 2015-07-17 | 8.5 | pH | any | 1 | 8.52 | 8.52 | Operational Process Modification | Voluntary Abatement Program Underway
Brampton Brick Ltd - Cheltenham Quarry | PART LOTS 29 AND 30, CONCESSION 5 WHS (CHING) | Caledon | Miscellaneous Industrial | Halton-Peel | PH - HIGH | Approval/Permit Non-Compliance | 2015-09-16 | 2015-09-16 | 8.5 | pH | any | 1 | 8.54 | 8.54 | Operational Process Modification | Voluntary Abatement Program Underway
Brampton Brick Ltd - Cheltenham Quarry | PART LOTS 29 AND 30, CONCESSION 5 WHS (CHING) | Caledon | Miscellaneous Industrial | Halton-Peel | PH - HIGH | Approval/Permit Non-Compliance | 2015-09-18 | 2015-09-18 | 8.5 | pH | any | 1 | 8.7 | 8.7 | Operational Process Modification | Voluntary Abatement Program Underway
Bruce Power Inc. -Bruce Power Generating Station B | 177 Tie Road | Kincardine | Electric Power Generation | Owen Sound | PH - LOW | Legislation Non-Compliance | 2015-01-31 | 2015-01-31 | 6 | pH | any | 1 | 4.91 | 4.91 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Bruce Power Inc. - Bruce Power Steam Plant | 177 Tie Road | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-01-13 | 2015-01-13 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study;Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Bruce Power Inc. - Bruce Power Steam Plant | 177 Tie Road | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2015-01-13 | 2015-01-13 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Bruce Power Inc. - Bruce Power Steam Plant | 177 Tie Road | Kincardine | Electric Power Generation | Owen Sound | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-02-22 | 2015-02-22 | 70 | mg/L | any | 1 | 539 | 539 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Cameco - Port Hope Conversion Facility | 1 Eldorado Pl | Port Hope | Metal Mining and Refining | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-02-01 | 2015-02-28 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway; Conducting Study | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-03-15 | 2015-03-15 | 50 | mg/L | any | 1 | 55.2 | 55.2 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-05-01 | 2015-05-31 | 25 | mg/L | mon avg | 1 | 39.4 | 39.4 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-05-24 | 2015-05-26 | 50 | mg/L | any | 1 | 116 | 116 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-06-01 | 2015-06-30 | 25 | mg/L | mon avg | 1 | 35 | 35 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-06-24 | 2015-06-24 | 50 | mg/L | any | 1 | 122 | 122 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-10-06 | 2015-10-06 | 50 | mg/L | any | 1 | 51.6 | 51.6 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Cascades Canada ULC - Norampac-Trenton | 300 Marmora St Trenton | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-03-31 | 2015-03-31 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway | Assessment Complete - No Action Required
CBM Aggregates, a division of St. Marys Cement Inc. (Canada) - Maple Ready-Mix Plant | 2901 Hwy W 7 West | Vaughan | Miscellaneous Industrial | York-Durham | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-15 | 2015-04-15 | 15 | mg/L | any | 1 | 18 | 18 | Training/Procedure Change | Assessment Underway
CRH Canada Group Inc. – Mississauga Cement Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-10-28 | 2015-10-28 | 50 | mg/L | any | 1 | 86.2 | 86.2 | Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
CRH Canada Group Inc. – Mississauga Cement Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-10-01 | 2015-10-31 | 25 | mg/L | mon avg | 1 | 26 | 26 | Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
CRH Canada Group Inc. – Mississauga Cement Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-12-30 | 2015-12-30 | 50 | mg/L | any | 1 | 56.2 | 56.2 | Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
Cruickshank Construction Limited - Green Valley Quarry | Lots 29 & 30 Concession 6 First Line Road | South Glengarry | Miscellaneous Industrial | Cornwall | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-28 | 2015-04-28 | 25 | mg/L | any | 1 | 35 | 35 | New/Modified Sampling Program Underway | Assessment Complete - No Action Required
De Beers Canada Inc. - Victor Diamond Project | Located 90 km W of the community of Attawapiskat, Unsurveyed Territory | Unsurveyed Territory part of the Unorganized District of Kenora | Industrial Minerals | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-09-25 | 2015-09-25 | 30 | mg/L | /d | 1 | 30.3 | 30.3 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Legislation Non-Compliance | 2015-02-10 | 2015-02-10 | 0.502 | kg/d | /d | 1 | 0.56 | 0.56 | Additional Monitoring Underway; Conducting Study | Assessment Underway; Other Abatement Action Taken; Environmental Penalty Order Issued
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Legislation Non-Compliance | 2015-02-17 | 2015-02-17 | 0.502 | kg/d | /d | 1 | 0.61 | 0.61 | Additional Monitoring Underway; Conducting Study | Assessment Underway; Other Abatement Action Taken; Environmental Penalty Order Issued
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Legislation Non-Compliance | 2015-02-24 | 2015-02-24 | 0.502 | kg/d | /d | 1 | 0.75 | 0.75 | Additional Monitoring Underway; Conducting Study | Assessment Underway; Other Abatement Action Taken; Environmental Penalty Order Issued
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | TOLUENE | Legislation Non-Compliance | 2015-03-31 | 2015-04-21 | 0.261 | kg/d | /d | 3 | 0.264 | 0.414 | Additional Monitoring Underway; Conducting Study | Provincial Officer's Order Issued
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2015-05-22 | 2015-05-23 | 12200 | kg/d | /d | 2 | 12879 | 13027 | Additional Monitoring Underway; Conducting Study; New Equipment or Treatment Process Installed | Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2015-06-16 | 2015-06-16 | 0 | acute toxicity | any | 1 | 1 | 1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken; Provincial Officer's Order issued
Essar Steel Algoma Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | CYANIDE | Legislation Non-Compliance | 2015-07-07 | 2015-07-07 | 35.4 | kg/d | /d | 1 | 40.3 | 40.3 | Operational Process Modification | Environmental Penalty Order Issued
Gerdau Ameristeel Corporation Mill Operation | 1801 Hopkins St S | Whitby | Iron and Steel | York-Durham | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-06-23 | 2015-06-23 | 130 | kg | /d | 1 | 144 | 144 | Conducting Study | Assessment Underway
Glencore Canada Corporation - Kidd Creek Mine | 11335 HWY 655 North | Timmins | Metal Mining and Refining | Timmins | PH - HIGH | Approval/Permit Non-Compliance | 2015-06-06 | 2015-06-06 | 9.5 | pH | any | 1 | 10 | 10 | None Required; Training/Procedure Change | Assessment Complete - No Action Required
Glencore Canada Corporation - Kidd Creek Mine | 11335 HWY 655 North | Timmins | Metal Mining and Refining | Timmins | PH - HIGH | Approval/Permit Non-Compliance | 2015-12-16 | 2015-12-16 | 9.5 | pH | any | 1 | 9.7 | 9.7 | None Required | Assessment Complete - No Action Required
Goldcorp Canada Ltd. - Red Lake Mine Shaft No. 3 Site | Red Lake Mine | Red Lake | Metal Mining and Refining | Kenora | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2015-01-01 | 2015-01-31 | 10 | mg/L | mon avg | 1 | 10.2 | 10.2 | Additional Monitoring Underway; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway
Goldcorp Canada Ltd. - Red Lake Mine Shaft No. 3 Site | Red Lake Mine | Red Lake | Metal Mining and Refining | Kenora | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2015-12-01 | 2015-12-31 | 10 | mg/L | mon avg | 1 | 15.86 | 15.86 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Greenfield Energy Centre LP | 140 Bickford Line Lot 1 to 3 Front Concession | St. Clair | Electric Power Generation | Sarnia | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-04-16 | 2015-04-17 | 0.01 | mg/L | /d | 2 | 1.01 | 1.51 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Voluntary Abatement Program Underway
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | TOTAL PETROLEUM HYDROCARBONS (HEAVY) (F3+F4) | Approval/Permit Non-Compliance | 2015-04-08 | 2015-04-08 | 1000 | µg/L | any | 1 | 1600 | 1600 | None Required | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-04-05 | 2015-04-05 | 20 | µg/L | any | 1 | 26 | 26 | Additional Monitoring Underway; Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 20 | µg/L | any | 1 | 71 | 71 | Additional Monitoring Underway; Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | TOTAL PETROLEUM HYDROCARBONS (HEAVY) (F3+F4) | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 1000 | µg/L | any | 1 | 1900 | 1900 | Additional Monitoring Underway; Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 0.05 | µg/L | any | 1 | 17 | 17 | Additional Monitoring Underway; Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | BENZO[A]PYRENE | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 0.01 | µg/L | any | 1 | 0.03 | 0.03 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COBALT | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 0.9 | µg/L | any | 1 | 1.6 | 1.6 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COPPER | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 5 | µg/L | any | 1 | 7.7 | 7.7 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | LEAD | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 3 | µg/L | any | 1 | 4.9 | 4.9 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | VANADIUM | Approval/Permit Non-Compliance | 2015-04-12 | 2015-04-12 | 6 | µg/L | any | 1 | 6.8 | 6.8 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 20 | µg/L | any | 1 | 110 | 110 | Additional Monitoring Underway | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COPPER | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 5 | µg/L | any | 1 | 27 | 27 | Additional Monitoring Underway | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COBALT | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 0.9 | µg/m³ | any | 1 | 10 | 10 | Additional Monitoring Underway | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | LEAD | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 3 | µg/m³ | any | 1 | 12 | 12 | Additional Monitoring Underway | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | VANADIUM | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 6 | µg/L | any | 1 | 31 | 31 | Additional Monitoring Underway | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | NICKEL | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 25 | µg/L | any | 1 | 34 | 34 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | TOTAL PETROLEUM HYDROCARBONS (HEAVY) (F3+F4) | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 1000 | µg/L | any | 1 | 1300 | 1300 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | BENZO[A]PYRENE | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 0.01 | µg/L | any | 1 | 0.049 | 0.049 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-19 | 2015-04-19 | 0.05 | µg/L | any | 1 | 130 | 130 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-04-30 | 2015-04-30 | 20 | µg/L | any | 1 | 26 | 26 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COPPER | Approval/Permit Non-Compliance | 2015-05-03 | 2015-05-03 | 5 | µg/L | any | 1 | 7.3 | 7.3 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-05-14 | 2015-05-14 | 0.01 | µg/L | any | 1 | 13 | 13 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-05-16 | 2015-05-16 | 20 | µg/L | any | 1 | 24 | 24 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-05-17 | 2015-05-17 | 20 | µg/L | any | 1 | 22 | 22 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COBALT | Approval/Permit Non-Compliance | 2015-07-08 | 2015-07-08 | 0.9 | µg/L | any | 1 | 1.3 | 1.3 | None Required; Other | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COBALT | Approval/Permit Non-Compliance | 2015-07-14 | 2015-07-14 | 0.9 | µg/L | any | 1 | 1.9 | 1.9 | None Required; Other | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | COBALT | Approval/Permit Non-Compliance | 2015-07-22 | 2015-07-22 | 0.9 | µg/L | any | 1 | 3.4 | 3.4 | None Required; Other | Assessment Complete - No Action Required
Ground Force Environmental Inc. | along the CN Ruel Subdivision at MP 111.6 approx 75 km south west of Timmins ON | Geographic Township of Regan part of the Unorganized District of Sudbury | Miscellaneous Industrial | Timmins | ZINC | Approval/Permit Non-Compliance | 2015-07-22 | 2015-07-22 | 20 | µg/L | any | 1 | 22 | 22 | None Required; Other | Assessment Complete - No Action Required
Hanson Brick Ltd. - Niagara Quarry | 545 Line 8 Road | Niagara-on-the-Lake | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-09-21 | 2015-09-24 | 25 | mg/L | any | 1 | 36 | 36 | Ceased Operations | Assessment Complete - No Action Required
Interlake Acquisition Corporation Limited - Clearwater | 45 Merritt St | St. Catharines | Pulp and Paper | Niagara | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-04-08 | 2015-04-08 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway | Assessment Underway
Interlake Acquisition Corporation Limited - Clearwater | 45 Merritt St | St. Catharines | Pulp and Paper | Niagara | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-05-20 | 2015-05-20 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway | Assessment Underway
James Dick Construction Limited - Ramara/Gamebridge Quarry | 2324 Concession Road A | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-03-01 | 2015-03-31 | 15 | mg/L | mon avg | 1 | 17 | 17 | None Required | Assessment Complete - No Action Required
James Dick Construction Limited - Ramara/Gamebridge Quarry | 2324 Concession Road A | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-03-01 | 2015-03-31 | 15 | mg/L | mon avg | 1 | 29 | 29 | None Required | Assessment Complete - No Action Required
Jungbunzlauer Canada Inc. | 1555 Elm St | Port Colborne | Miscellaneous Industrial | Niagara | TEMPERATURE | Approval/Permit Non-Compliance | 2015-01-01 | 2015-12-31 | 10 | °C | 24h avg | 77 | 10.7 | 20.1 | New/Amended Approval; New/Modified Sampling Program Underway | Other Abatement Action Taken; Voluntary Abatement Program Underway
Kirkland Lake Power Corp. | 505 Archer Dr | Kirkland Lake | Electric Power Generation | Timmins | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-09-01 | 2015-09-30 | 0 | kg/d | /mon | 1 | 5.76 | 5.76 | Additional Monitoring Underway; Conducting Study; Operational Process Modification | Assessment Underway
Kirkland Lake Power Corp. | 505 Archer Dr | Kirkland Lake | Electric Power Generation | Timmins | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-10-01 | 2015-10-31 | 0 | kg/d | /mon | 1 | 0.54 | 0.54 | Additional Monitoring Underway; Conducting Study; Operational Process Modification | Assessment Underway
Kirkland Lake Power Corp. | 505 Archer Dr | Kirkland Lake | Electric Power Generation | Timmins | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-11-01 | 2015-11-30 | 0 | kg/d | /mon | 1 | 0.05 | 0.05 | Additional Monitoring Underway; Conducting Study; Operational Process Modification | Assessment Underway
Kirkland Lake Power Corp. | 505 Archer Dr | Kirkland Lake | Electric Power Generation | Timmins | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-12-01 | 2015-12-31 | 0 | kg/d | /mon | 1 | 0.45 | 0.45 | Additional Monitoring Underway; Conducting Study; Operational Process Modification | Assessment Underway
Lac Des Iles Mine Ltd | Mining Lease 252 and 251 - 17 km East of Highway 527 | Thunder Bay | Metal Mining and Refining | Thunder Bay | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-08-17 | 2015-08-17 | 30 | mg/L | /d | 1 | 35 | 35 | Additional Monitoring Underway; None Required | Assessment Complete - No Action Required
Lac Des Iles Mine Ltd | Mining Lease 252 and 251 - 17 km East of Highway 527 | Thunder Bay | Metal Mining and Refining | Thunder Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-11-17 | 2015-11-17 | 0 | acute toxicity | any | 2 | 1 | 1 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Ceased Operations; Conducting Study; Operational Process Modification | Additional Monitoring Underway, Operational Process Modification
Lafarge Canada Inc.- Cornwall Quarry | 5650 Richmond Rd | South Stormont | Miscellaneous Industrial | Cornwall | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-10-13 | 2015-10-13 | 25 | mg/L | any | 1 | 28 | 28 | None Required | Assessment Complete - No Action Required
Lafarge Canada Inc. - Bath Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-07-29 | 2015-07-29 | 50 | mg/L | any | 1 | 92 | 92 | None Required | Assessment Complete - Incident Resolved
Morbern Inc. | 80 Boundary Rd Part of Lot D Concession 1 | Cornwall | Organic Chemicals Manufacturing | Cornwall | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-06-10 | 2015-06-10 | 0 | acute toxicity | any | 1 | 1 | 1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Morbern Inc. | 80 Boundary Rd Part of Lot D Concession 1 | Cornwall | Organic Chemicals Manufacturing | Cornwall | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2015-06-10 | 2015-06-10 | 0 | acute toxicity | any | 1 | 1 | 1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Morbern Inc. | 80 Boundary Rd Part of Lot D Concession 1 | Cornwall | Organic Chemicals Manufacturing | Cornwall | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-06-10 | 2015-06-10 | 0.1 | mg/L | any | 1 | 0.18 | 0.18 | Operational Process Modification | Assessment Complete - No Action Required
Namewaminikan Hydro Inc. -Namewaminikan Hydro Project (Long Rapids) | Located at Long Rapids on the Namewaminikan River | Greenstone | Miscellaneous Industrial | Thunder Bay | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-09-07 | 2015-09-22 | 25 | mg/L | any | 2 | 36.5 | 81 | Operational Process Modification | Assessment Complete - No Action Required
Newterra Ltd. - Mobile Treatment Unit | 177 Tie Road | Kincardine | Miscellaneous Industrial | Owen Sound | TOTAL PETROLEUM HYDROCARBONS (LIGHT) (F1+F2) | Approval/Permit Non-Compliance | 2015-09-14 | 2015-09-14 | 900 | µg/L | any | 1 | 3040 | 3040 | Ceased Operations; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-01-01 | 2015-01-31 | 0.3 | mg/L | mon avg | 1 | 0.4 | 0.4 | New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-02-01 | 2015-02-28 | 0.3 | mg/L | mon avg | 1 | 0.61 | 0.61 | New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-03-01 | 2015-03-31 | 0.3 | mg/L | mon avg | 1 | 0.53 | 0.53 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-04-01 | 2015-04-30 | 0.3 | mg/L | mon avg | 1 | 0.33 | 0.33 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-06-01 | 2015-06-30 | 10 | mg/L | mon avg | 1 | 10.5 | 10.5 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-07-01 | 2015-07-29 | 10 | mg/L | mon avg | 1 | 22 | 22 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-08-01 | 2015-08-31 | 10 | mg/L | mon avg | 1 | 15.5 | 15.5 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-09-01 | 2015-09-30 | 10 | mg/L | mon avg | 1 | 13.5 | 13.5 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2015-10-01 | 2015-10-31 | 0.3 | mg/L | mon avg | 2 | 0.47 | 0.47 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | 140 Hysert Rd | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-10-01 | 2015-10-31 | 10 | mg/L | mon avg | 2 | 38.5 | 38.5 | New/Amended Approval | Voluntary Abatement Program Underway
Northern Gold Mining Inc. - Garrison Gold Project - Garrcon Deposit - North East and West Pits | Hwy 101 Garrcon Deposit - Located 40 km east of Matheson | Geographic Township of Garrison part of the Unorganized District of Cochrane | Metal Mining and Refining | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-16 | 2015-04-16 | 30 | mg/L | /d | 1 | 44.7 | 44.7 | Ceased Operations | Assessment Underway
Northern Gold Mining Inc. - Garrison Gold Project - Garrcon Deposit - North East and West Pits | Hwy 101 Garrcon Deposit - Located 40 km east of Matheson | Geographic Township of Garrison part of the Unorganized District of Cochrane | Metal Mining and Refining | Timmins | COPPER | Approval/Permit Non-Compliance | 2015-05-01 | 2015-05-31 | 0.004 | mg/L | mon avg | 1 | 0.0332 | 0.0332 | Ceased Operations | Assessment Underway
Northern Gold Mining Inc. - Garrison Gold Project - Garrcon Deposit - North East and West Pits | Hwy 101 Garrcon Deposit - Located 40 km east of Matheson | Geographic Township of Garrison part of the Unorganized District of Cochrane | Metal Mining and Refining | Timmins | COPPER | Approval/Permit Non-Compliance | 2015-05-09 | 2015-05-29 | 0.008 | mg/L | /d | 5 | 0.0084 | 0.0469 | Ceased Operations | Assessment Underway
Northern Gold Mining Inc. - Garrison Gold Project - Garrcon Deposit - North East and West Pits | Hwy 101 Garrcon Deposit - Located 40 km east of Matheson | Geographic Township of Garrison part of the Unorganized District of Cochrane | Metal Mining and Refining | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-01 | 2015-04-30 | 15 | mg/L | mon avg | 1 | 18.8 | 18.8 | Ceased Operations | Assessment Underway
Northland Power Thorold Cogen G.P. Inc. | 90 Allanburg Rd | Thorold | Electric Power Generation | Niagara | TEMPERATURE | Approval/Permit Non-Compliance | 2015-01-07 | 2015-01-07 | 10 | °C | rolling avg | 1 | 10.1 | 10.1 | Ceased Operations | Assessment Complete - No Action Required
Northland Power Thorold Cogen G.P. Inc. | 90 Allanburg Rd | Thorold | Electric Power Generation | Niagara | TEMPERATURE | Approval/Permit Non-Compliance | 2015-01-10 | 2015-01-10 | 10 | °C | rolling avg | 1 | 10.1 | 10.1 | Ceased Operations | Assessment Complete - No Action Required
NOVA Chemicals (Canada) Ltd. / NOVA Chimie (Canada) Ltee. - Corunna Site | 785 Petrolia Line | St. Clair | Petroleum Refineries | Sarnia | TEMPERATURE | Approval/Permit Non-Compliance | 2015-03-09 | 2015-05-30 | 10 | °C | any | 22 | 12 | 12 | Conducting Study | Assessment Complete - No Action Required
NOVA Chemicals (Canada) Ltd. / NOVA Chimie (Canada) Ltee.- St. Clair Site | 285 Albert St | St. Clair | Inorganic Chemicals | Sarnia | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-02-01 | 2015-02-28 | 570 | kg/d | /mon | 1 | 633.7 | 633.7 | Other | Assessment Complete - No Action Required
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | PH - LOW | Approval/Permit Non-Compliance | 2015-11-19 | 2015-12-31 | 6.5 | pH | 2 consecutive | 6 | 3 | 5 | Other | Director's Order Issued
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | PH - LOW | Legislation Non-Compliance | 2015-11-19 | 2015-12-31 | 6 | pH | /wk | 7 | 3 | 5 | Other | Director's Order Issued
Ontario Power Generation - Thunder Bay Station Generation Station | 108th Avenue Lot 1 Mission Island | Thunder Bay | Electric Power Generation | Thunder Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-10-06 | 2015-10-09 | 0 | acute toxicity | any | 1 | 1 | 1 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Assessment Complete - Incident Resolved
Ontario Power Generation - Thunder Bay Station Generation Station | 108th Avenue Lot 1 Mission Island | Thunder Bay | Electric Power Generation | Thunder Bay | IRON | Legislation Non-Compliance | 2015-10-01 | 2015-10-31 | 1 | mg/L | mon avg | 1 | 1.39 | 1.39 | None Required | Assessment Complete - No Action Required
Ontario Power Generation Inc. - Pickering A and B Nuclear Generating Station | 1675 Montgomery Park Road | Pickering | Electric Power Generation | York-Durham | TEMPERATURE | Approval/Permit Non-Compliance | 2015-06-28 | 2015-06-28 | 11 | °C | 24h avg | 1 | 16.7 | 16.7 | Action Plan Submitted - Implementing Improvements; Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
Ontario Power Generation Inc. - Pickering A and B Nuclear Generating Station | 1675 Montgomery Park Road | Pickering | Electric Power Generation | York-Durham | TEMPERATURE | Approval/Permit Non-Compliance | 2015-06-28 | 2015-06-28 | 32 | °C | 24h avg | 1 | 32.8 | 32.8 | Action Plan Submitted - Implementing Improvements; Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
Parmalat Canada Inc. - Winchester Facility | 490 Gordon St Winchester | North Dundas | Miscellaneous Industrial | Cornwall | FLOW | Approval/Permit Non-Compliance | 2015-11-27 | 2015-11-27 | 2000 | m³ | /d | 1 | 2032 | 2032 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Parmalat Canada Inc. - Winchester Facility | 490 Gordon St Winchester | North Dundas | Miscellaneous Industrial | Cornwall | FLOW | Approval/Permit Non-Compliance | 2015-11-28 | 2015-11-28 | 2000 | m³ | /d | 1 | 2082 | 2082 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Pic Mobert Hydro Inc. - Gitchi Animki Project - Bezhig Site | Located on the White River, approximately 38Km East of the community of Heron Bay in Brothers Twp | Geographic Township of Brothers part of the Unorganized District of Thunder Bay | Electric Power Generation | Thunder Bay | PH - LOW | Approval/Permit Non-Compliance | 2015-05-11 | 2015-05-11 | 6.5 | pH | /d | 1 | 6.36 | 6.36 | New Equipment or Treatment Process Installed; New/Amended Approval | Additional Requirements Added in Approval/Permit
Pic Mobert Hydro Inc. - Gitchi Animki Project - Bezhig Site | Located on the White River, approximately 38Km East of the community of Heron Bay in Brothers Twp | Geographic Township of Brothers part of the Unorganized District of Thunder Bay | Electric Power Generation | Thunder Bay | PH - HIGH | Approval/Permit Non-Compliance | 2015-06-06 | 2015-06-06 | 8.5 | pH | /d | 1 | 8.51 | 8.51 | New Equipment or Treatment Process Installed; New/Amended Approval | Additional Requirements Added in Approval/Permit
Primero Mining Corp. - Black Fox Mine | 2839 Highway 101 East | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2015-03-25 | 2015-03-25 | 1 | mg/L | any | 1 | 1.2 | 1.2 | Additional Monitoring Underway | Assessment Complete - No Action Required
Primero Mining Corp. - Black Fox Mine | 2839 Highway 101 East | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2015-11-11 | 2015-11-11 | 1 | mg/L | any | 1 | 1.42 | 1.42 | Operational Process Modification | Assessment Complete - No Action Required
Primero Mining Corp. - Black Fox Mine | 2839 Highway 101 East | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2015-11-18 | 2015-11-18 | 1 | mg/L | any | 1 | 1.28 | 1.28 | Additional Monitoring Underway; Operational Process Modification | Assessment Complete - No Action Required
QBJR Aggregates Inc. - McCarthy Quarry | Lot 1 Concession 1 Original Township of Mara | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-07-23 | 2015-07-23 | 30 | mg/L | /d | 1 | 47 | 47 | Training/Procedure Change | Assessment Complete - No Action Required
QBJR Aggregates Inc. - McCarthy Quarry | Lot 1 Concession 1 Original Township of Mara | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-01-09 | 2015-09-30 | 15 | mg/L | mon avg | 1 | 20 | 20 | Training/Procedure Change | Assessment Complete - No Action Required
QBJR Aggregates Inc. - McCarthy Quarry | Lot 1 Concession 1 Original Township of Mara | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-09-24 | 2015-09-24 | 30 | mg/L | /d | 1 | 42 | 42 | Training/Procedure Change | Assessment Complete - No Action Required
QBJR Aggregates Inc. - McCarthy Quarry | Lot 1 Concession 1 Original Township of Mara | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-05-11 | 2015-05-11 | 30 | mg/L | /d | 1 | 46 | 46 | Training/Procedure Change | Assessment Complete - No Action Required
QBJR Aggregates Inc. - McCarthy Quarry | Lot 1 Concession 1 Original Township of Mara | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-07-01 | 2015-07-31 | 15 | mg/L | mon avg | 1 | 18.3 | 18.3 | Training/Procedure Change | Assessment Complete - No Action Required
Resolute FP Canada Inc. - Thorold Division | 2 Allanburg Rd. | Thorold | Pulp and Paper | Niagara | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-07-28 | 2015-07-28 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway, Operational Process Modification | Assessment Underway
Richmont Mines Inc. - Island Gold Mine | 15 Goudreau Rd | Finan | Metal Mining and Refining | Sault Ste. Marie | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2015-09-22 | 2015-09-22 | 0.2 | mg/L | any | 1 | 0.334 | 0.334 | Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Training/Procedure Change | Environmental Penalty Order Issued
Royal Canin Canada Company | 100 Beiber Rd R.R.3 | Puslinch | Miscellaneous Industrial | Guelph | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2015-01-01 | 2015-12-31 | 10 | mg/L | mon avg | 12 | 14 | 283.25 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Royal Canin Canada Company | 100 Beiber Rd R.R.3 | Puslinch | Miscellaneous Industrial | Guelph | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-01-01 | 2015-12-31 | 10 | mg/L | mon avg | 12 | 37.25 | 458.5 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Sofina Foods Inc./Aliments Sofina Inc. | 147 John St | West Perth | Miscellaneous Industrial | London | PH - LOW | Approval/Permit Non-Compliance | 2015-01-10 | 2015-01-10 | 6.5 | pH | /d | 1 | 6.22 | 6.22 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken
Sofina Foods Inc./Aliments Sofina Inc. | 147 John St | West Perth | Miscellaneous Industrial | London | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2015-01-10 | 2015-12-31 | 5 | mg/L | /d | 6 | 6.6 | 6.6 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken
Sofina Foods Inc./Aliments Sofina Inc. | 147 John St | West Perth | Miscellaneous Industrial | London | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-11-11 | 2015-11-11 | 15 | mg/L | /d | 1 | 16 | 16 | None Required | Assessment Complete - No Action Required
Sonoco Canada Corporation - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-04-15 | 2015-04-15 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study | Assessment Complete - No Action Required
Sonoco Canada Corporation - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2015-04-15 | 2015-04-15 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study | Assessment Underway
Sonoco Canada Corporation - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2015-04-22 | 2015-04-22 | 0 | acute toxicity | any | 1 | 1 | 1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
St Marys Cement Inc. -St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-01-01 | 2015-01-31 | 25 | mg/L | mon avg | 1 | 38.5 | 38.5 | Operational Process Modification | Assessment Complete - Incident Resolved
St Marys Cement Inc. -St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-01-01 | 2015-03-31 | 25 | mg/L | mon avg | 2 | 36.175 | 78.433 | Operational Process Modification | Assessment Complete - Incident Resolved
St Marys Cement Inc. -St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-01-14 | 2015-01-14 | 50 | mg/L | /d | 1 | 91.37 | 91.37 | Operational Process Modification | Assessment Complete - Incident Resolved
St Marys Cement Inc. -St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2015-01-21 | 2015-03-04 | 50 | mg/L | /d | 2 | 115.54 | 127.71 | Operational Process Modification | Assessment Complete - Incident Resolved
St. Andrew Goldfields Ltd. - Holloway Mine | Hwy 101 E | Geographic Township of Holloway part of the District of Cochrane | Metal Mining and Refining | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-02-06 | 2015-02-06 | 30 | mg/L | any | 1 | 36 | 36 | Additional Monitoring Underway | Voluntary Abatement Program Underway
St. Andrew Goldfields Ltd. -Taylor Advanced Exploration Mine Portal | Lot 5,6,7,8, Concession 2 & 3, Matheson, ON | Black River-Matheson | Metal Mining and Refining | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-02-06 | 2015-02-06 | 30 | mg/L | any | 1 | 37 | 37 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Stepan Canada | 3800 Longford Mills Rd | Ramara | Organic Chemicals Manufacturing | Barrie | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-08-30 | 2015-08-30 | 0.01 | mg/L | /d | 1 | 0.08 | 0.08 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Stepan Canada | 3800 Longford Mills Rd | Ramara | Organic Chemicals Manufacturing | Barrie | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-11-06 | 2015-11-06 | 0.01 | mg/L | /d | 1 | 0.2 | 0.2 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Suncor Energy Products Inc. - Suncor Sarnia Refinery | 1900 River Rd | Sarnia | Petroleum Refineries | Sarnia | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2015-11-19 | 2015-11-19 | 0.01 | mg/L | any | 1 | 0.024 | 0.024 | Conducting Study | Voluntary Abatement Program Underway
Tenaris Algoma Tubes Inc. | 547 Wallace Terrace | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2015-11-02 | 2015-11-02 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway | Assessment Underway; Environmental Penalty Order Issued
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2015-04-03 | 2015-04-03 | 4 | kg/d | /d | 1 | 9.14 | 9.14 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | ALUMINUM | Legislation Non-Compliance | 2015-06-17 | 2015-06-17 | 8.9 | kg/d | /d | 1 | 10.35 | 10.35 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2015-06-17 | 2015-06-17 | 4 | kg/d | /d | 1 | 6.9 | 6.9 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2015-09-09 | 2015-09-09 | 4 | kg/d | /d | 1 | 4.59 | 4.59 | None Required | Assessment Complete - No Action Required
TransAlta Corporation -Sarnia Regional Cogeneration Plant (SRCP) | 230 - 1741 River Rd | Sarnia | Electric Power Generation | Sarnia | PH - HIGH | Approval/Permit Non-Compliance | 2015-04-16 | 2015-04-16 | 9.5 | pH | any | 1 | 11.73 | 11.73 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved; Environmental Penalty Issued
Union Gas Limited - Dawn Compressor Station | 3332 Bentpath Line | Dawn-Euphemia | Miscellaneous Industrial | Sarnia | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2015-04-29 | 2015-05-21 | 10 | mg/L | seasonal avg | 1 | 22 | 22 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Union Gas Limited - Dawn Compressor Station | 3332 Bentpath Line | Dawn-Euphemia | Miscellaneous Industrial | Sarnia | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-29 | 2015-05-21 | 10 | mg/L | seasonal avg | 1 | 24 | 24 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Union Gas Limited - Dawn Compressor Station | 3332 Bentpath Line | Dawn-Euphemia | Miscellaneous Industrial | Sarnia | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-06-17 | 2015-06-24 | 10 | mg/L | seasonal avg | 1 | 38.5 | 38.5 | Ceased Operations | Assessment Complete - No Action Required
Walker Aggregates Inc. - Vineland Quarry | 3614 Fly Rd | Lincoln | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-04-13 | 2015-04-13 | 25 | mg/L | any | 1 | 36 | 36 | New/Amended Approval | Assessment Complete - No Action Required
Walker Aggregates Inc. - Vineland Quarry | 3614 Fly Rd | Lincoln | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2015-07-21 | 2015-07-21 | 25 | mg/L | any | 1 | 39 | 39 | None Required | Assessment Complete - No Action Required
Williams Operating Corporation | Mining Claims 273 and 274 | Bomby | Metal Mining and Refining | Thunder Bay | ACUTE LETHALITY - DAPHNIA | Approval/Permit Non-Compliance | 2015-02-02 | 2015-02-02 | 0 | acute toxicity | any | 1 | 1 | 1 | Operational Process Modification | Assessment Underway
This data is provided for information purposes only. Dischargers provide most of the information contained in this summary. Dischargers are accountable for the accuracy of the information they submit. Some of the information is also derived from ministry data on discharges. Facility Action and Ministry Action are current to August 2016. For up-to-date information, please contact the appropriate district or area office.