## 2016_Industrial_Sewage_All
Facility Owner | Site Address | Site Municipality | Sector | District | Contaminant | Type of Exceedance | Exceedance Start Date | Exceedance End Date | Contaminant Limit | Contaminant Unit | Limit Frequency | No of Exceedances | Quantity Minimum* | Quantity Maximum* | Facility Action | Ministry Action
Accuworx Inc. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | COBALT | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 0.9 | µg/L | /wk | 1 | 1.3 | 1.3 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Assessment Complete - Incident Resolved
Accuworx Inc. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | NICKEL | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 25 | µg/L | /wk | 3 | 26.2 | 42.3 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Assessment Complete - Incident Resolved
Accuworx Inc. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | SELENIUM | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 10 | µg/L | /wk | 1 | 10.2 | 10.2 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Assessment Complete - Incident Resolved
Accuworx Inc. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | TOLUENE | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 0.8 | µg/L | /wk | 2 | 1 | 1.1 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Assessment Complete - Incident Resolved
Accuworx Inc. - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | ZINC | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 20 | µg/L | /wk | 2 | 36.7 | 67.6 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Assessment Complete - Incident Resolved
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Stoddart | Electric Power Generation | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-03-22 | 2016-03-22 | 15 | mg/L | any | 1 | 15.7 | 15.7 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Atlantic Power Corporation - Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Stoddart | Electric Power Generation | Timmins | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-05-17 | 2016-05-17 | 25 | mg/L | any | 1 | 50 | 50 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Voluntary Abatement Program Underway
AV Terrace Bay Inc. - Terrace Bay Pulp Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2016-02-01 | 2016-02-29 | 5515 | kg/d | mon avg | 1 | 7058 | 7058 | New Equipment or Treatment Process Installed | Other Abatement Action Taken
AV Terrace Bay Inc. - Terrace Bay Pulp Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2016-02-16 | 2016-02-16 | 11010 | kg | /day | 1 | 12420 | 12420 | New Equipment or Treatment Process Installed | Other Abatement Action Taken
AV Terrace Bay Inc. - Terrace Bay Pulp Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-09-26 | 2016-09-26 | 14790 | kg | /day | 1 | 56548 | 56548 | New Equipment or Treatment Process Installed | Other Abatement Action Taken
AV Terrace Bay Inc. - Terrace Bay Pulp Mill | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2016-09-27 | 2016-09-27 | 11010 | kg | /day | 1 | 19038 | 19038 | New Equipment or Treatment Process Installed | Other Abatement Action Taken
Belwood Poultry Limited | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 10 | mg/L | mon avg | 1 | 10.5 | 10.5 | Conducting Study | Assessment Complete - No Action Required
Belwood Poultry Limited | 4272 Concession Four Rd N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 10 | mg/L | mon avg | 1 | 16 | 16 | Conducting Study | Assessment Complete - No Action Required
Bot Aggregates Limited - Sebright Quarry | 6791 Concession Road B-C | Ramara | Miscellaneous Industrial | Barrie | PH - HIGH | Approval/Permit Non-Compliance | 2016-01-29 | 2016-01-29 | 9.5 | pH | any | 1 | 9.62 | 9.62 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Bot Aggregates Limited - Sebright Quarry | 6791 Concession Road B-C | Ramara | Miscellaneous Industrial | Barrie | PH - HIGH | Approval/Permit Non-Compliance | 2016-03-31 | 2016-03-31 | 9.5 | pH | any | 1 | 9.93 | 9.93 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Brighton Beach Power Ltd. | 100 Chappus St | Windsor | Electric Power Generation | Windsor | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2016-05-30 | 2016-05-30 | 0.01 | ppm | any | 1 | 0.43 | 0.43 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Bruce Power Inc. - Bruce Power Generating Station B | 177 Tie Rd Tiverton | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2016-03-31 | 2016-03-31 | PASS | acute toxicity | any | 1 | FAIL | FAIL | New/Modified Sampling Program Underway; Operational Process Modification | Environmental Penalty Order Issued
Bruce Power Inc. - Bruce Power Generating Station B | 177 Tie Rd Tiverton | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2016-03-31 | 2016-03-31 | PASS | acute toxicity | any | 1 | FAIL | FAIL | New/Modified Sampling Program Underway; Operational Process Modification | Environmental Penalty Order Issued
Bruce Power Inc. - Bruce Power Generating Station B | 177 Tie Rd Tiverton | Kincardine | Electric Power Generation | Owen Sound | IRON | Legislation Non-Compliance | 2016-11-01 | 2016-11-30 | 1 | mg/L | mon avg | 1 | 1.45 | 1.45 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2016-03-01 | 2016-03-01 | PASS | acute toxicity | any | 1 | FAIL | FAIL | New/Modified Sampling Program Underway; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-03-01 | 2016-03-01 | 50 | mg/L | any | 1 | 52.9 | 52.9 | New/Modified Sampling Program Underway; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-03-01 | 2016-03-31 | 25 | mg/L | mon avg | 1 | 69.6 | 69.6 | New/Modified Sampling Program Underway; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-03-08 | 2016-03-08 | 50 | mg/L | any | 1 | 55.3 | 53.3 | New/Modified Sampling Program Underway; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-03-15 | 2016-03-15 | 50 | mg/L | any | 1 | 100 | 100 | New/Modified Sampling Program Underway; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-01 | 2016-04-30 | 25 | mg/L | mon avg | 1 | 114.6 | 114.6 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-12 | 2016-04-12 | 50 | mg/L | any | 1 | 62.3 | 62.3 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-26 | 2016-04-26 | 50 | mg/L | any | 1 | 302 | 302 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-05-10 | 2016-05-10 | 50 | mg/L | any | 1 | 91 | 91 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-07-01 | 2016-07-31 | 25 | mg/L | mon avg | 1 | 26.7 | 26.7 | Operational Process Modification; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-01 | 2016-08-31 | 25 | mg/L | mon avg | 1 | 76.7 | 76.7 | Operational Process Modification | Other Abatement Action Taken; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-02 | 2016-08-02 | 50 | mg/L | any | 1 | 61.1 | 61.1 | Operational Process Modification; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-09 | 2016-08-09 | 50 | mg/L | any | 1 | 57.5 | 57.5 | Operational Process Modification; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-18 | 2016-08-18 | 50 | mg/L | any | 1 | 88.5 | 88.5 | Operational Process Modification; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-23 | 2016-08-23 | 50 | mg/L | any | 1 | 78.9 | 78.9 | Operational Process Modification; Other | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-30 | 2016-08-30 | 50 | mg/L | any | 1 | 97.7 | 97.7 | Operational Process Modification | Assessment Complete - Incident Resolved; Environmental Penalty Order Issued
Carmeuse Lime (Canada) Limited - Beachville Operation | Oxford County Road 6 | Ingersoll | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-09-01 | 2016-09-30 | 25 | mg/L | mon avg | 1 | 31.8 | 31.8 | Operational Process Modification | Other Abatement Action Taken; Environmental Penalty Order Issued
CM Greenfield Power Corp. - Greenfield Energy Centre | 140 Bickford Line Lot 1 to 3 Front Concession | St. Clair | Electric Power Generation | Sarnia | TOTAL RESIDUAL CHLORINE | Approval/Permit Non-Compliance | 2016-07-11 | 2016-07-11 | 0.01 | mg/L | any | 1 | 0.03 | 0.03 | Ceased Operations; Conducting Study | Assessment Complete - Incident Resolved
Colacem Canada Inc. -L'Orignal Quarry | 2410 County Road 17 | Champlain | Industrial Minerals | Cornwall | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-23 | 2016-02-23 | 25 | mg/L | any | 1 | 29 | 29 | Additional Monitoring Underway | Assessment Complete - No Action Required
CRH Canada Group Inc.– Mississauga Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-02-01 | 2016-02-29 | 25 | mg/L | mon avg | 1 | 53.1 | 53.1 | Conducting Study | Assessment Underway
CRH Canada Group Inc.– Mississauga Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-02-17 | 2016-02-17 | 50 | mg/L | any | 1 | 160 | 160 | Conducting Study | Assessment Underway
CRH Canada Group Inc.– Mississauga Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-04-01 | 2016-04-30 | 25 | mg/L | mon avg | 1 | 37.9 | 37.9 | Conducting Study | Assessment Underway
CRH Canada Group Inc.– Mississauga Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-04-19 | 2016-04-19 | 50 | mg/L | any | 1 | 57.6 | 57.6 | Conducting Study | Assessment Underway
CRH Canada Group Inc.– Mississauga Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-04-26 | 2016-04-26 | 50 | mg/L | any | 1 | 51.1 | 51.1 | Conducting Study | Assessment Underway
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Legislation Non-Compliance | 2016-08-09 | 2016-08-09 | 0.502 | kg/d | /day | 1 | 0.61 | 0.61 | Additional Monitoring Underway | Environmental Penalty Order Issued
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Legislation Non-Compliance | 2016-10-11 | 2016-10-11 | 0.502 | kg/d | /day | 1 | 6.47 | 6.47 | Additional Monitoring Underway | Environmental Penalty Order Issued
Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Legislation Non-Compliance | 2016-11-01 | 2016-11-01 | 0.502 | kg/d | /day | 1 | 9.657 | 9.657 | Additional Monitoring Underway | Environmental Penalty Order Issued
Forterra Brick, Ltd. / Briques Forterra, Ltee - Tansley Quarry | 2488 Tremaine Road | Burlington | Industrial Minerals | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-07-28 | 2016-07-28 | 15 | mg/L | any | 1 | 16 | 16 | None required | Assessment Complete - No Action Required
Forterra Brick, Ltd. / Briques Forterra, Ltee - Niagara Quarry | 545 Line 8 Road | Niagara-on-the-Lake | Industrial Minerals | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-06-06 | 2016-06-06 | 25 | mg/L | any | 1 | 33 | 33 | Ceased Operations | Assessment Complete - No Action Required
Glencore Canada Corporation - Kidd Mine | Lot: 2 3 and 4, Concession: 4 and 5, Geographic Township: KIDD | Timmins | Metal Mining and Refining | Timmins | PH - HIGH | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-02-12 | 2016-02-12 | 9.5 | pH | any | 1 | 10.87 | 10.87 | Action Plan Submitted - Implementing Improvements; Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Environmental Penalty Order Issued
Goldcorp Canada Ltd. - Porcupine Gold Mine | 4315 Gold Mine Rd | Timmins | Metal Mining and Refining | Timmins | PH - HIGH | Approval/Permit Non-Compliance | 2016-08-07 | 2016-08-07 | 9.5 | pH | any | 1 | 11.39 | 11.39 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed | Environmental Penalty Order Issued
Harold Sutherland Construction Ltd. - Keppel Quarry | Lot: 28, Concession: 10, Keppel Township, Georgian Bluffs | Georgian Bluffs | Miscellaneous Industrial | Owen Sound | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-12-01 | 2016-12-31 | 0.02 | mg/L | mon avg | 1 | 0.03 | 0.03 | Additional Monitoring Underway | Additional Requirements Added in Approval/Permit
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2016-04-20 | 2016-04-23 | 10 | mg/L | /day | 2 | 13 | 13 | Training/Procedure Change | Assessment Underway; Provincial Officer's Order Issued
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-23 | 2016-04-25 | 30 | mg/L | /day | 3 | 31.9 | 46.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-07-09 | 2016-07-09 | 30 | mg/L | /day | 1 | 135 | 135 | New/Modified Sampling Program Underway | Assessment Underway
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-11-01 | 2016-11-30 | 15 | mg/L | mon avg | 1 | 17 | 17 | Training/Procedure Change | Voluntary Abatement Program Underway
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-11-04 | 2016-11-04 | 30 | mg/L | /day | 1 | 36.8 | 36.8 | Additional Monitoring Underway | Other Abatement Action Taken
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-11-07 | 2016-11-07 | 30 | mg/L | /day | 1 | 32.7 | 32.7 | Additional Monitoring Underway | Other Abatement Action Taken
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-11-09 | 2016-11-16 | 30 | mg/L | /day | 1 | 35.4 | 35.4 | Additional Monitoring Underway | Other Abatement Action Taken
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-11-21 | 2016-11-21 | 30 | mg/L | /day | 1 | 30.6 | 30.6 | Training/Procedure Change | Voluntary Abatement Program Underway
Harte Gold Corp. - Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-12-19 | 2016-12-19 | 30 | mg/L | /day | 1 | 130 | 130 | Training/Procedure Change | Assessment Underway
Lafarge Canada Inc. - Brechin Quarry | Original Geographic Township of Mara | Ramara | Miscellaneous Industrial | Barrie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-03-31 | 2016-03-31 | 25 | mg/L | annual avg | 1 | 29 | 29 | None Required | Assessment Complete - No Action Required
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-03-24 | 2016-03-24 | 50 | mg/L | any | 1 | 83 | 83 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-01 | 2016-04-01 | 50 | mg/L | any | 1 | 110 | 110 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-01 | 2016-04-30 | 25 | mg/L | mon avg | 1 | 35 | 35 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-08 | 2016-04-08 | 50 | mg/L | any | 1 | 58 | 58 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | PH - LOW | Legislation Non-Compliance | 2016-08-05 | 2016-08-05 | 6 | pH | any | 1 | 4.1 | 4.1 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-26 | 2016-08-26 | 50 | mg/L | any | 1 | 51 | 51 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-09-01 | 2016-09-30 | 25 | mg/L | mon avg | 1 | 32.8 | 32.8 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-09-30 | 2016-09-30 | 50 | mg/L | any | 1 | 140 | 140 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. - Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-10-28 | 2016-10-28 | 50 | mg/L | any | 1 | 86 | 86 | Order Appealed | Environmental Penalty Order Issued
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-02 | 2016-01-02 | 15 | mg/L | /wk | 1 | 57.8 | 57.8 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-02 | 2016-01-02 | 15 | mg/L | /wk | 1 | 57.8 | 57.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-05 | 2016-02-05 | 15 | mg/L | /wk | 1 | 28.7 | 28.7 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-17 | 2016-02-17 | 15 | mg/L | /wk | 1 | 73.8 | 73.8 | Additional Monitoring Underway | Assessment Underway
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-05-12 | 2016-05-12 | 15 | mg/L | /wk | 1 | 31 | 31 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-05-15 | 2016-05-15 | 15 | mg/L | /wk | 1 | 25 | 25 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-06-15 | 2016-06-15 | 15 | mg/L | /wk | 1 | 16.4 | 16.4 | Additional Monitoring Underway | Assessment Complete - No Action Required
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-08-02 | 2016-08-02 | 15 | mg/L | /wk | 1 | 73.8 | 73.8 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-09-05 | 2016-09-05 | 15 | mg/L | /wk | 1 | 25 | 25 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-21 | 2016-10-21 | 15 | mg/L | /wk | 1 | 23.5 | 23.5 | Operational Process Modification | Assessment Complete - No Action Required
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-31 | 2016-10-31 | 15 | mg/L | /wk | 1 | 21.7 | 21.7 | Additional Monitoring Underway | Assessment Underway
Metrolinx - GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton Peel | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-11-07 | 2016-11-07 | 15 | mg/L | /wk | 1 | 17.3 | 17.3 | Additional Monitoring Underway; Other | Assessment Complete - No Action Required
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-01-01 | 2016-12-31 | 15 | mg/L | annual avg | 1 | 32 | 32 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-01 | 2016-12-31 | 15 | mg/L | annual avg | 1 | 17 | 17 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | NITRATE (AS NITROGEN) | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-28 | 5 | mg/L | mon avg | 1 | 8.65 | 8.65 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | NITRATE (AS NITROGEN) | Approval/Permit Non-Compliance | 2016-04-01 | 2016-04-30 | 5 | mg/L | mon avg | 1 | 17.1 | 17.1 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | NITRATE (AS NITROGEN) | Approval/Permit Non-Compliance | 2016-06-01 | 2016-06-30 | 5 | mg/L | mon avg | 1 | 11.95 | 11.95 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | NITRATE (AS NITROGEN) | Approval/Permit Non-Compliance | 2016-07-01 | 2016-07-31 | 5 | mg/L | mon avg | 1 | 11.4 | 11.4 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | NITRATE (AS NITROGEN) | Approval/Permit Non-Compliance | 2016-09-01 | 2016-09-30 | 5 | mg/L | mon avg | 1 | 13.9 | 13.9 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | NITRATE (AS NITROGEN) | Approval/Permit Non-Compliance | 2016-12-01 | 2016-12-31 | 5 | mg/L | mon avg | 1 | 10.6 | 10.6 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Nalco Canada Co. | 95 Queens Quay E | Toronto | Miscellaneous Industrial | Toronto | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-09-21 | 2016-09-22 | 15 | mg/L | 24h avg | 2 | 28.7 | 199.8 | Other | Assessment Underway
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-04-15 | 2016-04-15 | 30 | mg/L | /day | 1 | 41.5 | 41.5 | New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-05-09 | 2016-05-30 | 0.2 | mg/L | /day | 2 | 0.339 | 0.526 | Training/Procedure Change | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-06-30 | 2016-06-30 | 0.2 | mg/L | /day | 1 | 0.211 | 0.211 | Additional Monitoring Underway; New/Modified Sampling Program Underway; Training/Procedure Change | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-06-30 | 2016-06-30 | 30 | mg/L | /day | 1 | 32.5 | 32.5 | Additional Monitoring Underway; New/Modified Sampling Program Underway; Training/Procedure Change | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-07-01 | 2016-07-31 | 0.1 | mg/L | mon avg | 1 | 0.331 | 0.331 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-07-08 | 2016-07-08 | 30 | mg/L | /day | 1 | 168 | 168 | Other | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-07-20 | 2016-07-20 | 0.2 | mg/L | /day | 1 | 0.359 | 0.359 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Complete - Incident Resolved; Conviction Registered
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-07-27 | 2016-07-27 | 0.2 | mg/L | /day | 1 | 0.616 | 0.616 | New/Modified Sampling Program Underway; Training/Procedure Change | Other Abatement Action Taken
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-07-27 | 2016-07-27 | 30 | mg/L | /day | 1 | 36 | 36 | New/Modified Sampling Program Underway; Training/Procedure Change | Other Abatement Action Taken
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-08 | 2016-10-08 | 30 | mg/L | /day | 1 | 33 | 33 | Equipment Modified - Repaired - Replaced or Re-calibrated; Other | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-11-23 | 2016-11-23 | 30 | mg/L | /day | 1 | 46 | 46 | Training/Procedure Change | Assessment Complete - Incident Resolved
New Gold Inc. -Rainy River Project | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | ACUTE LETHALITY - TROUT | Approval/Permit Non-Compliance | 2016-12-29 | 2016-12-29 | PASS | acute toxicity | /quart | 1 | FAIL | FAIL | Additional Monitoring Underway | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | COBALT | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 0.9 | µg/L | /wk | 2 | 1.5 | 1.6 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | TOTAL PETROLEUM HYDROCARBONS (HEAVY) (F3+F4) | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 1000 | µg/L | any | 7 | 2170 | 7600 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 25 | mg/L | /wk | 2 | 96 | 222 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | ZINC | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 20 | µg/L | /wk | 1 | 40.2 | 40.2 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | TOTAL PETROLEUM HYDROCARBONS (HEAVY) (F3+F4) | Approval/Permit Non-Compliance | 2016-05-01 | 2016-05-31 | 1000 | µg/L | any | 1 | 2300 | 2300 | None Required | Assessment Complete - No Action Required
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | TOTAL PETROLEUM HYDROCARBONS (HEAVY) (F3+F4) | Approval/Permit Non-Compliance | 2016-06-28 | 2016-06-28 | 1000 | µg/L | any | 1 | 1970 | 1970 | Operational Process Modification | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2016-07-01 | 2016-07-31 | 1 | µg/L | /wk | 2 | 1.1 | 31.6 | None Required | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | LEAD | Approval/Permit Non-Compliance | 2016-08-01 | 2016-08-31 | 3 | µg/L | /wk | 2 | 2.7 | 159 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | PH - HIGH | Approval/Permit Non-Compliance | 2016-08-01 | 2016-08-31 | 8.5 | pH | any | 1 | 8.67 | 8.67 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Newterra Ltd.; AECON Construction and Materials Limited and Peter Kiewit Infrastructure Co. operating as GrandLinq Contractors - Light Rail Transit (LRT) route | Light Rail Transit route 19km RMOW | Waterloo | Miscellaneous Industrial | Guelph | PHENANTHRENE | Approval/Permit Non-Compliance | 2016-09-01 | 2016-09-30 | 0.03 | µg/L | /wk | 1 | 0.08 | 0.08 | None Required | Assessment Complete - Incident Resolved
Niagara Peninsula Conservation Authority - Ball's Falls Visitor Centre | 3172 Sixth Ave Jordan | Lincoln | Miscellaneous Industrial | Niagara | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 10 | mg/L | mon avg | 1 | 15 | 15 | Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway
Niagara Peninsula Conservation Authority - Ball's Falls Visitor Centre | 3172 Sixth Ave Jordan | Lincoln | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 10 | mg/L | mon avg | 1 | 21.5 | 21.5 | Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway
Niagara Peninsula Conservation Authority - Ball's Falls Visitor Centre | 3172 Sixth Ave Jordan | Lincoln | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-01 | 2016-10-31 | 10 | mg/L | mon avg | 1 | 19 | 19 | Additional Monitoring Underway | Assessment Underway
Niagara Peninsula Conservation Authority - Ball's Falls Visitor Centre | 3172 Sixth Ave Jordan | Lincoln | Miscellaneous Industrial | Niagara | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-12-01 | 2016-12-31 | 10 | mg/L | mon avg | 1 | 19 | 19 | Conducting Study; New/Amended Approval | Assessment Underway
Niagara Peninsula Conservation Authority - Ball's Falls Visitor Centre | 3172 Sixth Ave Jordan | Lincoln | Miscellaneous Industrial | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-12-01 | 2016-12-31 | 10 | mg/L | mon avg | 1 | 25 | 25 | Conducting Study; New/Amended Approval | Assessment Underway
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 0.3 | mg/L | mon avg | 2 | 0.52 | 0.62 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 10 | mg/L | mon avg | 2 | 67.5 | 119 | New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 0.3 | mg/L | mon avg | 2 | 0.64 | 0.83 | New/Amended Approval | Additional Requirements Added in Approval/Permit
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-03-01 | 2016-03-31 | 0.3 | mg/L | mon avg | 4 | 0.38 | 0.48 | New/Amended Approval | Additional Requirements Added in Approval/Permit
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-04-01 | 2016-04-30 | 0.3 | mg/L | mon avg | 4 | 0.33 | 0.33 | New/Amended Approval | Additional Requirements Added in Approval/Permit
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-04-01 | 2016-04-30 | 5 | mg/L | mon avg | 4 | 11 | 11 | New/Amended Approval | Additional Requirements Added in Approval/Permit
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-05-01 | 2016-05-31 | 0.30 | mg/L | mon avg | 1 | 0.33 | 0.33 | New Equipment or Treatment Process Installed | Additional Requirements Added in Approval/Permit
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-06-01 | 2016-06-30 | 10 | mg/L | mon avg | 1 | 24.5 | 24.5 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-12-01 | 2016-12-31 | 0.30 | mg/L | mon avg | 1 | 0.44 | 0.44 | None Required | Assessment Complete - No Action Required
Northec Construction Inc. - Ivanhoe Lake Dam | Ivanhoe Lake Rd | Ivanhoe | Miscellaneous Industrial | Timmins | TURBIDITY | Approval/Permit Non-Compliance | 2016-08-05 | 2016-08-05 | 8 | ntu | /day | 1 | 9.86 | 9.86 | Additional Monitoring Underway; Operational Process Modification | Assessment Complete - Incident Resolved
Northfield Resources Corp. | 145 Northfield Dr | Waterloo | Miscellaneous Industrial | Guelph | 1,1,1-TRICHLOROETHANE | Approval/Permit Non-Compliance | 2016-11-01 | 2016-11-01 | 10 | µg/L | any | 1 | 14.6 | 14.6 | Operational Process Modification | Assessment Complete - Incident Resolved
NOVA Chemicals (Canada) Ltd. / NOVA Chimie (Canada) Ltee. - Corunna Site | 785 Petrolia Line | St. Clair | Petroleum Refineries | Sarnia | TEMPERATURE | Approval/Permit Non-Compliance | 2016-01-01 | 2016-06-02 | 10 | °C | daily avg | 40 | 11 | 15 | Other | Assessment Underway
NOVA Chemicals (Canada) Ltd. / NOVA Chimie (Canada) Ltee. - St. Clair River Site | 285 Albert St | St. Clair | Organic Chemicals Manufacturing | Sarnia | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-01 | 2016-08-31 | 570 | kg/d | mon avg | 1 | 588.5 | 588.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - LOW | Approval/Permit Non-Compliance | 2016-01-01 | 2016-12-31 | 6.5 | pH | any | 23 | 3 | 5 | Conducting Study | Assessment Underway; Director's Order Issued
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance; Approval/Permit Non-Compliance | 2016-02-17 | 2016-04-05 | PASS | acute toxicity | any | 4 | FAIL | FAIL | Conducting Study; Other | Assessment Underway
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - TROUT | Legislation Non-Compliance; Approval/Permit Non-Compliance | 2016-02-17 | 2016-05-17 | PASS | acute toxicity | any | 5 | FAIL | FAIL | Conducting Study; Other | Assessment Underway
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2016-02-24 | 2016-05-25 | 1.0 | mg/L | median concentration of four (4) consecutive samples | 11 | 1.75 | 4.3 | Conducting Study | Assessment Underway; Director's Order Issued
Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-24 | 2016-03-09 | 15.0 | mg/L | median concentration of four (4) consecutive samples | 2 | 18 | 29 | Conducting Study | Assessment Underway, Director's Order Issued
Ontario Power Generation - Thunder Bay Station Generation Station | 108th Avenue | Thunder Bay | Electric Power Generation | Thunder Bay | IRON | Legislation Non-Compliance | 2016-01-05 | 2016-01-05 | 2.5 | mg/L | any | 1 | 2.63 | 2.63 | New Equipment or Treatment Process Installed | Other Abatement Action Taken
Ontario Soil Recycling-Brighton Inc. | 118 County Road 64 | Brighton | Miscellaneous Industrial | Peterborough | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-11-09 | 2016-11-10 | 10 | mg/L | any | 1 | 16 | 16 | Additional Monitoring Underway | Assessment Complete - No Action Required
Oxy Vinyls Canada Co. | 8800 Thorold Townline Rd | Niagara Falls | Organic Chemicals Manufacturing | Niagara | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-05-29 | 2016-05-29 | 91 | kg/d | any | 1 | 109.7 | 109.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Oxy Vinyls Canada Co. | 8800 Thorold Townline Rd | Niagara Falls | Organic Chemicals Manufacturing | Niagara | DISSOLVED ORGANIC CARBON | Legislation Non-Compliance | 2016-10-26 | 2016-11-02 | 194 | kg/d | any | 2 | 283.35 | 365.44 | Additional Monitoring Underway; New Equipment or Treatment Process Installed; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken
Peter Kiewit Infrastructure Co. - New Post Creek Hydroelectric Project | New Post Creek Hydroelectric Project | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-05-17 | 2016-05-17 | 40 | mg/L | any | 1 | 70 | 70 | New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
Peter Kiewit Infrastructure Co. - New Post Creek Hydroelectric Project | New Post Creek Hydroelectric Project | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-05-22 | 2016-05-22 | 40 | mg/L | any | 1 | 120 | 120 | New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Peter Kiewit Infrastructure Co. - New Post Creek Hydroelectric Project | New Post Creek Hydroelectric Project | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-05-23 | 2016-05-23 | 40 | mg/L | any | 1 | 115 | 115 | New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Peter Kiewit Infrastructure Co. - New Post Creek Hydroelectric Project | New Post Creek Hydroelectric Project | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-08-09 | 2016-08-09 | 40 | mg/L | any | 1 | 100 | 100 | New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Peter Kiewit Infrastructure Co. - New Post Creek Hydroelectric Project | New Post Creek Hydroelectric Project | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-08-20 | 2016-08-20 | 40 | mg/L | any | 1 | 85 | 85 | None Required | Assessment Complete - No Action Required
Peter Kiewit Infrastructure Co. - New Post Creek Hydroelectric Project | New Post Creek Hydroelectric Project | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-21 | 2016-10-31 | 40 | mg/L | any | 11 | 50 | 733 | New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
Peter Kiewit Infrastructure Co. - Peter Sutherland Sr. Generating Station | Peter Sutherland Sr. Generating Station | Pinard | Miscellaneous Industrial | Timmins | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-06-07 | 2016-06-07 | 40 | mg/L | any | 1 | 92 | 92 | New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Port Colborne Quarries Inc. | Lot 20,21,24, Concession 2, Port Colborne | Port Colborne | Miscellaneous Industrial | Niagara | PH - HIGH | Approval/Permit Non-Compliance | 2016-06-07 | 2016-06-07 | 9 | pH | any | 2 | 9.87 | 9.99 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Voluntary Abatement Program Underway
Prestressed Systems Incorporated | 4955 Walker Rd | Tecumseh | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-01 | 2016-01-31 | 15 | mg/L | mon avg | 1 | 15.5 | 15.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Prestressed Systems Incorporated | 4955 Walker Rd | Tecumseh | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-01 | 2016-02-29 | 15 | mg/L | mon avg | 1 | 24.2 | 24.2 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Primero Mining Corp. - Black Fox Mine | 2839 Highway 101 East | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2016-11-16 | 2016-11-16 | 1.04 | mg/L | /day | 1 | 1.4 | 1.4 | New/Amended Approval | Other Abatement Action Taken
Resolute FP Canada Inc. - Thunder Bay Mill | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | PH - HIGH | Legislation Non-Compliance | 2016-05-12 | 2016-05-12 | 9.5 | pH | any | 1 | 11.27 | 11.27 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Royal Canin Canada Company | 100 Beiber Road R.R #3 Lot 28-29 Concession 8, Puslinch | Puslinch | Miscellaneous Industrial | Guelph | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-01-01 | 2016-04-30 | 10 | mg/L | mon avg | 4 | 106 | 263 | Action Plan Submitted - Implementing Improvements, New/Amended Approval | Assessment Underway
Royal Canin Canada Company | 100 Beiber Road R.R #3 Lot 28-29 Concession 8, Puslinch | Puslinch | Miscellaneous Industrial | Guelph | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-01-01 | 2016-04-30 | 10 | mg/L | mon avg | 4 | 85 | 284 | Action Plan Submitted - Implementing Improvements, New/Amended Approval | Assessment Underway
Royal Canin Canada Company | 100 Beiber Road R.R #3 Lot 28-29 Concession 8, Puslinch | Puslinch | Miscellaneous Industrial | Guelph | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-05-01 | 2016-06-30 | 10 | mg/L | mon avg | 2 | 118 | 128 | Action Plan Submitted - Implementing Improvements, New/Amended Approval | Assessment Underway
Royal Canin Canada Company | 100 Beiber Road R.R #3 Lot 28-29 Concession 8, Puslinch | Puslinch | Miscellaneous Industrial | Guelph | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-05-01 | 2016-06-30 | 10 | mg/L | mon avg | 2 | 81 | 117 | Action Plan Submitted - Implementing Improvements, New/Amended Approval | Assessment Underway
Sandvik Canada, Inc. | 425 McCartney Street and 265 DeCosta Street | Arnprior | Miscellaneous Industrial | Ottawa | 1,4 - DIOXANE | Approval/Permit Non-Compliance | 2016-03-21 | 2016-03-21 | 250 | µg/L | any | 1 | 390 | 390 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | OIL AND GREASE | Legislation Non-Compliance | 2016-01-01 | 2016-01-31 | 79 | kg/d | mon avg | 1 | 84.9 | 84.9 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | VOLATILE SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-01-01 | 2016-01-31 | 184 | kg/d | mon avg | 1 | 188.5 | 188.5 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | OIL AND GREASE | Legislation Non-Compliance | 2016-01-18 | 2016-02-29 | 168 | kg/d | /day | 4 | 280.2 | 193.6 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | DISSOLVED ORGANIC CARBON | Legislation Non-Compliance | 2016-02-01 | 2016-03-31 | 214 | kg/d | mon avg | 2 | 220.7 | 253.7 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-02-01 | 2016-04-30 | 236 | kg/d | mon avg | 3 | 264.2 | 464.8 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | DISSOLVED ORGANIC CARBON | Legislation Non-Compliance | 2016-02-08 | 2016-03-26 | 365 | kg/d | /day | 6 | 381.9 | 519.6 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2016-02-29 | 2016-02-29 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | SULPHIDE | Legislation Non-Compliance | 2016-02-29 | 2016-03-26 | 3.1 | kg/d | /day | 5 | 3.16 | 5.24 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | VOLATILE SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-02-29 | 2016-03-17 | 340 | kg/d | /day | 2 | 343.6 | 544 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | PHENOL | Legislation Non-Compliance | 2016-03-01 | 2016-03-31 | 0.16 | kg/d | mon avg | 1 | 0.16 | 0.16 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | SULPHIDE | Legislation Non-Compliance | 2016-03-01 | 2016-03-31 | 1.6 | kg/d | mon avg | 1 | 2.06 | 2.06 | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2016-03-04 | 2016-03-04 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Other | Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2016-03-04 | 2016-03-04 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Other | Environmental Penalty Order Issued
SMC (Canada) Ltd. | 797318 Coleman Rd | Coleman | Metal Mining and Refining | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2016-05-09 | 2016-05-09 | PASS | acute toxicity | /quart | 1 | FAIL | FAIL | Additional Monitoring Underway | Assessment Complete - No Action Required
St. Clair Power, L.P. - St. Clair Energy Centre | West 1/2 of Lot 22, East 1/4 of Lot 23, St. Clair Township | St. Clair | Electric Power Generation | Sarnia | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-04-01 | 2016-04-30 | 25 | mg/L | mon avg | 1 | 27 | 27 | Action Plan Submitted - Implementing Improvements | Environmental Penalty Order Issued
St. Marys Cement Inc. (Canada) | 585 Water St S | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-01-01 | 2016-01-31 | 25 | mg/L | mon avg | 1 | 33.113 | 33.113 | Operational Process Modification | Assessment Complete - No Action Required
St. Marys Cement Inc. (Canada) | 585 Water St S | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-03-06 | 2016-03-08 | 50 | mg/L | weekly avg | 1 | 232.5 | 232.5 | Operational Process Modification | Assessment Complete - No Action Required
St. Marys Cement Inc. (Canada) | 585 Water St S | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-04-24 | 2016-04-27 | 50 | mg/L | weekly avg | 1 | 54.64 | 54.64 | Operational Process Modification | Assessment Complete - No Action Required
St. Marys Cement Inc. (Canada) | 585 Water St S | St. Marys | Industrial Minerals | London | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-08-01 | 2016-08-31 | 25 | mg/L | mon avg | 1 | 53.88 | 53.88 | Operational Process Modification | Assessment Complete - No Action Required
Tembec - Kapuskasing Operations | 1 Government Rd | Kapuskasing | Pulp and Paper | Timmins | ACUTE LETHALITY - DAPHNIA | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2016-08-29 | 2016-08-29 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway | Environmental Penalty Order Issued
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TOTAL RESIDUAL CHLORINE | Order Non-Compliance | 2016-01-05 | 2016-01-05 | 0.01 | mg/L | any | 1 | 0.13 | 0.13 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Other Abatement Action Taken
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | ALUMINUM | Legislation Non-Compliance | 2016-03-16 | 2016-03-16 | 8.9 | kg/d | daily avg | 1 | 11.5 | 11.5 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TOTAL SUSPENDED SOLIDS | Legislation Non-Compliance | 2016-05-22 | 2016-05-22 | 3500 | kg/d | daily avg | 1 | 7334.9 | 7334.9 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TOTAL RESIDUAL CHLORINE | Order Non-Compliance | 2016-06-26 | 2016-06-26 | 0.01 | mg/L | any | 1 | 0.07 | 0.07 | Action Plan Submitted - Implementing Improvements | Additional Requirements Added in Approval/Permit; Other Abatement Action Taken
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2016-08-06 | 2016-08-06 | 4 | kg/d | daily avg | 1 | 4.49 | 4.49 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2016-09-14 | 2016-09-14 | 4 | kg/d | daily avg | 1 | 5.37 | 5.37 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2016-12-14 | 2016-12-14 | 4 | kg/d | daily avg | 1 | 5.88 | 5.88 | None Required | Assessment Complete - No Action Required
The Corporation of the Municipality of Kincardine - Kincardine Waste Management Centre | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-09-11 | 2016-09-11 | 0.7 | mg/L | daily avg | 1 | 0.94 | 0.94 | Conducting Study | Assessment Complete - Incident Resolved; Assessment Underway
The Corporation of the Municipality of Kincardine - Kincardine Waste Management Centre | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-09-11 | 2016-09-11 | 20 | mg/L | daily avg | 1 | 22 | 22 | Conducting Study | Assessment Complete - Incident Resolved; Assessment Underway
The Corporation of the Municipality of Kincardine - Kincardine Waste Management Centre | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2016-10-11 | 2016-10-11 | 0.7 | mg/L | daily avg | 1 | 0.97 | 0.97 | Conducting Study | Assessment Complete - Incident Resolved; Assessment Underway
The Corporation of the Municipality of Kincardine - Kincardine Waste Management Centre | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-11 | 2016-10-11 | 20 | mg/L | daily avg | 1 | 26 | 26 | Conducting Study | Assessment Complete - Incident Resolved; Assessment Underway
The Corporation of the Municipality of Kincardine - Kincardine Waste Management Centre | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-27 | 2016-10-27 | 20 | mg/L | daily avg | 1 | 46 | 46 | Conducting Study | Assessment Complete - Incident Resolved; Assessment Underway
The Corporation of the Township of Laurentian Valley - Ottawa Valley Waste Recovery Centre | 900 Woito Station Rd | Laurentian Valley | Miscellaneous Industrial | Ottawa | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2016-03-01 | 2016-03-28 | 10 | mg/L | mon avg | 1 | 87 | 87 | Conducting Study | Assessment Underway
The Corporation of the Township of Laurentian Valley - Ottawa Valley Waste Recovery Centre | 900 Woito Station Rd | Laurentian Valley | Miscellaneous Industrial | Ottawa | PHENOL | Approval/Permit Non-Compliance | 2016-03-01 | 2016-03-28 | 0.006 | mg/L | mon avg | 1 | 0.02 | 0.02 | Conducting Study | Assessment Underway
The Corporation of the Township of Laurentian Valley - Ottawa Valley Waste Recovery Centre | 900 Woito Station Rd | Laurentian Valley | Miscellaneous Industrial | Ottawa | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2016-03-01 | 2016-03-28 | 15 | mg/L | mon avg | 1 | 16.9 | 16.9 | Conducting Study | Assessment Underway
The Corporation of the Township of Laurentian Valley - Ottawa Valley Waste Recovery Centre | 900 Woito Station Rd | Laurentian Valley | Miscellaneous Industrial | Ottawa | BORON | Approval/Permit Non-Compliance | 2016-07-11 | 2016-10-17 | 1.75 | mg/L | /quart | 2 | 2.0 | 2.0 | Action Plan Submitted - Implementing Improvements; Conducting Study | Assessment Underway
The Corporation of the Township of Laurentian Valley - Ottawa Valley Waste Recovery Centre | 900 Woito Station Rd | Laurentian Valley | Miscellaneous Industrial | Ottawa | PHENOL | Approval/Permit Non-Compliance | 2016-11-01 | 2016-11-30 | 0.006 | mg/L | mon avg | 1 | 0.013 | 0.013 | Action Plan Submitted - Implementing Improvements; Conducting Study | Assessment Underway
The Regional Municipality of Peel - Caledon Sanitary Landfill | 1795 Quarry Dr | Caledon | Miscellaneous Industrial | Halton Peel | TEMPERATURE | Approval/Permit Non-Compliance | 2016-07-19 | 2016-07-19 | 2 | °C | 24hr | 1 | 2.65 | 2.65 | Other | Assessment Complete - Incident Resolved
The Regional Municipality of Peel - Caledon Sanitary Landfill | 1795 Quarry Dr | Caledon | Miscellaneous Industrial | Halton Peel | TEMPERATURE | Approval/Permit Non-Compliance | 2016-07-23 | 2016-07-23 | 2 | °C | 24hr | 1 | 2.56 | 2.56 | Operational Process Modification | Assessment Complete - Incident Resolved
The Regional Municipality of Peel - Caledon Sanitary Landfill | 1795 Quarry Dr | Caledon | Miscellaneous Industrial | Halton Peel | TEMPERATURE | Approval/Permit Non-Compliance | 2016-07-28 | 2016-07-28 | 2 | °C | 24hr | 1 | 2.77 | 2.77 | Operational Process Modification | Assessment Complete - Incident Resolved
Victoria Gold Mines (East Timmins) Limited | Lot: 12, Concession: 1, South Part, Geographic Township: HISLOP | Black River-Matheson | Metal Mining and Refining | Timmins | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2016-07-04 | 2016-08-07 | 0.05 | mg/L | /day | 8 | 0.517 | 0.517 | Other | Other Abatement Action Taken
Victoria Gold Mines (East Timmins) Limited | Lot: 12, Concession: 1, South Part, Geographic Township: HISLOP | Black River-Matheson | Metal Mining and Refining | Timmins | COPPER | Approval/Permit Non-Compliance | 2016-07-04 | 2016-08-07 | 0.05 | mg/L | mon avg | 3 | 0.377 | 0.377 | Other | Other Abatement Action Taken
Walker Aggregates Inc. - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-03-07 | 2016-03-07 | 25 | mg/L | any | 1 | 31 | 31 | None Required | Assessment Complete - No Action Required
Walker Aggregates Inc. - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-04-11 | 2016-04-11 | 25 | mg/L | any | 1 | 150 | 150 | None Required | Assessment Complete - No Action Required
Wesdome Gold Mines Ltd. - Eagle River Mine | 70km south on Paint Lake Road from Highway 17 | Unsurveyed (Thunder Bay) | Metal Mining and Refining | Sault Ste. Marie | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-10-18 | 2016-10-18 | 30 | mg/L | /day | 1 | 41 | 41 | Other | Environmental Penalty Order Issued
West Carleton Sand & Gravel Inc. - McGee Pit | 3175 Carp Road | Ottawa | Miscellaneous Industrial | Ottawa | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-04-15 | 2016-04-15 | 25 | mg/L | any | 1 | 113 | 113 | Additional Monitoring Underway | Assessment Complete - No Action Required
Weston Abbatoir Ltd. | 5409 North Talbot Rd | Tecumseh | Miscellaneous Industrial | Windsor | TOTAL SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2016-02-01 | 2016-03-31 | 25 | mg/L | mon avg | 2 | 31 | 47 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
This data is provided for information purposes only. Dischargers provide most of the information contained in this summary. Dischargers are accountable for the accuracy of the information that they submit. Some of the information is also derived from ministry data on discharges. Facility Action, Ministry Action and conviction information are all current to November 2017. For up-to-date information, please contact the appropriate district or area office.