## 2017_Industrial_Sewage_All
Propriétaire de l’installation | Nom du site | Adresse du site | Municipalité du site | Secteur | District | Contaminant | Type de dépassement | Date du début du dépassement | Date de la fin du dépassement | Limite du contaminant | Unité du contaminant | Fréquence de la limite | Nombre de dépassements | Minimum de la quantité | Maximum de la quantité | Mesure prise par l’installation | Mesure prise par le ministère
2229062 Ontario Inc. - Nature Fresh Farms | Nature Fresh Farms Inc. - Plant 2 | 525 Essex Rd 14 | Leamington | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-31 | 3 | mg/L | mon avg | 1 | 36.4 | 36.4 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated | Provincial Officer's Order Issued
2229062 Ontario Inc. - Nature Fresh Farms | Nature Fresh Farms Inc. - Plant 2 | 525 Essex Rd 14 | Leamington | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-06-01 | 2017-06-30 | 3 | mg/L | mon avg | 1 | 22.3 | 22.3 | Conducting Study; New/Modified Sampling Program Underway | Provincial Officer's Order Issued
2229062 Ontario Inc. - Nature Fresh Farms | Nature Fresh Farms Inc. - Plant 2 | 525 Essex Rd 14 | Leamington | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-07-01 | 2017-07-31 | 3 | mg/L | mon avg | 1 | 22.6 | 22.6 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Provincial Officer's Order Issued
ARLANXEO Canada Inc. | ARLANXEO Canada Inc. | 856 Tashmoo Ave | Sarnia | Organic Chemicals Manufacturing | Sarnia | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-11-18 | 2017-11-18 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Environmental Penalty Order Issued
BioAmber Sarnia Inc. | 1201 Vidal Street South | 1201 Vidal St S | Sarnia | Organic Chemicals Manufacturing | Sarnia | PH - HIGH | Approval/Permit Non-Compliance | 2017-02-13 | 2017-02-13 | 9.5 | pH | any | 1 | 14.5 | 14.5 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Voluntary Abatement Program Underway
BioAmber Sarnia Inc. | 1201 Vidal Street South | 1201 Vidal St S | Sarnia | Organic Chemicals Manufacturing | Sarnia | TEMPERATURE | Approval/Permit Non-Compliance | 2017-07-29 | 2017-07-30 | 30 | °C | /day | 2 | 30.1 | 30.1 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Voluntary Abatement Program Underway
BioAmber Sarnia Inc. | 1201 Vidal Street South | 1201 Vidal St S | Sarnia | Organic Chemicals Manufacturing | Sarnia | PH - HIGH | Approval/Permit Non-Compliance | 2017-08-08 | 2017-08-09 | 9.5 | pH | any | 2 | 14.5 | 14.5 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Voluntary Abatement Program Underway
Bruce Power Inc. - Generating Station A | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-09-11 | 2017-09-11 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Ceased Operations; Training/Procedure Change | Environmental Penalty Order Issued
Bruce Power Inc. - Generating Station A | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2017-09-11 | 2017-09-11 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Ceased Operations; Training/Procedure Change | Environmental Penalty Order Issued
Coppola Farms Inc. | Coppola Farms | 1660 Graham Side Rd | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Policy/Guideline Non-Conformance | 2017-11-30 | 2017-11-30 | 1 | mg/L | any | 1 | 3.34 | 3.34 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Del Sol Greenhouses Inc. | Del Sol Greenhouses Inc. | 1665 Graham Side Rd | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Policy/Guideline Non-Conformance | 2017-09-01 | 2017-12-31 | 0.5 | mg/L | 4 mon rolling avg | 1 | 2.6 | 2.6 | Other | Other Abatement Action Taken
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-05-01 | 2017-08-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.254 | 0.254 | None Required | Assessment Underway
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-06-01 | 2017-09-30 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2575 | 0.2575 | Conducting Study | Assessment Complete - No Action Required
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-07-01 | 2017-10-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.185 | 0.185 | Conducting Study | Assessment Complete - No Action Required
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-08-01 | 2017-11-30 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.1463 | 0.1463 | Conducting Study | Assessment Complete - No Action Required
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-09-01 | 2017-12-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2165 | 0.2165 | Conducting Study | Assessment Complete - No Action Required; Assessment Underway
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-10-31 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2173 | 0.2173 | Conducting Study | Assessment Complete - No Action Required
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2273 | 0.2273 | Conducting Study | Assessment Complete - No Action Required
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval/Permit Non-Compliance | 2017-09-01 | 2017-12-31 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.0206 | 0.0206 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval/Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.02165 | 0.02165 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval/Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.024125 | 0.024125 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval/Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.024475 | 0.024475 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE NITROGEN | Approval/Permit Non-Compliance | 2017-09-01 | 2017-12-31 | 20 | mg/L | 4 mon rolling avg | 1 | 26.96 | 26.96 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE NITROGEN | Approval/Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 20 | mg/L | 4 mon rolling avg | 1 | 29.71 | 29.71 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE NITROGEN | Approval/Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 20 | mg/L | 4 mon rolling avg | 1 | 36.82 | 36.82 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE NITROGEN | Approval/Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 20 | mg/L | 4 mon rolling avg | 1 | 45.675 | 45.675 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval/Permit Non-Compliance | 2017-09-01 | 2017-12-31 | 25 | mg/L | 4 mon rolling avg | 1 | 48.475 | 48.475 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval/Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 25 | mg/L | 4 mon rolling avg | 1 | 53.975 | 53.975 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval/Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 20 | mg/L | 4 mon rolling avg | 1 | 63.225 | 63.225 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval/Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 20 | mg/L | 4 mon rolling avg | 1 | 81.75 | 81.75 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Lafarge Canada Inc. | Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-04-23 | 2017-04-28 | 50 | mg/L | /wk | 1 | 240 | 240 | Order Appealed | Environmental Penalty Order Issued
Lafarge Canada Inc. | Zorra Site | Oxford County, Zorra Twp, Lot 1, Concession 4 | Zorra | Industrial Minerals | London | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-04-30 | 2017-05-05 | 50 | mg/L | /wk | 1 | 290 | 290 | Order Appealed | Environmental Penalty Order Issued
Leamington Area Drip Irrigation Inc. | 305 Robson Road (LADII Pumphouse) | 305 Robson Road | Leamington | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-01 | 2017-06-30 | 30.25 | mg/L | mon avg | 1 | 55.5 | 55.5 | Other | Other Abatement Action Taken
Leamington Area Drip Irrigation Inc. | 305 Robson Road (LADII Pumphouse) | 305 Robson Road | Leamington | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-08-01 | 2017-08-31 | 4.4 | mg/L | mon avg | 1 | 6.4 | 6.4 | Other | Other Abatement Action Taken
Magri Greenhouses Inc. | Magri Greenhouses | 312 Mersea Road 3 Rd | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.141 | 0.141 | Conducting Study | Assessment Complete - No Action Required
Newterra Ltd. | Bruce Power Generating Station B (units 5 - 8) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | HYDROCARBON LIGHT | Approval/Permit Non-Compliance | 2017-05-23 | 2017-05-23 | 900 | µg/L | any | 1 | 956 | 956 | Ceased Operations; New Equipment or Treatment Process Installed | Assessment Underway
NOVA Chemicals (Canada) Ltd. / NOVA Chimie (Canada) Ltee. - Corunna Site | 785 Petrolia Line | 785 Petrolia Line | St. Clair | Petroleum Refineries | Sarnia | TEMPERATURE | Approval/Permit Non-Compliance | 2017-02-23 | 2017-05-30 | 10 | °C | any | 23 | 11 | 12 | Conducting Study | Assessment Underway
Platinum Produce Company | Platinum Produce Greenhouse | 21037 Communication Rd | Chatham-Kent | Miscellaneous Industrial | Windsor | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-02-01 | 2017-02-28 | 15 | mg/L | mon avg | 1 | 21 | 21 | Other | Other Abatement Action Taken
Platinum Produce Company | Platinum Produce Greenhouse | 21037 Communication Rd | Chatham-Kent | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-02-01 | 2017-02-28 | 15 | mg/L | mon avg | 1 | 28.5 | 28.5 | Other | Other Abatement Action Taken
Platinum Produce Company | Platinum Produce Greenhouse | 21037 Communication Rd | Chatham-Kent | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-02-01 | 2017-02-28 | 4 | mg/L | mon avg | 1 | 40.2 | 40.2 | Other | Other Abatement Action Taken
Platinum Produce Company | Platinum Produce Greenhouse | 21037 Communication Rd | Chatham-Kent | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-03-01 | 2017-03-31 | 0.7 | mg/L | mon avg | 1 | 1.27 | 1.27 | Other | Other Abatement Action Taken
Platinum Produce Company | Platinum Produce Greenhouse | 21037 Communication Rd | Chatham-Kent | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-03-01 | 2017-03-31 | 4 | mg/L | mon avg | 1 | 42 | 42 | Other | Other Abatement Action Taken
Platinum Produce Company | Platinum Produce Greenhouse | 21037 Communication Rd | Chatham-Kent | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-09-01 | 2017-09-30 | 4 | mg/L | mon avg | 1 | 4.37 | 4.37 | None Required; Other | Other Abatement Action Taken
Prestressed Systems Incorporated | 4955 Walker Road | 4955 Walker Rd | Tecumseh | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-02-01 | 2017-02-28 | 15 | mg/L | mon avg | 1 | 25.8 | 25.8 | Other | Voluntary Abatement Program Underway
Shell Canada Limited, for and on behalf of Shell Canada Products - Sarnia Manufacturing Centre | Shell Canada Products - Lambton Facility | 150 St. Clair Pky | St. Clair | Petroleum Refineries | Sarnia | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-11-18 | 2017-11-18 | 340 | kg | /day | 1 | 354 | 354 | Training/Procedure Change | Voluntary Abatement Program Underway
Stormtec ON Filtration Inc. | Bruce A Transformer Station | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | HYDROCARBON LIGHT | Approval/Permit Non-Compliance | 2017-08-28 | 2017-08-28 | 1000 | µg/L | any | 1 | 2500 | 2500 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Sunsation Acres Inc. | 926 Seacliffe Drive West | 926 Seacliffe Dr W | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-03-01 | 2017-06-30 | 0.5 | mg/L | 4 mon rolling avg | 1 | 1.456 | 1.456 | Action Plan Submitted - Implementing Improvements | Assessment Underway; Voluntary Abatement Program Underway
Sunsation Acres Inc. | 926 Seacliffe Drive West | 926 Seacliffe Dr W | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-04-01 | 2017-07-31 | 0.5 | mg/L | 4 mon rolling avg | 1 | 1.031 | 1.031 | Action Plan Submitted - Implementing Improvements | Assessment Underway; Voluntary Abatement Program Underway
Sunsation Acres Inc. | 926 Seacliffe Drive West | 926 Seacliffe Dr W | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-05-01 | 2017-09-30 | 0.5 | mg/L | 4 mon rolling avg | 1 | 1.784 | 1.784 | Action Plan Submitted - Implementing Improvements | Assessment Underway; Voluntary Abatement Program Underway
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2017-06-07 | 2017-06-07 | 4 | kg/d | /day | 1 | 6.27 | 6.27 | Other | Assessment Complete - No Action Required
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2017-08-23 | 2017-08-23 | 4 | kg/d | /day | 1 | 5.62 | 5.62 | Additional Monitoring Underway | Assessment Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-27 | 2017-04-27 | 20 | mg/L | /day | 1 | 22 | 22 | Operational Process Modification | Assessment Complete - No Action Required
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-01 | 0.7 | mg/L | /day | 1 | 1.12 | 1.12 | Conducting Study; Other | Voluntary Abatement Program Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-01 | 20 | mg/L | /day | 1 | 103 | 103 | Conducting Study; Other | Voluntary Abatement Program Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-01 | 5 | mg/L | /day | 1 | 23.6 | 23.6 | Conducting Study; Other | Voluntary Abatement Program Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-10-20 | 2017-10-20 | 20 | mg/L | /day | 1 | 26 | 26 | Ceased Operations; Operational Process Modification | Assessment Complete - Incident Resolved; Provincial Officer's Order Issued
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-10-26 | 2017-10-26 | 20 | mg/L | /day | 1 | 28 | 28 | Ceased Operations; Operational Process Modification | Assessment Complete - Incident Resolved; Provincial Officer's Order Issued
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-11-23 | 2017-11-23 | 20 | mg/L | /day | 1 | 24 | 24 | Additional Monitoring Underway; Ceased Operations; Conducting Study | Assessment Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-11-29 | 2017-11-29 | 20 | mg/L | /day | 1 | 59 | 59 | Additional Monitoring Underway; Ceased Operations; Conducting Study | Assessment Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 N | Kincardine | Miscellaneous Industrial | Owen Sound | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-12-10 | 2017-12-10 | 0.7 | mg/L | /day | 1 | 0.94 | 0.94 | Ceased Operations; Operational Process Modification | Assessment Complete - Incident Resolved; Provincial Officer's Order Issued
WJI Farms Inc. | WJI Farms Inc. | 433 Erie St S | Leamington | Miscellaneous Industrial | Windsor | PH - HIGH | Approval/Permit Non-Compliance | 2017-09-21 | 2017-09-21 | 10 | pH | any | 1 | 10.4 | 10.4 | Additional Monitoring Underway | Other Abatement Action Taken
Z.D.S. Farms Ltd. | Z.D.S. Farms | 115 County Rd 18 | Leamington | Miscellaneous Industrial | Windsor | PH - LOW | Approval/Permit Non-Compliance | 2017-08-01 | 2017-08-31 | 6.5 | pH | any | 1 | 6.4 | 6.4 | None Required | Assessment Complete - No Action Required
Z.D.S. Farms Ltd. | Z.D.S. Farms | 115 County Rd 18 | Leamington | Miscellaneous Industrial | Windsor | PH - LOW | Approval/Permit Non-Compliance | 2017-09-01 | 2017-09-30 | 6.5 | pH | any | 1 | 6.42 | 6.42 | None Required | Assessment Complete - No Action Required
Z.D.S. Farms Ltd. | Z.D.S. Farms | 115 County Rd 18 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval/Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.6 | 0.6 | Additional Monitoring Underway; None Required | Assessment Complete - No Action Required
Brampton Brick Limited - Cheltenham Quarry | Brampton Brick Cheltenham Quarry | 14370 Mississauga Rd | Caledon | Industrial Minerals | Halton-Peel | PH - HIGH | Approval/Permit Non-Compliance | 2017-07-07 | 2017-07-07 | 8.5 | pH | any | 1 | 8.8 | 8.8 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Other | Assessment Complete - Incident Resolved
CRH Canada Group Inc. | 2391 Lakeshore Road West | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2017-01-01 | 2017-01-31 | 25 | mg/L | mon avg | 1 | 25.3 | 25.3 | Action Plan Submitted - Implementing Improvements; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Voluntary Abatement Program Underway
CRH Canada Group Inc. | 2391 Lakeshore Road West | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2017-01-17 | 2017-01-17 | 50 | mg/L | any | 1 | 63.4 | 63.4 | Action Plan Submitted - Implementing Improvements; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Voluntary Abatement Program Underway
CRH Canada Group Inc. | 2391 Lakeshore Road West | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2017-02-01 | 2017-02-28 | 25 | mg/L | mon avg | 1 | 50.8 | 50.8 | Action Plan Submitted - Implementing Improvements; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Voluntary Abatement Program Underway
CRH Canada Group Inc. | 2391 Lakeshore Road West | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance; Legislation Non-Compliance | 2017-02-28 | 2017-02-28 | 50 | mg/L | any | 1 | 112.3 | 112.3 | Action Plan Submitted - Implementing Improvements; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Voluntary Abatement Program Underway
Dufferin Aggregates, a division of CRH Canada Group Inc. - Dufferin Concrete Etobicoke Plant | Dufferin Concrete Etobicoke Plant | 1185 Martin Grove Rd | Toronto | Miscellaneous Industrial | Toronto | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-04 | 2017-04-04 | 25 | mg/L | seasonal, six times a year from early spring to late fall | 1 | 30 | 30 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Voluntary Abatement Program Underway
Dufferin Aggregates, a division of CRH Canada Group Inc. - Dufferin Concrete Etobicoke Plant | Dufferin Concrete Etobicoke Plant | 1185 Martin Grove Rd | Toronto | Miscellaneous Industrial | Toronto | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-09-01 | 2017-09-01 | 25 | mg/L | seasonal, six times a year from early spring to late fall | 1 | 41 | 41 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Voluntary Abatement Program Underway
Fowler Construction Company Limited - Fleming Quarry | Fleming Quarry | 3230 Switch Rd | Ramara | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-20 | 2017-06-20 | 25 | mg/L | any | 1 | 38 | 38 | Operational Process Modification | Assessment Complete - No Action Required
Fowler Construction Company Limited - Fleming Quarry | Fleming Quarry | 3230 Switch Rd | Ramara | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-08-16 | 2017-08-16 | 25 | mg/L | any | 1 | 33 | 33 | Ceased Operations; Operational Process Modification | Assessment Complete - Incident Resolved
Maple Lodge Farms Ltd. - 8301 Winston Churchill Boulevard | 8301 Winston Churchill Boulevard | 8301 Winston Churchill Boulevard | Brampton | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-12-22 | 2017-12-22 | 25 | mg/L | n/a | 1 | 34 | 34 | Operational Process Modification | Assessment Complete - Incident Resolved
Maple Lodge Farms Ltd. - 8301 Winston Churchill Boulevard | 8301 Winston Churchill Boulevard | 8301 Winston Churchill Boulevard | Brampton | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-12-27 | 2017-12-27 | 25 | mg/L | n/a | 1 | 30 | 30 | Operational Process Modification | Assessment Complete - Incident Resolved
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-01 | 15 | mg/L | /wk | 1 | 18.2 | 18.2 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-08 | 2017-05-08 | 15 | mg/L | /wk | 1 | 19.5 | 19.5 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-15 | 2017-05-15 | 15 | mg/L | /wk | 1 | 21.6 | 21.6 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-05 | 2017-06-05 | 15 | mg/L | /wk | 1 | 21.8 | 21.8 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-12 | 2017-06-12 | 15 | mg/L | /wk | 1 | 30.8 | 30.8 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-19 | 2017-06-19 | 15 | mg/L | /wk | 1 | 31.7 | 31.7 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-26 | 2017-06-26 | 15 | mg/L | /wk | 1 | 17.9 | 17.9 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-09-18 | 2017-09-18 | 15 | mg/L | /wk | 1 | 21.4 | 21.4 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-10-02 | 2017-10-02 | 15 | mg/L | /wk | 1 | 31 | 31 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-10-09 | 2017-10-09 | 15 | mg/L | /wk | 1 | 43.5 | 43.5 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-10-16 | 2017-10-16 | 15 | mg/L | /wk | 1 | 93 | 93 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-10-30 | 2017-10-30 | 15 | mg/L | /wk | 1 | 30 | 30 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-11-06 | 2017-11-06 | 15 | mg/L | /wk | 1 | 43.5 | 43.5 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-12-04 | 2017-12-04 | 15 | mg/L | /wk | 1 | 39.3 | 39.3 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-12-18 | 2017-12-18 | 15 | mg/L | /wk | 1 | 22.2 | 22.2 | Operational Process Modification | Other Abatement Action Taken
Nalco Canada | 95 Queens Quay East | 95 Queens Quay E, Toronto, City, M5E 1A3 - Port Lands on the south side of Queens Quay East | Toronto | Miscellaneous Industrial | Toronto | SUSPENDED SOLIDS | Condition of Operation | 2017-09-21 | 2017-09-21 | 25 | mg/L | Two control treatment periods between June 1 and Oct 30 annually | 1 | 35 | 35 | None Required | Voluntary Abatement Program Underway
Newterra Ltd. | MOBILE REMEDIATION UNIT AT 55 Eagle St W | 55 Eagle St W | Newmarket | Miscellaneous Industrial | York-Durham | CHROMIUM, HEXAVALENT | Approval/Permit Non-Compliance | 2017-02-28 | 2017-02-28 | 1 | µg/L | ANY | 3 | 19.8 | 75.1 | Ceased Operations | Other Abatement Action Taken
Newterra Ltd. | MOBILE REMEDIATION UNIT AT 55 Eagle St W | 55 Eagle St W | Newmarket | Miscellaneous Industrial | York-Durham | TOLUENE | Approval/Permit Non-Compliance | 2017-03-06 | 2017-03-06 | 0.8 | µg/L | ANY | 1 | 2.36 | 2.36 | Ceased Operations | Other Abatement Action Taken
Newterra Ltd. | MOBILE REMEDIATION UNIT AT 55 Eagle St W | 55 Eagle St W | Newmarket | Miscellaneous Industrial | York-Durham | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-03-06 | 2017-03-06 | 25 | mg/L | ANY | 1 | 111 | 111 | Ceased Operations | Other Abatement Action Taken
Newterra Ltd. | MOBILE REMEDIATION UNIT AT 55 Eagle St W | 55 Eagle St W | Newmarket | Miscellaneous Industrial | York-Durham | PHENANTHRENE | Approval/Permit Non-Compliance | 2017-03-06 | 2017-03-06 | 0.03 | µg/L | ANY | 1 | 0.171 | 0.171 | Ceased Operations | Other Abatement Action Taken
Newterra Ltd. | MOBILE REMEDIATION UNIT AT 55 Eagle St W | 55 Eagle St W | Newmarket | Miscellaneous Industrial | York-Durham | PH - HIGH | Approval/Permit Non-Compliance | 2017-03-28 | 2017-03-28 | 8.5 | pH | ANY | 3 | 9.06 | 11.11 | Ceased Operations | Other Abatement Action Taken
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-01-01 | 2017-01-31 | 10 | ml/L | mon avg | 1 | 19.4 | 19.4 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-01-01 | 2017-01-31 | 0.3 | ml/L | mon avg | 1 | 2.06 | 2.06 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-01-01 | 2017-01-31 | 10 | mg/L | mon avg | 1 | 30.25 | 30.25 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-31 | 0.3 | ml/L | mon avg | 1 | 1.12 | 1.12 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-07-01 | 2017-07-31 | 10 | ml/L | mon avg | 1 | 112.25 | 112.25 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-07-01 | 2017-07-31 | 0.3 | ml/L | mon avg | 1 | 1.58 | 1.58 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-07-01 | 2017-07-31 | 10 | ml/L | mon avg | 1 | 32.75 | 32.75 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limitd | 4205 Second Line (Lot 2 Concession 1 northwest corner), Bradford West Gwillimbury, Town, County of Simcoe, L0G 1T0 | Schomberg, Bradford West Gwillimbury, Town, County of Simcoe | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-08-01 | 2017-08-31 | 0.3 | ml/L | mon avg | 1 | 0.44 | 0.44 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway; Voluntary Abatement Program Underway
Cascades Canada ULC | Norampac-Trenton | 300 Marmora St Trenton | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2017-03-14 | 2017-03-14 | 0.117 | kg/d | /wk | 1 | 0.345 | 0.345 | Additional Monitoring Underway | Environmental Penalty Order Issued
Cascades Canada ULC | Norampac-Trenton | 300 Marmora St Trenton | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2017-03-21 | 2017-03-21 | 0.117 | kg/d | /wk | 1 | 0.401 | 0.401 | Additional Monitoring Underway | Assessment Underway; Environmental Penalty Order Issued
Cascades Canada ULC | Norampac-Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2017-03-01 | 2017-03-31 | 0.117 | kg/d | mon avg | 1 | 0.229 | 0.229 | Conducting Study | Environmental Penalty Order Issued
Cascades Canada ULC | Norampac-Trenton | 300 Marmora St Trenton | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2017-12-05 | 2017-12-05 | 0.102 | kg/d | /d | 1 | 0.328 | 0.328 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
CRH Canada Group Inc. | Ogden Point Quarry | 176 Victoria Beach Boulevard | Cramahe | Industrial Minerals | Peterborough | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-31 | 25 | mg/L | mon avg | 1 | 38 | 38 | None Required | Assessment Complete - No Action Required
CRH Canada Group Inc. | Ogden Point Quarry | 176 Victoria Beach Boulevard | Cramahe | Industrial Minerals | Peterborough | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-06-01 | 2017-06-30 | 25 | mg/L | mon avg | 1 | 30 | 30 | None Required | Assessment Complete - No Action Required
Domtar Inc. | Domtar Wood Preserving Plant | 126 Marmora St | Quinte West | Miscellaneous Industrial | Peterborough | PENTACHLOROPHENOL (PCP) | Approval/Permit Non-Compliance | 2017-04-01 | 2017-05-31 | 2 | µg/L | 2 mon avg | 1 | 4.34 | 4.34 | None Required | Assessment Complete - No Action Required
Domtar Inc. | Domtar Wood Preserving Plant | 126 Marmora St | Quinte West | Miscellaneous Industrial | Peterborough | PENTACHLOROPHENOL (PCP) | Approval/Permit Non-Compliance | 2017-05-01 | 2017-06-30 | 2 | µg/L | 2 mon avg | 1 | 4.34 | 4.34 | None Required | Assessment Complete - No Action Required
Evonik Oil Additives Canada Inc. | Evonik Oil Additives | 12695 County Rd. 2, South Dundas | South Dundas | Organic Chemicals Manufacturing | Cornwall | OIL/GREASE | Approval/Permit Non-Compliance | 2017-02-13 | 2017-02-13 | 4.8 | kg/d | /d | 1 | 23.582 | 23.582 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Evonik Oil Additives Canada Inc. | Evonik Oil Additives | 12695 County Rd. 2, South Dundas | South Dundas | Organic Chemicals Manufacturing | Cornwall | OIL/GREASE | Approval/Permit Non-Compliance | 2017-02-13 | 2017-03-13 | 3 | mg/L | /wk | 1 | 57.1 | 57.1 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Technical Standard requested by the sector | Voluntary Abatement Program Underway
GFL Environmental Inc. | GFL Environmental Inc. Brighton Facility | 118 County Road 64 Lots 33 & 34 Concession B Brighton | Brighton | Miscellaneous Industrial | Peterborough | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-02-06 | 2017-02-09 | 5 | mg/L | any | 1 | 15 | 15 | Additional Monitoring Underway | Assessment Complete - No Action Required
Her Majesty the Queen in right of Ontario as represented by the Minister of Natural Resources and Forestry | FORMER CANADIAN INTERNATIONAL PAPER SITE (CIP INC) | 229 MAIN St W | Hawkesbury | Miscellaneous Industrial | Cornwall | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-08-08 | 2017-08-09 | 0.47 | mg/L | any | 1 | 3.08 | 3.08 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Her Majesty the Queen in right of Ontario as represented by the Minister of Natural Resources and Forestry | FORMER CANADIAN INTERNATIONAL PAPER SITE (CIP INC) | 229 MAIN St W | Hawkesbury | Miscellaneous Industrial | Cornwall | ALUMINUM | Approval/Permit Non-Compliance | 2017-08-08 | 2017-08-09 | 3.46 | mg/L | any | 1 | 18.6 | 18.6 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Her Majesty the Queen in right of Ontario as represented by the Minister of Natural Resources and Forestry | FORMER CANADIAN INTERNATIONAL PAPER SITE (CIP INC) | 229 MAIN St W | Hawkesbury | Miscellaneous Industrial | Cornwall | COPPER | Approval/Permit Non-Compliance | 2017-08-08 | 2017-08-09 | 0.037 | mg/L | any | 1 | 0.055 | 0.055 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Her Majesty the Queen in right of Ontario as represented by the Minister of Natural Resources and Forestry | FORMER CANADIAN INTERNATIONAL PAPER SITE (CIP INC) | 229 MAIN St W | Hawkesbury | Miscellaneous Industrial | Cornwall | IRON | Approval/Permit Non-Compliance | 2017-08-08 | 2017-08-09 | 2.83 | mg/L | any | 1 | 23 | 23 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Ingredion Canada Corporation | Ingredion - Edwardsburgh/Cardinal Plant | 4040 James St | Edwardsburgh/Cardinal | Miscellaneous Industrial | Kingston | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-04-01 | 2017-04-30 | 1 | mg/L | mon avg | 1 | 1.6 | 1.6 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Ingredion Canada Corporation | Ingredion - Edwardsburgh/Cardinal Plant | 4040 James St | Edwardsburgh/Cardinal | Miscellaneous Industrial | Kingston | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-01 | 2017-04-30 | 25 | mg/L | mon avg | 1 | 42 | 42 | Equipment Modified - Repaired - Replaced or Re-calibrated | Voluntary Abatement Program Underway
Lafarge Canada Inc. | Bath Cement Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-04-01 | 2017-11-30 | 25 | mg/L | mon avg | 3 | 31 | 43.33 | Dredging MISA pond | Voluntary Abatement Program Underway
Lafarge Canada Inc. | Bath Cement Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-04-12 | 2017-08-09 | 50 | mg/L | daily average | 4 | 57 | 77 | Dredging MISA pond | Voluntary Abatement Program Underway
Lafarge Canada Inc. | Bath Cement Plant | 6501 Bath Road | Loyalist | Industrial Minerals | Kingston | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-11-01 | 2017-11-30 | 30 | mg/L | mon avg | 1 | 31 | 31 | Dredging MISA pond | Voluntary Abatement Program Underway
Magellan Aerospace Corporation | Magellan Aerospace Limited | 634 Magnesium Road, Haley, ON | Whitewater Region | Metal Casting | Ottawa | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2017-03-08 | 2017-03-13 | 0 | acute toxicity | any | 2 | 1 | 1 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-01-01 | 2017-01-31 | 0.3 | mg/L | mon avg | 1 | 0.5 | 0.5 | Conducting Study | Assessment Underway; Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-02-01 | 2017-02-28 | 0.3 | mg/L | mon avg | 1 | 0.815 | 0.815 | Additional Monitoring Underway | Assessment Underway
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-03-01 | 2017-03-31 | 0.3 | mg/L | mon avg | 1 | 0.45 | 0.45 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval/Permit Non-Compliance | 2017-04-01 | 2017-04-30 | 0.3 | mg/L | mon avg | 1 | 0.475 | 0.475 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Parmalat Canada Inc. | Parmalat Canada Inc. (Winchester Facility) | 490 Gordon St Winchester | North Dundas | Miscellaneous Industrial | Cornwall | FLOW | Approval/Permit Non-Compliance | 2017-01-01 | 2017-12-31 | 512400 | m³ | /annum | 1 | 760440 | 760440 | Other | Voluntary Abatement Program Underway
Sandvik Canada, Inc. | 425 McCartney Street | 425 McCartney St | Arnprior | Miscellaneous Industrial | Ottawa | 1,1,1,- TRICHLOROETHANE | Approval/Permit Non-Compliance | 2017-11-30 | 2017-11-30 | 10 | µg/L | any | 1 | 166 | 166 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Sandvik Canada, Inc. | 425 McCartney Street | 425 McCartney St | Arnprior | Miscellaneous Industrial | Ottawa | 1,1-DICHLOROETHANE | Approval/Permit Non-Compliance | 2017-11-30 | 2017-11-30 | 200 | µg/L | any | 1 | 314 | 314 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Sandvik Canada, Inc. | 425 McCartney Street | 425 McCartney St | Arnprior | Miscellaneous Industrial | Ottawa | 1,1-DICHLOROETHYLENE | Approval/Permit Non-Compliance | 2017-11-30 | 2017-11-30 | 4.1 | µg/L | any | 1 | 38.8 | 38.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Sandvik Canada, Inc. | 425 McCartney Street | 425 McCartney St | Arnprior | Miscellaneous Industrial | Ottawa | TRICHLOROETHYLENE | Approval/Permit Non-Compliance | 2017-11-30 | 2017-11-30 | 20 | µg/L | any | 1 | 75 | 75 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-06-02 | 2017-06-02 | PASS | acute toxicity | ANY | 1 | FAIL | FAIL | Conducting Study | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-06-07 | 2017-06-07 | PASS | acute toxicity | ANY | 1 | FAIL | FAIL | Conducting Study | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-06-11 | 2017-06-11 | PASS | acute toxicity | ANY | 1 | FAIL | FAIL | Conducting Study | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-06-20 | 2017-06-20 | 2320 | kg | /d | 1 | 3018 | 3018 | Conducting Study | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-06-27 | 2017-06-27 | 2320 | kg | /d | 1 | 2594 | 2594 | Operational Process Modification | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-08-30 | 2017-08-30 | 2320 | kg | /d | 1 | 3962 | 3962 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-08-31 | 2017-08-31 | 2320 | kg | /d | 1 | 3419 | 3419 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-09-02 | 2017-09-02 | 2320 | kg | /d | 1 | 2594 | 2594 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Rd Trenton | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-11-09 | 2017-11-09 | 2320 | kg | /d | 1 | 3351 | 3351 | Operational Process Modification | Assessment Complete - Incident Resolved
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Rd Trenton | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-12-10 | 2017-12-10 | 2320 | kg | /d | 1 | 2800 | 2800 | Operational Process Modification | Assessment Complete - Incident Resolved
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Rd Trenton | Quinte West | Pulp and Paper | Peterborough | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-12-11 | 2017-12-11 | 2320 | kg | /d | 1 | 3441 | 3441 | Operational Process Modification | Assessment Complete - Incident Resolved
Wellteck Environmental Systems Inc. | MOBILE UNIT OPERATING AT 4016 County Road 22 | 4016 County Road 22 | Edwardsburgh/Cardinal | Miscellaneous Industrial | Kingston | PH - HIGH | Approval/Permit Non-Compliance | 2017-01-13 | 2017-01-13 | 8.5 | pH | ANY | 1 | 8.7 | 8.7 | None Required | Assessment Complete - Incident Resolved
Atlantic Power GP Inc. | Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Stoddart | Electric Power Generation | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-25 | 2017-04-25 | 15 | mg/L | any | 1 | 25.3 | 25.3 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Atlantic Power GP Inc. | Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Stoddart | Electric Power Generation | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-09 | 2017-05-09 | 15 | mg/L | any | 1 | 19 | 19 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Atlantic Power GP Inc. | Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Stoddart | Electric Power Generation | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-25 | 2017-05-25 | 15 | mg/L | any | 1 | 22.7 | 22.7 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Atlantic Power GP Inc. | Calstock Power Plant | Lot: 26 27 28, Concession: 4, Geographic Township: STODDART | Stoddart | Electric Power Generation | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-11-04 | 2017-11-04 | 15 | mg/L | any | 1 | 35 | 35 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
De Beers Canada Inc. | De Beers Canda Inc. - Victor Mine | Victor Mine 90 km W of Attawapiskat | Unsurveyed Territory (Timmins District Office) | Industrial Minerals | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-31 | 15 | mg/L | mon avg | 1 | 38.8 | 38.8 | New/Amended Approval | Additional Requirements Added in Approval/Permit
De Beers Canada Inc. | De Beers Canda Inc. - Victor Mine | Victor Mine 90 km W of Attawapiskat | Unsurveyed Territory (Timmins District Office) | Industrial Minerals | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-08-30 | 2017-09-01 | 30 | mg/L | /d | 2 | 42.7 | 42.7 | Operational Process Modification | Assessment Underway
Detour Gold Corporation | Detour Lake Mine | Leased Mining Claim RW307, Unsurveyed Territory, District of Cochrane | Unsurveyed Territory (Timmins District Office) | Metal Mining and Refining | Timmins | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-08-01 | 2017-08-31 | 25 | mg/L | mon avg | 1 | 41 | 41 | Training/Procedure Change | Voluntary Abatement Program Underway
Detour Gold Corporation | Detour Lake Mine | Leased Mining Claim RW307, Unsurveyed Territory, District of Cochrane | Unsurveyed Territory (Timmins District Office) | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-09-17 | 2017-09-17 | 30 | mg/L | /d | 1 | 41 | 41 | Ceased Operations; New/Modified Sampling Program Underway; Training/Procedure Change | Assessment Underway; Voluntary Abatement Program Underway
Domtar Inc. | Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | TOLUENE | Legislation Non-Compliance | 2017-05-29 | 2017-05-29 | 0.361 | kg | /d | 1 | 0.675 | 0.675 | Conducting Study | Assessment Complete - No Action Required
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-03-01 | 2017-03-31 | 6080 | kg/d | mon avg | 1 | 6409 | 6409 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Approval/Permit Non-Compliance | 2017-03-01 | 2017-03-31 | 0.502 | kg/d | mon avg | 1 | 1.384 | 1.384 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-03-02 | 2017-03-07 | 12200 | kg | /d | 5 | 12388 | 15125 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2017-03-07 | 2017-03-07 | 0 | acute toxicity | any | 1 | 1 | 1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | PHENOL | Approval/Permit Non-Compliance | 2017-02-28 | 2017-03-07 | 0.502 | kg | /d | 6 | 1.391 | 3.678 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-01 | 2017-04-30 | 9570 | kg/d | mon avg | 1 | 9755 | 9755 | None Required | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-04-03 | 2017-04-06 | 0 | acute toxicity | any | 1 | 1 | 1 | None Required | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2017-04-03 | 2017-04-06 | 0 | acute toxicity | any | 2 | 1 | 1 | None Required | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-04-03 | 2017-04-06 | 12200 | kg | /d | 4 | 12439 | 18909 | None Required | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-03 | 2017-04-06 | 16300 | kg | /d | 4 | 16920 | 24989 | None Required | Environmental Penalty Order Issued
Glencore Canada Corporation | Geco Mine | Approx. 5km NE of the Town of Manitouwadge | Manitouwadge | Metal Mining and Refining | Thunder Bay | ACUTE LETHALITY - DAPHNIA | Approval/Permit Non-Compliance | 2017-03-22 | 2017-03-22 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Goldcorp Canada Ltd. | McIntyre Shaft # 11 | Lot: 9, Concession: 3, Geographic Township: TISDALE | Timmins | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-27 | 2017-04-28 | 30 | mg/L | any | 1 | 33.5 | 33.5 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Harte Gold Corp. | Sugar Zone Project | Undeveloped Crown Land 300 km east of Thunder Bay and 30 km northeast of White River | Hambleton | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2017-05-09 | 2017-05-09 | 0 | acute toxicity | any | 1 | 1 | 1 | Additional Monitoring Underway | Assessment Underway
Her Majesty the Queen in Right of Ontario as Represented by the Minister of Northern Development and Mines | Kam Kotia Mine | 11075 Kamiskotia Rd | Timmins | Metal Mining and Refining | Timmins | ZINC | Approval/Permit Non-Compliance | 2017-04-01 | 2017-04-30 | 0.1 | mg/L | mon avg | 1 | 0.119 | 0.119 | Operational Process Modification | Voluntary Abatement Program Underway
Her Majesty the Queen in Right of Ontario as Represented by the Minister of Northern Development and Mines | Kam Kotia Mine | 11075 Kamiskotia Rd | Timmins | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-09-01 | 2017-09-30 | 15 | mg/L | mon avg | 1 | 17 | 17 | Operational Process Modification | Voluntary Abatement Program Underway
Her Majesty the Queen in Right of Ontario as Represented by the Minister of Northern Development and Mines | Kam Kotia Mine | 11075 Kamiskotia Rd | Timmins | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-09-21 | 2017-09-21 | 30 | mg/L | /d | 1 | 32.3 | 32.3 | Operational Process Modification | Voluntary Abatement Program Underway
Kirkland Lake Gold Inc. | Kirkland Lake Gold Inc. - Macassa Mine Site | 1350 Government Rd W | Kirkland Lake | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-01-01 | 2017-01-31 | 15 | mg/L | mon avg | 1 | 45.3 | 45.3 | Training/Procedure Change | Assessment Complete - Incident Resolved
Kirkland Lake Power Corp | Kirkland Lake Power Corp. | 505 Archer Dr P.O. Box 1118, Kirkland Lake, Town, District of Timiskaming, P2N 3M7 | Kirkland Lake | Electric Power Generation | Timmins | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-07-01 | 2017-07-31 | 25 | mg/L | mon avg | 1 | 55 | 55 | None Required | Assessment Complete - No Action Required
Lac Des Iles Mine Ltd | Lac Des Iles Mine Site | Mining Lease 252 and 251 - 17 km East of Highway 527 | Thunder Bay | Metal Mining and Refining | Thunder Bay | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-03-27 | 2017-03-27 | 30 | mg/L | /d | 1 | 35 | 35 | Additional Monitoring Underway | Assessment Complete - No Action Required
New Gold Inc. | Rainy River Project (Gold Mine) | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | ACUTE LETHALITY - TROUT | Approval/Permit Non-Compliance | 2017-02-20 | 2017-02-20 | 0 | acute toxicity | any | 1 | 1 | 1 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Operational Process Modification | Assessment Complete - Incident Resolved
New Gold Inc. | Rainy River Project (Gold Mine) | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-03-27 | 2017-04-04 | 30 | mg/L | /d | 9 | 91.5 | 406 | Ceased Operations | Assessment Complete - Incident Resolved
New Gold Inc. | Rainy River Project (Gold Mine) | Highway 600 North of Black Hawk | Chapple | Metal Mining and Refining | Kenora | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-07-01 | 2017-07-31 | 15 | mg/L | mon avg | 1 | 15.1 | 15.1 | Other | Assessment Complete - No Action Required
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-02-21 | 2017-02-21 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-02-28 | 2017-02-28 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-08-08 | 2017-08-08 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-09-11 | 2017-09-11 | 0 | acute toxicity | any | 1 | 1 | 1 | Other | Environmental Penalty Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2017-10-31 | 2017-10-31 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-02-13 | 2017-03-06 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 1.4 | 1.4 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-02-21 | 2017-03-21 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 1.2 | 1.2 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-04-04 | 2017-05-02 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 4.2 | 4.2 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-04-11 | 2017-05-09 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 7.3 | 7.3 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-04-18 | 2017-05-16 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 7.3 | 7.3 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-04-25 | 2017-05-23 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 4.6 | 4.6 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-05-02 | 2017-05-30 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 1.5 | 1.5 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-07-04 | 2017-07-25 | 1 | mg/L | median concentration of four (4) consecutive samples | 1 | 1.2 | 1.2 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval/Permit Non-Compliance | 2017-12-12 | 2017-12-29 | 1 | mg/L | median concentration of four (4) consecutive samples | 3 | 1.2 | 1.5 | Conducting Study; Operational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | PH - LOW | Approval/Permit Non-Compliance | 2017-12-17 | 2017-12-30 | 6.5 | pH | two (2) consecutive pH measurements | 4 | 6.1 | 6.4 | Other | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | PH - LOW | Legislation Non-Compliance | 2017-12-26 | 2017-12-29 | 6 | pH | any | 4 | 5.0 | 5.8 | Other | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-04 | 2017-05-02 | 15 | mg/L | median concentration of four (4) consecutive samples | 1 | 22 | 22 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-11 | 2017-05-09 | 15 | mg/L | median concentration of four (4) consecutive samples | 1 | 44.4 | 44.4 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-04-11 | 2017-05-09 | 50 | mg/L | any | 1 | 59 | 59 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-18 | 2017-05-16 | 15 | mg/L | median concentration of four (4) consecutive samples | 1 | 44.4 | 44.4 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-25 | 2017-05-23 | 15 | mg/L | median concentration of four (4) consecutive samples | 1 | 33.8 | 33.8 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Legislation Non-Compliance | 2017-05-01 | 2017-05-30 | 25 | mg/L | mon avg | 1 | 29 | 29 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-07-04 | 2017-07-25 | 15 | mg/L | median concentration of four (4) consecutive samples | 1 | 21.5 | 21.5 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ZINC | Approval/Permit Non-Compliance | 2017-04-11 | 2017-05-09 | 0.1 | mg/L | median concentration of four (4) consecutive samples | 1 | 0.2 | 0.2 | Conducting Study | Assessment Underway
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ZINC | Approval/Permit Non-Compliance | 2017-04-18 | 2017-05-16 | 0.1 | mg/L | median concentration of four (4) consecutive samples | 1 | 0.2 | 0.2 | Conducting Study | Assessment Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-02-17 | 2017-02-17 | 1 | mg/L | /d | 1 | 1.16 | 1.16 | Operational Process Modification | Assessment Complete - Incident Resolved
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-05-24 | 2017-05-24 | 1 | mg/L | /d | 1 | 1.38 | 1.38 | New/Amended Approval | Additional Requirements Added in Approval/Permit; Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-06-09 | 2017-06-09 | 1 | mg/L | /d | 1 | 1.01 | 1.01 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-06-21 | 2017-06-21 | 1 | mg/L | /d | 1 | 1.18 | 1.18 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed; Operational Process Modification | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-06-29 | 2017-06-29 | 1 | mg/L | /d | 1 | 1.57 | 1.57 | Ceased Operations; New/Amended Approval | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-07-27 | 2017-07-27 | 1 | mg/L | /d | 1 | 1.48 | 1.48 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed; Operational Process Modification | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-08-03 | 2017-08-03 | 1 | mg/L | /d | 1 | 1.23 | 1.23 | Action Plan Submitted - Implementing Improvements; Conducting Study | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-08-10 | 2017-08-10 | 1 | mg/L | /d | 1 | 1.11 | 1.11 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-08-31 | 2017-08-31 | 1 | mg/L | /d | 1 | 1.11 | 1.11 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-09-06 | 2017-09-06 | 1 | mg/L | /d | 1 | 1.18 | 1.18 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
Primero Mining Corp. | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-10-26 | 2017-10-26 | 1 | mg/L | /d | 1 | 1.19 | 1.19 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
10393444 Canada Inc. o/a McEwan Ontario | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-11-02 | 2017-11-02 | 1 | mg/L | /d | 1 | 1.07 | 1.07 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed; Operational Process Modification | Voluntary Abatement Program Underway
10393444 Canada Inc. o/a McEwan Ontario | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-11-16 | 2017-11-16 | 1 | mg/L | /d | 1 | 1.44 | 1.44 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Other Abatement Action Taken; Voluntary Abatement Program Underway
10393444 Canada Inc. o/a McEwan Ontario | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-11-22 | 2017-11-22 | 1 | mg/L | /d | 1 | 1.29 | 1.29 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed | Voluntary Abatement Program Underway
10393444 Canada Inc. o/a McEwan Ontario | Black Fox Mine | Highway 101 E 10 km East of Matheson Hislop Geographic Township | Black River-Matheson | Metal Mining and Refining | Timmins | IRON | Approval/Permit Non-Compliance | 2017-11-30 | 2017-11-30 | 1 | mg/L | /d | 1 | 1.43 | 1.43 | Action Plan Submitted - Implementing Improvements; New Equipment or Treatment Process Installed; Operational Process Modification | Voluntary Abatement Program Underway
Rio Algom Limited | Stanleigh Tailings Management Area | Stanleigh Mine | Elliot Lake | Miscellaneous Industrial | Sault Ste. Marie | RADIUM-226 | Approval/Permit Non-Compliance | 2017-12-01 | 2017-12-31 | 0.37 | Bq/L | mon avg | 1 | 0.415 | 0.415 | Conducting Study | Assessment Underway
Tembec | Tembec | 1 Government Road | Kapuskasing | Pulp and Paper | Timmins | ACUTE LETHALITY - DAPHNIA | Approval/Permit Non-Compliance | 2017-07-31 | 2017-07-31 | 0 | acute toxicity | any | 1 | 1 | 1 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway; Environmental Penalty Order Issued
Tembec | Tembec | 1 Government Road | Kapuskasing | Pulp and Paper | Timmins | ACUTE LETHALITY - DAPHNIA | Approval/Permit Non-Compliance | 2017-07-17 | 2017-07-17 | 0 | acute toxicity | any | 1 | 1 | 1 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway; Environmental Penalty Order Issued
Tembec | Tembec | 1 Government Road | Kapuskasing | Pulp and Paper | Timmins | ACUTE LETHALITY - DAPHNIA | Approval/Permit Non-Compliance | 2017-09-25 | 2017-09-25 | 0 | acute toxicity | any | 1 | 1 | 1 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway; Environmental Penalty Order Issued
Wesdome Gold Mines Ltd. | Mishi Pit | off Paint Lake Road approx 35 km Northwest of Wawa | Unsurveyed (Thunder Bay D.O.) | Metal Mining and Refining | Sault Ste. Marie | ZINC | Approval/Permit Non-Compliance | 2017-03-05 | 2017-03-05 | 0.07 | mg/L | any | 1 | 0.13 | 0.13 | None Required | Other Abatement Action Taken
A.O. Smith Enterprises Ltd. | 599 Hill Street West | 599 Hill St W | Centre Wellington | Miscellaneous Industrial | Guelph | TRICHLOROETHYLENE | Approval/Permit Non-Compliance | 2017-08-02 | 2017-08-09 | 20 | µg/L | any | 1 | 1320 | 1320 | Operational Process Modification; Training/Procedure Change | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
All Treat Farms Limited | All Treat Farms | 7963 Wellington County Road 109 Rural Route 4 | Wellington North | Miscellaneous Industrial | Guelph | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-11-01 | 2017-11-30 | 20 | mg/L | mon avg | 1 | 152 | 152 | Ceased Operations | Assessment Complete - Incident Resolved
Heidelberg Foods (Real Estate) Ltd. | 1035 Reitzel Place | 1035 Reitzel Pl St. Jacobs | Woolwich | Miscellaneous Industrial | Guelph | TOTAL INORGANIC NITROGEN | Approval/Permit Non-Compliance | 2017-01-01 | 2017-12-31 | 2.8 | mg/L | annual avg | 1 | 14.3 | 14.3 | Additional Monitoring Underway, Equipment Modified - Repaired - replaced or Re-calibrated.; | Assessment Underway
Heidelberg Foods (Real Estate) Ltd. | 1035 Reitzel Place | 1035 Reitzel Pl St. Jacobs | Woolwich | Miscellaneous Industrial | Guelph | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-01-01 | 2017-12-31 | 15 | mg/L | annual avg | 1 | 20.2 | 20.2 | Additional Monitoring Underway, Equipment Modified - Repaired - replaced or Re-calibrated.; | Assessment Underway
Heidelberg Foods (Real Estate) Ltd. | 1035 Reitzel Place | 1035 Reitzel Pl St. Jacobs | Woolwich | Miscellaneous Industrial | Guelph | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval/Permit Non-Compliance | 2017-01-01 | 2017-12-31 | 15 | mg/L | annual avg | 1 | 29.3 | 29.3 | Additional Monitoring Underway, Equipment Modified - Repaired - replaced or Re-calibrated.; | Assessment Underway
Jungbunzlauer Canada Inc. | Jungbunzlauer Canada Inc. | 1555 Elm St | Port Colborne | Miscellaneous Industrial | Niagara | TOTAL AMMONIA NITROGEN | Approval/Permit Non-Compliance | 2017-02-21 | 2017-02-28 | 7 | mg/L | any | 2 | 7.73 | 7.8 | Action Plan Submitted - Implementing Improvements; New/Modified Sampling Program Underway; Operational Process Modification | Voluntary Abatement Program Underway
Morguard Brock McLean Limited | Maple Leaf Foods Inc - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | TOTAL NITROGEN | Approval/Permit Non-Compliance | 2017-04-01 | 2017-04-30 | 5 | mg/L | mon avg | 1 | 5.6 | 5.6 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited | Maple Leaf Foods Inc - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | TOTAL NITROGEN | Approval/Permit Non-Compliance | 2017-02-01 | 2017-02-28 | 5 | mg/L | mon avg | 1 | 5.7 | 5.7 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited | Maple Leaf Foods Inc - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | TOTAL NITROGEN | Approval/Permit Non-Compliance | 2017-01-01 | 2017-01-31 | 5 | mg/L | mon avg | 1 | 6.5 | 6.5 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Morguard Brock McLean Limited | Maple Leaf Foods Inc - Puslinch Distribution Centre | Southwest Half of Lot 25 Concession 8 | Puslinch | Miscellaneous Industrial | Guelph | TOTAL NITROGEN | Approval/Permit Non-Compliance | 2017-03-01 | 2017-03-31 | 5 | mg/L | mon avg | 1 | 7.6 | 7.6 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Port Colborne Quarries Inc. | Port Colborne Quarries | Lot 20, 21 and 24, Concession 2, Port Colborne | Port Colborne | Miscellaneous Industrial | Niagara | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-12-20 | 2017-12-20 | 25 | mg/L | any | 2 | 27 | 30 | other | Assessment Complete - Incident Resolved, Assessment Complete - No Action Required
The Regional Municipality of Waterloo | Cambridge Landfill Site | 201 Savage Dr | Cambridge | Miscellaneous Industrial | Guelph | AMMONIA, UNIONIZED | Approval/Permit Non-Compliance | 2017-04-08 | 2017-04-29 | 0.01 | mg/L | weekly | 3 | 0.012 | 0.15 | Conducting Study, New/Modified Sampling Program Underway | Assessment Underway, Provincial Officer's Order Issued
Walker Aggregates Inc. | Vineland Quarry and Asphalt Plant | 3614 Fly Rd Lots 1 2 3 4 5 & 6 Conc. 6 & 7. | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-04-04 | 2017-04-25 | 25 | mg/L | /wk | 4 | 31 | 150 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-11-06 | 2017-11-06 | 25 | mg/L | /wk | 1 | 36 | 36 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-05-01 | 2017-05-30 | 25 | mg/L | /wk | 4 | 93 | 93 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS | Approval/Permit Non-Compliance | 2017-03-20 | 2017-03-20 | 25 | mg/L | any | 1 | 44 | 44 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
The Regional Municipality of Peel | Caledon Waste Management Facility | 1795 Quarry Dr | Caledon | Miscellaneous Industrial | Halton-Peel | TEMPERATURE | Approval/Permit Non-Compliance | 2017-07-13 | 2017-07-13 | 12 | °C | daily average | 1 | 12.26 | 12.26 | None Required | Assessment Complete - No Action Required
The Regional Municipality of Peel | Caledon Waste Management Facility | 1795 Quarry Dr | Caledon | Miscellaneous Industrial | Halton-Peel | TEMPERATURE | Approval/Permit Non-Compliance | 2017-07-18 | 2017-07-18 | 12 | °C | daily average | 1 | 12.14 | 12.14 | None Required | Assessment Complete - No Action Required
Ces données sont fournies à titre d’information seulement. Les installations responsables des rejets ont fourni la plupart des données de ce sommaire. Ces installations sont responsables de l’exactitude des données fournies. Certaines données sont aussi dérivées des données du ministère sur les rejets. Les mesures prises par les installations et par le ministère étaient à jour en novembre 2018. Pour obtenir des données actualisées, veuillez contacter le bureau de district ou de secteur concerné