## 2018_Air_All
Propriétaire de l’installation | Nom du site | Adresse du site | Municipalité du site | Secteur | District | Contaminant | Type de dépassement | Date du début du dépassement | Date de la fin du dépassement | Limite du contaminant | Unité du contaminant | Fréquence de la limite | Nombre de dépassements | Minimum de la quantité | Maximum de la quantité | Mesure prise par l’installation | Mesure prise par le ministère | Modélisation de la dispersion atmosphérique
The Regional Municipality of Peel | G.E. Booth (Lakeview) Wastewater Treatment Plant | 1300 Lakeshore Rd E | Mississauga | Municipal Sewage | Halton-Peel | MERCURY | Approval / Permit Non-Compliance | 2018-08-21 | 2018-08-23 | 70 | µg/m³ | any | 1 | 282 | 282 | Conducting Study | Assessment Underway
The Regional Municipality of Peel | G.E. Booth (Lakeview) Wastewater Treatment Plant | 1300 Lakeshore Rd E | Mississauga | Municipal Sewage | Halton-Peel | TOTAL SUSPENDED PARTICULATE MATTER | Approval / Permit Non-Compliance | 2018-09-10 | 2018-09-12 | 20 | mg/m³ | any | 1 | 24 | 24 | Conducting Study | Assessment Underway
Aya Kitchens and Baths Ltd. | 1551 Caterpillar Road | 1551 Caterpillar Rd | Mississauga | Miscellaneous Industrial | Halton-Peel | BUTANOL-n | Policy/Guideline Non-Conformance | 2018-01-01 | 2018-04-19 | 2100 | µg/m³ | 10min avg | 1 | 4084 | 4084 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Aya Kitchens and Baths Ltd. | 1551 Caterpillar Road | 1551 Caterpillar Rd | Mississauga | Miscellaneous Industrial | Halton-Peel | NAPHTHALENE | Policy/Guideline Non-Conformance | 2018-01-01 | 2018-04-19 | 22.5 | µg/m³ | 24h avg | 1 | 55.8 | 55.8 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Aya Kitchens and Baths Ltd. | 1551 Caterpillar Road | 1551 Caterpillar Rd | Mississauga | Miscellaneous Industrial | Halton-Peel | NAPHTHALENE | Policy/Guideline Non-Conformance | 2018-01-01 | 2018-04-19 | 50 | µg/m³ | 10min avg | 1 | 473 | 473 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Aya Kitchens and Baths Ltd. | 1551 Caterpillar Road | 1551 Caterpillar Rd | Mississauga | Miscellaneous Industrial | Halton-Peel | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-01-01 | 2018-05-17 | 120 | µg/m³ | 24h avg | 1 | 531 | 531 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Emerald Energy from Waste Inc. | Emerald Energy from Waste | 7656 Bramalea Rd | Brampton | Miscellaneous Industrial | Halton-Peel | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-05-06 | 2018-05-06 | 35 | ppm | 4h avg | 1 | 43 | 43 | Operational Process Modification | Assessment Complete - Incident Resolved
Stericycle, ULC | 95 Deerhurst Drive/Stericycle | 3 and 4 - 95 Deerhurst Dr | Brampton | Miscellaneous Industrial | Halton-Peel | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-01-01 | 2018-03-31 | 35 | mg/m³ | 30min avg | 130 | 35.5 | 184.5 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Amended Approval; Operational Process Modification | Provincial Officer's Order Issued
Stericycle, ULC | 95 Deerhurst Drive/Stericycle | 3 and 4 - 95 Deerhurst Dr | Brampton | Miscellaneous Industrial | Halton-Peel | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-04-01 | 2018-06-30 | 35 | mg/m³ | 30min avg | 165 | 35.2 | 171.8 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Amended Approval; Operational Process Modification | Provincial Officer's Order Issued
Stericycle, ULC | 95 Deerhurst Drive/Stericycle | 3 and 4 - 95 Deerhurst Dr | Brampton | Miscellaneous Industrial | Halton-Peel | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-07-01 | 2018-09-30 | 35 | mg/m³ | 30min avg | 153 | 35.3 | 1479.4 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Amended Approval; Operational Process Modification | Provincial Officer's Order Issued
Stericycle, ULC | 95 Deerhurst Drive/Stericycle | 3 and 4 - 95 Deerhurst Dr | Brampton | Miscellaneous Industrial | Halton-Peel | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-10-01 | 2018-12-31 | 35 | mg/m³ | 30min avg | 99 | 36.1 | 280.7 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New/Amended Approval; Operational Process Modification | Provincial Officer's Order Issued
Portlands Energy Centre Inc. operating as Portlands Energy Centre L.P. | Portlands Energy Centre Inc. | 470 Unwin Ave | Toronto | Electric Power Generation | Toronto | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-01-05 | 2018-01-05 | 60 | ppmv | any | 8 | 660 | 830 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required; Voluntary Abatement Program Underway
Gerdau Ameristeel Corporation Mill Operation | Gerdau Ameristeel Corporation Mill Operation | 1801 Hopkins St S | Whitby | Iron and Steel | York-Durham | DIOXIN AND FURAN | Approval / Permit Non-Compliance | 2018-11-20 | 2018-11-20 | 100 | pg TEQ/R.m³ | /annum | 1 | 262 | 262 | Action Plan Submitted - Implementing Improvements; Operational Process Modification; Technical Standard requested by the sector | Voluntary Abatement Program Underway
Cam-Slide (East Plant) | Cam-Slide (East Plant) | 564 Newpark Blvd | Newmarket | Miscellaneous Industrial | York-Durham | CHROMIUM | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 0.00014 | µg/m³ | annual avg | 1 | 0.00048 | 0.00048 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Cam-Slide (East Plant) | Cam-Slide (East Plant) | 564 Newpark Blvd | Newmarket | Miscellaneous Industrial | York-Durham | FERRIC OXIDE | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 25 | µg/m³ | 24h avg | 1 | 103 | 103 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Cam-Slide (East Plant) | Cam-Slide (East Plant) | 564 Newpark Blvd | Newmarket | Miscellaneous Industrial | York-Durham | MANGANESE | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 0.4 | µg/m³ | 24h avg | 1 | 2.52 | 2.52 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Cam-Slide (East Plant) | Cam-Slide (East Plant) | 564 Newpark Blvd | Newmarket | Miscellaneous Industrial | York-Durham | NICKEL | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 0.04 | µg/m³ | annual avg | 1 | 0.0994 | 0.0994 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Cam-Slide (East Plant) | Cam-Slide (East Plant) | 564 Newpark Blvd | Newmarket | Miscellaneous Industrial | York-Durham | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 120 | µg/m³ | 24h avg | 1 | 143 | 143 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Cam-Slide (West Plant) | Cam-Slide (West Plant) | 550 Newpark Blvd | Newmarket | Miscellaneous Industrial | York-Durham | CHROMIUM | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 0.00014 | µg/m³ | annual avg | 1 | 0.00014 | 0.00014 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Lehigh Hanson Canada ULC | 1370 Highway 49 | 1370 Highway 49 Picton | Prince Edward | Industrial Minerals | Belleville | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-17 | 2018-12-18 | 20 | % | 6min avg | 23 | 21.2 | 90.2 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Voluntary Abatement Program Underway
Heico 2004 Member, Inc. as the general partner of Ivaco Rolling Mills 2004 L.P. | Ivaco Rolling Mills 2004 L.P. | 1040 County Road 17 | Champlain | Iron and Steel | Cornwall | DIOXIN AND FURAN | Approval / Permit Non-Compliance | 2018-10-11 | 2018-10-12 | 100 | pg TEQ/R.m³ | avg of 3 consecutive samples | 1 | 342 | 342 | Conducting Study; Technical Standard requested by the sector | Assessment Underway; Voluntary Abatement Program Underway
Lafarge Canada Inc. | Lafarge Canada Inc Bath Plant | 6501 Bath Road (Hwy 33) | Loyalist | Industrial Minerals | Kingston | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-19 | 2018-07-19 | 20 | % | 6min avg | 1 | 75 | 75 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Lafarge Canada Inc. | Lafarge Canada Inc Bath Plant | 6501 Bath Road (Hwy 33) | Loyalist | Industrial Minerals | Kingston | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-23 | 2018-07-23 | 20 | % | 6min avg | 1 | 20 | 20 | Operational Process Modification | Assessment Complete - No Action Required
Lafarge Canada Inc. | Lafarge Canada Inc Bath Plant | 6501 Bath Road (Hwy 33) | Loyalist | Industrial Minerals | Kingston | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-24 | 2018-07-24 | 20 | % | 6min avg | 1 | 34 | 34 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Reticle Ventures Canada Incorporated | City of Brockville Airport | 4620 Airport Rd Part Lots 14 15 & 16 Concession 4 | Brockville | Miscellaneous Industrial | Kingston | NOISE | Policy/Guideline Non-Conformance | 2018-03-28 | 2018-12-31 | 50 | dBA | Leq | 1 | 60 | 60 | Action Plan Submitted - Implementing Improvements; Conducting Study; New Equipment or Treatment Process Installed; Training/Procedure Change | Director's Order Issued; Provincial Officer's Order Issued
1413393 Ontario Limited | 18 Stockdale Road | 18 Stockdale Rd | Quinte West | Miscellaneous Industrial | Peterborough | TOTAL SUSPENDED PARTICULATE MATTER | Approval / Permit Non-Compliance | 2018-03-27 | 2018-03-27 | 90 | mg/m³ | any | 1 | 186.8 | 186.8 | Other | Assessment Underway
Cameco Corporation | Cameco - Port Hope Conversion Facility | 1 Eldorado Pl | Port Hope | Metal Mining and Refining | Peterborough | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-04-10 | 2018-04-10 | 120 | µg/m³ | 24h avg | 1 | 169 | 169 | New/Modified Sampling Program Underway | Assessment Underway
Pepsico Canada ULC | Quaker | 34 Hunter Street West | Peterborough | Miscellaneous Industrial | Peterborough | NOISE | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 51 | dBA | Leq | 5 | 51 | 51 | Other | Voluntary Abatement Program Underway
Domtar Inc. | Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-07 | 2018-04-07 | 20 | % | 6min avg | 1 | 40 | 68.3 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Domtar Inc. | Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-20 | 2018-08-20 | 20 | % | 6min avg | 1 | 23.3 | 85.6 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Complete - Incident Resolved
Domtar Inc. | Domtar Inc. - Dryden Operations | 1 Duke St | Dryden | Pulp and Paper | Kenora | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2018-08-20 | 2018-08-21 | 27 | ppb | 10min avg | 5 | 45.6 | 142.2 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-01-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Other | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-01 | 2018-02-28 | 20 | % | 6min avg | 28 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | % | 6min avg | 30 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-01 | 2018-05-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-06-01 | 2018-06-30 | 20 | % | 6min avg | 30 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-01 | 2018-07-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-01 | 2018-08-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-01 | 2018-09-30 | 20 | % | 6min avg | 30 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-10-01 | 2018-10-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway; Other Abatement Action Taken
Essar Steel Algoma Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-11-01 | 2018-11-30 | 20 | % | 6min avg | 30 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Algoma Steel Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-01 | 2018-12-31 | 20 | % | 6min avg | 31 | 21 | 100 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Other | Assessment Underway; Other Abatement Action Taken
Tembec Industries Inc. and Tembec Enterprises Inc. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-01-30 | 20 | % | 4min avg | 26 | 41 | 99 | Other | Other Abatement Action Taken
Tembec Industries Inc. and Tembec Enterprises Inc. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-01 | 2018-02-14 | 20 | % | 4min avg | 14 | 44 | 96 | Other | Assessment Underway
Tembec Industries Inc. and Tembec Enterprises Inc. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-29 | 20 | % | 4min avg | 23 | 41 | 99 | New/Amended Approval | Other Abatement Action Taken
Tembec Industries Inc. and Tembec Enterprises Inc. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-01 | 2018-04-24 | 20 | % | 4min avg | 19 | 60 | 99 | Other | Additional Requirements Added in Approval/Permit
Tembec Industries Inc. and Tembec Enterprises Inc. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-25 | 2018-04-30 | 20 | % | 6min avg | 5 | 60 | 99 | Other | Additional Requirements Added in Approval/Permit
Tembec Industries Inc. and Tembec Enterprises Inc. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-06 | 2018-05-28 | 20 | % | 6min avg | 12 | 31 | 98 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-06-09 | 2018-06-30 | 20 | % | 6min avg | 10 | 44 | 96 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-01 | 2018-07-06 | 20 | % | 6min avg | 5 | 44 | 85 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-08-02 | 2018-08-10 | 500 | ppm | 24h avg | 9 | 541 | 880 | New Equipment or Treatment Process Installed | Assessment Underway
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-02 | 2018-08-02 | 20 | % | 6min avg | 1 | 33 | 68 | New Equipment or Treatment Process Installed | Assessment Underway
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-09-12 | 2018-09-30 | 500 | ppm | 24h avg | 18 | 706 | 1113 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-13 | 2018-09-30 | 20 | % | 6min avg | 4 | 43 | 77 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-10-01 | 2018-10-30 | 20 | % | 6min avg | 9 | 41 | 87 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-10-02 | 2018-10-31 | 500 | ppm | 24h avg | 25 | 514 | 975 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-30 | 500 | ppm | 24h avg | 10 | 566 | 1063 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-11-04 | 2018-11-19 | 20 | % | 6min avg | 4 | 30 | 75 | Other | Other Abatement Action Taken
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | CARBON MONOXIDE | Approval / Permit Non-Compliance | 2018-12-01 | 2018-12-19 | 500 | ppm | 24h avg | 19 | 733 | 1163 | Conducting Study | Assessment Underway
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Chapleau Sawmill | 175 Planer Rd | Chapleau | Miscellaneous Industrial | Sault Ste. Marie | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-06 | 2018-12-19 | 20 | % | 6min avg | 2 | 45 | 47 | Conducting Study | Assessment Underway
Glencore Canada Corporation | Glencore Xstrata Sudbury Integrated Nickel Operations - Sudbury Smelter Complex | Lot: 11, Concession: 3, Geographic Township: FALCONBRIDGE | Greater Sudbury | Metal Mining and Refining | Sudbury | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-25 | 2018-07-30 | 20 | % | 6min avg | 6 | 41 | 77 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Glencore Canada Corporation | Glencore Xstrata Sudbury Integrated Nickel Operations - Sudbury Smelter Complex | Lot: 11, Concession: 3, Geographic Township: FALCONBRIDGE | Greater Sudbury | Metal Mining and Refining | Sudbury | FERRIC OXIDE | Legislation Non-Compliance | 2018-04-23 | 2018-04-23 | 25 | µg/m³ | 24hr | 1 | 36.6 | 36.6 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Glencore Canada Corporation | Glencore Xstrata Sudbury Integrated Nickel Operations - Sudbury Smelter Complex | Lot: 11, Concession: 3, Geographic Township: FALCONBRIDGE | Greater Sudbury | Metal Mining and Refining | Sudbury | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-04-23 | 2018-04-23 | 120 | µg/m³ | 24h avg | 1 | 218 | 218 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Vale Canada Limited | Copper Cliff Smelter Complex | McKim Township | Greater Sudbury | Metal Mining and Refining | Sudbury | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-02-22 | 2018-02-22 | 120 | µg/m³ | 24h avg | 1 | 139 | 139 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
Vale Canada Limited | Copper Cliff Smelter Complex | McKim Township | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Site Specific Standard | 2018-04-14 | 2018-04-14 | 2 | µg/m³ | 24hr | 1 | 5.99 | 5.99 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
Vale Canada Limited | Copper Cliff Smelter Complex | McKim Township | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Site Specific Standard | 2018-04-14 | 2018-04-14 | 2 | µg/m³ | 24hr | 1 | 4.04 | 4.04 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
Vale Canada Limited | Copper Cliff Smelter Complex | McKim Township | Greater Sudbury | Metal Mining and Refining | Sudbury | SULPHUR DIOXIDE | Legislation Non-Compliance | 2018-07-01 | 2018-10-31 | 690 | µg/m³ | 1hr | 1 | 966 | 966 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken | Based on Air Dispersion Modeling
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 27 | ppb | 10min avg | 140 | 27 | 120 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Underway; Voluntary Abatement Program Underway
Vale Canada Limited | Copper Cliff Nickel Refinery | 175 Industrial Rd Copper Cliff | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 0.04 | µg/m³ | annual avg | 1 | 0.046 | 0.046 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken
Vale Canada Limited | Copper Cliff Nickel Refinery | 175 Industrial Rd Copper Cliff | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 0.04 | µg/m³ | annual avg | 1 | 0.065 | 0.065 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken
AV Terrace Bay Inc. | 21 Mill Road | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 20 | % | 6min avg | 356 | 20.5 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
AV Terrace Bay Inc. | 21 Mill Road | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2018-05-22 | 2018-10-19 | 27 | ppb | 10min avg | 72 | 28 | 108.2 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
AV Terrace Bay Inc. | 21 Mill Road | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2018-06-06 | 2018-10-01 | 27 | ppb | 10min avg | 32 | 28 | 67 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-10 | 2018-05-10 | 20 | % | 6min avg | 1 | 40 | 55.45 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved; Other Abatement Action Taken
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-21 | 2018-05-21 | 20 | % | 6min avg | 1 | 40 | 46.01 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved; Other Abatement Action Taken
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-10 | 2018-07-10 | 20 | % | 4min avg | 1 | 47.042 | 47.042 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-21 | 2018-07-21 | 20 | % | 6min avg | 1 | 40 | 46 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | BENZO(A)PYRENE | Legislation Non-Compliance | 2018-08-31 | 2018-08-31 | 1e-05 | µg/m³ | /annum | 1 | 0.00013 | 0.00013 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-17 | 2018-09-27 | 20 | % | 6min avg | 2 | 45 | 56 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-06 | 2018-12-11 | 20 | % | 6min avg | 4 | 41.501 | 78.567 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
De Beers Canada Inc. | Victor Mine | 90 km W of Attawapiskat, Unsurveyed Territory (Timmins District Office), Unorganized Area, District of Kenora | Timmins | Industrial Minerals | Timmins | TOTAL SUSPENDED PARTICULATE MATTER | Approval / Permit Non-Compliance | 2018-11-30 | 2018-11-30 | 17 | mg/m³ | avg of 3 consecutive samples | 1 | 17.2 | 17.2 | None Required | Assessment Complete - Incident Resolved
Hydro One Networks Inc. | Kirkland Lake Transformer Station | 80 Government Rd E | Kirkland Lake | Electric Power Generation | Timmins | NOISE | Approval / Permit Non-Compliance | 2018-05-23 | 2018-08-31 | 45 | dBA | Leq | 1 | 52 | 52 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Additional Requirements Added in Approval/Permit; Voluntary Abatement Program Underway
Goldcorp Canada Ltd. operating as Porcupine Gold Mines | Hollinger Mine | 979 Algonquin Blvd E | Timmins | Metal Mining and Refining | Timmins | NOISE | Approval / Permit Non-Compliance | 2018-07-12 | 2018-07-12 | 128 | dBA | Leq | 1 | 128.5 | 128.5 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Goldcorp Canada Ltd. operating as Porcupine Gold Mines | Hollinger Mine | 979 Algonquin Blvd E | Timmins | Metal Mining and Refining | Timmins | VIBRATION | Approval / Permit Non-Compliance | 2018-08-18 | 2018-08-18 | 12.5 | mm/s (millimetres per second) | any | 1 | 13.5 | 13.5 | Conducting Study | Assessment Underway
Goldcorp Canada Ltd. operating as Porcupine Gold Mines | Hollinger Mine | 979 Algonquin Blvd E | Timmins | Metal Mining and Refining | Timmins | NOISE | Approval / Permit Non-Compliance | 2018-09-12 | 2018-09-12 | 128 | dBA | Leq | 1 | 129.6 | 129.6 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Goldcorp Canada Ltd. operating as Porcupine Gold Mines | Hollinger Mine | 979 Algonquin Blvd E | Timmins | Metal Mining and Refining | Timmins | VIBRATION | Approval / Permit Non-Compliance | 2018-09-20 | 2018-09-20 | 12.5 | mm/s (millimetres per second) | any | 1 | 17.1 | 17.1 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken
Tembec Industries Inc. | Tembec Kapuskasing Operations | 1 Government Rd W | Kapuskasing | Pulp and Paper | Timmins | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-06-29 | 2018-06-29 | 20 | % | 6min avg | 1 | 90 | 90 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Glencore Canada Corporation | Glencore Canada Corporation Kidd Operations - Concentrator Site | 10050 Highway 101 E | Timmins | Metal Mining and Refining | Timmins | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-03-03 | 2018-03-03 | 120 | µg/m³ | 24h avg | 1 | 134 | 134 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Glencore Canada Corporation | Glencore Canada Corporation Kidd Operations - Concentrator Site | 10050 Highway 101 E | Timmins | Metal Mining and Refining | Timmins | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-03-21 | 2018-03-21 | 120 | µg/m³ | 24h avg | 1 | 324 | 324 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Glencore Canada Corporation | Glencore Canada Corporation Kidd Operations - Concentrator Site | 10050 Highway 101 E | Timmins | Metal Mining and Refining | Timmins | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-11-20 | 2018-11-20 | 120 | µg/m³ | 24h avg | 1 | 181 | 181 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Glencore Canada Corporation | Glencore Canada Corporation Kidd Operations - Concentrator Site | 10050 Highway 101 E | Timmins | Metal Mining and Refining | Timmins | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-11-20 | 2018-11-20 | 120 | µg/m³ | 24h avg | 1 | 211 | 211 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
St. Marys Cement Inc. (Canada) | St. Marys Cement Plant | 585 Water Street S | St. Marys | Industrial Minerals | London | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-12-31 | 20 | % | 6min avg | 12 | 21.5 | 43.6 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Complete - Incident Resolved
Suncor Energy Inc. | Suncor Sarnia Refinery | 1900 River Rd | Sarnia | Petroleum Refining | Sarnia | TOTAL REDUCED SULFUR | Legislation Non-Compliance | 2018-03-15 | 2018-03-15 | 13 | µg/m³ | 10min avg | 1 | 17.96 | 17.96 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Suncor Energy Inc. | Suncor Sarnia Refinery | 1900 River Rd | Sarnia | Petroleum Refining | Sarnia | NITROGEN OXIDES | Approval / Permit Non-Compliance | 2018-12-09 | 2018-12-09 | 49.6 | ppm dry volume | any | 1 | 53.6 | 53.6 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
Polycorp Ltd. | 33 York Street | 33 York St | Centre Wellington | Miscellaneous Industrial | Guelph | IRON | Legislation Non-Compliance | 2018-09-25 | 2018-09-25 | 4 | µg/m³ | 24hr | 1 | 6.86 | 6.86 | Other | Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Piller's Fine Foods, a Division of Premium Brands Operating Limited Partnership | 443 Wismer Street Waterloo | Lot: 61 & 66, Concession: German Company Tract, Geographic Township: WATERLOO, Waterloo, City, Regional Municipality of Waterloo | Waterloo | Miscellaneous Industrial | Guelph | NOISE | Approval / Permit Non-Compliance | 2018-12-04 | 2018-12-04 | 45 | dBA | Leq | 1 | 57 | 57 | Action Plan Submitted - Implementing Improvements | Additional Requirements Added in Approval/Permit
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-01-31 | 20 | % | 6min avg | 14 | 20 | 30 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Other | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-01 | 2018-02-28 | 20 | % | 6min avg | 9 | 20 | 32 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 20 | % | 6min avg | 11 | 20 | 47 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Other | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | % | 6min avg | 12 | 20 | 61 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-01 | 2018-05-31 | 20 | % | 6min avg | 16 | 20 | 49 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-06-01 | 2018-06-30 | 20 | % | 6min avg | 20 | 20 | 83 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-01 | 2018-07-30 | 20 | % | 6min avg | 25 | 20 | 63 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-01 | 2018-08-31 | 20 | % | 6min avg | 10 | 20 | 29 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-01 | 2018-09-30 | 20 | % | 6min avg | 14 | 20 | 38 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-10-01 | 2018-10-31 | 20 | % | 6min avg | 13 | 20 | 27 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-11-01 | 2018-11-30 | 20 | % | 6min avg | 17 | 20 | 47 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Hamilton Works | 386 Wilcox St | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-01 | 2018-12-31 | 20 | % | 6min avg | 10 | 20 | 34 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Ruetgers Canada Inc. | Ruetgers Canada Inc. | 725 Strathearne Ave N | Hamilton | Miscellaneous Industrial | Hamilton | NAPHTHALENE | Policy/Guideline Non-Conformance | 2018-07-09 | 2018-07-09 | 22.5 | µg/m³ | 24hr | 1 | 106.99 | 106.99 | Other | Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-01-31 | 20 | % | 6min avg | 15 | 20 | 54 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-01 | 2018-02-28 | 20 | % | 6min avg | 14 | 20 | 63 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Other | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 20 | % | 6min avg | 9 | 20 | 59 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | % | 6min avg | 21 | 20 | 50 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-01 | 2018-05-31 | 20 | % | 6min avg | 20 | 20 | 47 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-06-01 | 2018-06-30 | 20 | % | 6min avg | 16 | 20 | 68 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-01 | 2018-07-31 | 20 | % | 6min avg | 21 | 20 | 49 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-01 | 2018-08-31 | 20 | % | 6min avg | 22 | 20 | 56 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-01 | 2018-09-30 | 20 | % | 6min avg | 11 | 20 | 52 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-10-01 | 2018-10-31 | 20 | % | 6min avg | 2 | 20 | 30 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-11-01 | 2018-11-30 | 20 | % | 6min avg | 14 | 20 | 50 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Technical Standard requested by the sector | Director's Order Issued; Other Abatement Action Taken
Stelco Inc. | Stelco Inc. Lake Erie Works | 2330 Haldimand Road 3 Nanticoke | Haldimand | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-01 | 2018-12-31 | 20 | % | 6min avg | 17 | 20 | 52 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-01-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-01 | 2018-02-28 | 20 | % | 6min avg | 28 | 21 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | % | 6min avg | 30 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-01 | 2018-05-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-01 | 2018-07-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-01 | 2018-09-30 | 20 | % | 6min avg | 30 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-10-01 | 2018-10-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-11-01 | 2018-11-30 | 20 | % | 6min avg | 30 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Technical Standard requested by the sector | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-01 | 2018-12-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Technical Standard requested by the sector | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-06-01 | 2018-06-30 | 20 | % | 6min avg | 30 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Operational Process Modification | Director's Order Issued; Other Abatement Action Taken
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-01 | 2018-08-31 | 20 | % | 6min avg | 31 | 20 | 100 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Director's Order Issued; Other Abatement Action Taken
Imperial Oil Limited | Imperial Oil - Nanticoke Refinery | 225 Concession 2 Rd Lots 9 10 and 11 Concessions 1 2 and 3 Walpole | Haldimand | Petroleum Refining | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-29 | 2018-01-29 | 20 | % | 6min avg | 1 | 21 | 90 | Operational Process Modification | Assessment Complete - Incident Resolved
Imperial Oil Limited | Imperial Oil - Nanticoke Refinery | 225 Concession 2 Rd Lots 9 10 and 11 Concessions 1 2 and 3 Walpole | Haldimand | Petroleum Refining | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-18 | 2018-09-18 | 20 | % | 6min avg | 2 | 45 | 80 | Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-01-01 | 2018-01-31 | 20 | % | 6min avg | 2 | 20 | 79.03 | Ceased Operations | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-02-01 | 2018-02-28 | 20 | % | 6min avg | 1 | 20 | 23.94 | Ceased Operations; Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 20 | % | 6min avg | 1 | 20 | 31.95 | Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 20 | % | 6min avg | 1 | 20 | 40.09 | Operational Process Modification | Assessment Complete - Incident Resolved
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | % | 6min avg | 7 | 20 | 101.1 | Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-05-01 | 2018-05-31 | 20 | % | 6min avg | 6 | 20 | 88.15 | Operational Process Modification; Training/Procedure Change | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-07-01 | 2018-07-31 | 20 | % | 6min avg | 3 | 20 | 66.4 | Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-08-01 | 2018-08-31 | 20 | % | 6min avg | 1 | 20 | 70.13 | Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-09-01 | 2018-09-30 | 20 | % | 6min avg | 3 | 20 | 92.71 | Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-10-01 | 2018-10-31 | 20 | % | 6min avg | 1 | 20 | 74.52 | Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-11-01 | 2018-11-30 | 20 | % | 6min avg | 2 | 20 | 92.1 | Ceased Operations; Operational Process Modification | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Ltd Dundas Operation | 600 Highway 5 W | Hamilton | Industrial Minerals | Hamilton | OPACITY (DAYS EXCEEDANCES OCCURRED) | Legislation Non-Compliance | 2018-12-01 | 2018-12-31 | 20 | % | 6min avg | 3 | 20 | 95.9 | Operational Process Modification | Assessment Complete - No Action Required
Durez Canada Company, Ltd. | 100 Dunlop Street | 100 Dunlop St | Fort Erie | Organic Chemicals Manufacturing | Niagara | PHENOL | Legislation non-compliance | 2018-01-01 | 2018-12-31 | 30 | ug/m3 | 24hr | 1 | 41.3 | 41.3 | Action Plan Submitted - Implementing Improvements, Additional Monitoring Underway, Conducting Study, Equipment Modified - Repaired - Replaced or Re-calibrated, New Equipment or Treatment Process Installed, Operational Process Modification | Voluntary Abatement Program Underway | Based on Air Dispersion Modeling
Walker Aggregates Inc. | Walker Brothers Quarries - Niagara | 2800 Townline Rd | Niagara Falls | Industrial Minerals | Niagara | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-05-02 | 2018-05-02 | 120 | µg/m³ | 24h avg | 1 | 154.23 | 154.23 | Additional Monitoring Underway; Other | Other Abatement Action Taken
Walker Aggregates Inc. | Walker Brothers Quarries - Niagara | 2800 Townline Rd | Niagara Falls | Industrial Minerals | Niagara | SUSPENDED PARTICULATE MATTER (< 44 µm diameter) | Legislation Non-Compliance | 2018-06-01 | 2018-06-13 | 120 | µg/m³ | 24h avg | 2 | 122.11 | 130.44 | Additional Monitoring Underway; Other | Other Abatement Action Taken
Cytec Canada Inc. | Cytec Canada Inc. | 9061 Garner Rd | Niagara Falls | Inorganic Chemicals | Niagara | PHOSPHORIC ACID | Legislation Non-Compliance | 2018-06-20 | 2018-06-20 | 7 | ug/m3 | 24 h avg | 1 | 7.82 | 7.82 | Conducting Study | Assessment Underway; Director's Order Issued | Based on Air Dispersion Modeling
Cytec Canada Inc. | Cytec Canada Inc. | 9061 Garner Rd | Niagara Falls | Inorganic Chemicals | Niagara | PHOSPHORIC ACID | Legislation Non-Compliance | 2018-11-04 | 2018-11-05 | 7 | ug/m3 | 24 h avg | 1 | 20.63 | 20.63 | Conducting Study | Assessment Underway; Director's Order Issued | Based on Air Dispersion Modeling
Cytec Canada Inc. | Cytec Canada Inc. | 9061 Garner Rd | Niagara Falls | Inorganic Chemicals | Niagara | PHOSPHORIC ACID | Legislation Non-Compliance | 2018-11-10 | 2018-11-10 | 7 | ug/m3 | 24 h avg | 1 | 15.51 | 15.51 | Conducting Study | Assessment Underway; Director's Order Issued | Based on Air Dispersion Modeling
Ces données sont fournies à titre d’information seulement. Les installations responsables des rejets ont fourni la plupart des données de ce sommaire. Ces installations sont responsables de l’exactitude des données fournies. Certaines données sont aussi dérivées des données du ministère sur les rejets. Les mesures prises par les installations et par le ministère étaient à jour en novembre 2019. Pour obtenir des données actualisées, veuillez contacter le bureau de district ou de secteur concerné