## 2018_Industrial_Sewage_All
Propriétaire de l’installation | Nom du site | Adresse du site | Municipalité du site | Secteur | District | Contaminant | Type de dépassement | Date du début du dépassement | Date de la fin du dépassement | Limite du contaminant | Unité du contaminant | Fréquence de la limite | Nombre de dépassements | Minimum de la quantité | Maximum de la quantité | Mesure prise par l’installation | Mesure prise par le ministère
Nelson Aggregate Co. | Uhthoff Quarry | Original Township Orillia 3114 Burnside Line | Severn | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-08-01 | 2018-08-31 | 25 | mg/L | mon avg | 1 | 61.7 | 61.7 | Additional Monitoring Underway | Assessment Complete - No Action Required
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 2 | mg/L | mon avg | 1 | 2.76 | 2.76 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-04-04 | 2018-05-25 | 2 | mg/L | mon avg | 1 | 2.76 | 2.76 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-06-01 | 2018-06-30 | 0.3 | mg/L | mon avg | 1 | 0.65 | 0.65 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-07-01 | 2018-07-31 | 0.3 | mg/L | mon avg | 1 | 0.32 | 0.32 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-30 | 0.3 | mg/L | mon avg | 1 | 0.36 | 0.36 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Maple Lodge Farms Ltd. | 8301 Winston Churchill Boulevard | 8301 Winston Churchill Boulevard | Brampton | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-01-02 | 2018-01-02 | 25 | mg/L | any | 1 | 26 | 26 | Operational Process Modification | Assessment Complete - Incident Resolved
Newterra Ltd. | 70 Mississauga Road South | 70 Mississauga Rd S | Mississauga | Miscellaneous Industrial | Halton-Peel | ETHYLBENZENE | Approval / Permit Non-Compliance | 2018-04-19 | 2018-04-19 | 2.4 | µg/L | any | 1 | 86.6 | 86.6 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved; Other Abatement Action Taken
Newterra Ltd. | 70 Mississauga Road South | 70 Mississauga Rd S | Mississauga | Miscellaneous Industrial | Halton-Peel | HYDROCARBON LIGHT | Approval / Permit Non-Compliance | 2018-04-19 | 2018-04-19 | 900 | µg/L | any | 1 | 6370 | 6370 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved; Other Abatement Action Taken
Newterra Ltd. | 70 Mississauga Road South | 70 Mississauga Rd S | Mississauga | Miscellaneous Industrial | Halton-Peel | HYDROCARBON LIGHT | Approval / Permit Non-Compliance | 2018-04-19 | 2018-04-19 | 1000 | µg/L | any | 1 | 2000 | 2000 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved; Other Abatement Action Taken
Newterra Ltd. | 70 Mississauga Road South | 70 Mississauga Rd S | Mississauga | Miscellaneous Industrial | Halton-Peel | XYLENE | Approval / Permit Non-Compliance | 2018-04-19 | 2018-04-19 | 32 | µg/L | any | 1 | 259 | 259 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved; Other Abatement Action Taken
Newterra Ltd. | 70 Mississauga Road South | 70 Mississauga Rd S | Mississauga | Miscellaneous Industrial | Halton-Peel | BENZENE | Approval / Permit Non-Compliance | 2018-12-21 | 2018-12-21 | 5 | µg/L | any | 1 | 5.16 | 5.16 | Ceased Operations | Assessment Complete - No Action Required
Meridian Brick | Tansley Quarry | 2488 Tremaine Road | Burlington | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-04-30 | 2018-04-30 | 15 | mg/L | any | 1 | 280 | 280 | Other | Assessment underway
Meridian Brick | Tansley Quarry | 2488 Tremaine Road | Burlington | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-05-08 | 2018-05-08 | 15 | mg/L | any | 1 | 39 | 39 | Other | Assessment underway
Meridian Brick | Tansley Quarry | 2488 Tremaine Road | Burlington | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-05-17 | 2018-05-17 | 15 | mg/L | any | 1 | 16 | 16 | Other | Assessment underway
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-01-29 | 2018-01-29 | 15 | mg/L | any | 1 | 65.7 | 65.7 | Operational Process Modification | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-02-20 | 2018-02-20 | 15 | mg/L | any | 1 | 15.3 | 15.3 | New/Modified Sampling Program Underway | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-03-05 | 2018-03-05 | 15 | mg/L | any | 1 | 20.4 | 20.4 | New/Modified Sampling Program Underway | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-04-02 | 2018-04-02 | 15 | mg/L | any | 1 | 29.6 | 29.6 | New/Modified Sampling Program Underway | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-04-05 | 2018-04-05 | 15 | mg/L | any | 1 | 35.4 | 35.4 | New/Modified Sampling Program Underway | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-04-18 | 2018-04-18 | 15 | mg/L | any | 1 | 17 | 17 | New/Modified Sampling Program Underway | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-07-09 | 2018-07-09 | 15 | mg/L | any | 1 | 17 | 17 | New/Modified Sampling Program Underway | Other Abatement Action Taken
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-07-23 | 2018-07-23 | 15 | mg/L | any | 1 | 22 | 22 | New/Modified Sampling Program Underway | Other Abatement Action Taken
St. Marys Cement Inc. (Canada) | Bowmanville Plant | 400 Waverly Rd | Bowmanville | Industrial Minerals | York-Durham | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-11-27 | 2018-11-27 | 50 | mg/L | 24h avg | 1 | 92 | 92 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Takes
St. Marys Cement Inc. (Canada) | Bowmanville Plant | 400 Waverly Rd | Bowmanville | Industrial Minerals | York-Durham | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-11-27 | 2018-11-27 | 50 | mg/L | 24h avg | 1 | 51 | 51 | None Required | Assessment Complete - Incident Resolved
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2018-07-11 | 2018-07-11 | 53 | µg/L | bimonthly, during discharge | 1 | 200 | 200 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2018-07-11 | 2018-07-11 | 53 | µg/L | bimonthly, during discharge | 1 | 200 | 200 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2018-09-26 | 2018-09-26 | 53 | µg/L | bimonthly, during discharge | 1 | 130 | 130 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2018-09-26 | 2018-09-26 | 53 | µg/L | bimonthly, during discharge | 1 | 140 | 140 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-01 | 53 | µg/L | bimonthly, during discharge | 1 | 530 | 530 | Additional Monitoring Underway | Assessment Underway
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | Geographic Township of Dungannon | Bancroft | Miscellaneous Industrial | Belleville | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-07-01 | 2018-07-31 | 10 | mg/L | mon avg | 1 | 38.5 | 38.5 | Conducting Study | Voluntary Abatement Program Underway
Evonik Oil Additives Canada Inc. | Evonik Oil Additives | Lot: 23 and 24, Concession: 1, Geographic Township: WILLIAMSBURGH | South Dundas | Organic Chemicals Manufacturing | Cornwall | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance | 2018-09-10 | 2018-09-10 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Other | Assessment Underway
INVISTA (Canada) Company | 455 Front Road | 455 Front Rd | Kingston | Organic Chemicals Manufacturing | Kingston | TOTAL RESIDUAL CHLORINE | Legislation Non-Compliance | 2018-05-06 | 2018-05-06 | 10 | ppb | any | 1 | 14 | 14 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Lafarge Canada Inc. | Lafarge Brockville quarry | Lot: 4, Concession: 1, Geographic Township: ELIZABETHTOWN | Elizabethtown-Kitley | Industrial Minerals | Kingston | AMMONIA, UNIONIZED | Approval / Permit Non-Compliance | 2018-10-01 | 2018-10-31 | 0.02 | mg/L | mon avg | 1 | 0.36 | 0.36 | Additional Monitoring Underway; None Required | Assessment Complete - Incident Resolved
INVISTA (Canada) Company | 455 Front Road | 455 Front Rd | Kingston | Inorganic Chemicals | Kingston | Total Residual Chlorine | Approval / Permit Non-Compliance | 2018-05-30 | 2018-05-30 | 10 | ppb | any | 1 | 2200 | 2200 | Operational Process Modification | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Dyno Nobel Nitrogen Inc. | 1301 Brockchem Road | 1301 Brockchem Rd | Augusta | Inorganic Chemicals | Kingston | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2018-06-25 | 2018-06-25 | PASS | acute toxicity | any | 1 | FAIL | FAIL | None Required | Assessment Complete - No Action Required
Roseburg Forest Products Canada Ltd. | 777 Fibreboard Drive | 777 Fibreboard Dr | Laurentian Valley | Miscellaneous Industrial | Ottawa | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance | 2018-11-07 | 2018-11-07 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway | Assessment Underway
Her Majesty the Queen in Right of Ontario as represented by the Minister of Energy, Northern Development and Mines | Timminco Limited - Haley Facility | 962 Magnesium Rd | Whitewater Region | Industrial Minerals | Ottawa | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance | 2018-06-25 | 2018-06-25 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Her Majesty the Queen in Right of Ontario as represented by the Minister of Energy, Northern Development and Mines | Timminco Limited - Haley Facility | 962 Magnesium Rd | Whitewater Region | Industrial Minerals | Ottawa | PH - LOW | Approval / Permit Non-Compliance | 2018-07-24 | 2018-07-24 | 6 | pH | any | 1 | 4.4 | 4.4 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2018-05-02 | 2018-05-02 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway | Assessment Underway
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2018-05-16 | 2018-05-16 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway | Assessment Underway
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2018-05-23 | 2018-05-23 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2018-05-28 | 2018-05-28 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Underway
Sonoco Canada Corporation | Sonoco - Trent Valley Mill | 5 Bernard Long Road | Quinte West | Pulp and Paper | Peterborough | PHENOL | Approval / Permit Non-Compliance | 2018-12-05 | 2018-12-05 | 0.072 | kg/d | daily avg | 1 | 0.13384 | 0.13384 | Additional Monitoring Underway | Assessment Complete - No Action Required
Cascades Canada ULC operating as Cascades Containerboard Packaging | Cascades Containerboard Packaging - Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Approval / Permit Non-Compliance | 2018-01-02 | 2018-01-02 | 0.102 | kg | /d | 1 | 0.123 | 0.123 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Cascades Canada ULC operating as Cascades Containerboard Packaging | Cascades Containerboard Packaging - Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2018-03-01 | 2018-03-31 | 0.117 | kg/d | mon avg | 1 | 0.361 | 0.361 | Additional Monitoring Underway; New/Modified Sampling Program Underway | Provincial Officer's Order Issued
Cascades Canada ULC operating as Cascades Containerboard Packaging | Cascades Containerboard Packaging - Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2018-03-06 | 2018-03-06 | 0.117 | kg | /d | 1 | 0.164 | 0.164 | Additional Monitoring Underway; Conducting Study | Assessment Underway
Cascades Canada ULC operating as Cascades Containerboard Packaging | Cascades Containerboard Packaging - Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2018-03-13 | 2018-03-13 | 0.117 | kg | /d | 1 | 0.3 | 0.3 | Additional Monitoring Underway | Assessment Underway
Cascades Canada ULC operating as Cascades Containerboard Packaging | Cascades Containerboard Packaging - Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Approval / Permit Non-Compliance | 2018-03-20 | 2018-03-20 | 0.177 | kg | /d | 1 | 0.361 | 0.361 | Action Plan Submitted - Implementing Improvements | Provincial Officer's Order Issued
Cascades Canada ULC operating as Cascades Containerboard Packaging | Cascades Containerboard Packaging - Trenton | 300 Marmora St | Quinte West | Pulp and Paper | Peterborough | PHENOL | Legislation Non-Compliance | 2018-03-27 | 2018-03-27 | 0.117 | kg | /d | 1 | 0.156 | 0.156 | Additional Monitoring Underway; New/Modified Sampling Program Underway | Provincial Officer's Order Issued
Trent Valley Honda | Trent Valley Honda | 851 Highway No. 7 Lot 26 Concession 11 | Otonabee-South Monaghan | Miscellaneous Industrial | Peterborough | OIL AND GREASE | Approval / Permit Non-Compliance | 2018-12-21 | 2018-12-21 | 15 | mg/L | any | 1 | 86 | 86 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Covia Canada Ltd./Covia Canada Ltée | Blue Mountain Facility | 260 Unimin Road, Havelock-Belmont-Methuen | Havlock-Belmont-Methuen | Industrial Minerals | Peterborough | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-04-01 | 2018-04-30 | 25 | mg/L | mon avg | 1 | 195.15 | 195.15 | None Required | Assessment Complete - No Action Required
Unimin Canada Ltd. | Blue Mountain Facility | 260 Unimin Road, Havelock-Belmont-Methuen | Havelock-Belmont-Methuen | Industrial Minerals | Peterborough | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-04-26 | 2018-04-26 | 50 | mg/L | /d | 1 | 747.1 | 747.1 | None Required | Assessment Complete - Incident Resolved
Covia Canada Ltd./Covia Canada Ltée | Blue Mountain Facility | 260 Unimin Road, Havelock-Belmont-Methuen | Havlock-Belmont-Methuen | Industrial Minerals | Peterborough | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-05-01 | 2018-05-31 | 25 | mg/L | mon avg | 1 | 38.6 | 38.6 | None Required | Assessment Complete - No Action Required
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 1 | mg/L | median concentration of at least four (4) consecutive samples | 31 | 1.1 | 14.3 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 2.0 | mg/L | /d | 9 | 2.1 | 11 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ZINC | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 0.1 | mg/L | median concentration of at least four (4) consecutive samples | 2 | 0.11 | 0.12 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | PH - LOW | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-01-02 | 2018-05-09 | 6 | pH | any two (2) consecutive pH measurements | 74 | 3.9 | 5.9 | Other | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | PH - HIGH | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-01-31 | 2018-05-25 | 9.5 | pH | any two (2) consecutive pH measurements | 58 | 9.8 | 12.8 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | PH - LOW | Approval / Permit Non-Compliance | 2018-02-05 | 2018-05-18 | 6.5 | pH | any two (2) consecutive pH measurements | 16 | 6.0 | 6.4 | Other | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | PH - HIGH | Approval / Permit Non-Compliance | 2018-02-07 | 2018-05-24 | 8.5 | pH | any two (2) consecutive pH measurements | 16 | 8.6 | 9.2 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-03-06 | 2018-12-10 | PASS | acute toxicity | any | 11 | FAIL | FAIL | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - TROUT | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-03-06 | 2018-12-10 | PASS | acute toxicity | any | 9 | FAIL | FAIL | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-03-06 | 2018-04-17 | 15 | mg/L | median concentration of at least four (4) consecutive samples | 7 | 17 | 49.5 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-04-03 | 2018-04-03 | 50 | mg/L | /d | 1 | 52 | 52 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
Ontario Graphite Ltd. | Ontario Graphite Ltd. - Kearney Graphite Mine | 2142 Forestry Rd Lots 7 & 8 Concession 10 Geographic Township of Butt | Kearney | Industrial Minerals | North Bay | IRON | Approval / Permit Non-Compliance | 2018-10-30 | 2018-12-24 | 1 | mg/L | mon avg | 2 | 1.56 | 3.06 | Action Plan Submitted - Implementing Improvements; Conducting Study | Director's Order Issued
First Cobalt Corp. | First Cobalt Corp. | Lot 1 Con 12 (formerly 36569 Yukon Inc./Canmine Resources Corporation) | Lorrain | Metal Mining and Refining | North Bay | ARSENIC | Approval / Permit Non-Compliance | 2018-09-01 | 2018-09-30 | 0.5 | mg/L | mon avg | 1 | 0.57 | 0.57 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
First Cobalt Corp. | First Cobalt Corp. | Lot 1 Con 12 (formerly 36569 Yukon Inc./Canmine Resources Corporation) | Lorrain | Metal Mining and Refining | North Bay | ARSENIC | Approval / Permit Non-Compliance | 2018-10-01 | 2018-10-31 | 0.5 | mg/L | mon avg | 1 | 0.61 | 0.61 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Wesdome Gold Mines Ltd. | Miron Creek TMA | Paint Lake Rd P. O Box 1520 | Unsurveyed (Thunder Bay D.O.) | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-04-30 | 2018-04-30 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway; Operational Process Modification | Environmental Penalty Order Issued
Wesdome Gold Mines Ltd. | Miron Creek TMA | Paint Lake Rd P. O Box 1520 | Unsurveyed (Thunder Bay D.O.) | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-05-02 | 2018-05-02 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway; Operational Process Modification | Environmental Penalty Order Issued
Wesdome Gold Mines Ltd. | Miron Creek TMA | Paint Lake Rd P. O Box 1520 | Unsurveyed (Thunder Bay D.O.) | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-05-03 | 2018-05-03 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway; Operational Process Modification | Environmental Penalty Order Issued
Algoma Steel Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | CYANIDE | Legislation Non-Compliance | 2018-12-18 | 2018-12-18 | 35.4 | kg | /d | 1 | 44.4 | 44.4 | Additional Monitoring Underway | Provincial Officer's Order Issued
Algoma Steel Inc. | 105 West Street | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | CYANIDE | Legislation Non-Compliance | 2018-12-01 | 2018-12-31 | 16.4 | kg/d | mon avg | 1 | 23.43 | 23.43 | Additional Monitoring Underway | Provincial Officer's Order Issued
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-03-20 | 2018-03-20 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Environmental Penalty Order Issued
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-04-10 | 2018-04-10 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Environmental Penalty Order Issued
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-09-24 | 2018-09-24 | 30 | mg/L | /d | 1 | 43 | 43 | Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-09-30 | 2018-09-30 | 30 | mg/L | /d | 1 | 33 | 33 | Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-10-01 | 2018-10-01 | 10 | mg/L | /d | 1 | 13.5 | 13.5 | Other | Other Abatement Action Taken
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-10-01 | 2018-10-31 | 15 | mg/L | mon avg | 1 | 42 | 42 | Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-10-03 | 2018-10-03 | 30 | mg/L | /d | 1 | 177 | 177 | Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-10-10 | 2018-10-10 | 30 | mg/L | /d | 1 | 58 | 58 | Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken
Harte Gold Corp. | Sugar Zone Project | 113 Tukanee Lake Rd | Hambleton | Metal Mining and Refining | Sault Ste. Marie | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-10-20 | 2018-10-20 | 10 | mg/L | /d | 1 | 12.6 | 12.6 | Other | Other Abatement Action Taken
Rio Algom Limited | Stanleigh Tailings Management Area | Stanleigh Mine | Elliot Lake | Metal Mining and Refining | Sault Ste. Marie | RADIUM | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 0.37 | Bq/L (Radiological) | mon avg | 1 | 0.424 | 0.424 | Additional Monitoring Underway; Conducting Study | Assessment Underway
Wesdome Gold Mines Ltd. | Wesdome (Eagle River Mine) | Unorganized Area | Unsurveyed (Thunder Bay D.O.) | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-05-06 | 2018-05-06 | 30 | mg/L | /d | 1 | 38 | 38 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; New/Amended Approval | Environmental Penalty Order Issued
Wesdome Gold Mines Ltd. | Wesdome (Eagle River Mine) | Unorganized Area | Unsurveyed (Thunder Bay D.O.) | Metal Mining and Refining | Sault Ste. Marie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-05-08 | 2018-05-08 | 30 | mg/L | /d | 1 | 37.9 | 37.9 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; New/Amended Approval | Environmental Penalty Order Issued
Alamos Gold Inc. | Island Gold Mine | 15 Goudreau Rd | Finan | Metal Mining and Refining | Sault Ste. Marie | ACUTE LETHALITY - TROUT | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-05-03 | 2018-05-04 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Other | Environmental Penalty Order Issued
Her Majesty the Queen in Right of Ontario as represented by the Minister of Natural Resources and Forestry | Blue Jay Creek Fish Culture Station - Blue Jay Creek Spring | Highway 242 | Tehkummah | Miscellaneous Industrial | Sudbury | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-03-12 | 2018-04-30 | 0.05 | mg/L | avg of 3 consecutive samples | 1 | 0.1071 | 0.1071 | Additional Monitoring Underway | Assessment Complete - Incident Resolved
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2018-02-12 | 2018-02-12 | 12200 | kg | /d | 1 | 13820 | 13820 | None Required | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2018-02-13 | 2018-02-13 | 12200 | kg | /d | 1 | 14550 | 14550 | None Required | Environmental Penalty Order Issued
AV Terrace Bay Inc. | 21 Mill Road | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-09-13 | 2018-09-13 | 9080 | kg/d | /d | 1 | 28588 | 28588 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Voluntary Abatement Program Underway
AV Terrace Bay Inc. | 21 Mill Road | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | PHENOL | Legislation Non-Compliance | 2018-12-04 | 2018-12-11 | 0.477 | kg/d | /d | 2 | 0.564 | 1.289 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Voluntary Abatement Program Underway
AV Terrace Bay Inc. | 21 Mill Road | 21 Mill Rd | Terrace Bay | Pulp and Paper | Thunder Bay | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2018-12-06 | 2018-12-10 | 5770 | kg/d | /d | 5 | 12153 | 14025 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Voluntary Abatement Program Underway
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | PH - LOW | Approval / Permit Non-Compliance | 2018-03-15 | 2018-03-15 | 6 | pH | any | 2 | 5.91 | 5.97 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Resolute FP Canada Inc. | Resolute Forest Products | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | PH - HIGH | Approval / Permit Non-Compliance | 2018-11-08 | 2018-11-08 | 9.5 | pH | any | 1 | 9.56 | 9.56 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Goldstone Resources Inc. | Northern Empire Mill Site | Leased Mining Claim TB 492 | Greenstone | Metal Mining and Refining | Thunder Bay | ARSENIC | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 0.5 | mg/L | mon avg | 1 | 0.689 | 0.689 | Operational Process Modification | Voluntary Abatement Program Underway
Detour Gold Corporation | Detour Lake Mine | 185 km NE of Cochrane via HWY 652 | Cochrane | Metal Mining and Refining | Timmins | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 0.5 | mg/L | mon avg | 1 | 0.7 | 0.7 | Additional Monitoring Underway | Assessment Complete - No Action Required
Lake Shore Gold Corp. | Lake Shore Gold - Timmins Mine | 8215 Hwy 101 W | Timmins | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2018-07-30 | 2018-07-30 | 30 | mg/L | /d | 1 | 53.8 | 53.8 | None Required | Assessment Complete - No Action Required
Gowest Gold Ltd. | Bradshaw Gold Project - Gowest Gold Ltd | Bradshaw Project - approx. 12 km off Hwy 655 | Tully | Metal Mining and Refining | Timmins | PH - HIGH | Approval / Permit Non-Compliance | 2018-08-08 | 2018-08-10 | 8.5 | pH | any | 2 | 8.63 | 8.63 | Additional Monitoring Underway | Assessment Underway
Gowest Gold Ltd. | Bradshaw Gold Project - Gowest Gold Ltd | Bradshaw Project - approx. 12 km off Hwy 655 | Tully | Metal Mining and Refining | Timmins | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-10-12 | 2018-10-19 | 30 | mg/L | any | 4 | 63.1 | 63.1 | Conducting Study | Environmental Penalty Order Issued
Lafarge Canada Inc. | Lafarge Woodstock | 683916 Road 68 | Woodstock | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-10-28 | 2018-11-02 | 50 | mg/L | any | 1 | 140 | 140 | Other | Other Abatement Action Taken
R & G Holdings Corp. | IMT Defence Plant | 347 King St W | Ingersoll | Miscellaneous Industrial | London | TRICHLOROETHYLENE | Approval / Permit Non-Compliance | 2018-05-15 | 2018-05-15 | 20 | µg/L | /quart | 1 | 21.7 | 21.7 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Carmeuse Lime (Canada) Limited | Carmeuse Lime Canada Limited | Oxford County Road 6 | Zorra | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2018-08-01 | 2018-08-31 | 25 | mg/L | mon avg | 1 | 31 | 31 | Additional Monitoring Underway | Environmental Penalty Order Issued
Bruce Power Inc. | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2018-02-15 | 2018-02-15 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Ceased Operations; Training/Procedure Change | Environmental Penalty Order Issued
Bruce Power Inc. | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2018-02-15 | 2018-02-15 | PASS | acute toxicity | any | 1 | FAIL | FAIL | Ceased Operations; Training/Procedure Change | Environmental Penalty Order Issued
Bruce Power Inc. | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-03-18 | 2018-03-18 | 5 | mg/L | any | 1 | 8.7 | 8.7 | Operational Process Modification | Environmental Penalty Order Issued
Bruce Power Inc. | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2018-08-23 | 2018-08-23 | PASS | acute toxicity | any | 1 | FAIL | FAIL | New/Modified Sampling Program Underway | Environmental Penalty Order Issued
Lallemand Inc. | Lallemand Bio-Ingredients Inc. | 107 Union St, Tara | Arran-Elderslie | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-03-01 | 2018-03-29 | 15 | mg/L | mon avg | 1 | 16 | 16 | None Required | Assessment Complete - No Action Required
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-06-07 | 2018-06-07 | 0.7 | mg/L | /d | 1 | 5.96 | 5.96 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved; Voluntary Abatement Program Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-10-10 | 2018-10-16 | 20 | mg/L | /d | 2 | 33 | 51 | Additional Monitoring Underway; Ceased Operations | Assessment Complete - Incident Resolved
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-12-06 | 2018-12-06 | 20 | mg/L | any | 1 | 25 | 25 | Operational Process Modification; Training/Procedure Change | Assessment Complete - No Action Required
Invenergy Services Canada | 790 Petrolia Line | 790 Petrolia Line | St. Clair | Electric Power Generation | Sarnia | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 25 | mg/L | mon avg | 1 | 27 | 27 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TOTAL RESIDUAL CHLORINE | Approval / Permit Non-Compliance | 2018-02-12 | 2018-02-12 | 0.01 | mg/L | any | 2 | 0.012 | 0.017 | Conducting Study; Operational Process Modification | Voluntary Abatement Program Underway
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2018-06-09 | 2018-06-09 | 4 | kg | /d | 1 | 5.76 | 5.76 | Additional Monitoring Underway | Assessment Underway
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2018-06-13 | 2018-06-13 | 4 | kg | /d | 1 | 4.41 | 4.41 | Additional Monitoring Underway | Assessment Complete - No Action Required
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TOTAL RESIDUAL CHLORINE | Approval / Permit Non-Compliance | 2018-07-20 | 2018-07-20 | 0.01 | mg/L | any | 1 | 0.286 | 0.286 | Other | Environmental Penalty Order Issued
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | POLYETHYLENE | Approval / Permit Non-Compliance | 2018-11-05 | 2018-11-06 | 0.06 | mg/L | 24hr | 1 | 34 | 34 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Environmental Penalty Order Issued
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2018-12-19 | 2018-12-31 | 10 | °C | 24h avg | 9 | 10.3 | 10.8 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Training/Procedure Change | Assessment Complete - Incident Resolved
TransAlta (SC) Inc. as general partner for and on behalf of TransAlta (SC) L.P. | Sarnia Regional Cogeneration Plant (SRCP) | 230 - 1741 River Rd | Sarnia | Electric Power Generation | Sarnia | PH - HIGH | Approval / Permit Non-Compliance | 2018-06-04 | 2018-06-04 | 9.5 | pH | any | 1 | 9.84 | 9.84 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Voluntary Abatement Program Underway; Environmental Penalty Order Issued
TransAlta (SC) Inc. as general partner for and on behalf of TransAlta (SC) L.P. | Sarnia Regional Cogeneration Plant (SRCP) | 230 - 1741 River Rd | Sarnia | Electric Power Generation | Sarnia | PH - HIGH | Approval / Permit Non-Compliance | 2018-06-18 | 2018-06-18 | 9.5 | pH | any | 1 | 9.75 | 9.75 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Voluntary Abatement Program Underway; Environmental Penalty Order Issued
Shell Canada Limited, for and on behalf of Shell Canada Products | Shell Canada Products - Lambton Facility | 150 St. Clair Pky Corunna | St. Clair | Petroleum Refining | Sarnia | DISSOLVED ORGANIC CARBON | Legislation Non-Compliance | 2018-02-20 | 2018-02-20 | 365 | kg | /d | 1 | 473.7 | 473.7 | None Required | Assessment Complete - No Action Required
Z.D.S. Farms Ltd. | Z.D.S. Farms | 115 County Road 18 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.6 | 0.6 | Additional Monitoring Underway; None Required | Assessment Complete - No Action Required
Z.D.S. Farms Ltd. | Z.D.S. Farms | 115 County Road 18 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2018-03-01 | 2018-03-31 | 0.1 | mg/L | mon avg | 1 | 0.3693 | 0.3693 | Conducting Study | Voluntary Abatement Program Underway
Z.D.S. Farms Ltd. | Z.D.S. Farms | 115 County Road 18 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 0.1 | mg/L | mon avg | 1 | 0.1003 | 0.1003 | Conducting Study | Voluntary Abatement Program Underway
Golden Acre Farms Inc. | Golden Acres Farms | 2011 Graham Side Road | Kingsville | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2018-05-01 | 2018-05-31 | 20 | mg/L | mon avg | 1 | 31.3 | 31.3 | Additional Monitoring Underway; Conducting Study | Voluntary Abatement Program Underway
Golden Acre Farms Inc. | Golden Acres Farms | 2011 Graham Side Road | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-05-01 | 2018-05-31 | 0.5 | mg/L | mon avg | 1 | 15.2 | 15.2 | Additional Monitoring Underway; Conducting Study | Voluntary Abatement Program Underway
Golden Acre Farms Inc. | Golden Acres Farms | 2011 Graham Side Road | Kingsville | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2018-05-01 | 2018-05-31 | 25 | mg/L | mon avg | 1 | 59.6 | 59.6 | Additional Monitoring Underway; Conducting Study | Voluntary Abatement Program Underway
Coppola Farms Inc. | Coppola Farms | 1660 Graham Side Rd | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-05-01 | 2018-05-31 | 0.5 | mg/L | mon avg | 1 | 3.24 | 3.24 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Voluntary Abatement Program Underway
Coppola Farms Inc. | Coppola Farms | 1660 Graham Side Rd | Kingsville | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2018-05-01 | 2018-05-31 | 25 | mg/L | mon avg | 1 | 36.9 | 36.9 | Action Plan Submitted - Implementing Improvements; Operational Process Modification | Voluntary Abatement Program Underway
Nature's Finest Produce Ltd. | Nature's Finest Produce | 6874 Pain Court Line | Chatham-Kent | Miscellaneous Industrial | Windsor | UNIONIZED SULPHIDE | Approval / Permit Non-Compliance | 2018-10-31 | 2018-10-31 | 0.02 | mg/L | any | 1 | 0.05 | 0.05 | Training/Procedure Change | Voluntary Abatement Program Underway
Sunni-Greenacres Limited | Sunni-Greenacres | 499 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE + NITRITE (AS NITROGEN) | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | mg/L | mon avg | 1 | 118 | 118 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Sunni-Greenacres Limited | Sunni-Greenacres | 499 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 0.5 | mg/L | mon avg | 1 | 3.9 | 3.9 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Sunni-Greenacres Limited | Sunni-Greenacres | 499 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 20 | mg/L | mon avg | 1 | 151 | 151 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2173 | 0.2173 | Conducting Study | Assessment Complete - No Action Required
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2273 | 0.2273 | Conducting Study | Assessment Complete - No Action Required
DVD Farms Limited | DVD Farms | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.2855 | 0.2855 | Conducting Study | Assessment Complete - Incident Resolved
Colasanti Farms Limited | Colasanti's Tropical Gardens | 1550 Road 3 E | Kingsville | Miscellaneous Industrial | Windsor | CHLORIDE | Approval / Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 200 | mg/L | 4 mon rolling avg | 1 | 248.8 | 248.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Colasanti Farms Limited | Colasanti's Tropical Gardens | 1550 Road 3 E | Kingsville | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 100 | µg/L | 4 mon rolling avg | 1 | 101 | 101 | Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Prism Farms Limited | 731 Mersea Road 7 | 731 Mersea Rd | Leamington | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2018-07-01 | 2018-10-31 | 20 | mg/L | 4 mon rolling avg | 1 | 67 | 67 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway; Voluntary Abatement Program Underway
Prism Farms Limited | 731 Mersea Road 7 | 731 Mersea Rd | Leamington | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-07-01 | 2018-10-31 | 0.5 | mg/L | 4 mon rolling avg | 1 | 13.4 | 13.4 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway; Voluntary Abatement Program Underway
Prism Farms Limited | 731 Mersea Road 7 | 731 Mersea Rd | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2018-07-01 | 2018-10-31 | 25 | mg/L | 4 mon rolling avg | 1 | 151 | 151 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Underway; Voluntary Abatement Program Underway
Prestressed Systems Incorporated | 4955 Walker Road | 4955 Walker Rd | Tecumseh | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-05-01 | 2018-05-30 | 15 | mg/L | mon avg | 1 | 89 | 89 | Other | Voluntary Abatement Program Underway
Prestressed Systems Incorporated | 4955 Walker Road | 4955 Walker Rd | Tecumseh | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-06-01 | 2018-06-30 | 15 | mg/L | mon avg | 1 | 90.8 | 90.8 | New/Amended Approval; Operational Process Modification; Training/Procedure Change | Voluntary Abatement Program Underway
1313304 Alberta ULC, operating as Great Northern Hydroponics | 1507 Road 3 East | 1507 Road 3 E | Kingsville | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.315 | 0.315 | Conducting Study | Assessment Underway
Mor Gro Farms Inc. | Mor Gro Farms Inc. | 1921 Road 3 E | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-07-01 | 2018-07-31 | 0.5 | mg/L | mon avg | 1 | 13.6 | 13.6 | Conducting Study | Voluntary Abatement Program Underway
Magri Greenhouses Inc. | Magri Greenhouses | 312 Mersea Road 3 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.1 | mg/L | 4 mon rolling avg | 1 | 0.141 | 0.141 | Conducting Study | Assessment Complete - No Action Required
Di Ciocco Farms Incorporated | Di Ciocco Farms Incorporated | 294 Talbot St E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 0.1 | mg/L | mon avg | 1 | 0.6255 | 0.6255 | Conducting Study | Voluntary Abatement Program Underway
Di Ciocco Farms Incorporated | Di Ciocco Farms Incorporated | 294 Talbot St E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2018-02-01 | 2018-02-28 | 0.1 | mg/L | mon avg | 1 | 0.737 | 0.737 | Conducting Study | Voluntary Abatement Program Underway
Di Ciocco Farms Incorporated | Di Ciocco Farms Incorporated | 294 Talbot St E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2018-03-01 | 2018-03-31 | 0.1 | mg/L | mon avg | 1 | 0.87525 | 0.87525 | Conducting Study | Voluntary Abatement Program Underway
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-03-01 | 2018-03-31 | 5 | mg/L | mon avg | 1 | 7.9 | 7.9 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 5 | mg/L | mon avg | 1 | 31.1 | 31.1 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Complete - Incident Resolved
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-06-01 | 2018-06-30 | 0.5 | mg/L | mon avg | 1 | 2.64 | 2.64 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-06-01 | 2018-06-30 | 3 | mg/L | mon avg | 1 | 9.25 | 9.25 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-07-01 | 2018-07-31 | 0.5 | mg/L | mon avg | 1 | 0.671 | 0.671 | None Required | Assessment Complete - No Action Required
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-08-01 | 2018-08-31 | 3 | mg/L | mon avg | 1 | 17.225 | 17.225 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Complete - Incident Resolved; Assessment Underway
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-09-01 | 2018-09-30 | 3 | mg/L | mon avg | 1 | 4.87 | 4.87 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway | Assessment Complete - Incident Resolved; Assessment Underway
Domric International Ltd. | Domric International Ltd. | 3069 Graham Rd | Kingsville | Miscellaneous Industrial | Windsor | NITRATE + NITRITE (AS NITROGEN) | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-30 | 20 | mg/L | mon avg | 1 | 35.1 | 35.1 | Other | Voluntary Abatement Program Underway
Domric International Ltd. | Domric International Ltd. | 3069 Graham Rd | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-30 | 0.5 | mg/L | mon avg | 1 | 6 | 6 | Other | Voluntary Abatement Program Underway
Domric International Ltd. | Domric International Ltd. | 3069 Graham Rd | Kingsville | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-30 | 25 | mg/L | mon avg | 1 | 64 | 64 | Other | Voluntary Abatement Program Underway
N Sawatzky Farms Inc. | 923 Talbot Road East | 923 Talbot Road East | Leamington | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-03-01 | 2018-03-31 | 0.5 | mg/L | mon avg | 1 | 0.563 | 0.563 | None Required | Assessment Complete - No Action Required
N Sawatzky Farms Inc. | 923 Talbot Road East | 923 Talbot Road East | Leamington | Miscellaneous Industrial | Windsor | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-03-01 | 2018-03-31 | 30 | mg/L | mon avg | 1 | 75.75 | 75.75 | None Required | Assessment Complete - No Action Required
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.02165 | 0.02165 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 20 | mg/L | 4 mon rolling avg | 1 | 29.71 | 29.71 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2017-10-01 | 2018-01-31 | 25 | mg/L | 4 mon rolling avg | 1 | 53.975 | 53.975 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval / Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.024125 | 0.024125 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 20 | mg/L | 4 mon rolling avg | 1 | 36.82 | 36.82 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2017-11-01 | 2018-02-28 | 25 | mg/L | 4 mon rolling avg | 1 | 63.225 | 63.225 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval / Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.024475 | 0.024475 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 20 | mg/L | 4 mon rolling avg | 1 | 45.675 | 45.675 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2017-12-01 | 2018-03-31 | 25 | mg/L | 4 mon rolling avg | 1 | 81.75 | 81.75 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval / Permit Non-Compliance | 2018-01-01 | 2018-04-30 | 0.02 | mg/L | 4 mon rolling avg | 1 | 0.0265 | 0.0265 | Conducting Study | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2018-01-01 | 2018-04-30 | 20 | mg/L | 4 mon rolling avg | 1 | 23.17 | 23.17 | Conducting Study | Voluntary Abatement Program Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2018-01-01 | 2018-04-30 | 25 | mg/L | 4 mon rolling avg | 1 | 48.35 | 48.35 | Conducting Study | Voluntary Abatement Program Underway
Pure Metal Galvanizing ULC, a Valmont Company | 32 Bodine | 32 Bodine Dr | Brantford | Miscellaneous Industrial | Guelph | ZINC | Approval / Permit Non-Compliance | 2018-04-16 | 2018-04-16 | 0.05 | mg/L | any | 1 | 0.744 | 0.744 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Assessment Underway
Pure Metal Galvanizing ULC, a Valmont Company | 32 Bodine | 32 Bodine Dr | Brantford | Miscellaneous Industrial | Guelph | ZINC | Approval / Permit Non-Compliance | 2018-08-08 | 2018-08-08 | 0.05 | mg/L | any | 1 | 4.4 | 4.4 | Conducting Study | Assessment Underway
Heidelberg Foods (Real Estate) Ltd. | 1035 Reitzel Place | 1035 Reitzel Pl St. Jacobs | Woolwich | Miscellaneous Industrial | Guelph | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval / Permit Non-Compliance | 2018-01-01 | 2018-12-31 | 15 | mg/L | annual avg | 1 | 22.04 | 22.04 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Other Abatement Action Taken
Heidelberg Foods (Real Estate) Ltd. | 1035 Reitzel Place | 1035 Reitzel Pl St. Jacobs | Woolwich | Miscellaneous Industrial | Guelph | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2018-01-01 | 2018-12-31 | 2.8 | mg/L | annual avg | 1 | 7.91 | 7.91 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification | Other Abatement Action Taken
Truscan Property Corporation | 305 King Street West | 305 King St W | Kitchener | Miscellaneous Industrial | Guelph | LEAD | Approval / Permit Non-Compliance | 2018-04-06 | 2018-04-06 | 5 | µg/L | any | 1 | 81.5 | 81.5 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
D.G.S. Development Inc. | The Greens at Renton | 969 Concession 14 Townsend | Norfolk | Miscellaneous Industrial | Hamilton | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-02-22 | 2018-02-22 | 10 | mg/L | Avg. of 4 consecutive samples | 1 | 10.225 | 10.225 | Additional Monitoring Underway | Assessment Complete - Incident Resolved
Jungbunzlauer Canada Inc. | Jungbunzlauer Canada Inc. | 1555 Elm St | Port Colborne | Miscellaneous Industrial | Niagara | TEMPERATURE | Approval / Permit Non-Compliance | 2018-12-08 | 2018-12-10 | 11 | °C | 24h avg | 3 | 11.1 | 12.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Walker Aggregates Inc. | Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-02-05 | 2018-02-20 | 25 | mg/L | /wk | 2 | 35 | 50 | Additional Monitoring Underway | Assessment Complete - No Action Required
Walker Aggregates Inc. | Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-04-16 | 2018-04-23 | 25 | mg/L | /wk | 2 | 46 | 120 | Additional Monitoring Underway; Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required; Other Abatement Action Taken
Walker Aggregates Inc. | Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-10-29 | 2018-11-02 | 25 | mg/L | /wk | 1 | 41 | 41 | Additional Monitoring Underway | Assessment Complete - No Action Required
The Corporation of the City of Thorold | Rice Road Landfill | Rice Rd part Lot 160 | Thorold | Miscellaneous Industrial | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-07-01 | 2018-07-31 | 0.03 | mg/L | mon avg | 1 | 0.045 | 0.045 | Action Plan Submitted - Implementing Improvements; other | Assessment Underway
The Corporation of the City of Thorold | Rice Road Landfill | Rice Rd part Lot 160 | Thorold | Miscellaneous Industrial | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-08-01 | 2018-08-31 | 0.03 | mg/L | mon avg | 1 | 0.1 | 0.1 | Action Plan Submitted - Implementing Improvements; Other | Voluntary Abatement Program Underway
Cytec Canada Inc. | Cytec Canada Inc. | 9061 Garner Rd | Niagara Falls | Inorganic Chemicals | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-01-01 | 2018-01-31 | 1 | mg/L | mon avg | 1 | 1.29 | 1.29 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Cytec Canada Inc. | Cytec Canada Inc. | 9061 Garner Rd | Niagara Falls | Inorganic Chemicals | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2018-04-01 | 2018-04-30 | 1 | mg/L | mon avg | 1 | 1.19 | 1.19 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Atlantic Biodiesel Corporation | Atlantic Biodiesel Corporation | 1 St. Clair Dr | Welland | Organic Chemicals Manufacturing | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2018-11-01 | 2018-11-01 | 25 | mg/L | any | 1 | 52.7 | 52.7 | Additional Monitoring Underway | Assessment Underway
Ces données sont fournies à titre d’information seulement. Les installations responsables des rejets ont fourni la plupart des données de ce sommaire. Ces installations sont responsables de l’exactitude des données fournies. Certaines données sont aussi dérivées des données du ministère sur les rejets. Les mesures prises par les installations et par le ministère étaient à jour en novembre 2019. Pour obtenir des données actualisées, veuillez contacter le bureau de district ou de secteur concerné