## 2019_Industrial_Sewage_All
Propriétaire de l’installation | Nom du site | Adresse du site | Municipalité du site | Secteur | District | Contaminant | Type de dépassement | Date du début du dépassement | Date de la fin du dépassement | Limite du contaminant | Unité du contaminant | Fréquence de la limite | Nombre de dépassements | Minimum de la quantité | Maximum de la quantité | Mesure prise par l’installation | Mesure prise par le ministère
1088003 Ontario Limited | Albuna Plant Farm | 341 County Road 14 E | Kingsville | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.5 | mg/L | mon avg | 3 | 0.54 | 0.75 | Conducting Study | Assessment Underway
1088003 Ontario Limited | Albuna Plant Farm | 341 County Road 14 E | Kingsville | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 5 | 0.11 | 0.21 | Conducting Study | Assessment Underway
1830176 Ontario Inc. | 426 Road 3 | 426 Road 3 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 9 | 0.113 | 0.36 | Conducting Study | Assessment Underway
Algoma Steel Inc. | Algoma Steel Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | CYANIDE | Legislation Non-Compliance | 2019-02-01 | 2019-02-28 | 16.4 | kg | mon avg | 1 | 19.95 | 19.95 | Additional Monitoring Underway; Conducting Study | Environmental Penalty Order Issued
Algoma Steel Inc. | Algoma Steel Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2019-10-18 | 2019-10-18 | 0 | acute toxicity | any | 1 | 1 | 1 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Algoma Steel Inc. | Algoma Steel Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | CYANIDE | Legislation Non-Compliance | 2019-10-18 | 2019-10-18 | 35.4 | kg | /d | 1 | 58.6 | 58.6 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Algoma Steel Inc. | Algoma Steel Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | PHENOL | Legislation Non-Compliance | 2019-10-18 | 2019-10-18 | 4.34 | kg | /d | 1 | 162.6 | 162.6 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Algoma Steel Inc. | Algoma Steel Inc. | 105 West St | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | TOTAL AMMONIA NITROGEN | Legislation Non-Compliance | 2019-10-18 | 2019-10-18 | 608 | kg | /d | 1 | 3109 | 3109 | Conducting Study; Equipment Modified - Repaired - Replaced or Re-calibrated | Other Abatement Action Taken
Algoma Tubes | Algoma Tubes | 547 Wallace Terrace | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2019-01-28 | 2019-01-28 | 0 | acute toxicity | any | 1 | 1 | 1 | Operational Process Modification; Additional Monitoring Underway | Environmental Penalty Order Issued
Algoma Tubes | Algoma Tubes | 547 Wallace Terrace | Sault Ste. Marie | Iron and Steel | Sault Ste. Marie | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2019-11-14 | 2019-11-14 | 0 | acute toxicity | any | 1 | 1 | 1 | Operational Process Modification; Additional Monitoring Underway | Environmental Penalty Order Issued
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | PH - HIGH | Approval / Permit Non-Compliance | 2019-03-13 | 2019-03-13 | 8.5 | pH | any | 1 | 9.03 | 9.03 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | ALUMINUM | Approval / Permit Non-Compliance | 2019-03-13 | 2019-03-13 | 75 | µg/L | any | 1 | 5100 | 5100 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | PH - HIGH | Approval / Permit Non-Compliance | 2019-03-22 | 2019-03-22 | 8.5 | pH | any | 1 | 10.5 | 10.5 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | ALUMINUM | Approval / Permit Non-Compliance | 2019-03-22 | 2019-03-22 | 75 | µg/L | any | 1 | 7700 | 7700 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | SODIUM | Approval / Permit Non-Compliance | 2019-03-28 | 2019-03-28 | 180000 | µg/L | any | 1 | 290000 | 290000 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | ALUMINUM | Approval / Permit Non-Compliance | 2019-04-23 | 2019-04-23 | 75 | µg/L | any | 1 | 340 | 340 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | CHLORIDE | Approval / Permit Non-Compliance | 2019-04-29 | 2019-04-29 | 640 | µg/L | any | 1 | 800 | 800 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
Arcadis Canada Inc. | 27-29 Marsh Street | 27-29 Marsh Street, Lot 7, Concession Broken Front | Port Hope | Miscellaneous Industrial | Peterborough | SODIUM | Approval / Permit Non-Compliance | 2019-04-29 | 2019-04-29 | 180000 | µg/L | any | 1 | 460000 | 460000 | Action Plan Submitted - Implementing Improvements | Assessment Complete - Incident Resolved
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | ZINC | Legislation Non-Compliance | 2019-08-01 | 2019-08-31 | 11.7 | kg/d | mon avg | 1 | 250.5 | 250.5 | Action Plan Submitted - Implementing Improvements Operational Process Modification | Environmental Penalty Order Issued
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | LEAD | Legislation Non-Compliance | 2019-08-01 | 2019-08-31 | 6.08 | kg/d | mon avg | 1 | 40.3 | 40.3 | Action Plan Submitted - Implementing Improvements Operational Process Modification | Environmental Penalty Order Issued
ArcelorMittal Dofasco MP Inc. and ArcelorMittal Canada Inc. operating as ArcelorMittal Dofasco G.P. | Bayfront Facility | 1330 Burlington St E | Hamilton | Iron and Steel | Hamilton | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-08-01 | 2019-08-31 | 646 | kg/d | mon avg | 1 | 700 | 700 | Action Plan Submitted - Implementing Improvements Operational Process Modification | Environmental Penalty Order Issued
Atlantic Biodiesel Corporation | Atlantic Biodiesel Corporation | 1 St. Clair Dr | Welland | Organic Chemicals Manufacturing | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-01-08 | 2019-01-08 | 25 | mg/L | any | 1 | 135 | 135 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; New Equipment or Treatment Process Installed; Operational Process Modification | Assessment Underway; Other Abatement Action Taken; Voluntary Abatement Program Underway
Atlantic Power GP Inc. | Calstock Power Plant | Lot: 26, 27, 28, Conc: 4, Hwy. 11 North | Stoddart | Electric Power Generation | Timmins | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-01-01 | 15 | mg/L | any | 1 | 48 | 48 | None Required | Assessment Complete - No Action Required
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2019-02-01 | 2019-02-28 | 5 | mg/L | mon avg | 1 | 9.1 | 9.1 | Equipment Modified - Repaired - Replaced or Re-calibrated; Other | Assessment Complete - Incident Resolved
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2019-09-01 | 2019-09-30 | 3 | mg/L | mon avg | 1 | 3.58 | 3.58 | Operational Process Modification | Assessment Complete - No Action Required
Belwood Poultry Limited | Belwood Poultry Limited | 4272 Conc 4 N | Amherstburg | Miscellaneous Industrial | Windsor | TOTAL AMMONIA NITROGEN | Approval / Permit Non-Compliance | 2019-11-01 | 2019-11-30 | 5 | mg/L | mon avg | 1 | 50.68 | 50.68 | Additional Monitoring Underway | Assessment Underway
Brampton Brick Limited | Brampton Brick Cheltenham Quarry | 14370 Mississauga Rd | Caledon | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-07-09 | 2019-07-26 | 15 | mg/L | any | 1 | 20 | 20 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Bruce Power Inc. | Bruce Power Generating Station A (units 1 -4) | 177 Tie Rd | Kincardine | Electric Power Generation | Owen Sound | MORPHOLINE | Approval / Permit Non-Compliance | 2019-04-06 | 2019-04-08 | 50 | mg/L | any | 2 | 69 | 69 | Ceased Operations; Operational Process Modification | Assessment Underway; Environmental Penalty Order Issued
Covia Canada Ltd./Covia Canada Ltée | Covia - Blue Mountain Facility | 260 Unimin Road | Havelock-Belmont-Methuen | Industrial Minerals | Peterborough | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-05-01 | 2019-05-31 | 25 | mg/L | mon avg | 1 | 63.2 | 63.2 | New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway
Covia Canada Ltd./Covia Canada Ltée | Covia - Blue Mountain Facility | 260 Unimin Road | Havelock-Belmont-Methuen | Industrial Minerals | Peterborough | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-05-30 | 2019-05-30 | 50 | mg/L | any | 1 | 255.3 | 255.3 | New/Modified Sampling Program Underway; Operational Process Modification | Assessment Underway
CRH Canada Group Inc. | Mississauga Cement Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-02-01 | 2019-12-31 | 25 | mg/L | mon avg | 3 | 25.1 | 43.5 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Assessment Underway; Voluntary Abatement Program Underway
CRH Canada Group Inc. | Mississauga Cement Plant | 2391 Lakeshore Rd W | Mississauga | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-02-12 | 2019-12-31 | 50 | mg/L | any | 3 | 80.2 | 158.4 | Action Plan Submitted - Implementing Improvements; New/Amended Approval | Assessment Underway; Voluntary Abatement Program Underway
De Beers Canada Inc. | De Beers Canda Inc. - Victor Mine | Victor Mine 90 km W of Attawapiskat | Unsurveyed Territory | Industrial Minerals | Timmins | CHLORIDE | Approval / Permit Non-Compliance | 2019-06-13 | 2019-06-15 | 150 | ppm | /d | 3 | 212.98 | 212.98 | Equipment Modified - Repaired - Replaced or Re-calibrated; Operational Process Modification; Training/Procedure Change | Other Abatement Action Taken; Voluntary Abatement Program Underway
Di Ciocco Farms Eastside Inc. | Di Ciocco Farms Eastside Incorporated | 308 Talbot St E | Leamington | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.5 | mg/L | mon avg | 3 | 0.5333 | 1.25 | Conducting Study | Assessment Complete - No Action Required
Di Ciocco Farms Eastside Inc. | Di Ciocco Farms Eastside Incorporated | 308 Talbot St E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 8 | 0.1 | 0.49 | Conducting Study | Assessment Complete - No Action Required
Di Ciocco Farms Incorporated | Di Ciocco Farms Incorporated | 294 Talbot St E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 8 | 0.12 | 0.359 | Conducting Study | Assessment Underway
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-03-29 | 2019-04-04 | 16300 | kg | /d | 7 | 16393 | 18605 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2019-03-31 | 2019-04-04 | 12200 | kg | /d | 5 | 12553 | 15109 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-05-08 | 2019-05-09 | 16300 | kg | /d | 2 | 16540 | 18560 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | Domtar Inc. - Espanola Mill | 1 Station Rd | Espanola | Pulp and Paper | Sudbury | BIOCHEMICAL OXYGEN DEMAND | Legislation Non-Compliance | 2019-05-09 | 2019-05-09 | 12200 | kg | /d | 1 | 12785 | 12785 | Equipment Modified - Repaired - Replaced or Re-calibrated | Environmental Penalty Order Issued
Domtar Inc. | 126 Marmora Street | 126 Marmora St | Quinte West | Miscellaneous Industrial | Peterborough | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-03-01 | 2019-03-31 | 10 | mg/L | mon avg | 1 | 11 | 11 | None Required | Assessment Complete - No Action Required
DVD Farms Limited | DVD FARMS | 1132 Seacliff Dr E | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 12 | 0.13 | 0.57 | Conducting Study | Assessment Underway
Goldstone Resources Inc. | Northern Empire Mill Site | Leased Mining Claim TB 4928 Lease # 19264 Summers Original Geographic Township | Greenstone | Metal Mining and Refining | Thunder Bay | ARSENIC | Approval / Permit Non-Compliance | 2019-04-01 | 2019-04-30 | 0.5 | mg/L | mon avg | 1 | 0.6 | 0.6 | Operational Process Modification | Voluntary Abatement Program Underway
Gwillimdale Farms Ltd. | Gwillimdale Farms Ltd. | 2026 Line 11 | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-09-30 | 1 | mg/L | mon avg | 6 | 2.82 | 4.26 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Gwillimdale Farms Ltd. | Gwillimdale Farms Ltd. | 2026 Line 11 | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND | Approval / Permit Non-Compliance | 2019-01-01 | 2019-09-30 | 25 | mg/L | mon avg | 7 | 147 | 291 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Gwillimdale Farms Ltd. | Gwillimdale Farms Ltd. | 2026 Line 11 | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-09-30 | 25 | mg/L | mon avg | 9 | 58.6 | 404 | Additional Monitoring Underway | Voluntary Abatement Program Underway
Henry Blyth Farms Inc. | 82974A London Road | 82974A London Rd | Central Huron | Miscellaneous Industrial | Owen Sound | TOTAL NITROGEN | Approval / Permit Non-Compliance | 2019-11-01 | 2019-11-26 | 5 | mg/L | mon avg | 1 | 5.2 | 5.2 | Ceased Operations | Assessment Complete - No Action Required
Her Majesty the Queen in Right of Ontario as represented by the Minister of Natural Resources and Forestry | Sandfield Fish Culture Station | Geographic Township of Sandfield | Central Manitoulin | Miscellaneous Industrial | Sudbury | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-07-09 | 2019-07-09 | 0.08417 | mg/L | any | 1 | 0.146 | 0.146 | Additional Monitoring Undertaken | Assessment Complete - Incident Resolved
Her Majesty the Queen in Right of Ontario as represented by the Minister of Natural Resources and Forestry | Sandfield Fish Culture Station | Geographic Township of Sandfield | Central Manitoulin | Miscellaneous Industrial | Sudbury | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-07-09 | 2019-07-09 | 0.06978 | mg/L | any | 1 | 0.128 | 0.128 | Additional Monitoring Undertaken | Assessment Complete - Incident Resolved
Her Majesty the Queen in Right of Ontario as represented by the Minister of Natural Resources and Forestry | Sandfield Fish Culture Station | Geographic Township of Sandfield | Central Manitoulin | Miscellaneous Industrial | Sudbury | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-07-09 | 2019-07-09 | 10 | mg/L | any | 1 | 12 | 12 | Additional Monitoring Undertaken | Assessment Complete - Incident Resolved
Her Majesty the Queen in Right of Ontario as represented by the Minister of Natural Resources and Forestry | Sandfield Fish Culture Station | Geographic Township of Sandfield | Central Manitoulin | Miscellaneous Industrial | Sudbury | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-07-12 | 2019-07-12 | 0.161 | mg/L | any | 1 | 0.336 | 0.336 | Additional Monitoring Undertaken | Assessment Complete - Incident Resolved
Her Majesty the Queen in Right of Ontario as represented by the Minister of Natural Resources and Forestry | Sandfield Fish Culture Station | Geographic Township of Sandfield | Central Manitoulin | Miscellaneous Industrial | Sudbury | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-07-12 | 2019-07-12 | 10 | mg/L | any | 1 | 19.3 | 19.3 | Additional Monitoring Undertaken | Assessment Complete - Incident Resolved
Hydro One Networks Inc. | Hawthorne Transmission Station | 2600 HYDRO Rd | Ottawa | Electric Power Generation | Ottawa | OIL/GREASE | Policy/Guideline Non-Conformance | 2019-06-19 | 2019-06-19 | 15 | mg/L | any | 1 | 19 | 19 | Equipment Modified - Repaired - Replaced or Re-calibrated; Other | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | COPPER | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.02 | µg/L | mon avg | 3 | 0.0327 | 0.036 | Additional Monitoring Underway | Assessment Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | NITRATE (AS NITROGEN) | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 20 | mg/L | mon avg | 2 | 25.2 | 43 | Additional Monitoring Underway | Assessment Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.5 | mg/L | mon avg | 5 | 0.545 | 8.22 | Additional Monitoring Underway | Assessment Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | POTASSIUM | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 25 | mg/L | mon avg | 4 | 28.3 | 101 | Additional Monitoring Underway | Assessment Underway
Keepsake Plants Ltd. | Keepsake Plants | 361 Seacliff Dr W | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 6 | 0.138 | 0.384 | Additional Monitoring Underway | Assessment Underway
Keller Bros. Greenhouses Inc. | Keller Bros. Greenhouse Inc. | 1890 Road 5 E | Kingsville | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.02 | µg/L | mon avg | 10 | 0.131 | 0.49 | Conducting Study | Assessment Underway
Lafarge Canada Inc. - Woodstock Site | Woodstock Site | 355083 35th Line | Woodstock | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-03-08 | 2019-03-15 | 50 | mg/L | any | 1 | 310 | 310 | Other | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Woodstock Site | Woodstock Site | 355083 35th Line | Woodstock | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-04-26 | 2019-05-03 | 50 | mg/L | any | 1 | 120 | 120 | Other | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Woodstock Site | Woodstock Site | 355083 35th Line | Woodstock | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-05-10 | 2019-05-17 | 50 | mg/L | any | 1 | 60 | 60 | Other | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Woodstock Site | Woodstock Site | 355083 35th Line | Woodstock | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-11-01 | 2019-11-08 | 50 | mg/L | any | 1 | 79 | 79 | Other | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Zorra Site | Lafarge Canada Inc. Zorra Site | 683916 Road 68 | Zorra | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-02-08 | 2019-02-15 | 50 | mg/L | any | 1 | 120 | 120 | Additional Monitoring Underway | Assessment Complete - Incident Resolved
Lafarge Canada Inc. - Zorra Site | Lafarge Canada Inc. Zorra Site | 683916 Road 68 | Zorra | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-04-18 | 2019-04-25 | 50 | mg/L | any | 1 | 54 | 54 | Other | Assessment Complete - Incident Resolved
Meridian Brick Canada Ltd./Briques Meridian Canada Ltee | Meridian Brick Canada Ltd. - NOTL Quarry | Lot 132 Conc: Niagara | Niagara-on-the-Lake | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-09-16 | 2019-09-16 | 25 | mg/L | any | 1 | 33 | 33 | Ceased Operations | Assessment Complete - Incident Resolved
Meridian Brick Canada Ltd./Briques Meridian Canada Ltee | Tansley Quarry | 3488 Tremaine Rd. | Burlington | Industrial Minerals | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-03-18 | 2019-06-07 | 15 | mg/L | any | 3 | 22 | 41 | New Equipment or Treatment Process Installed | Other Abatement Action
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-01-07 | 2019-01-07 | 15 | mg/L | /wk | 1 | 16 | 16 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-03-11 | 2019-03-11 | 15 | mg/L | /wk | 1 | 19 | 19 | Operational Process Modification | Assessment Complete - Incident Resolved
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-03-18 | 2019-03-18 | 15 | mg/L | /wk | 1 | 18 | 18 | Operational Process Modification | Assessment Complete - Incident Resolved
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-06-10 | 2019-06-10 | 15 | mg/L | /wk | 1 | 18 | 18 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-09-16 | 2019-09-16 | 15 | mg/L | /wk | 1 | 16 | 16 | Additional Monitoring Underway | Assessment Complete - Incident Resolved
Metrolinx - GO Transit Halton Hills | GO Transit Halton Hills | 19 Mansewood Crt | Halton Hills | Miscellaneous Industrial | Halton-Peel | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-12-30 | 2019-12-30 | 15 | mg/L | /wk | 1 | 17 | 17 | Additional Monitoring Underway | Assessment Complete - Incident Resolved
Ministry of Northern Development and Mines | Timminco Limited - Haley Facility | Part of Lots 19 & 20; Concession 5 & 6, TWSP Ross | Whitewater Region | Industrial Minerals | Ottawa | PH - LOW | Approval / Permit Non-Compliance | 2019-07-17 | 2019-09-18 | 6 | pH | any | 3 | 4.2 | 4.8 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Ministry of Northern Development and Mines | Timminco Limited - Haley Facility | Part of Lots 19 & 20; Concession 5 & 6, TWSP Ross | Whitewater Region | Industrial Minerals | Ottawa | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance | 2019-08-20 | 2019-09-18 | 0 | acute toxicity | any | 2 | 1 | 1 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Nelson Aggregate Co. | Uhthoff Quarry | Original Township Orillia 3114 Burnside Line | Severn | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-11-01 | 2019-11-30 | 25 | mg/L | mon avg | 1 | 263 | 263 | None Required | Assessment Complete - No Action Required
New Castle Farm Ltd. | New Castle Farm Ltd. | 414 Mersea Road 3 | Leamington | Miscellaneous Industrial | Windsor | ZINC | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.1 | µg/L | mon avg | 9 | 0.12 | 0.313 | Additional Monitoring Underway | Assessment Underway
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-04-01 | 2019-04-30 | 0.3 | mg/L | mon avg | 1 | 0.31 | 0.31 | Conducting Study | Assessment Underway
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-05-01 | 2019-05-31 | 0.3 | mg/L | mon avg | 1 | 0.32 | 0.32 | Operational Process Modification | Assessment Complete - No Action Required
North Hastings Community Fish Hatchery | North Hastings Community Fish Hatchery | 200 Hysert Road | Bancroft | Miscellaneous Industrial | Belleville | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-08-01 | 2019-08-31 | 0.3 | mg/L | mon avg | 1 | 0.515 | 0.515 | Action Plan Submitted - Implementing Improvements; Training/Procedure Change | Voluntary Abatement Program Underway
Northstar Aerospace (Canada) Inc. | 679 Bishop Street North | 679 Bishop Street North | Cambridge | Miscellaneous Industrial | Guelph | CHROMIUM | Approval / Permit Non-Compliance | 2019-05-07 | 2019-05-07 | 10 | µg/L | any | 1 | 11 | 11 | Operational Process Modification | Assessment Complete - Incident Resolved
NOVA Chemicals (Canada) Ltd. | 785 Petrolia Line | 785 Petrolia Line | St. Clair | Inorganic Chemicals | Sarnia | PHOSPHORUS, TOTAL | Legislation Non-Compliance | 2019-04-01 | 2019-04-30 | 12 | kg/d | mon avg | 1 | 13.6 | 13.6 | Training/Procedure Change | Voluntary Abatement Program Underway
NOVA Chemicals (Canada) Ltd. | 785 Petrolia Line | 785 Petrolia Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE RISE | Approval / Permit Non-Compliance | 2019-07-02 | 2019-07-07 | 10 | °C | /d | 6 | 11 | 14 | Conducting Study | Voluntary Abatement Program Underway
NOVA Chemicals (Canada) Ltd. | 785 Petrolia Line | 785 Petrolia Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE RISE | Approval / Permit Non-Compliance | 2019-09-21 | 2019-09-23 | 10 | °C | /d | 3 | 11 | 11 | Conducting Study | Voluntary Abatement Program Underway
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | IRON | Approval / Permit Non-Compliance | 2019-01-01 | 2019-08-31 | 1.0 | mg/L | mon avg | 8 | 1.48 | 2.66 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | IRON | Approval / Permit Non-Compliance | 2019-01-04 | 2019-12-31 | 2.0 | mg/L | /d | 70 | 2.1 | 6.7 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - HIGH | Order Non-Compliance | 2019-01-08 | 2019-03-28 | 8.5 | pH | any | 15 | 8.6 | 9.0 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - DAPHNIA | Approval / Permit Non-Compliance; Legislation non-Compliance | 2019-01-08 | 2019-10-16 | 0 | acute toxicity | any | 9 | 1 | 1 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - LOW | Order Non-Compliance | 2019-01-13 | 2019-03-12 | 6.5 | pH | any | 19 | 6 | 6.43 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - LOW | Approval / Permit Non-Compliance; Legislation Non-Compliance; Order Non-Compliance | 2019-01-15 | 2019-04-21 | 6 | pH | any | 62 | 3.5 | 5.9 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - HIGH | Approval / Permit Non-Compliance; Order Non-Compliance | 2019-01-15 | 2019-04-17 | 9 | pH | any | 17 | 9.1 | 9.5 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - HIGH | Approval / Permit Non-Compliance; Legislation Non-Compliance; Order Non-Compliance | 2019-01-16 | 2019-04-20 | 9.5 | pH | any | 37 | 9.6 | 10.9 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | ACUTE LETHALITY - TROUT | Approval / Permit Non-Compliance; Legislation non-Compliance | 2019-03-13 | 2019-03-18 | 0 | acute toxicity | any | 2 | 1 | 1 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-04-01 | 2019-05-30 | 15 | mg/L | mon avg | 2 | 16.5 | 28.8 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - LOW | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2019-04-22 | 2019-12-08 | 6 | pH | any | 103 | 3.5 | 5.9 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - HIGH | Approval / Permit Non-Compliance | 2019-04-25 | 2019-12-10 | 9 | pH | any | 26 | 9.1 | 9.5 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | pH - HIGH | Approval / Permit Non-Compliance; Legislation Non-Compliance | 2019-05-07 | 2019-12-09 | 9.5 | pH | any | 54 | 9.6 | 11 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-05-08 | 2019-05-08 | 30 | mg/L | /d | 1 | 40.7 | 40.7 | Opperational Process Modification | Director's Order Issued
Ontario Graphite Ltd. | Kearney Mine | 2142 Forestry Rd | Kearney | Industrial Minerals | North Bay | IRON | Approval / Permit Non-Compliance | 2019-10-01 | 2019-12-31 | 1.0 | mg/L | mon avg | 3 | 1.7 | 2.4 | Opperational Process Modification | Director's Order Issued
Rayonier A.M. Canada Industries Inc. and Rayonier A.M. Canada Enterprises Inc. operating as Rayonier A.M. Canada G.P. | Rayonier Co-Generation | 175 Planer Rd | Chapleau | Electric Power Generation | Sault Ste. Marie | TEMPERATURE DIFFERENTIAL | Approval / Permit Non-Compliance | 2019-09-09 | 2019-09-09 | 8.3 | °C | any | 1 | 8.5 | 8.5 | None Required | Assessment Complete - No Action Required
Resolute FP Canada Inc. | Resolute Forest Products - Thunder Bay Mill | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | PH - HIGH | Legislation Non-Compliance | 2019-07-03 | 2019-07-03 | 9.5 | pH | any | 1 | 11.06 | 11.06 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Other Abatement Action Taken; Voluntary Abatement Program Underway
Resolute FP Canada Inc. | Resolute Forest Products - Thunder Bay Mill | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | PH - LOW | Legislation Non-Compliance | 2019-07-03 | 2019-07-03 | 6 | pH | any | 1 | 5.83 | 5.83 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Other Abatement Action Taken; Voluntary Abatement Program Underway
Resolute FP Canada Inc. | Resolute Forest Products - Thunder Bay Mill | 2001 Neebing Ave | Thunder Bay | Pulp and Paper | Thunder Bay | PH - HIGH | Legislation Non-Compliance | 2019-09-26 | 2019-09-26 | 9.5 | pH | any | 1 | 9.58 | 9.58 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Other Abatement Action Taken; Voluntary Abatement Program Underway
Shell Canada Energy | Shell Canada Products - Lambton Facility | 150 St. Clair Pky Corunna | St. Clair | Petroleum Refining | Sarnia | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2019-10-01 | 2019-10-01 | 0 | acute toxicity | any | 1 | 1 | 1 | None Required | Environmental Penalty Order Issued
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-01-01 | 2019-12-31 | 0.25 | mg/L | annual avg | 1 | 0.4 | 0.4 | Action Plan Submitted - Implementing Improvements | Other Abatement Action Taken; Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-06-01 | 2019-06-30 | 0.3 | mg/L | mon avg | 1 | 0.55 | 0.55 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-07-01 | 2019-07-31 | 10 | mg/L | mon avg | 1 | 32 | 32 | Conducting Study | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-07-01 | 2019-07-31 | 0.3 | mg/L | mon avg | 1 | 1.25 | 1.25 | Conducting Study | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-08-01 | 2019-08-30 | 0.3 | mg/L | mon avg | 1 | 0.88 | 0.88 | Action Plan Submitted - Implementing Improvements | Assessment Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-09-01 | 2019-09-30 | 0.3 | mg/L | mon avg | 1 | 0.42 | 0.42 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-09-01 | 2019-09-30 | 10 | mg/L | mon avg | 1 | 11.67 | 11.67 | Action Plan Submitted - Implementing Improvements | Voluntary Abatement Program Underway
Silani Sweet Cheese Limited | Silani Sweet Cheese Limited | 4205 2nd Line R.R.1 Schomberg | Bradford West Gwillimbury | Miscellaneous Industrial | Barrie | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-12-01 | 2019-12-31 | 0.3 | mg/L | mon avg | 1 | 0.36 | 0.36 | Additional Monitoring Underway | Assessment Underway
Sonoco Canada Corporation | Sonoco Canada Corporation | 5 Bernard Long Rd Trenton | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2019-05-22 | 2019-05-22 | 0 | acute toxicity | any | 1 | 1 | 1 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Sonoco Canada Corporation | Sonoco Canada Corporation | 5 Bernard Long Rd Trenton | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - TROUT | Legislation Non-Compliance | 2019-05-22 | 2019-05-22 | 0 | acute toxicity | any | 1 | 1 | 1 | New Equipment or Treatment Process Installed | Assessment Complete - No Action Required
Sonoco Canada Corporation | Sonoco Canada Corporation | 5 Bernard Long Rd Trenton | Quinte West | Pulp and Paper | Peterborough | ACUTE LETHALITY - DAPHNIA | Legislation Non-Compliance | 2019-10-02 | 2019-10-02 | 0 | acute toxicity | any | 1 | 1 | 1 | None Required | Assessment Complete - No Action Required
St. Marys Cement Inc. (Canada) | St. Marys Cement St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-10-01 | 2019-10-31 | 25 | mg/L | mon avg | 1 | 26.21 | 26.21 | Training/Procedure Change | Environmental Penalty Order Issued
St. Marys Cement Inc. (Canada) | St. Marys Cement St. Marys Plant | 585 Water Street | St. Marys | Industrial Minerals | London | SUSPENDED SOLIDS, TOTAL | Legislation Non-Compliance | 2019-10-24 | 2019-10-31 | 50 | mg/L | any | 1 | 112.84 | 112.84 | Training/Procedure Change | Environmental Penalty Order Issued
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2019-06-28 | 2019-06-28 | 53 | µg/L | any | 1 | 450 | 450 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2019-06-28 | 2019-06-28 | 53 | µg/L | any | 1 | 540 | 540 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2019-09-17 | 2019-09-17 | 53 | µg/L | any | 1 | 330 | 330 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2019-09-17 | 2019-09-17 | 53 | µg/L | any | 1 | 380 | 380 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2019-12-09 | 2019-12-09 | 53 | µg/L | any | 1 | 1200 | 1200 | Additional Monitoring Underway | Assessment Underway
Stella-Jones Inc. | 1 Ram Forest Road | 1 Ram Forest Rd Gormley | Whitchurch-Stouffville | Miscellaneous Industrial | York-Durham | COPPER | Approval / Permit Non-Compliance | 2019-12-09 | 2019-12-09 | 53 | µg/L | any | 1 | 390 | 390 | Additional Monitoring Underway | Assessment Underway
Suncor Energy Inc. | Suncor Sarnia Refinery | 1900 River Rd | Sarnia | Petroleum Refining | Sarnia | TOTAL RESIDUAL CHLORINE | Approval / Permit Non-Compliance | 2019-11-05 | 2019-11-05 | 0.01 | mg/L | any | 1 | 1.3 | 1.3 | New Equipment or Treatment Process Installed; Other | Other Abatement Action; Environmental Penalty Order Issued
Suncor Energy Inc. - Petro-Canada Integrated Travel Stop - Dorchester | Petro-Canada Integrated Travel Stop - Dorchester | 3305 Dorchester Rd S | Thames Centre | Miscellaneous Industrial | London | ESCHERICHIA COLI | Approval / Permit Non-Compliance | 2019-04-01 | 2019-04-30 | 200 | CT/100mL | mon avg. on a geo. mean density | 1 | 445 | 445 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Suncor Energy Inc. - Petro-Canada Integrated Travel Stop - Dorchester | Petro-Canada Integrated Travel Stop - Dorchester | 3305 Dorchester Rd S | Thames Centre | Miscellaneous Industrial | London | ESCHERICHIA COLI | Approval / Permit Non-Compliance | 2019-05-01 | 2019-05-31 | 200 | CT/100mL | mon avg. on a geo. mean density | 1 | 395 | 395 | Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE RISE | Approval / Permit Non-Compliance | 2019-01-01 | 2019-01-08 | 10 | °C | 24h avg | 7 | 10.4 | 10.7 | Action Plan Submitted - Implementing Improvements; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | FLUORIDE | Legislation Non-Compliance | 2019-03-20 | 2019-03-20 | 4 | kg | /d | 1 | 5.38 | 5.38 | None Required | Assessment Complete - No Action Required
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-04 | 2019-08-04 | 30 | °C | 24h avg | 1 | 30.1 | 30.1 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-05 | 2019-08-05 | 30 | °C | 24h avg | 1 | 30.2 | 30.2 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-11 | 2019-08-11 | 30 | °C | 24h avg | 1 | 30.16 | 30.16 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-12 | 2019-08-12 | 30 | °C | 24h avg | 1 | 30.4 | 30.4 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-16 | 2019-08-16 | 30 | °C | 24h avg | 1 | 30.4 | 30.4 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-17 | 2019-08-17 | 30 | °C | 24h avg | 1 | 30.5 | 30.5 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-18 | 2019-08-18 | 30 | °C | 24h avg | 1 | 30.2 | 30.2 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TEMPERATURE | Approval / Permit Non-Compliance | 2019-08-21 | 2019-08-21 | 30 | °C | 24h avg | 1 | 30.6 | 30.6 | Equipment Modified - Repaired - Replaced or Re-calibrated; Training/Procedure Change | Assessment Complete - Incident Resolved
Terra International (Canada) Inc. | Terra International (Canada) Inc. - 161 Bickford Line | 161 Bickford Line | St. Clair | Inorganic Chemicals | Sarnia | TOTAL RESIDUAL CHLORINE | Approval / Permit Non-Compliance | 2019-09-17 | 2019-09-17 | 0.01 | mg/L | any | 1 | 0.176 | 0.176 | Ceased Operations; Equipment Modified - Repaired - Replaced or Re-calibrated; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
The Corporation of the City of Quinte West | Former Murata Erie North America Property | Creswell Dr Part Lots 2 3 4 and 5 of Plan No. 164 and Lot 6 Part 3 of Plan 21R-17043 Trenton Ward | Quinte West | Miscellaneous Industrial | Peterborough | 1,2-DICHLOROETHANE | Approval / Permit Non-Compliance | 2019-02-19 | 2019-02-19 | 5 | µg/L | any | 1 | 8.1 | 8.1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
The Corporation of the City of Quinte West | Former Murata Erie North America Property | Creswell Dr Part Lots 2 3 4 and 5 of Plan No. 164 and Lot 6 Part 3 of Plan 21R-17043 Trenton Ward | Quinte West | Miscellaneous Industrial | Peterborough | VINYL CHLORIDE | Approval / Permit Non-Compliance | 2019-02-19 | 2019-02-19 | 0.5 | µg/L | any | 1 | 1.1 | 1.1 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - No Action Required
The Corporation of the City of Thorold | Rice Road Landfill | Rice Rd part Lot 160 | Thorold | Miscellaneous Industrial | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-09-01 | 2019-09-30 | 0.03 | mg/L | mon avg | 1 | 0.04 | 0.04 | Action Plan Submitted - Implementing Improvements; Other | Assessment Underway
The Corporation of the City of Thorold | Rice Road Landfill | Rice Rd part Lot 160 | Thorold | Miscellaneous Industrial | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-10-01 | 2019-10-31 | 0.03 | mg/L | mon avg | 1 | 0.06 | 0.06 | Action Plan Submitted - Implementing Improvements; Other | Assessment Underway
The Corporation of the City of Thorold | Rice Road Landfill | Rice Rd part Lot 160 | Thorold | Miscellaneous Industrial | Niagara | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-11-01 | 2019-11-30 | 0.03 | mg/L | mon avg | 1 | 0.15 | 0.15 | Action Plan Submitted - Implementing Improvements; Other | Assessment Underway
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-01-02 | 2019-01-02 | 20 | mg/L | any | 1 | 24 | 24 | Additional Monitoring Underway; Operational Process Modification | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-01-19 | 2019-01-19 | 20 | mg/L | any | 1 | 27 | 27 | Ceased Operations; New/Modified Sampling Program Underway | Assessment Complete - Incident Resolved
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-05-22 | 2019-05-22 | 20 | mg/L | any | 1 | 22 | 22 | None Required | Assessment Complete - Incident Resolved
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | PHOSPHORUS, TOTAL | Approval / Permit Non-Compliance | 2019-07-03 | 2019-07-03 | 0.7 | mg/L | any | 1 | 0.75 | 0.75 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
The Corporation of the Municipality of Kincardine | Kincardine Waste Management Centre (Ward 2 landfill) | 437 Sideroad 15 North | Kincardine | Miscellaneous Industrial | Owen Sound | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-07-03 | 2019-07-03 | 20 | mg/L | any | 1 | 58 | 58 | Additional Monitoring Underway; New Equipment or Treatment Process Installed | Assessment Complete - Incident Resolved
The Regional Municipality of Peel | Caledon Waste Management Facility | 1795 Quarry Dr | Caledon | Miscellaneous Industrial | Halton-Peel | IRON | Approval / Permit Non-Compliance | 2019-01-31 | 2019-01-31 | 300 | µg/L | 2 consecutive samples | 1 | 790 | 790 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
TransAlta (SC) Inc. as general partner for and on behalf of TransAlta (SC) L.P. | Sarnia Regional Cogeneration Plant (SRCP) | 230 - 1741 River Rd | Sarnia | Electric Power Generation | Sarnia | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-12-26 | 2019-12-26 | 50 | mg/L | /d | 1 | 88 | 88 | New Equipment or Treatment Process Installed; Training/Procedure Change | Assessment Complete - Incident Resolved
Vale Canada Limited | Totten Mine | 6 Totten Mine Rd | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Approval / Permit Non-Compliance | 2019-03-17 | 2019-03-23 | 0.5 | kg/d | /wk | 1 | 0.615 | 0.615 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
Vale Canada Limited | Totten Mine | 6 Totten Mine Rd | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Approval / Permit Non-Compliance | 2019-03-24 | 2019-03-30 | 0.5 | kg/d | /wk | 1 | 1.02 | 1.02 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
Vale Canada Limited | Totten Mine | 6 Totten Mine Rd | Greater Sudbury | Metal Mining and Refining | Sudbury | NICKEL | Approval / Permit Non-Compliance | 2019-03-31 | 2019-04-06 | 0.5 | kg/d | /wk | 1 | 0.796 | 0.796 | Action Plan Submitted - Implementing Improvements | Assessment Complete - No Action Required
VERBIO Diesel Canada Corporation | VERBIO Diesel Canada Corporation | 1 St. Clair Dr | Welland | Organic Chemicals Manufacturing | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-08-07 | 2019-08-07 | 25 | mg/L | any | 1 | 30.6 | 30.6 | Additional Monitoring Underway; New/Modified Sampling Program Underway; Training/Procedure Change | Assessment Complete - Incident Resolved
VERBIO Diesel Canada Corporation | VERBIO Diesel Canada Corporation | 1 St. Clair Dr | Welland | Organic Chemicals Manufacturing | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-10-31 | 2019-10-31 | 25 | mg/L | any | 1 | 29 | 29 | Action Plan Submitted - Implementing Improvements; Additional Monitoring Underway; New/Modified Sampling Program Underway | Other Abatement Action Taken
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-02-04 | 2019-02-04 | 25 | mg/L | /wk | 1 | 89 | 89 | Additional Monitoring Underway | Assessment Complete - Incident Resolved; Assessment Complete - No Action Required
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-03-11 | 2019-03-11 | 25 | mg/L | /wk | 1 | 40 | 40 | Additional Monitoring Underway | Other Abatement Action Taken
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-04-15 | 2019-04-15 | 25 | mg/L | /wk | 1 | 76 | 76 | Additional Monitoring Underway | Other Abatement Action Taken
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-05-01 | 2019-05-14 | 25 | mg/L | /wk | 3 | 26 | 100 | Additional Monitoring Underway; Conducting Study | Assessment Underway
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-08-01 | 2019-08-01 | 25 | mg/L | /wk | 1 | 39 | 39 | Additional Monitoring Underway | Assessment Underway
Walker Aggregates Inc. | Walker Aggregates - Vineland Quarry | 3614 Fly Rd | Lincoln | Industrial Minerals | Niagara | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-12-23 | 2019-12-30 | 25 | mg/L | /wk | 2 | 35 | 43 | Additional Monitoring Underway | Additional Requirements Added in Approval/Permit; Assessment Underway; Other Abatement Action Taken
Washington Mills Electro Minerals Corporation | 7780 Stanley Avenue | 7780 Stanley Ave | Niagara Falls | Inorganic Chemicals | Niagara | OIL/GREASE | Approval / Permit Non-Compliance | 2019-03-01 | 2019-03-31 | 1 | mg/L | /quart | 1 | 2.8 | 2.8 | Equipment Modified - Repaired - Replaced or Re-calibrated | Assessment Complete - Incident Resolved
West Carleton Sand & Gravel Inc. | Huntley Quarry | 2328 Carp Road | Ottawa | Miscellaneous Industrial | Ottawa | SUSPENDED SOLIDS, TOTAL | Approval / Permit Non-Compliance | 2019-04-23 | 2019-04-23 | 25 | mg/L | any | 1 | 125 | 125 | Training/Procedure Change | Assessment Complete - Incident Resolved
Ces données sont fournies à titre d’information seulement. Les installations responsables des rejets ont fourni la plupart des données de ce sommaire. Ces installations sont responsables de l’exactitude des données fournies. Certaines données sont aussi dérivées des données du ministère sur les rejets. Les mesures prises par les installations et par le ministère étaient à jour en octobre 2020. Pour obtenir des données actualisées, veuillez contacter le bureau de district ou de secteur concerné