# Table 11: Sample Edit Log Table

Emitter’s Name: Greensmiths Mine and Smelter

Emitter’s Address: 1 Park Lane, Deep River ON S4N 6RA

Contact Name: Will Jones

Contact Phone: (613)622-7183

Contact Email: Will.Jones@Greensmiths.com

Station Number: 44312

Station Name: Smelter Lane

Station Address: 36 Smelter Lane, Deep River, ON

Pollutant or Parameter: SO2

Instrument Make & Model: TECO 43c

s/n: 6123

Data Start Date: 01 January 2014

Data End Date: 31 March 2014

EST □

CST (Stations in Northwest only)□

| Edit # | Edit Date | Editor’s Name | Edit Action | Starting Date (dd/Mon/year) | Starting Hour (XX:XX) | Ending Date (dd/Mon/year) | Ending Hour (XX:XX) | Reason |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 11-Mar-14 | Will Jones | Add Offset 1 ppb | 12/Feb/2014 | 21:00 | 19/Feb/2007 | 23:00 | Drift |
| 2 | 11-Mar-14 | Will Jones | Delete Hours | 03/Feb/2014 | 18:00 | 03/Feb/2007 | 19:00 | Equipment malfunction  |
| 3 | 11-Mar-14 | Jim Dandy | Delete Hours | 19/Feb/2014 | 21:00 | 19/Feb/2007 | 22:00 | Span |
| 4 |  |  |  |  |  |  |  |  |